# Submission ID #:  62101

# Scriptwriter Name: Domnic Colvin

# Supervisor Name: Anastasia Gomez

# Project Page Link:  https://www.jove.com/account/file-uploader?src=18940853

# Title:   Implantation of Combined Telemetric ECG and Blood Pressure Transmitters to Determine Spontaneous Baroreflex Sensitivity in Conscious Mice

# Authors and Affiliations:

René D. Rötzer1, Verena F. Brox1, Konstantin Hennis1, Stefan B. Thalhammer1, Martin Biel1,2, Christian Wahl-Schott2,3, Stefanie Fenske1,2

1Center for Integrated Protein Science (CIPS-M) and Center for Drug Research, Department of Pharmacy, Ludwig-Maximilians-Universität München, 81377 Munich, Germany

2German Center for Cardiovascular Research (DZHK), Partner Site Munich Heart Alliance, 80802 Munich, Germany

3Hannover Medical School, Institute for Neurophysiology, 30625 Hannover, Germany

# Corresponding Authors:

Stefanie Fenske 		(Stefanie.Fenske@cup.uni-muenchen.de)

Christian Wahl-Schott 	(Wahl-Schott.Christian@mh-hannover.de)

# Email Addresses for All Authors:

# Rene.Roetzer@cup.uni-muenchen.de

# Verena.Brox@cup.uni-muenchen.de

# Konstantin.Hennis@cup.uni-muenchen.de

Stefan.Thalhammer@cup.uni-muenchen.de

Martin.Biel@cup.uni-muenchen.de

Wahl-Schott.Christian@mh-hannover.de

Stefanie.Fenske@cup.uni-muenchen.de

## Author Questionnaire

- Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?

Yes, a stereomicroscope is required for the dissection and cannulation of the carotid artery.

If Yes, can you record movies/images using your own microscope camera?

Our stereomicroscope is equipped with a camera (Zeiss, Axiocam 512 color). We can follow the recording on our computer screen and take a screen capture using screen recording software.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Our stereomicroscope is from the company Zeiss and the model is Stemi 508.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?

Yes, it includes step-by-step descriptions of software usage (ecgAuto) for BRS analysis.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations? No, just multiple locations within the same building

Current Protocol Length

Number of Steps:  24

Number of Shots:  54

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Stefanie Fenske: Baroreflex sensitivity describes the relationship between changes in arterial blood pressure and reflex changes in heart rate. When BP increases, HR decreases, and also vice versa. The combined telemetric ECG and blood pressure measurements in conscious mice allow the determination of baroreflex sensitivity.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Stefanie Fenske: The main advantage of this technique over older methods for determining baroreflex sensitivity is that it measures the spontaneous reflex. The mice are awake and do not need to be restrained and no invasive procedures such as injecting vasoactive drugs to induce blood pressure changes are required.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL:

  - Christian Wahl-Schott: The baroreflex can be used for risk stratification of patients with cardiac disease such as hypertension, myocardial infarction and heart failure. Pathological changes of the BRS are associated with increased risk for cardiac mortality. It is therefore an important prognostic marker for cardiovascular disease.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - René Rötzer: The microsurgical details, such as puncturing and cannulating the carotid artery, are the most challenging steps of the protocol. Care must be taken to ensure that there is sufficient tension on the sutures to temporarily stop blood flow and to slightly lift the artery for cannulation.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

  - For this experiment, the studies were approved by the Regierung von Oberbayern and were in accordance with German laws on animal experimentation.

# Protocol

- Dissection of the left common carotid

  - Begin by using a trimmer to shave the surgical area of an anesthetized mouse from below the chin towards the transversal pectoral muscles [1]. After positioning the mouse in a supine position, apply eye ointment to protect the animal´s eyes during anesthesia [2].

    - LAB MEDIA: 2101_VID_2.1.1.mp4. 00:01-00:39.

    - LAB MEDIA: 62101_VID_2.1.2-2.4.1.mp4. 00:01-00:11.

  - Apply depilatory cream to the previously shaved surgical area [1]. After 3 to 4 minutes, remove hair and depilatory cream using a cotton pad and warm water, making sure that the skin is clean and free of any residual hair or cream so that the wound will not be contaminated during the operation [2].

    - LAB MEDIA: 62101_VID_2.1.2-2.4.1.mp4. 00:42-01:17.

    - LAB MEDIA: 62101_VID_2.4.2.mp4. 00:16-02:51. Video editor: Speedup the video and play.

  - Disinfect the skin with skin disinfection spray [1] and make a 1-to-1.5-centimeter straight midline incision through the skin of the neck, starting immediately below the chin [2].

    - LAB MEDIA: 62101_VID_2.5.1.mp4. 00:08-00:14.

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 00:01-00:09.

  - Create a subcutaneous space at both sides of the incision by separating the skin from underlying connective tissue with blunt dissection scissors, being careful not to pinch the skin too strongly with the forceps, which can cause necrosis and lead to impaired wound healing after surgery [1].

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 00:23-00:44.

  - Separate the parotid and submandibular glands using cotton tip applicators to expose the musculature overlying the trachea [1]. Retract the left salivary gland with curved dissection forceps to identify the left carotid artery located laterally to the trachea [2].

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 00:52-01:05.

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 01:14-01:46.

  - Carefully dissect the carotid artery from adjacent tissue using curved forceps, being very careful not to injure the vagal nerve that is running along the vessel [1]. Continue blunt dissection to expose the left carotid artery to about 10 millimeters in length and fully separate it from the vascular fascia and the vagus nerve [2]. Videographer: This step is important!

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 02:26-02:56.

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 03:01-04:00.

  - Pass a non-absorbable, 5 by 0 silk suture underneath the isolated portion of the carotid artery [1] while slightly lifting the blood vessel with curved forceps to reduce friction between the sutures and the carotid artery [2].

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 05:44-06:05.

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 06:20-06:35.

  - Place the suture cranially, just proximally to the bifurcation of the carotid artery [1], then form a knot and tie it to permanently ligate the vessel [2]. Fix both ends of the cranial occlusion suture to the surgery table with surgical tape [3].

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 07:16-07:28.

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 07:29-07:35.

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 07:45-08:05.

  - Pass a second occlusion suture underneath the carotid artery [1] and place it caudally at approximately 5-millimeter distance to the cranial suture, tying a loose knot [2]. Fix both suture ends with surgical tape [3].

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 08:26-09:10. Video editor: Speedup the video and play.

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 09:24-09:34.

    - LAB MEDIA: 62101_SCREEN_surgery1.mp4. 09:40-10:20. Video editor: Speedup the video and play.

  - Position a third suture between the cranial and caudal occlusion suture to keep the catheter in place while cannulating the artery [1] and make a loose knot [2].

    - LAB MEDIA: 62101_SCREEN_surgery2.mp4. 00:05-00:20.

    - LAB MEDIA: 62101_SCREEN_surgery2.mp4. 00:30-00:36.

- Cannulation of the left common carotid artery

  - Gently pull the caudal occlusion suture and fix it with tension to temporarily stop blood flow and to slightly lift the artery [1]. Carefully penetrate the artery proximal to the cranial occlusion suture with the bent needle [2]. Videographer: This step is important!

    - LAB MEDIA: 62101_SCREEN_surgery2.mp4. 01:09-01:20.

    - LAB MEDIA: 62101_SCREEN_surgery2.mp4. 03:20-03:26.

  - While slightly elevating the carotid artery with the bent needle, grip the catheter with vessel cannulation forceps, introduce it into the small puncture, and let it slide slowly into the vessel [1]. Simultaneously, gently pull back the bent needle [2]. Videographer: This step is difficult and important!

    - LAB MEDIA: 62101_SCREEN_surgery2.mp4. 03:27-03:31.

    - LAB MEDIA: 62101_SCREEN_surgery2.mp4. 03:31-03:32.

  - When the catheter reaches the caudal occlusion suture, slightly tighten the secure suture to keep the catheter in place [1]. Loosen the caudal occlusion suture so that the catheter can be further moved until its tip is positioned in the aortic arch [2].

    - LAB MEDIA: 62101_SCREEN_surgery2.mp4. 03:35-03:50.

    - LAB MEDIA: 62101_SCREEN_surgery2.mp4. 04:28-04:56.

  - Once positioned properly, secure the catheter with all three sutures [1] and cut the ends as short as possible, without pulling the knots too tight [2].

    - LAB MEDIA: 62101_SCREEN_surgery2.mp4. 05:10-05:32, 06:17-06:22, 06:40-06:42, 09:13-09:38

    - LAB MEDIA: 62101_SCREEN_surgery2.mp4. 06:55-06:58, 07:11, 07:14, 09:46-09:49.

- Placement of the telemetry device body and ECG leads.

  - Form a subcutaneous tunnel from the neck directed towards the left flank of the animal and form a small pouch using small, blunt dissecting scissors [1].

    - LAB MEDIA: 62101_VID_4.1.1.mp4. 00:13-00:47.

  - Irrigate the tunnel with a 1-milliliter syringe filled with warm, sterile 0.9% sodium chloride solution and introduce approximately 300 microliters of the solution into the pouch [1].

    - LAB MEDIA: 62101_VID_4.2.1.mp4. 00:06-00:17.

  - Carefully lift the skin with blunt forceps [1] and introduce the transmitter device body into the pouch, being careful not to pull the blood pressure catheter out of the carotid artery [2].

    - LAB MEDIA: 62101_VID_4.3.1-4.3.2.mp4. 00:04-00:10.

    - LAB MEDIA: 62101_VID_4.3.1-4.3.2.mp4. 00:10-00:25.

  - Form a thin tunnel to the right pectoral muscle with blunt dissecting scissors [1] and place the negative lead into the tunnel using blunt forceps [2]. Fix the terminal end of the lead with a stitch to the pectoral muscle using 6 by 0 absorbable suture material [3]. Videographer: This step is important!

    - LAB MEDIA: 62101_VID_4.4.1.mp4. 00:01-00:37. Video editor: Speed up the video.

    - LAB MEDIA: 2101_VID_4.4.2-4.5.3.mp4. 00:28-02:10. Video editor: Speed up the video.

LAB MEDIA: 2101_VID_4.4.2-4.5.3.mp4. 02:20-02:30.

  - Form a loop in the positive lead [1], position its tip at the left caudal rib region [2], and secure its position using a 6 by 0 absorbable suture [3]. Videographer: This step is important!

    - LAB MEDIA: 2101_VID_4.4.2-4.5.3.mp4. 05:04-05:55.

    - LAB MEDIA: 2101_VID_4.4.2-4.5.3.mp4. 05:56-06:30.

    - LAB MEDIA: 2101_VID_4.4.2-4.5.3.mp4. 06:45-07:07.

  - Close the skin with single knots using 5 by 0 non-absorbable suture material [1]. Additionally, apply a small amount of tissue adhesive on every knot to keep the animal from biting the suture and prevent dehiscence [2]. Apply 10% povidone-iodine hydrogel to the wound to prevent wound infection during the recovery phase [3].

    - LAB MEDIA: 62101_VID_4.6.1.mp4. 00:01-01:27. Video editor: Speed up the video.

    - MEDIA: 62101_VID_4.6.2.mp4. 00:01-00:30.

    - MEDIA: 62101_VID_4.6.3.mp4. 00:01-00:23.

  - For preemptive pain relief, inject carprofen in 0.9 % sodium chloride subcutaneously while the mouse is still under anesthesia [1-TXT].

    - MEDIA: 62101_VID_4.7.1.mp4. 00:03-00:15. TEXT: 5 mg/kg

  - Position one half of the cage on a heating platform set to 39 degree Celsius for 12 hours after surgery and transfer the mouse to the warm area so that the animal has the option of staying in the warm area or moving to the cooler part of the cage when awake [1].

    - MEDIA: 62101_VID_4.8.2.mp4. 00:01-01:27. Video editor: Speed up the video.

  - To perform baroreflex sensitivity, or BRS, analysis, open the BRS analysis panel [1]. Manually inspect every sequence displayed in the panel and exclude ectopic beats, sinus pauses, arrhythmic events or noisy data to successfully exclude them from the analysis [2].

    - LAB MEDIA: 62101_SCREEN_StartAnalysis.avi. 0:03 – 0:13. Video Editor: Emphasize clicking on View > BRS analysis

    - LAB MEDIA: 62101_SCREEN_Arrhythmia.avi. 0:06 – end, 62101_SCREEN_SmallPause.avi, 0:16 – 0:25.

# Results

- Analysis of BRS Using the Sequence Method on Simultaneous Telemetric ECG and BP Recordings.

  - This protocol can be used for precise BRS analysis and a broad range of ECG or BP-derived [1] parameters like ECG intervals, BP variability, and arrythmia detections [2].

    - LAB MEDIA: Figure 4A.

    - LAB MEDIA: Figure 4B.

  - A healthy mouse that has sufficiently recovered from surgery shows a physiological increase of activity [1], heart rate [2] and BP during the dark phase [3].

    - LAB MEDIA: Figure 5B.

    - LAB MEDIA: Figure 5A.

    - LAB MEDIA: Figure 5C.

  - The sequence method was used to determine BRS where systolic blood pressure and RR intervals were examined on a beat-to-beat basis during short sequences of three or more beats with a spontaneous rise [1] or fall in systolic blood pressure [2].

    - LAB MEDIA: Figure 6A. Video editor focus on up sequence.

    - LAB MEDIA: Figure 6B. Video editor focus on down sequence.

  - To evaluate the correlation between RR and systolic blood pressure, both parameters were plotted against each other and the slope of the linear regression line was calculated for each sequence [1].

    - LAB MEDIA: Figure 6A and 6B. Video editor focus on the lower panel graph.

  - The total number of sequences per 1000 beats [1] and average gain of spontaneous BRS, reflected by the slopes of the linear regression lines calculated from the RR by systolic blood pressure relation, are parameters of interest in the analysis [2].

    - LAB MEDIA: Figure 6C.

    - LAB MEDIA: Figure 6D and 6E.

  - During phases of higher activity, signal quality might decrease [1] and induce noise [2].

    - LAB MEDIA: Figure 7.

    - LAB MEDIA: Figure 7B. Video editor focus on the graph at upper panel.

  - Setting too low values for the minimum correlation coefficient also results in false detections of sequences that do not reflect baroreflex activity but result from arrhythmic beats [1].

    - LAB MEDIA: Figure 8.

# Conclusion

- Conclusion Interview Statements

  - Konstantin Hennis: For the interpretation of baroreceptor sensitivity data, it is important to consider the functional levels involved in the baroreceptor reflex. At the neuronal level, afferent, central or efferent components of the reflex may be altered. At the cardiovascular level, reduced or increased responsiveness of the sinus node may cause changes in baroreflex sensitivity.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.3.

  - Stefan Thalhammer: With this data, one can not only determine the baroreflex sensitivity and the function of the cardiac sinoatrial node but also a wide range of ECG- or blood pressure-derived parameters. These include, for example, mean systolic and diastolic blood pressure, ECG intervals and heart rate variability or circadian rhythms.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.