# Submission ID #: 62104

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18941768

Title: Stereocilia Bundle Imaging with Nanoscale Resolution in Live Mammalian Auditory Hair Cells

Authors and Affiliations: Carolina Galeano-Naranjo1,2, A. Catalina Veléz-Ortega1 , and Gregory I. Frolenkov1

1Department of Physiology, College of Medicine, University of Kentucky

2Universidad Nacional de Colombia

# Corresponding Authors:

Gregory I. Frolenkov		gregory.frolenkov@uky.edu

# A. Catalina Veléz-Ortega	catavelezo@uky.edu

# Co-authors:

# carolina.galeano.naranjo@uky.edu

## Author Questionnaire

1. Microscopy: Does your protocol demonstrate the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  Y

If Yes, can you record movies/images using your own microscope camera? Yes

# Authors: Please use your microscope camera to film all SCOPE shots and upload the footage to your project page: http://www.jove.com/files_upload.php?src=18941768.

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

Videographer: Please film the screen for shots labeled as SCREEN.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   No

Protocol Length

Number of Shots: 39

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Carolina Galeano-Naranjo: This protocol can help us study dynamic changes of the nano-structural components of the mechano-electrical transduction machinery at the surface of the hair cell stereocilia bundles.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Catalina Vélez-Ortega: The main advantage of this technique is the time-lapse imaging of the surface of live cells with complex topography, at single-nanometer resolution and without making physical contact with the sample.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Carolina Galeano-Naranjo: This technique can be applied to nearly any living cell. We previously imaged the surface of lung epithelial cell lines infected with viruses, muscle cells, and might image bacteria soon.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☒ Yes

Has any author been assigned more than two statements? ☒ No

# Protocol

- Nanopipette Testing

  - Test the nanopipettes at the beginning of each imaging session [1-TXT]. After fabricating a nanopipette, check the bubble [2], remove if any bubbles present [3], and mount the nanopipette onto the Hopping probe ion conductance microscope pipette holder [4].

    - WIDE: Representative shot to talent checking the nanopipettes. TEXT: See text for nanopipette manufacturing details Videographer: This shot is important!

    - Talent checking for bubbles on small microscope Videographer: This shot is important!

    - WIDE: Talent removing bubbles

    - Talent mounting nanopipette onto holder Videographer: Obtain multiple usable takes. This will be used later in the protocol.

  - Add 4 milliliters of bath solution to the chamber [1-TXT] and place the chamber onto the HPICM stage [2].

    - Talent adding solution to chamber TEXT: See text for all solution details

    - Talent placing chamber onto stage

  - Introduce the ground electrode to the bath solution [1] and make sure that the voltage being applied to the pipette through the patch clamp amplifier is zero [2].

    - Talent adding electrode to solution

    - Talent checking/adjusting voltage

  - Move the pipette in Z until it touches the liquid [1] and set the amplifier offset to zero [2] before adding plus 100 millivolts to check the pipette current [3-TXT].

    - Talent moving pipette  (Two steps required here, 2.4.1.a shows talent placing the micromanipulator back into a vertical position before 2.4.2.b shows the pipette approaching the liquid)

    - Talent setting amplifier offset

    - Talent adding mv/checking current TEXT: See text for calculations of pipette resistance and approximate tip diameter. Videographer: This shot is important!

- Testing Imaging Resolution with Calibration Standards for Atomic Force Microscopy (AFM)

  - Use silicon glue to attach the AFM (A-F-M) calibration standard to the chamber [1] and cover the sample with 4 milliliters of HBSS [2-TXT].

    - Shot of calibration standard attached to the chamber.

    - Talent adding HBSS to chamber TEXT: Hank’s Balanced Salt Solution

  - Use double-sided tape to secure the chamber to the XY stage of the HPICM setup [1] and load a new nanopipette onto the holder as demonstrated [2].

    - Chamber being taped to setup

    - Use 2.1.4 (Talent mounting nanopipette onto holder)

  - After testing the nanopipette resistance and diameter, set the current to 1 nanoamp [1].

    - Talent setting current

  - Use a course patch-clamp manipulator to position the nanopipette approximately above the center of the calibration standard [1] and increase the setpoint [2] while monitoring the signal from the sensor of the Z piezo actuator on an oscilloscope in a real time [3].

    - Nanopipette being positioned

    - Talent increasing setpoint

    - Shot of oscilloscope read out

  - After establishing a stable repeatable Z approach cycle [1], decrease the setpoint to the value just above the point of instability [2] and move the pipette down at a speed of approximately 5 microns/second until it reaches the sample [3].

    - Shot of repeatable Z approach cycle OR LAB MEDIA: Figure 1C  Videographer: This shot is important!

    - Talent decreasing setpoint value

    - Pipette being lowered

  - The bottom level of the real-time Z positioning signal will increase, indicating that the nanopipette is withdrawn due to “sensing” the sample surface [1-TXT].

    - Shot of bottom level signal increase TEXT: Further nanopipette movement will positive-shift Z-positioning signal Videographer: This shot is important!

  - Taking care not to exceed the upper limit of the Z piezo actuator movement, begin imaging at low resolution [1].

    - Talent starting the imaging, with monitor visible in frame

  - Due to uneven mounting of the AFM standard, the highest point of the area of interest may be unknown. Therefore, set the amplitude of the pipette retraction to at least 200-500 nanometers [1].

    - Talent setting amplitude

  - Once the highest point of the sample in the imaging area has been identified, decrease the hop amplitude [1] and retract the pipette about 200 microns along the Z axis to prevent any undesired collision with the sample before moving it to a new X-Y location [2].

    - Amplitude being decreased

    - Pipette being retracted along Z axis, then being moved in X-Y

  - When the area of interest has been located, begin imaging at a higher resolution [1].

    - Talent staring imaging, with monitor visible in frame

- Auditory Hair Cell Imaging

  - For auditory hair cell imaging, firmly secure a freshly isolated organ of Corti to a chamber using either dental floss [1] or flexible glass pipettes [2].

    - SCOPE: TO be provided by the authors: Talent securing organ of Corti to chamber using dental floss

    - SCOPE: TO be provided by the authors: Talent securing organ of Corti with flexible glass pipettes.

# Authors: Please use your microscope camera to film all SCOPE shots and upload the footage to your project page: http://www.jove.com/files_upload.php?src=18941768.

  - Use double-sided tape to firmly secure the chamber to the X-Y piezo stage [1] and load a new nanopipette onto the holder as demonstrated [2].

    - Talent securing chamber to stage

    - Talent loading pipette onto holder

  - After checking the nanopipette resistance, use the patch clamp micromanipulator to position the nanopipette over the hair cell region, while observing the organ of Corti explant in an inverted microscope [1].

    - Talent positioning nanopipette/observing explant on microscope Videographer: This shot is important! (This was recorded in two steps: 4.3.1.b shows talent positioning the pipette over the tissue, and 4.3.1.a shows talent observing the explant through the microscope binoculars)

  - Record the real-time current and Z positioning signal on the oscilloscope to check if the system is stable with a setpoint of 0.5% or lower [1-TXT] and determine the optimal setpoint and approach the sample as demonstrated [2].

    - Talent recording current/signal TEXT: Decrease cutoff frequency or increase setpoint to stabilize signal as necessary

    - Nanopipette approaching sample

  - Perform low resolution imaging of the sample as demonstrated, using a hop amplitude of at least 6-8 microns [1-TXT].

    - SCREEN: Low resolution image being acquired TEXT: SEM imaging can be used to become familiar with organ of Corti topography Videographer: Please film the screen for this shot.

  - If the nanopipette needs to be moved to a new X-Y location, retract the pipette about 500 nanometers to avoid a collision with any tall features within the tissue [1] and repeat the low-resolution HPICM imaging until the region of interest with the hair cells is located [2].

    - Pipette being retracted/moved

    - SCREEN: Low resolution image being acquired Videographer: Please film the screen for this shot.

  - Then image the region of interest at a higher resolution in 15 minutes or less [1].

    - SCREEN: High resolution image being acquired Videographer: Please film the screen for this shot.

# Results

- Results: Representative HPICM Stereocilia Bundle Imaging

  - The HPICM protocol can be used to visualize any live cells with a complex topography [1], such as live rat auditory hair cell bundles [2].

    - LAB MEDIA: Figures 6A-6D

    - LAB MEDIA: Figures 6A-6D Video Editor: please emphasize Figure 6B and 6D images

  - Despite demonstrating a lower X-Y resolution compared to scanning electron microscopy images [1], HPICM images can successfully resolve the different rows of stereocilia [2], the shape of the stereocilia tips [3], and even the small, 5-nanometer links connecting the adjacent stereocilia [4].

    - LAB MEDIA: Figures 6A-6D Video Editor: please emphasize 6A, 6C, and 6E images

    - LAB MEDIA: Figures 6A-6D Video Editor: please emphasize cilia rows in Figure 6D

    - LAB MEDIA: Figures 6A-6D Video Editor: please emphasize cilia tips in Figure 6F

    - LAB MEDIA: Figures 6A-6D Video Editor: please emphasize links indicated by white arrows in Figure 6F

  - Given the non-contact nature of HPICM imaging [1], continuous time-lapse imaging of the same hair cell bundle can be performed for several hours without damaging the bundle cohesiveness [2].

    - LAB MEDIA: Figure 7A

    - LAB MEDIA: Figure 7 Video Editor: please sequentially add/emphasize Figure 7B 0, 2, 3, 4, and 6h images

  - Note that with a very low setpoint [1], the system might interpret small fluctuations in the current as encountering the cell surface, leading to “white dot” noise in the image [2].

    - LAB MEDIA: Figure 8A

    - LAB MEDIA: Figure 8A Video Editor: please emphasize white dots in left image

  - Similarly, large hop amplitudes [1] might increase the lateral resonance of the pipette, also resulting in the production of noisy pixels [2].

    - LAB MEDIA: Figure 8B

    - LAB MEDIA: Figure 8B Video Editor: please emphasize white dots in left image

  - In contrast, if the hop amplitude is too small [1] or the setpoint is too high [2], the nanopipette might collide with the sample, resulting in imaging artefacts or hair bundle damage [3].

    - LAB MEDIA: Figures 8C and 8D Video Editor: please emphasize Figure 8C

    - LAB MEDIA: Figures 8C and 8D Video Editor: please emphasize Figure 8D

    - LAB MEDIA: Figures 8C and 8D Video Editor: please add/emphasize white arrows in images

# Conclusion

- Conclusion Interview Statements

  - Carolina Galeano-Naranjo: The most important thing to remember when attempting this procedure is to spend less than 15 minutes per hair cell bundle when working with live cells. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Suggested b-roll: 3.6.1

  - Catalina Vélez-Ortega: After getting an image of the hair bundle one could attempt to obtain single-channel recordings from specific locations on the surface of stereocilia to answer questions about mechano-transduction channel properties [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Is each interview statement 30 words or fewer? ☒ Yes