# Submission ID #: 62104

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18941768

Title: Stereocilia Bundle Imaging with Nanoscale Resolution in Live Mammalian Auditory Hair Cells

Authors and Affiliations: Carolina Galeano-Naranjo1,2, A. Catalina Veléz-Ortega1 , and Gregory I. Frolenkov1

1Department of Physiology, College of Medicine, University of Kentucky

2Universidad Nacional de Colombia

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Gregory I. Frolenkov

gregory.frolenkov@uky.edu

# A. Catalina Veléz-Ortega

# catavelezo@uky.edu

# Co-authors:

# carolina.galeano.naranjo@uky.edu

## Author Questionnaire

1. Microscopy: Does your protocol demonstrate the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Protocol Length

Number of Shots: 40

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Nanopipette Testing

  - After fabricating a nanopipette and removing any bubbles [1-TXT], mount the nanopipette onto the HPICM pipette holder [2-TXT] and place a calibration standard onto the custom-built chamber [3].

    - WIDE: Talent removing bubbles TEXT: See text for nanopipette generation details

    - Talent mounting nanopipette onto holder TEXT: HPICM: Hopping Probe Ion Conductance Microscopy

    - Talent adding standard to chamber

  - Add 4 milliliters of bath solution to the chamber [1-TXT] and place the chamber onto the HPICM stage [2].

    - Talent adding solution to chamber TEXT: See text for all solution preparation details

    - Talent placing chamber onto stage

  - Introduce the ground electrode to the solution [1] and make sure that the voltage being applied to the pipette through the patch clamp amplifier is zero [2].

    - Talent adding electrode to solution

    - Talent checking/adjusting voltage

  - Move the pipette in Z until it touches the liquid [1] and set the amplifier offset to zero [2] before adding plus 100 millivolts to check the pipette current [3].

    - Talent moving pipette

    - Talent setting amplifier offset

    - Talent adding mv/checking current

- Atomic Force Microscopy (AFM) Calibration Standard Resolution Testing

  - To assess the atomic force microscopy calibration standard resolution, use silicon glue to attach the calibration standard to the chamber [1] and cover the sample with 4 milliliters of HBSS [2-TXT].

    - WIDE: Talent attaching standard to chamber

    - Talent adding HBSS to chamber TEXT: Hank’s Balanced Salt Solution

  - Use double-sided tape to secure the chamber to the XY stage of the HPICM setup [1] and clamp the magnetic holder of the ground electrode to the stage near the chamber [2].

    - Chamber being taped to setup

    - Talent clamping holder to electrode

  - Immerse the electrode in the bath solution [1] and mount the nanopipette into the holder [2].

    - Talent immersing electrode

    - Talent mounting nanopipette

  - Immerse the holder in the batch solution [1] and set the current to 1 nanoamp [2].

    - Talent immersing holder

    - Talent setting current

  - Use a course patch-clamp manipulator to position the nanopipette approximately above the center of the calibration standard [1] and increase the setpoint [2] while monitoring the signal from the sensor of the Z piezo actuator on an oscilloscope in a real time [3].

    - Nanopipette being positioned

    - Talent increasing setpoint

    - Shot of oscilloscope read out

  - After establishing a stable repeatable Z approach cycle [1], decrease the setpoint to the value just above the point of instability [2] and move the pipette down at a speed of approximately 5 microns/second until it reaches the sample [3].

    - Shot of repeatable Z approach cycle OR LAB MEDIA: Figure 1C

    - Talent decreasing setpoint value

    - Pipette being lowered

  - The bottom level of the real-time Z positioning signal will increase, indicating that the nanopipette is withdrawn due to “sensing” the sample surface [1-TXT].

    - Shot of bottom level signal increase TEXT: Further nanopipette movement will positive-shift Z-positioning signal

  - Taking care not to exceed the upper limit of the Z piezo actuator movement, begin imaging at low resolution [1].

    - Talent starting the imaging, with monitor visible in frame

  - Due to uneven mounting of the AFM standard, the highest point of the area of interest may be unknown. Therefore, set the amplitude of the pipette retraction to at least 200-500 nanometers [1].

    - Talent setting amplitude

  - Once the highest point of the sample in the imaging area has been identified, decrease the hop amplitude [1] and retract the pipette about 200 microns along the Z axis to prevent any undesired collision with the sample before moving it to a new X-Y location [2].

    - Amplitude being decreased

    - Pipette being retracted along Z axis, then being moved in X-Y

  - When the area of interest has been located, begin imaging at a higher resolution [1].

    - Talent staring imaging, with monitor visible in frame

- Auditory Hair Cell Imaging

  - For auditory hair cell imaging, use double-sided tape to firmly secure the chamber containing a freshly isolated organ of Corti to the X-Y piezo stage [1] and load a new nanopipette onto the holder as demonstrated [2].

    - WIDE: Talent securing chamber to stage

    - Talent loading pipette onto holder

  - After checking the nanopipette resistance, use the patch clamp micromanipulator to position the nanopipette over the hair cell region, while observing the organ of Corti explant in an inverted microscope [1].

    - Talent positioning nanopipette/observing explant on microscope

  - Record the real-time current and Z positioning signal on the oscilloscope to check if the system is stable with a setpoint of 0.5% or lower [1-TXT] and determine the optimal setpoint an approach the sample as demonstrated [2].

    - Talent recording current/signal TEXT: Decrease cutoff frequency to stabilize signal as necessary

    - Nanopipette approaching sample

  - Perform low resolution imaging of the sample as demonstrated, using a hop amplitude of at least 6-8 microns [1-TXT].

    - SCREEN: To be provided by Authors: Low resolution image being acquired TEXT: SEM imaging can be used to become familiar with organ of Corti topography

  - If the nanopipette needs to be moved to a new X-Y location, retract the pipette about 500 nanometers to avoid a collision with any tall features within the tissue [1] and repeat the low-resolution HPICM imaging until the region of interest with the hair cells is located [2].

    - Pipette being retracted/moved

    - SCREEN: To be provided by Authors: Low resolution image being acquired

  - Then image the region of interest at a higher resolution for 15 minutes or less [1] before moving to the next region, adjusting the hop amplitude as necessary [2].

    - SCREEN: To be provided by Authors: High resolution image being acquired

    - Talent moving pipette

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 169. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative HPICM Stereocilia Bundle Imaging

  - The HPICM protocol can be used to visualize any live cells with a complex topography [1], such as live rat auditory hair cell bundles [2].

    - LAB MEDIA: Figures 6A-6D

    - LAB MEDIA: Figures 6A-6D Video Editor: please emphasize Figure 6B and 6D images

  - Despite demonstrating a lower X-Y resolution compared to scanning electron microscopy images [1], HPICM images can successfully resolve the different rows of stereocilia [2], the shape of the stereocilia tips [3], and even the small, 5-nanometer links connecting the adjacent stereocilia [4].

    - LAB MEDIA: Figures 6A-6D Video Editor: please emphasize 6A, 6C, and 6E images

    - LAB MEDIA: Figures 6A-6D Video Editor: please emphasize cilia rows in Figure 6F

    - LAB MEDIA: Figures 6A-6D Video Editor: please emphasize cilia tips in Figure 6F

    - LAB MEDIA: Figures 6A-6D Video Editor: please emphasize links indicated by white arrows in Figure 6F

  - Given the non-contact nature of HPICM imaging [1], continuous time-lapse imaging of the same hair cell bundle can be performed for several hours without damaging the bundle cohesiveness [2].

    - LAB MEDIA: Figure 7A

    - LAB MEDIA: Figure 7 Video Editor: please sequentially add/emphasize Figure 7B 0, 2, 3, 4, and 6h images

  - Note that with a very low setpoint [1], the system might interpret small fluctuations in the current as encountering the cell surface, leading to “white dot” noise in the image [2].

    - LAB MEDIA: Figure 8A

    - LAB MEDIA: Figure 8A Video Editor: please emphasize white dots in left image

  - Similarly, large hop amplitudes [1] might increase the lateral resonance of the pipette, also resulting in the production of noisy pixels [2].

    - LAB MEDIA: Figure 8B

    - LAB MEDIA: Figure 8B Video Editor: please emphasize white dots in right image

  - In contrast, if the hop amplitude is too small [1] or the setpoint is too high [2], the nanopipette might collide with the sample, resulting in imaging artefacts or hair bundle damage [3].

    - LAB MEDIA: Figures 8C and 8D Video Editor: please emphasize Figure 8C

    - LAB MEDIA: Figures 8C and 8D Video Editor: please emphasize Figure 8D

    - LAB MEDIA: Figures 8C and 8D Video Editor: please add/emphasize white arrows in images

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.