## Sheet1
Complication | Diagnosis | Management | Prevention
Acute Limb Ischemia | · Clinical: Decreased or absent pulses on limb, limb pain, change in color to pale, blue. | · Internal or External percutaneous bypass, restoring antegrade flow | · Routine assessment of distal pulses
| · Imaging: Minimal or no pulse via Doppler ultrasound. | · Removal of Impella device, re-insertion at another arterial site with less vascular disease if needed for hemodynamic support | · If distal pulse is compromised, recommend creation of external or internal bypass to restore flow
· Laboratory: elevation in lactate
Vascular Pseudoaneurysm | · Clinical: large, pulsatile mass, painful at access site, +thrill/bruit | · <2-3cm, may resolve spontaneously | · Meticulous access techniques including use of Ultrasound, Fluoroscopy and micro-puncture access
| · Imaging: Doppler Ultrasound | · Ultrasound-guided thrombin injection
· Surgical intervention (rapid increase in size, peripheral neuropathy, distal/cutaneous ischemia)
Bleeding (external hematoma or internal retroperitoneal bleed) | · Clinical: hypotension despite improved cardiac output, visible hematoma, suction alarms | · If hematoma or oozing around access site, reposition angle of Impella | · Meticulous access technique with Ultrasound, Fluoroscopy and micro-puncture sheath to prevent ‘high stick’ (prevents retroperitoneal bleed) and minimize access attempts (prevents hematoma)
| · Laboratory: ↓hemoglobin | · Low-pressure balloon inflation at site of bleeding or covered stent deployment in extreme cases
| · Imaging: CT scan without contrast to diagnose retroperitoneal bleed | · Coil embolization for retroperitoneal bleed
Hemolysis | · Clinical: change in color of urine to dark yellow, brown. | · Reposition device, generally away from mitral leaflet | · Good Impella position with inlet away from mitral apparatus
| · Laboratory: ↑ plasma-free hemoglobin, lactate dehydrogenase, bilirubin. ↓ hemoglobin, haptoglobin. | · Decrease power level
· Removal of device if requiring significant blood transfusions (> 2 units) or causing renal function compromise.