Editorial comments:
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.
2. Please revise the following lines (40-46, 49-54, 57-74, 79-81,83-85) to avoid previously published work: Calibration of Vector Network Analyzer for Measurements in Radio Frequency Propagation Channels doi: 10.3791/60874 Published: June 2, 2020. Chriss Hammerschmidt1, Robert T. Johnk1, Savio Tran1]

A: We removed these lines and provided additional explanation

3. Please revise the following lines (103-110, 112-116, 121-127,129-136) to avoid previously published work: A high-performance cw mobile channel sounder subtitle as need (aper subtitle) robert johnk, chriss hammerschmidt, irena stange institute for telecommunication sciences (NTIA/ITS) U.S. department of commerce boulder laboratories boulder, colorado 80205, USA. Published in: 2017 IEEE International Symposium on Electromagnetic Compatibility & Signal/Power Integrity (EMCSI)

A: We removed these lines and provided additional explanation

4. Please revise the following lines (346-348,362-367, 372-380) to avoid previously published work: C. Hammerschmidt and R. Johnk, "Extracting clutter metrics from mobile propagation measurements in the 1755–1780 MHz band," MILCOM 2016 - 2016 IEEE Military Communications Conference, Baltimore, MD, 2016, pp. 213-218, doi: 10.1109/MILCOM.2016.7795328.

A: We removed these lines and provided additional explanation

5. The Protocol should contain only action items that direct the reader to do something. Please move the discussion about the protocol to the Introduction, Representative Results, or Discussion. This applies to lines 103-153.

A: We moved the discussion of the system to the introduction.

6. Please consider providing system set-ups (Lines 203-211, 216- 225) as Tables in separate .xls or .xlsx files uploaded to your Editorial Manager account. These tables can then be referenced in the protocol text.

A: Added .xlsx files for SA and VSA setups

7. Please highlight up to 3 pages of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol. Remember that non-highlighted Protocol steps will remain in the manuscript, and therefore will still be available to the reader.

8. Please use abbreviated forms for durations of less than one day when the unit is preceded by a numeral (“sec” must be replaced as “s”).

A: Changed to s

9. Please include a title and a description of each figure and/or table. All figures and/or tables showing data must include measurement definitions (if applicable). Please include all the Figure Legends together at the end of the Representative Results in the manuscript text.

A: Done, and defined abbreviations

10. Please ensure that each Figure Legend has a title and a short description of the data presented in the Figure and relevant symbols.

A: Done

11. Please remove the embedded figure(s) from the manuscript. All figures should be uploaded separately to your Editorial Manager account. Each figure must be accompanied by a title and a description after the Representative Results of the manuscript text.

A: Done

12. Please remove the embedded Table from the manuscript. All tables should be uploaded separately to your Editorial Manager account in the form of an .xls or .xlsx file. Each table must be accompanied by a title and a description after the Representative Results of the manuscript text.

A: Done

13. Figure 3: Please define the X and Y-axis.

A: Done

14. Figure 7: Please define “#” represented in the X-axis

A: Done

15. Figure 8 and Figure 12: Please use abbreviated forms for time units in the X-axis. (“time(sec)” must be revised as “time (s)”

A: changed them to “time (s)”

16. As we are a methods journal, please revise the Discussion to explicitly cover the following in detail in 3-6 paragraphs with citations:
a) Critical steps within the protocol
b) Any modifications and troubleshooting of the technique
c) Any limitations of the technique

Power and link budget

Distance

Range

Time delay profiles
d) The significance with respect to existing methods

longer distance measurements

local scattering
e) Any future applications of the technique

A: I think addressed all of these points in the discussion.

17. Please revise the text to avoid the use of any personal pronouns (e.g., "we", "you", "our" etc.).

A: Removed personal pronouns

~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~

Reviewers' comments:
Reviewer #1:
Manuscript Summary:
This paper presents a measurement platform for the characterization of wireless propagation. The organization of the document is clear, and it presents a detailed description of the processes for conducting a measurement campaign. The authors clearly describe lists of steps to set up the equipment and assemble the components, which enables the reproducibility of their proposal. The presented results validate the measurement platform and emphasize the features that can be analyzed for the characterization of wireless channels.

Major Concerns:
The introduction of the document does not present a big picture of the problem. Instead, the authors discuss the tasks of their agency related to the development of the measurement platform. I suggest writing a paragraph describing a more general picture of the problem.

A: We added this to the introduction in lines 80 to 106.

Minor Concerns:
The authors present lists of steps that should be conducted to set up and assemble the measurement platform. The reasons for the realization of these steps are not discussed. My suggestion is to add some paragraphs introducing the actions to be done before presenting the corresponding lists. This can help readers to understand why a component is used and how they can reproduce the experiments if they do not own similar components.

A: I think we addressed this in the Introduction lines 80 to 106. If there is something they are looking for they will have to be more specific.

Also, consider splitting the list of steps in the Measurement System Setup section. The authors could split the list into smaller lists that present the subprocesses more clearly.
The particular parameters used in the platform can be presented in tables so readers can refer easily to them.
Figure 5 shows the benchtop version of the measurement platform. Here, the signal generator is referred to as CW source/Fading simulator, which is not consistent with the text.

A: I will try to find the original photo and change the text. If not I’ll go into the lab and take another photo.

~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~

Reviewer #2:
Manuscript Summary:
The manuscript introduces a continuous-wave channel sounding system that proves to be reliable and could make accurate and unbiased propagation loss measurement result. This sounding system focus on AWS-3 band and could support other frequencies according to the manuscript, which might be quite interesting to other measurement campaign. A very good instruction on how to setup the system step by step with details, with a full list of needed technical equipment. Multiple measuremnt results are presented with graphs. However, I think this manuscript could have some improvements as listed in the confidential comments.

Line 52-54: "These arrangements will allow commercial wireless carriers to enter the AWS-3 band prior to completing the transition of military services out of the band." This seems unclear to me. Does this means commercial carriers can enter AWS-3 band if military services is not working in this band?

A: added the sentence “The use of the band will be coordinated by both isolating systems geographically and by modeling frequency interference scenarios” so hopefully this makes it clearer.

Line 90: "continusous wave (CW)". This abbreviation has already appeared in the previous Abstract section. All later texts should not repeat this.

A: deleted in later references, kept them in the figure captions because I read this is what the editor wanted, if not it needs to be clarified.

Line 185: Repeated abbreviation "UPS".

A: deleted the second instance, line 166

Line 246: Could damage the device if following steo by step (turnning on VSG before reading the warning). Should put the "Warning" before "Turn RF On of VSG".

A: Vidhya: Did you add this in lines 246-248?

Line 250 and 251: Similarly, warnings should come first or in the step of 16.1.

A: Vidhya: Did you want this in a Note?

Line 257 : Adding graph to show how is the rotation like on IQ plot if the frequencies are alligned.

A: This is what we tried to show in the figure and in the text, that is would swing back and forth. If you need further clarification, maybe you can suggest a better way to do this. I see the text was removed about how to synchronize the rubidiums, do you want me to put this back in. This step is important

Line 388: Adding equation for BTG, since this parameter is shown in Figure 11 and 12.
Figure 5: The figure is blurred.

A: Changed the figure by taking a new photograph and changing the fading simulator to VSG

Figure 13: Two blue dotted lines couldn't be easily distinguished.

A: Discussed in the test and the legend.