# Submission ID #: 62127

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18948783

Title: A Plate-Based Assay for The Measurement of Endogenous Monoamine Release in Acute Brain Slices

Authors and Affiliations: Jose A. Pino1*, Nora Awadallah2*, Alessandra M. Norris3, and Gonzalo E. Torres2

*These authors contributed equally

1Department of Medicine, School of Medicine

2Department of Molecular, Cellular, and Biomedical Sciences, City University of New York School of Medicine at City College

3Department of Pharmacology and Therapeutics, University of Florida College of Medicine

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Jose A. Pino

jose.pino@uda.cl

Gonzalo E. Torres

gtorres@med.cuny.edu

# Co-Authors:

nawadallah@ccny.cuny.edu

alessandranorris@ufl.edu

jose.pino@uda.cl

gtorres@med.cuny.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 36

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Acute Rat Brain Slice Preparation

  - To prepare brain slices from adult, 250-350-gram, male rats, after harvest, immediately place the brain in ice-cold, oxygenated dissection buffer [1-TXT] and acquire 300-micron coronal brain sections from each region of interest [2].

    - WIDE: Talent placing brain into dish, with buffer container visible in frame TEX: See text for all buffer and solution preparation details

    - Slice(s) being acquired

  - For further dissection of the brain slices, carefully move the tissues to glass slides [1] and use a rat brain atlas to identify the dorsal striatum based on its dark, striated structure [2] and to identify the hippocampus based on its proximity to the cortex [3] and its unique spiral structure [4].

    - Slice being placed onto slide

    - LAB MEDIA: Figure 1G Video Editor: please emphasize red circles in DSTR image

    - LAB MEDIA: Figure 1G Video Editor: please emphasize red outline in CTRX image

    - LAB MEDIA: Figure 1G Video Editor: please emphasize red outline in HPC image

  - Separate the right and left hemispheres for their use as control and experimental slices [1]. The dorsal striatum can be further dissected into 2-millimeter punches [2].

    - Hemispheres being separated

    - Punch being made

  - Then use a plastic transfer pipette with the tip cut off to transfer the samples into small containers immersed in oxygenated ice-cold dissection buffer with oxygen bubbling [1].

    - Talent transferring sample to bubbled buffer, with buffer container visible in frame

- Ex Vivo Endogenous Monoamine Release Induction

  - To induce monoamine release, transfer the tissue samples to each well of a custom made, 48-well efflux chamber containing 0.5-1 milliliter of efflux buffer per well with constant, gentle bubbling [1-TXT] and allow the samples to recover for 30-50 minutes at 37 degrees Celsius [2].

    - WIDE: Talent adding sample(s) to well(s), with buffer container visible in frame TEXT: See text for chamber preparation details

    - Talent placing plate at 37 °C

  - At the end of the equilibration period, move the tissue holder with brain tissue to wells containing 500 microliters of oxygenated efflux buffer with or without pharmacological agent, tapping the holder on the edge of the well to prevent minimal transfer of buffer between wells [1-TXT], for a 20-minute incubation at 37 degrees Celsius [2].

    - Holder being moved/tapped TEXT: Test all experimental conditions in triplicate

    - Talent placing plate at 37 °C

  - At the end of the incubation, move the holder to a new set of wells containing 500 microliters of efflux buffer with or without the drug of interest [1] and return the plate to the cell culture incubator for an additional 20 minutes [2].

    - Talent moving holder

    - Talent placing plate at 37 °C

  - During this second incubation, transfer the solution from the wells from the first incubation into microcentrifuge tubes containing 50 microliters of 1-Normal perchloric or phosphoric acid on ice [1] and label the tubes number 1 [2].

    - Talent transferring solution to tube(s) on ice, with acid container visible in frame

    - Talent labeling tubes OR Shot of tubes on ice labeled “1”

  - At the end of the second incubation, move the tissue holder to empty wells with the plate on ice [1] and transfer the supernatants from the second incubation to new microcentrifuge tubes containing 50 microliters of 1-Normal perchloric or phosphoric acid on ice [2]. Label these tubes number 2 [3].

    - Talent moving holder

    - Talent transferring solution to tube(s) on ice, with acid container visible in frame

    - Talent labeling tubes OR Shot of tubes on ice labeled “2”

  - When all of the supernatants have been transferred, add 1 milliliter of ice-cold dissection butter to each well of tissue [1] and use small tweezers to transfer each tissue sample to a new microcentrifuge tube [2].

    - Talent adding buffer to well(s), with buffer container visible in frame

    - Talent adding tissue to tube(s)

  - Remove the buffer from the sample tubes [1] and store the tissues at minus 80 degrees Celsius [2].

    - Talent aspirating buffer

    - Talent placing tube(s) at -80 °C

  - Then transfer the collected incubation solutions into microcentrifuge filter tubes for centrifugation [1-TXT] and place the filtrate on ice until HPLC analysis [2-TXT].

    - Talent adding solution to filter tube TEXT: 2 min, 2500 x g, RT

    - Talent placing tube(s) on ice TEXT: HPLC: high pressure liquid chromatography

- 3-(4,5-dimethylthiazol-2-yl)-2,5-diphenyltetrazolium bromide (MTT) Viability Assay

  - To assess the viability of the tissue samples at the end of the experiment, incubate one half of the tissue samples in 1% Triton X-100 in efflux buffer as a control [1] and incubate the second half in efflux buffer for 20 minutes at 37 degrees Celsius [2].

    - WIDE: Talent adding sample(s) to container(s), with Triton X-100 container visible in frame

    - Talent adding sample(s) to containers, with efflux buffer container visible in frame

  - At the end of the incubation, add MTT (M-T-T) to both groups to a final concentration of 0.5 milligrams/milliliter to each group of samples [1] and incubate the samples for an additional 20 minutes [2].

    - Talent adding MTT to sample(s), with MTT container visible in frame

    - Talent placing sample(s) at 37 °C

  - At the end of the incubation, wash the samples with PBS [1] before transferring each tissue to individual microcentrifuge tubes containing a 250-microliter mixture of SDS (S-D-S), DMF (D-M-F), and water for a 24-hour incubation at room temperature [2-TXT].

    - Talent washing sample(s), with PBS container visible in frame

    - Talent adding sample to tube, with SDS and DMF containers visible in frame TEXT: SDS: sodium dodecyl sulfate; DMF: N,N-dimethylformamide

  - The next day, sediment the samples by centrifugation [1-TXT] and use a microplate reader to measure the absorbance of the supernatants at 562 and 690 nanometers [2-TXT].

    - Talent adding tube(s) to centrifuge TEXT: 10 min, 10,000 x g, RT

    - Talent loading sample(s) onto microplate reader TEXT: Viability: (A562–A690)/tissue weight

- HPLC Analysis

  - To quantify the monoamine release from each experimental sample, set the potential of the electrochemical detector to 0.46 Volts [1] and the flow rate to 0.05 milliliters/minute [2].

    - WIDE: Talent setting detector voltage

    - Talent setting flow rate

  - Load an appropriate aliquot of each sample, including neurotransmitter standards, into the HPLC for autoinjection and detection [1] and allow the instrument to complete the analysis [2].

    - Talent loading sample(s)

    - Talent starting analysis

  - Then use the HPLC analysis software to acquire and analyze the chromatograph data using a standard curve composed of each monoamine to obtain the area under the curve based on the manufacturer’s guidelines [1].

    - Talent at computer, analyzing data, with monitor visible in frame

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 163. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Endogenous Monoamine Release in Acute Brain Slices

  - After 6 hours of functional analysis [1], tissue samples remain viable [2], while samples incubated with 1% Triton X-100 demonstrate a significant reduction in MTT transformation [3].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please emphasize black data bars

    - LAB MEDIA: Figure 3 Video Editor: please emphasize grey data bars

  - Acute, 20-minute treatment of hippocampal and prefrontal cortex brain sections with amphetamine [1] induces a significant increase in the extracellular level of each monoamine [2].

    - LAB MEDIA: Figures 4A and 4B

    - LAB MEDIA: Figures 4A and 4B Video Editor: please emphasize medium grey data bars in each graph and/or appropriate brackets and asterisks

  - When the samples are pretreated with fluoxetine, a selective-serotonin reuptake inhibitor, the amphetamine-induced increase in extracellular serotonin within the hippocampus and the prefrontal cortex does not occur [1], while the increase in extracellular dopamine and norepinephrine production is not affected [2].

    - LAB MEDIA: Figures 4A and 4B Video Editor: please emphasize AMPH+Fluox data bars in 5-HT graphs and/or appropriate brackets and asterisks

    - LAB MEDIA: Figures 4A and 4B Video Editor: please emphasize AMPH+Fluox data bars in NE and DA graphs and/or appropriate brackets and asterisks

  - In addition, acute, 20-minute treatment of dorsal striatum punches with amphetamine induces a 35-fold increase in extracellular dopamine levels expression [1], while dorsal striatum punch treatment with cocaine, a monoamine transporter blocker, results in a significant inhibition of amphetamine-induced extracellular dopamine [2].

    - LAB MEDIA: Figure 4C Video Editor: please emphasize medium grey data bar and/or appropriate bracket and asterisks

    - LAB MEDIA: Figure 4C Video Editor: please emphasize cocaine data bar and/or appropriate bracket and asterisks

  - Increasing the concentration of extracellular potassium chloride to evoke membrane depolarization [1] is sufficient to induce the exocytotic release of monoamines compared [2] to untreated control conditions [3] and neither fluoxetine [4] nor cocaine treatment blocks this depolarization-induced increase [5].

    - LAB MEDIA: Figure 5

    - LAB MEDIA: Figure 5 Video Editor: please emphasize medium grey data bars and/or appropriate brackets and asterisks

    - LAB MEDIA: Figure 5 Video Editor: please emphasize control data bars

    - LAB MEDIA: Figure 5 Video Editor: please emphasize light grey KCl+Fluox and KCl+Cocaine data bars and/or appropriate brackets and asterisks

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.