TITLE:

Sarcomere Shortening of Pluripotent Stem Cell-Derived Cardiomyocytes Using Fluorescent-tagged Sarcomere Proteins.

AUTHORS AND AFFILIATIONS:

Razan E Ahmed1,*, Nawin Chanthra1,*, Tatsuya Anzai1,2, Keiichiro Koiwai3,4, Tomoki Murakami4, Hiroaki Suzuki4, Yutaka Hanazono1, Hideki Uosaki1

1Division of Regenerative Medicine, Center for Molecular Medicine, Jichi Medical University, Tochigi, Japan

2 Department of Pediatrics, Jichi Medical University, Tochigi, Japan

3 Institute of Global Innovation Research, Tokyo University of Agriculture and Technology, Tokyo, Japan

4 Department of Precision Mechanics, Faculty of Science and Engineering, Chuo University, Tokyo, Japan

* The authors equally contributed

Corresponding Author:

Hideki Uosaki

uosaki.hideki@jichi.ac.jp

Tel: +81-285-58-7450

Email Addresses of Co-authors:

Razan E Ahmed	(d2029@jichi.ac.jp)

Nawin Chanthra	(nawin2020@jichi.ac.jp)

Tatsuya Anzai		(r1204at@jichi.ac.jp)

Keiichiro Koiwai	(koiwai@go.tuat.ac.jp)

Tomoki Murakami	(murakami@nano.mech.chuo-u.ac.jp)

Hiroaki Suzuki		(suzuki@mech.chuo-u.ac.jp)

Yutaka Hanazono	(hanazono@jichi.ac.jp)

KEYWORDS:

Pluripotent stem cell, cardiomyocyte, sarcomere shortening, live imaging, fluorescent-tagged sarcomere proteins, microcontact printing

SUMMARY:

We summarized the method to examine sarcomere shortening using pluripotent stem cell-derived cardiomyocytes with fluorescent-tagged sarcomere proteins.

ABSTRACT:

Pluripotent stem cell-derived cardiomyocytes (PSC-CMs) can be produced from both embryonic and induced pluripotent stem (ES/iPS) cells. These cells provide promising sources for cardiac disease modeling. For cardiomyopathies, sarcomere shortening is one of the standard physiological assessments that are used with adult cardiomyocytes to examine their disease phenotypes. However, the available methods are not appropriate to assess the contractility of PSC-CMs as they have underdeveloped sarcomere that is invisible under phase-contrast microscopy. To address the issue and perform sarcomere shortening with PSC-CMs, we describe fluorescent-tagged sarcomere proteins and fluorescent live-imaging. Thin Z-lines and M-line reside at both ends and the center of a sarcomere, respectively. We tagged Z-line proteins—α-Actinin (ACTN2), Telethonin (TCAP), and actin-associated LIM protein (PDLIM3), and M-line protein—Myomesin-2 (Myom2) with fluorescent proteins. These tagged proteins can be expressed from endogenous alleles as knock-ins or from adeno-associated viruses (AAVs). Here, we introduce the methods to differentiate mouse and human pluripotent stem cells to cardiomyocytes, produce AAVs, and perform and analyze live-imaging. We also describe the methods of producing polydimethylsiloxane (PDMS) stamps for a patterned culture of PSC-CMs, which facilitates the analysis of sarcomere shortening with fluorescent-tagged proteins. To assess sarcomere shortening, time-lapse images of the beating cells at a high framerate (50–100 frames per second) were recorded under the electrical stimulation (0.5–1 Hz). To analyze sarcomere length over the course of cell contraction, the recorded time-lapse images were subjected to SarcOptiM, a plug-in for ImageJ/Fiji. Our strategy would provide a simple platform to investigate the cardiac disease phenotypes in PSC-CMs.

INTRODUCTION:

Cardiovascular diseases are the leading cause of mortality worldwide1, and cardiomyopathy represents the third cause of cardiac-related deaths2. Cardiomyopathy is a collective group of diseases, affecting cardiac muscles. The recent developments of induced pluripotent stem (iPS) cells and directed-differentiation of iPS cells toward cardiomyocytes (PSC-CMs) have opened the door for studying cardiomyocytes with patient genome as in vitro model of cardiomyopathy. These cells can be used to understand the pathophysiology of cardiac diseases, elucidate their molecular mechanisms, and to test different therapeutic candidates3. There is a tremendous amount of interests, thus, patient-derived iPS cells have been derived—e.g. hypertrophic cardiomyopathy (HCM)4, 5, arrhythmogenic right ventricular cardiomyopathy (ARVC)6, dilated cardiomyopathy (DCM)7, and mitochondrial-related cardiomyopathies8, 9. Because one of the characteristics of cardiomyopathy is dysfunction and disruption of sarcomeres, a valid tool that uniformly measures sarcomere function is in need.

Sarcomere shortening is the most widely used technique to assess the sarcomere function and contractility of adult cardiomyocytes derived from animal models and humans. To perform sarcomere shortening, well-developed sarcomere that can be visible under phase-contrast is required. However, PSC-CMs cultured in vitro display underdeveloped and disorganized sarcomeres, and it is unable to properly measure sarcomere shortening10. This difficulty to properly assess the contractility of PSC-CMs hinders their usage as a platform to assess cardiac functions in vitro.  To assess PSC-CMs contractility indirectly, atomic force microscopy, micro-post arrays, traction force microscopy, and impedance measurements are used to measure the effects of the motion exerted by those cells on their surroundings11–13. More sophisticated and less invasive video-microscopy recording actual cellular motion (e.g. SI8000 from SONY) can be used to alternatively assess the contractility, however, it doesn’t directly measure sarcomere motion nor force generation kinetics14.

To directly measure sarcomere motion in PSC-CMs, new approaches such as fluorescent-tagging to sarcomere protein are emerging. For example, Lifeact is used to label filamentous actin (F-actin) to measure sarcomere motion15, 16. Genetically modified iPS cells are another option to tag sarcomere protein—e.g. α-actinin (ACTN2) and Myomesin-2 (MYOM2)—by fluorescent protein17–19.

In this paper, we describe the details of how to perform time-lapse imaging for measuring sarcomere shortening using Myom2-TagRFP (mouse embryonic stem [ES] cells) and ACTN2-mCherry (human iPS cells). We also show that a patterned culture facilitates the sarcomere alignment. In addition, we describe an alternative method of sarcomere labeling, using adeno-associated viruses (AAVs), which can be widely applied to patient-derived iPS cells.

PROTOCOL:

- Differentiation of Mouse Pluripotent Stem Cells

  - Maintenance of mouse ES cells.

    - Maintenance medium: Mix 50 mL of fetal bovine serum (FBS), 5 mL of L-alanine-L-glutamine, 5mL of non-essential amino acid (NEAA), 5 mL of 100 mM Sodium Pyruvate, 909 μl of 55 mM 2-Mercaptoethanol to 450 mL of Glasgow Minimum Essential Medium (GMEM). Supplement Leukemia inhibitory factor (LIF), CHIR-99021, and PD0325901 at the final concentration of 1000 U/mL, 1 μM, and 3 μM, respectively. Sterilize the medium through a 0.22-μm filter.

    - 10% FBS medium: Mix 55 mL of FBS, 5.5 mL of L-alanine-L-glutamine , 5.5 mL of Sodium Pyruvate, and 5.5 mL of NEAA to 500 mL of Dulbecco's Modified Eagle Medium (DMEM) high glucose. Filtrate the medium through a 0.22-μm filter to sterilize.

    - Culture SMM18 mouse ES cells, in which TagRFP was knocked into Myom2 locus, on a gelatinized 6-cm dish in the maintenance medium as previously described18. Passage every 2–3 days.

  - Preparation of serum-free differentiation (SFD) medium:

    - Basal SFD: Mix 250 mL of Ham’s F-12, 750 mL of Iscove's Modified Dulbecco's Medium (IMDM), 10 mL of B27 supplement minus Vitamin A, 5 mL of N2 supplement, 10 mL of L-alanine-L-glutamine, 5 mL of 10% bovine serum albumin in phosphate-buffered saline (PBS), 10 mL of penicillin and streptomycin (10,000 U/mL). Filtrate through 0.22 μm filter to sterilize.

    - Dissolve ascorbic acid at 5 mg/mL in distilled water and filtrate through 0.22 μm to sterilize.

    - Dilute 13 μL of 1-Thioglycerol to 1 mL of IMDM. Herein, refer to this diluted 1-Thioglycerol as MTG.

    - Add 10 μl of ascorbic acid (5 mg/mL) and 3 μl of MTG to 1 mL of basal SFD on the day of use.  Herein, refer to this mixture as complete SFD.

  - Day 0, embryoid body (EB) formation for differentiation:

    - Harvest SMM18 mouse ES cells with a recombinant trypsin-like protease (rTrypsin) and count cell number.

    - Centrifuge 5 x 105 cells at 300 x g for 3 min in 4 °C, resuspend in 10 mL of complete SFD, and seed into a 10-cm petri dish. Culture the cells at 37 °C and 5% CO2 for 50 h.

  - Differentiation day 2:

    - Add Activin A, human vascular endothelial growth factor (hVEGF), and bone morphogenetic protein 4 (BMP4) to complete SFD at the final concentration of 5 ng/mL, 5 ng/mL, and 1.9 ng/mL, respectively.

Note: BMP4 concentration might differ depending on the lots of BMP4. Test several concentrations in a small-scale trial prior to use a new lot and define the best concentration for cardiac differentiation.

    - Transfer EBs from a petri dish into a 15-ml tube and centrifuge at 50-100 x g for 3 min at 4 °C.

    - Meanwhile, add the medium prepared in step 1.4.1 to the petri dish to protect the remaining EBs being dry.

    - Aspirate the supernatant from the 15-mL tube, resuspend the EBs with the medium in the petri dish, and transfer back to the dish. Then, cultivate the EBs at 37 °C and 5% CO2 for 46 h.

  - Differentiation day 4:

    - Gelatinize a 10-cm tissue culture-treated dish with 5 to 10 mL of 0.1% gelatin for at least 5 min. Aspirate gelatin right before seeding the cells.

    - Prepare medium: Mix basic fibroblast growth factor (bFGF), FGF10, and hVEGF to complete SFD at the final concentration 5 ng/ml, 25 ng/ml, and 5 ng/ml respectively. For a 10-cm dish, prepare 10 mL.

    - Transfer cells in the petri dish to a 15-ml tube. Add 5 ml of PBS to the petri dish, wash several times, and transfer to the 15-mL tube to collect the remaining cells. Centrifuge at 50–100 x g, 4 °C, 3 min.

    - Aspirate supernatant, add 1 ml of rTrypsin, and incubate at 37 °C for 3 min.

    - Vortex briefly to dissociate EBs, add 9 ml of 10% FBS medium, vortex again, and count cell number.

    - Centrifuge 1.5 x 107 cells at 300 x g, 4 °C for 3 min, resuspend with the media prepared in step 1.4.2, and seed into the gelatinized dish. Incubate at 37 °C and 5% CO2 for 2 days.

Note: By day 7 or 8, extensive beatings of PSC-CMs can be observed.

  - Drug selection at differentiation day 7 and 9: Refed the media with puromycin (2 μg/mL at the final concentration) to eliminate non-cardiomyocytes at day 7 and 9 of differentiation.

Note: Parental line of SMM18 is syNP4 mouse ES cells, harboring NCX1 promoter-driven puromycin-resistant gene20.

  - Day 10, replate for future experiments:

    - Coat a glass-bottom culture plate or a 35-mm imaging dish with a polymer coverslip with 0.1% Gelatin. To enhance maturation, coat the dishes with laminin-511 E8 fragment (LN511-E8) at 1 μg/cm2 for 30 min to 1 h at the room temperature18. To culture PSC-CMs in desired patterns, please refer to steps 4 and 5 for preparing polydimethylsiloxane (PDMS) stamps.

    - To harvest SMM18 PSC-CMs, wash the dish twice with PBS, then apply 1 mL of rTrypsin, and incubate 3 min at 37 °C.

    - Collect cells to 9 mL of 10% FBS medium, suspend, and count the cell number. Plating cell number is 50,000–100,000 cells in a well of a 24-well plate, and 250,000–500,000 cells in a 35-mm imaging dish.

    - Centrifuge a sufficient number of cells (300 x g, 3 min), resuspend them with complete SFD supplemented with FBS (final concentration at 10%).

    - Incubate overnight, and change culture medium to complete SFD with puromycin.

    - From day 14, change culture medium two to three times a week with complete SFD until day 21–28 when Myom2-RFP becomes prominent. For AAV-based transduction of fluorescent-tagged sarcomere proteins, please refer to Step 3.

- Differentiation of Human Pluripotent Stem Cells

  - Preparation of differentiation media:

    - RPMI+B27-Ins: mix 500 ml of RPMI 1640 medium, 10 ml of B27 minus insulin, and 5.25 mL of L-alanine-L-glutamine.

    - RPMI+B27+Ins: mix 500 ml of RPMI, 10 ml of B27 supplement, and 5.25 mL of L-alanine-L-glutamine.

  - Maintenance of human iPS cells:

    - Passage human iPS cells twice a week with AK02N on LN511-E8 following previously published method with some modifications21.

    - Harvest cells with a 3-min treatment of rTrypsin and collect into 10% FBS medium. Count cells and centrifuge down at 300 x g for 3 min at 4 °C. Seed 75,000–125,000 cells in a well of 6-well plate with 2 mL of AK02N supplemented with LN511-E8 and Y27632 at the final concentration of 0.5 μg/ml (0.1 µg/cm2) and 10 μM, respectively.

    - Incubate at 37 °C and 5% CO2 and change the medium on the following day with 2 ml of AK02N without any supplement. Change media every two to three days and passage every three to four days.

  - Day –4, replate prior to differentiation:

    - Coat a 6-well plate with 0.5 μg/cm2 of LN511-E8 diluted in PBS. Then, incubate for at least 30 min at 37 °C and 5% CO2 or 1h at room temperature. Aspirate coating solution right before seeding cells.

    - Harvest human iPS cells with rTrypsin and count cell number as Step 2.2.2.

    - Centrifuge 1.25 x 105 cells for a well of a 6-well plate at 300 x g for 3 min at 4 °C and resuspend in 2 ml of AK02N supplemented with LN511-E8 (final concentration 0.5 μg/ml or 0.1 µg/cm2) and Y27632 (final concentration 10 μM) per well.

    - Aspirate coating solution and seed resuspended cells into the coated plate, incubate at 37 °C and 5% CO2.

  - Day –3 and –1, refed the media with 2 mL of AK02N.

  - Day 0: Change the medium to 2 ml of RPMI+B27-Ins supplemented with CHIR99021 (final concentration 6 μM) per well to start differentiation.

  - Day 2: Change the medium to 2 ml of RPMI+B27-Ins with WntC59 (final concentration 2 μM) per well.

  - Day 4: Change the medium to 2 ml of RPMI+B27-Ins per well.

  - Day 7 and day 9, medium change to 2 ml of RPMI+B27+Ins with puromycin (final concentration 10 μg/ml) per well to selectively culture PSC-CMs.

Note: ACTN2-mCherry line, we used in this study, has a cassette of internal ribosomal entry site (IRES) and puromycin-resistant gene inserted to 3′-untranslated region (UTR) of TNNT2 locus, and mCherry replacing the stop codon of ACTN2. To purify cardiomyocyte without knock-in, please refer to Step 3 and 4.

  - Day 10, replate for future experiments:

    - Coat a 35-mm imaging dish with a polymer coverslip with 0.5–1 μg/cm2 of LN511-E8 diluted in 0.1% Gelatin. Incubate 2–4 h at room temperature for the long-term viability. To culture PSC-CMs in desired patterns, please refer to steps 4 and 5 for preparing PDMS stamps.

    - To harvest human PSC-CMs, wash the dish twice with PBS, then apply 1 mL of rTrypsin to a well, and incubate 3 min at 37 °C.

    - Collect cells to 4 mL of 10% FBS medium, suspend, and count the cell number. Plating cell number is 250,000–500,000 cells in a 35-mm imaging dish.

    - Centrifuge a sufficient number of cells at 300 x g for 3 min at 4 °C, resuspend them with RPMI+B27+Ins with puromycin (10 μg/ml), and plate them on the coated 35-mm imaging dish.

    - Incubate overnight, and change culture medium to RPMI+B27+Ins with puromycin (10 μg/ml).

    - From day 14, change culture medium two to three times a week with RPMI+B27+Ins until day 21–28 for imaging. For AAV-based transduction of fluorescent-tagged sarcomere proteins, please refer to Step 3.

- Fluorescent Labeling of Sarcomere Using Adeno-associated Viruses

  - Preparation before AAV production:

    - Maintain HEK293T cells in DMEM supplemented with FBS (final concentration 10%) on a 10-cm tissue culture plate. Passage cells three-time a week.

    - Prepare polyethylenimine (PEI) at 1 mg/mL. Mix 50mg of polyethylenimine MAX 40000 and 40 mL of ultrapure water. Adjust pH to 7.0 using 1N NaOH. Then, make it up to 50 mL with ultrapure water, and filtrate through a 0.25-μm filter.

    - Prepare a shuttle vector with a sarcomere labeling gene, e.g. TCAP or PDLIM3 fused with a green fluorescent protein (GFP), driven by a cardiomyocyte-specific promoter, such as cardiac troponin T (cTNT) promoter22.

Note: For this instance, we used monomeric enhanced GFP with mutations of V163A, S202T, L221V23.

  - Day 0, passage HEK cells: When cells reach to confluent, passage 2.0x107 HEK293T cells to a 15-cm tissue culture plate with 20 mL of DMEM with 10% FBS.

  - Day 1, transfection:

    - Mix 13.5 μg of the shuttle vector, 26 μg of pHelper (a vector coding E2A, E4, and VA of adenovirus), 16.5 μg of pRC6 (a vector coding AAV2 Rep and AAV6 Cap genes), and 1 mL of DMEM without sodium pyruvate (DMEM-Pyr).

    - Mix 224 μL of PEI (1mg/mL, prepared in step 3.1.2) and 776 μL of DMEM-Pyr.

    - Mix and incubate the plasmid solution and the PEI solution at room temperature for 30 min.

    - Add the plasmid/PEI solution to the HEK293T cells prepared in step 3.2.

  - Day 2, medium change: At 24 h after transfection, change medium to DMEM-Pyr. Culture cells until harvesting AAV on day 7. AAV will be released into the culture media.

  - Day 7, AAV collection, concentration, and buffer substitution using minimal purification method24:

    - Incubate a centrifugal ultrafiltration unit (100k molecular weight cut-off [MWCO]) with 5 mL of 1% BSA in PBS at room temperature for 15 min. Then, centrifuge the ultrafiltration unit at 500 x g for 2 min, and aspirate both filtered solution and remaining solution.

    - Transfer medium from the 15-cm dish that produced AAV to a new 50-mL conical tube and centrifuge (500 x g, 5 min). Filtrate the supernatant through a 0.45-μm syringe filter for removing cell debris and apply it to the ultrafiltration unit.

    - Centrifuge at 2,000 x g for 90 min or until concentrating the culture supernatant 0.5 to 1 mL.

    - Aspirate filtered medium and apply 15 mL of PBS to the ultrafiltration unit.

    - Repeat centrifugation until the concentrate becomes 0.5–1 mL.

    - Repeat 3.5.4 and 3.5.5 again.

    - Transfer concentrated AAV to a new 1.5 mL tube and store at 4 °C or -20 °C.

Note: AAV can be used in P1 facilities but follow local rules and regulations.

Note: AAV can be produced by conventional methods as well.

  - Calculation of AAV titer:

    - Mix 5 μL of AAV, 195 μL of DMEM-Pyr, and 10 U of benzonase, and incubate at 37 °C for 1 h.

    - Add 200 μL of proteinase K buffer (0.02 M Tris HCl and 1% SDS) and 5 μL of proteinase K (20 mg/mL) and incubate at 37 °C for 1 h.

    - CAUTION: Add 400 μL of 25:24:1 Phenol/chloroform/isoamyl alcohol, vortex for 1 min, and centrifuge at 20,000 x g for 1 min.

    - Transfer 200 μL of the aqueous phase to a new 1.5-mL tube, which yields approximately half of the original AAV genomes.

    - Add 1 μL of Glycogen (20 mg/mL) and 20 μL of 3 M CH3COONa (pH 5.2), and vortex. Add 250 μL of 2-Propanol and 100 μL of 100% ethanol, and vortex again.

    - Incubate at -80 °C for 15 min, then centrifuge at 20,000 x g for 30 min at 4 °C.

    - Aspirate supernatant and replace it with 70% ethanol. Then, centrifuge at 20,000 x g, 4 °C for 5 min.

    - Aspirate supernatant and air dry until the pellet becomes clear.

    - Add 200 μL of Tris-Ethylenediaminetetraacetic acid (TE; pH 8.0) to resolve the AAV genomes. Then, dilute the sample 100-fold with TE.

    - Prepare a standard with pAAV-CMV-Vector at 6.5 ng/μL with TE, which equals to 109 vector genomes (vg)/μL. Then, make a series of 10-fold dilution for 104 to 108 with TE.

    - Mix 1 μL of sample DNA (or the standards), 0.4 μL of primers (5 μM), 3.6 μL of distilled water, and 5 μL of SYBR Green master mix. Primers, located on ITR, are 5′-GGAACCCCTAGTGATGGAGTT-3′ and 5′-CGGCCTCAGTGAGCGA-3′.

    - Perform real-time PCR with the following condition: Initial denature at 95 °C for 60 s, and then 40 cycles of denaturing at 95 °C for 15 s and annealing and extension at 60 °C for 30 s, followed by melting curve.

    - Based on the standards and Ct values, a real-time PCR machine provides the copy number of vector genome in 1 µL of a sample. Calculate original AAV titer using the following equation: a copy number provided by real-time PCR (vg/μL) x 8 x 103  x 2, wherein 8 x 103  as a dilution factor during AAV genome isolation, and 2 as the difference factor of AAV (single strand) and plasmid (double strand).

  - Transduction to PSC-CMs:

    - Count cell number of PSC-CMs in an extra well or an extra dish.

    - Dilute AAVs (1x104 to 1x106 vg/cell) to make up 50 µL with PBS. Apply AAVs at the multiplicity of infection (MOI) of 1x104 to 1x106 vg/cell  to PSC-CMs and culture PSC-CMs for 3 days with AAV in the corresponding differentiation media for mouse and human PSC-CMs, then change media to normal ones without AAV.

    - Use PSC-CMs for live-cell imaging after 7 days or more post-transduction.

- [Optional] AAV-based purification of PSC-CMs

  - Preparation of AAV:

    - Prepare AAV as following the steps described in Step 3 using a shuttle vector expressing blasticidin-resistant gene under the control of cTNT promoter.

  - Transduction to differentiating iPS cells:

    - Differentiate human iPS cells for 4 days following the protocol described in Step 2 and count the number of cells in an extra well.

    - After changing media at day 4, apply AAVs at the MOI of 1x105 vg/cell to differentiating PSCs in RPMI+B27-Ins media.

    - At day 7, refresh media with RPMI+B27+Ins and add 2.5-10 µg/mL of blasticidin.

    - At day 10, PSC-CMs are ready to replate.

- Preparation of PDMS stamps

  - Design the device pattern of 200 µm strips along with 10–25 µm grooves in between the strips using a computer-aided design (CAD) drawing software.

  - Draw the pattern of devices onto a chromium photomask coated with AZP1350 by using UV light of a maskless lithography tool.

  - Develop the pattern on the photomask in a series of positive photoresist developer, Chromium etchant, and rinse with DI water.

  - Dehydrate a silicon wafer by baking it on a hot plate at 120 °C for 15 min.

  - Allow the wafer to cool to room temperature, and then spin-coat a negative photoresist SU-8 3010 to make a height of 10–20 µm with 1,500 rpm for 30 sec using a spin-coater.

  - Soft bake the wafer in two steps on a hot plate according to the manufacturer's protocol.

  - After the wafer cooled to room temperature, load the wafer onto the mask aligner.

  - Using a mask aligner, align the mask on the wafer and expose the wafer to UV light.

  - Conduct the post-exposure bake to the wafer in two steps on a hot plate according to the manufacturer's protocol.

  - Develop the wafer in a series of SU-8 developer and 2-Propanol, then dry the wafer with a nitrogen stream.

  - Transfer the wafer into a petri dish of a suitable size.

  - Mix PDMS elastomer and its curing agent in a ratio 10:1 w/w, and pour it into the Petri dish.

  - Degas the PDMS in a desiccator until all air bubbles disappear, then cure the PDMS on a hot plate at 80 °C for 2 h.

  - Peel the cured PDMS off from the master mold using a tweezer, then cut out the portion with the design to be a PDMS stamp.

Note: Shape can be square, however, an octagonal shape transfers the pattern better at the edge.

- Patterned Culture of Pluripotent Stem Cell-derived Cardiomyocytes

  - Remove dust from the surface of PDMS stamps using mending tape.

  - Submerge the stamps into 70% ethanol to sterilize. Then, blow ethanol off the surface of the stamps using an air duster.

  - Apply 5–10 µL of 0.5wt% 2-methacryloyloxyethyl phosphorylcholine (MPC) polymer/ethanol on the surface of PDMS stamps.

Note: Uneven distribution of MPC polymer may cause a disrupted pattern.

  - Incubate 10–30 min until MPC polymer is completely dried.

  - Place the stamps in contact with coverslips of a glass-bottom culture plate or a 35-mm imaging dish with a polymer coverslip, and put a weight (e.g. a AAA battery) on a stamp for 10 min.

  - Remove the weight and stamps. Then, confirm the pattern is transferred under microscope.

Note: Stamped plates/dishes can be stored up to 1 week at room temperature.

  - Wash the stamped wells/dishes with PBS for 2-times.

  - Dilute LN511-E8 with PBS at 2–4 μg/mL and coat the dish with LN511-E8 at 0.5–1 μg/cm2. For human PSC-CMs, dilute LN511-E8 with 0.1% gelatin solution instead of PBS. Then, incubate for at least 1 h (optimally, more than 4 h).

  - Plate cells as described in the previous sections.

- Time-lapse Imaging of Sarcomere Under Fluorescent Microscope

  - Turn on and connect the microscope, associated computer, and also all of the required peripherals.

  - Perform time-lapse imaging: Capture time-lapse images with the highest magnification (100X objective lens with oil emersion)..

  - Select live-imaging conditions. To obtain good representative data, try to adjust to the highest framerate (minimum of 20 ms or 50 frames per second is recommended). Set the shutter open and apply a necessary binning (4 X 4) and a crop of the acquisition area to achieve the shortest intervals between images during the time-lapse imaging.

Note: The setting may vary depending on the configurations of microscopes. The camera needs to be high-sensitivity and is able to transfer the data to the connected PC fast enough. To this end, we used ORCA flash with Camera-link. We have tested a spinning confocal microscopy, and acquired images at 400 frames per second.

    - [Optional] If the beating rate of the cells is low, evoke the cells by electrical field stimulation.

  - Run the time-lapse record:

    - Ensure that the imaged fields remain in focus during recording the time-lapse image.

    - Save the time-lapse images into an appropriate folder.

- Analysis of Time-lapse Imaging Using SarcOptiM, an ImageJ/Fiji Plugin

  - Load a series of time-lapse images into ImageJ. For Olympus VSI format, open files through OlympusViewer Plugin.

  - Adjust brightness and contrast of the image to observe the sarcomere pattern clearly (Image -> Adjust -> Brightness/Contrast).

  - Open SarcOptiM by clicking “More tools” menu (>>), and then selecting “SarcOptiM”.

  - Calibrate the program by pressing CTRL+SHIFT+P and “1 µm” button on the toolbar, and following the instructions of the dialog boxes.

  - Draw a line across the region of the sarcomere that will be measured the sarcomere shortening.

  - Start sarcomere shortening analysis by pressing “SingleCell (AVI)” button on the toolbar. Representative data is shown in Figure 1 and Figure 2.

REPRESENTATIVE RESULTS:

Measuring sarcomere shortening using knock-in PSC-CMs reporter lines.

We used sarcomere-labeled PSC-CMs to measure sarcomere shortening. The lines express Myom2-RFP and ACTN2-mCherry from endogenous loci. TagRFP was inserted to Myom2, coding M-protein that localize to M-line, while mCherry was knocked-in to ACTN2, coding α-Actinin that localize to Z-line18, 25. Time-lapse images were obtained and used to determine sarcomere shortening as presented in Figures 1, 2, and Movie 1–3.

To overcome the disorganized sarcomere of PSC-CMs, we used specific PDMS stamps to culture PSC-CMs in the stripe pattern. This patterned culture promoted elongated cell shape and a more organized sarcomere pattern compared to the cells that culture in the non-pattern area (Figure 2B and C). With this advantage, the patterned culture promoted better contraction of the cells and provided a smooth sarcomere length profile as shown in Movie 2, 3, and Figure 2D.

Fluorescent tagging of Z-line protein using AAV vectors.

To visualize the Z-line of PSC-CMs without generating knock-in iPS cells, we expressed fluorescent-tagged Z-line proteins using AAV transduction. We tagged two of small Z-line proteins, Telethonin (TCAP) and Actin-associated LIM protein (PDLIM3) with GFP, and packaged them using the AAV6 capsid (Figure 3A). Once PSC-CMs were differentiated and purified, we transduced AAVs to PSC-CMs (Figure 3B). The transduced PSC-CMs expressed sarcomeric GFP signals along the PSC-CMs as early as three days post-transduction (Figure 3C-D). Typically, the transduction of AAV at the MOI of 105 vg/cell is sufficient to visualize fluorescent-tagged sarcomere proteins, and a higher titer may cause non-specific localization of GFP to cytoplasm though it increases overall GFP intensity.

Purification of PSC-CMs using AAV vectors.

Current method relies on the drug selection cassette that is already on the genome of PSC-CMs, either transgenic or knock-in line. However, it is labor-intensive to produce such a line from each of patient-derived iPS cells. As we demonstrated that AAV vectors drive the expression of fluorescent-labeled Z-line proteins without the need for knock-in, we sought to establish the purification method without knock-in as well (Figure 4). To this end, we constructed a new AAV vector, which encode blasticidin-resistant gene under the control of cTNT promoter (Figure 4A). The AAV (MOI of 105 vg/cell) was transduced to differentiating human iPS cells at day 4, then cells were treated with 2.5-10 µg/mL of blasticidin (need to titrate for each cell line) between days 7 and 9 (Figure 4B). At day 14, the purity of PSC-CMs was more than 90% (Figure 4C).

FIGURE AND TABLE LEGENDS:

Figure 1: Sarcomere shortening of the mouse PSC-CMs derived from the Myom2-TagRFP cell line.

A. The timeline for mouse PSC-CM differentiation. B. Representative images for sarcomere shortening in different time points with measuring regions as indicated by yellow bars. C. Sarcomere length profile during contraction of the cardiomyocytes that was stimulated with electricity at 1 Hz. The framerate was 50 frames per second. The pixel size was 0.26 μm. Scale bar = 10 µm.

Figure 2: Representative data showing sarcomere shortening of the human PSC-CMs derived from the ACTN2-mCherry cell line in non-patterned and patterned culture.

A. The timeline for human PSC-CM differentiation. B. The cardiomyocytes cultured in non-patterned culture showed disorganized sarcomere pattern whereas B. patterned culture promoted well alignment of the sarcomere. B. Representative images for sarcomere shortening with measuring regions as presented by yellow bars, and C. corresponding sarcomere length profile during cell contraction which electrical stimulation at 0.5 Hz. The framerate was 100 frames per second. The pixel size was 0.26 μm. Scale bar = 10 µm.

Figure 3: Mouse PSC-CMs after AAV transduction for 3 days.

A. Schematic vector map of AAV for sarcomere labeling. A sarcomere protein (gene of interest, GOI) is linked to GFP with a Gly-Gly-Gly-Ser linker (L) and expressed under the control of cardiac troponin T (cTNT) promoter. B. The timeline for mouse PSC-CM differentiation and AAV transduction. C-D. Representative images showing clear sarcomere localization and the corresponding sarcomere length profile of TCAP-GFP (C) and PDLIM3-GFP (D) after 3 days of transduction into PSC-CMs generated from the Myom2-TagRFP cell line. Scale bar = 10 µm.

Figure 4: Blasticidin Purification of human PSC-CMs without knock-in.

A. Schematic vector map of AAV, in which a blasticidin-resistance gene cassette (BSR) is inserted downstream to cTNT promoter. B. The timeline of human PSC-CMs differentiation, transduction, and blasticidin selection. C. Representative data showing percentage of cTNT + cells in human PSC-CMs (transduced 105 vg/ cell AAV6 on day 4 then treated with 2.5 μg/ml blasticidin on days 7 and 9).

Movie 1: Fluorescent time-lapse video of mouse PSC-CMs generated from the Myom2-TagRFP cell line.

RFP signals showed a sarcomere pattern after culturing the PSC-CMs for 28 days. The cells showed beating synchronously when stimulated with electricity at 1 Hz. The time-lapse images were acquired every 20 ms with a 100X lens. Scale bar = 5 µm.

Movie 2: Fluorescent time-lapse video of the human PSC-CMs with ACTN2-mCherry cultured on a non-patterned culture dish.

The PSC-CMs expressing ACTN2-mCherry on a non-patterned culture dish not only showed disorganization of sarcomere, but also presented a waving contraction which is difficult to determine sarcomere shortening. The cells were stimulated with electricity at 0.5 Hz and acquired the images every 10 ms with a 100X lens. Scale bar = 10 µm.

Movie 3: Fluorescent time-lapse video of the human PSC-CMs with ACTN2-mCherry cultured on a patterned culture dish.

The patterned culture promoted the alignment of the sarcomere and forced cells to rod-shape. This method allowed us to determine the sarcomere shortening of the PSC-CMs easier. This video was obtained by stimulating the cells with electricity at 0.5 Hz. The framerate was 100 frames per second. Scale bar = 10 µm.

Supplemental CAD files: CAD files for creating stamps with strips of 200 µm width and grooves of 10 µm (Stamp_200x10.dxf), 25 µm (Stamp_200x25.dxf), and 50 µm (Stamp_200x50.dxf).

DISCUSSION:

PSC-CMs is a material with great potential that can be utilized as an in vitro platform to model heart diseases and test the effects of drugs. Nevertheless, before being able to efficiently use them, we must establish an accurate, unified method to assess PSC-CMs functions. Most of the functional tests work with PSC-CMs, e.g. electrophysiology, calcium transient, and metabolisms26. Therefore, one of the first patient-derived PSC-CM studies was about long-QT syndrome27. However, contractility, one of the most important functions as a cardiomyocyte, is still difficult to assess. With adult cardiomyocytes, sarcomere shortening is widely used. In contrast, due to the underdeveloped and disorganized sarcomere of PSC-CMs, the standard method for sarcomere shortening does not work with PSC-CMs. Therefore, we presented here an alternative method to examine sarcomere shortening of PSC-CMs using fluorescent-tagged sarcomere proteins. We demonstrated that the proteins localized to M-line (MYOM2) or Z-line (ACTN2, TCAP, and PDLIM3) fused with fluorescent proteins can be used for this approach. We also showed that fluorescent-tagged proteins can be expressed from endogenous loci or by AAVs. AAVs provide more flexibility to express fluorescent-tagged proteins than endogenous loci, as they can be applied to any type of patient-derived PSC-CMs. In contrast, expressing the proteins from endogenous loci may have lessor alteration to the sarcomere function as the expression level of the genes is tightly regulated, and it can also be used for monitoring the maturation of PSC-CMs18.

Even though Myom2-RFP, ACTN2-RFP, and Lifeact were all used to examine the sarcomere shortening16, 18, 19, it is still unclear if they interfere with the sarcomere function. Recently, Lifeact was reported to disturb actin organization and cellular morphology28. It is also important to note that fusion patterns (i.e. the GFP fusion site at N-term or C-term of target protein) also affect the sarcomere function29. Therefore, before being used widely, it is important to extensively assess if these fluorescent-tagged sarcomere proteins do not interfere with sarcomere function or protein-protein interaction in sarcomere in vitro and, if possible, in vivo or in adult cardiomyocytes. As we provided a repertoire of fluorescent-tagged sarcomere proteins to start with, we may have better options in near future by protein-engineering (i.e. shortening the sarcomere proteins to only localization signals). Selecting protein to tag is another key to success. We have tagged another Z-line protein with GFP, however, it only displayed cytoplasmic distribution rather than localization to the sarcomere. For live-imaging, protein stability might also play the role. For example, if a tagged protein is unstable, the signal level will be lower. The photostability of the fluorescent protein is also important as unstable ones will be easily quenched during the imaging.

To examine the contractility of PSC-CMs other than the method described here, indirect measurements of force generated by PSC-CMs (micro-post arrays, traction force microscopy) or motion (high-resolution motion detection using SI8000)11–14 are used. The current method can be combined with such methods or dye-based action potential/calcium transient measurement.  The combinatorial approach may provide us further implication on how a disease cause dysfunction in patient-derived PSC-CMs.

One of the challenges in sarcomere shortening in PSC-CMs is to find a good sarcomere that moves linearly, otherwise, it may easily come off from the line for sarcomere detection of SarcOptiM and cause unstable sarcomere shortening results. Here, we demonstrated a patterned culture using PDMS stamps may provide a more stable and linear movement of a sarcomere. A patterned culture is also known to support the maturation of PSC-CMs16, which is important for sarcomere function.

ACKNOWLEDGMENTS:

We would like to acknowledge all the lab members in the Division of Regenerative Medicine at the Jichi Medical University for the helpful discussion and technical assistance. This study was supported by the grants from Japan Agency for Medical Research and Development (AMED; 18bm0704012h0003 and 20bm0804018h0001), Japan Society for the Promotion of Science; 19KK0219), and the Japanese Circulation Society (the Grant for Basic Research) to H.U.

DISCLOSURES:

H.U. has filed a patent related to this manuscript.

REFERENCES:

1.	Mensah, G.A., Roth, G.A., Fuster, V. The Global Burden of Cardiovascular Diseases and Risk Factors. Journal of the American College of Cardiology. 74 (20), 2529–2532, doi: 10/ghcng8 (2019).

2.	Wexler, R.K., Elton, T., Pleister, A., Feldman, D. Cardiomyopathy: an overview. American Family Physician. 79 (9), 778–784 (2009).

3.	Parrotta, E.I., Lucchino, V., Scaramuzzino, L., Scalise, S., Cuda, G. Modeling Cardiac Disease Mechanisms Using Induced Pluripotent Stem Cell-Derived Cardiomyocytes: Progress, Promises and Challenges. International Journal of Molecular Sciences. 30 (2020).

4.	Carvajal-Vergara, X. et al. Patient-specific induced pluripotent stem-cell-derived models of LEOPARD syndrome. Nature. 465 (7299), 808–812, doi: 10.1038/nature09005 (2010).

5.	Lan, F. et al. Abnormal calcium handling properties underlie familial hypertrophic cardiomyopathy pathology in patient-specific induced pluripotent stem cells. Cell Stem Cell. 12 (1), 101–113, doi: 10/f4k8b6 (2013).

6.	Kim, C. et al. Studying arrhythmogenic right ventricular dysplasia with patient-specific iPSCs. Nature. 494 (7435), 105–110, doi: 10.1038/nature11799 (2013).

7.	Gramlich, M. et al. Antisense-mediated exon skipping: a therapeutic strategy for titin-based dilated cardiomyopathy. EMBO molecular medicine. 7 (5), 562–576, doi: 10/f26gmf (2015).

8.	Wang, G. et al. Modeling the mitochondrial cardiomyopathy of Barth syndrome with induced pluripotent stem cell and heart-on-chip technologies. Nature Medicine. 20 (6), 616–623, doi: 10/f2445k (2014).

9.	Li, S. et al. Mitochondrial Dysfunctions Contribute to Hypertrophic Cardiomyopathy in Patient iPSC-Derived Cardiomyocytes with MT-RNR2 Mutation. Stem Cell Reports. 10 (3), 808–821, doi: 10/ghcnj2 (2018).

10.	Cho, G.-S. et al. Neonatal Transplantation Confers Maturation of PSC-Derived Cardiomyocytes Conducive to Modeling Cardiomyopathy. Cell Reports. 18 (2), 571–582, doi: 10.1016/j.celrep.2016.12.040 (2017).

11.	Yang, X. et al. Tri-iodo-l-thyronine promotes the maturation of human cardiomyocytes-derived from induced pluripotent stem cells. Journal of Molecular and Cellular Cardiology. 72, 296–304, doi: 10.1016/j.yjmcc.2014.04.005 (2014).

12.	Ribeiro, A.J.S. et al. Multi-Imaging Method to Assay the Contractile Mechanical Output of Micropatterned Human iPSC-Derived Cardiac Myocytes. Circulation Research. 120 (10), 1572–1583, doi: 10/f962dn (2017).

13.	Sewanan, L.R., Campbell, S.G. Modelling sarcomeric cardiomyopathies with human cardiomyocytes derived from induced pluripotent stem cells. The Journal of Physiology. 598 (14), 2909–2922, doi: 10/ghcnhh (2020).

14.	Kopljar, I. et al. Chronic drug-induced effects on contractile motion properties and cardiac biomarkers in human induced pluripotent stem cell-derived cardiomyocytes. British Journal of Pharmacology. 174 (21), 3766–3779, doi: 10/f9mjx9 (2017).

15.	Riedl, J. et al. Lifeact: a versatile marker to visualize F-actin. Nature Methods. 5 (7), 605–607, doi: 10/fb93cj (2008).

16.	Ribeiro, A.J.S. et al. Contractility of single cardiomyocytes differentiated from pluripotent stem cells depends on physiological shape and substrate stiffness. Proceedings of the National Academy of Sciences. 112 (41), 12705–12710, doi: 10.1073/pnas.1508073112 (2015).

17.	Roberts, B. et al. Fluorescent Gene Tagging of Transcriptionally Silent Genes in hiPSCs. Stem Cell Reports. 12 (5), 1145–1158, doi: 10.1016/j.stemcr.2019.03.001 (2019).

18.	Chanthra, N. et al. A Novel Fluorescent Reporter System Identifies Laminin-511/521 as Potent Regulators of Cardiomyocyte Maturation. Scientific Reports. 10 (1), 4249, doi: 10.1038/s41598-020-61163-3 (2020).

19.	Ribeiro, M.C. et al. A cardiomyocyte show of force: A fluorescent alpha-actinin reporter line sheds light on human cardiomyocyte contractility versus substrate stiffness. Journal of Molecular and Cellular Cardiology. 141, 54–64, doi: 10/ghcnj3 (2020).

20.	Yamanaka, S., Zahanich, I., Wersto, R.P., Boheler, K.R. Enhanced Proliferation of Monolayer Cultures of Embryonic Stem (ES) Cell-Derived Cardiomyocytes Following Acute Loss of Retinoblastoma. PLoS ONE. 3 (12), e3896, doi: 10.1371/journal.pone.0003896 (2008).

21.	Miyazaki, T., Isobe, T., Nakatsuji, N., Suemori, H. Efficient Adhesion Culture of Human Pluripotent Stem Cells Using Laminin Fragments in an Uncoated Manner. Scientific Reports. 7 (1), 41165, doi: 10.1038/srep41165 (2017).

22.	Prasad, K.-M.R., Xu, Y., Yang, Z., Acton, S.T., French, B.A. Robust cardiomyocyte-specific gene expression following systemic injection of AAV: in vivo gene delivery follows a Poisson distribution. Gene Therapy. 18 (1), 43–52, doi: 10.1038/gt.2010.105 (2011).

23.	Arakawa, H. et al. Protein evolution by hypermutation and selection in the B cell line DT40. Nucleic Acids Research. 36 (1), e1–e1, doi: 10.1093/nar/gkm616 (2007).

24.	Konno, A., Hirai, H. Efficient whole brain transduction by systemic infusion of minimally purified AAV-PHP.eB. Journal of Neuroscience Methods. 346, 108914, doi: 10/gg9pgp (2020).

25.	Anzai, T. et al. Generation of Efficient Knock-in Mouse and Human Pluripotent Stem Cells Using CRISPR-Cas9. In: Yoshida Y. (eds) Methods Mol Biol. in press.

26.	Ahmed, R.E., Anzai, T., Chanthra, N., Uosaki, H. A Brief Review of Current Maturation Methods for Human Induced Pluripotent Stem Cells-Derived Cardiomyocytes. Frontiers in Cell and Developmental Biology. 8, 178, doi: 10/ggn9mx (2020).

27.	Moretti, A. et al. Patient-specific induced pluripotent stem-cell models for long-QT syndrome. The New England Journal of Medicine. 363 (15), 1397–1409, doi: 10/b89rjx (2010).

28.	Flores, L.R., Keeling, M.C., Zhang, X., Sliogeryte, K., Gavara, N. Lifeact-GFP alters F-actin organization, cellular morphology and biophysical behaviour. Scientific Reports. 9 (1), 3241, doi: 10/ghcnsk (2019).

29.	Sparrow, A.J. et al. Measurement of Myofilament-Localized Calcium Dynamics in Adult Cardiomyocytes and the Effect of Hypertrophic Cardiomyopathy Mutations. Circulation Research. 124 (8), 1228–1239, doi: 10.1161/CIRCRESAHA.118.314600 (2019).