## Sheet1
Problem | Probable cause | Solution
Console alarm - “check IABP Catheter” | Kink in tubing | Relieve kink
| Incomplete unfolding of balloon membrane | Manually inflate and deflate balloon
| A part of the balloon is in the sheath | Check balloon position
Rapid Gas Loss or Leak in IABP Circuit | Possible rupture | Check tubing for blood
If there is no blood in the tubing, double check the connections
Weak left radial pulse or left arm ischemia. | Left subclavian artery occlusion | Check position of IABP
Low urine output or hematuria | Renal artery occlusion | Check position of IABP
Excessive bleeding from insertion site | Difficult arterial access, multiple sticks | Apply firm pressure while ensuring distal flow
Limb ischemia | Arterial access site issues, peripheral vascular disease | Consider removing the IABP. Consider alternate access
Blood noted in catheter tubing | Balloon rupture | Stop the IABP and remove the catheter immediately
Arterial dissection | Improper advancement of the guidewire with subsequent insertion of the IABP into a false lumen | Remove IABP