# Submission ID #: 62134

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18950918

Title: Testing Acetylcholine Followed by Adenosine for Interventional Diagnosis of Coronary Vasomotor Disorders

Authors and Affiliations: Andreas Seitz1, Sascha Beck1, Valeria Martínez Pereyra1, Raffi Bekeredjian1, Udo Sechtem1, and Peter Ong1

1Department of Cardiology, Robert-Bosch-Hospital

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Andreas Seitz

# Andreas.Seitz@rbk.de

# Co-authors:

Sascha.Beck@rbk.de

Valeria.Martinez-Pereyra@rbk.de

Raffi.Bekeredjian@rbk.de

Udo.Sechtem@rbk.de

Peter.Ong@rbk.de

## Author Questionnaire

1. Microscopy: Does your protocol demonstrate the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  Y

If you require a microscope but can record movies/images through your microscope with your own camera, please indicate Yes here: Enter Yes or No.

If you require a microscope but you do not have a camera, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope here: Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

However, as your protocol uses angiography, we will still need you to acquire videos of these actions, either through recording within the imaging program or through recording using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all these requested lab media video files to your project page as soon as possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Protocol Length

Number of Shots: 46

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

Ethics Title Card

  - Procedures involving human subjects have been approved by the Institutional Review Board (IRB) or equivalent body at insert Institutional Name.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Invasive Diagnostic Procedure (IDP) Preparation

  - Begin by placing a guiding catheter suitable for the left circumflex artery into the left main artery [1-TXT] and deliver another 5000 international units of heparin [2].

    - WIDE: Talent placing catheter TEXT: Exclude any epicardial stenosis >50% on visual assessment

    - Talent delivering heparin

  - Advance the Doppler flow-pressure-wire through the guiding catheter into the left main artery [1] and, after flushing, calibrate the catheter with the fractional flow reserve sensor to avoid any contrast in the catheter the Doppler flow-pressure-wire [2].

    - Wire being advanced

    - Talent calibrating catheter

  - Place the tip of the wire is in the proximal-mid portion of the vessel, usually the anterior descending artery, and perform angiography to record the wire position [1].

    - LAB MEDIA: To be provided by Authors: Tip being placed into proximal-mid portion of vessel and position being recorded

  - Assess and optimize the Doppler and ECG signal quality, as necessary [1].

    - LAB MEDIA: To be provided by Authors: Shot of doppler and ECG signal quality

  - Once a good signal is obtained, press Record to record the signals on the system [1].

    - Talent pressing Record

- IDP Procedure

  - Once the recording has been started, inject 6 milliliters of the lowest acetylcholine into the left coronary artery over a period of 20 seconds [1]. When all of the neurotransmitter has been delivered, flush the catheter with 3-4 milliliters of saline [2] while performing continuous 12-lead ECG monitoring [3].

    - WIDE: Talent injecting ACh into artery

    - Catheter being flushed

    - LAB MEDIA: To be provided by Authors: Video of ECG activity after ACh injection

  - Ask the Patient whether they are experiencing any recognizable anginal symptoms [1] and observe the Doppler-signal curves while recording the average peak velocity [2].

    - Talent checking in with Patient/Patient indicating

    - LAB MEDIA: To be provided by Authors: Video of Doppler-signal curves

  - Next, manually inject 10 milliliters of contrast agent through the catheter [1] and record and print the 12-lead-ECG [2].

    - Talent injecting contrast agent

    - Talent picking up printed ECG data

  - Ask the Patient again whether they are experiencing any recognizable anginal symptoms [1].

    - Talent checking in with Patient/Patient indicating

  - After 1 minute, inject 6 milliliters of the medium acetylcholine concentration [1] before flushing with 3-4 milliliters of saline [2] and recording the average peak velocity as demonstrated [3].

    - ACh being injected

    - Saline being flushed

    - LAB MEDIA: To be provided by Authors: AVP being recorded

  - Perform coronary angiography of the left coronary artery as demonstrated [1] and inject 5.5 milliliters of the highest ACh concentration [2] followed by 3-4 milliliters of saline and ECG recording [3].

    - LAB MEDIA: To be provided by Authors: Angiography of LCA

    - ACh being injected

    - Saline being injected

  - If no epicardial spasm occurs at the 100-microgram dose [1], continue with the 200-microgram dose while continuously monitoring the ECG and the Patient symptoms [2].

    - LAB MEDIA: To be provided by Authors: Shot of ECG without spasm

    - Talent delivering ACh/monitoring Patient ECG and symptoms TEXT: Slow down manual ACh delivery if bradycardia occurs

  - When severe symptoms, ischemic ECG shifts, or epicardial spasm occurs, inject 200 micrograms of nitroglycerine [1] and perform coronary angiography after 1 minute to document the reversion of the spasm [2].

    - Nitroglycerine being injected

    - LAB MEDIA: To be provided by Authors: Shot of spasm, then spasm being reversed

  - After the average peak velocity has returned to baseline and the Patient’s symptom have returned to normal [1], press Base to capture the baseline values of the average peak velocity as well as the distal and aortic pressure [2].

    - Talent pressing Base

    - LAB MEDIA: To be provided by Authors: Values being recorded

  - Quickly inject a bolus of 3.5 milliliters of adenosine solution [1] followed by a brief, 10-milliliter saline flush [2] and press the Peak search button for three heart beats after the injection to initiate a peak search [3]. The system will calculate and display the values for FFR, CFR and HMR [4].

    - Bolus being injected

    - Saline being injected

    - Talent pressing peak

    - LAB MEDIA: To be provided by Authors: Shot of FFR, CFR, and HMR values

  - Repeat the base measurement until two consequent measurements have been successfully obtained [1] and use these data to calculate the mean FFR-CFR-HMR values [2].

    - Talent pressing Base

    - Talent calculating value(s)

  - Then retract the Doppler flow-pressure-wire into the left main artery to check for pressure drift [1] before removing the wire completely [2] and obtaining a final image of the artery to document that no vessel injury has occurred [3].

    - Wire being retracted

    - Wire being removed

    - LAB MEDIA: To be provided by Authors: Shot of undamaged, wire-free vessel

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 128. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Acetylcholine (ACh) Provocation and Vasodilatation Assessment

  - According to the diagnostic criteria [1], vasospastic angina can be diagnosed if transient ECG changes indicating ischemia, reproduction of the patient´s usual anginal symptoms [2], and less than 90% vasoconstriction of the epicardial vessels as confirmed during coronary angiography can be observed [3].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: please emphasize red arrows on right ECG

    - LAB MEDIA: Figure 2 Video Editor: please emphasize vessels in right image

  - Spasm of the coronary microvasculature can be diagnosed [1] if the patient´s symptoms and ischemic ECG alterations occur during provocation [2] testing in the absence of epicardial vasospasm [3].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please emphasize red arrows on right ECG

    - LAB MEDIA: Figure 3 Video Editor: please emphasize right image

  - Impaired microvascular vasodilatation can be diagnosed by interpreting the CFR and HMR measurements following adenosine injections [1]. Depending on the cut-off values applied, a reduced CFR is defined as less than 2.0 or 2.5 or less [2].

    - LAB MEDIA: Figure 4 and 5

    - LAB MEDIA: Figures 4 and 5 Video Editor: please add/emphasize blue equation box in Figure 4

  - For HMR, data on optimal cut-off values is scarce, but an increased microvascular resistance is currently defined as a HMR less than 1.9 or less than 2.4 [1].

    - LAB MEDIA: Figures 4 and 5 Video Editor: please add/emphasize blue equation box in Figure 5

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.