# Submission ID #:  62144

# Scriptwriter Name: Madhulika Pathak

# Supervisor Name: Anastasia Gomez

# Project Page Link:  https://www.jove.com/account/file-uploader?src=18953968

# Title:   Concept Development and Use of an Automated Food Intake and Eating Behavior Assessment Method

# Authors and Affiliations:

Marlou P. Lasschuijt1*, Elske Brouwer-Brolsma1, Monica Mars1, Els Siebelink1, Edith Feskens1, Cees de Graaf1, Guido Camps1

1Division of Human Nutrition and Health, Wageningen University & Research, Wageningen, The Netherlands

# Corresponding Authors:

Marlou Lasschuijt		(Marlou.lasschuijt@wur.nl)

# Email Addresses for All Authors:

Elske.Brouwer-Brolsma@wur.nl

Monica.mars@wur.nl

Els.Siebelink@wur.nl

Kees.degraaf@wur.nl

Edith.Feskens@wur.nl

Guido.Camps@wur.nl

Marlou.lasschuijt@wur.nl

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  YES

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps.

Authors, please upload the screen capture videos for all SCREEN shots to your project page: https://www.jove.com/account/file-uploader?src=18953968

Videographer: Film all SCREEN shots as backup

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations?

No, multiple rooms close to one another; in the same building.

Current Protocol Length

Number of Steps:  18

Number of Shots:  24

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Marlou Lasschuijt:  Nutrition researchers and dieticians use indirect measures such as self-reports or recalls to measure how much people eat. With the mEETr we can directly measure how much people ate and how they ate it.

    - INTERVIEW: Named talent says the statement above in an interview style shot, looking slightly off-camera

  - Marlou Lasschuijt: The main advantage of the mEETr is that we can more accurately measure how much people ate with little effort of patients or consumers.

    - INTERVIEW: Named talent says the statement above in an interview style shot, looking slightly off-camera Suggested B-roll: 4.1.1

OPTIONAL:

  - Guido Camps: This technique can be used to build a dietary plan that fits better with an individual’s eating habits. It is especially insightful for patients who suffer from diabetes, as well as frail or malnourished elderly.

    - INTERVIEW: Named talent says the statement above in an interview style shot, looking slightly off-camera Suggested B-roll: 3.5.1

# Introduction of Demonstrator on Camera

  - Marlou Lasschuijt:  Demonstrating the procedure will be Els Siebelink, a trained research dietician in the Human nutrition and Health department. Participants in this show case are Femke de Gooijer and Michele Tufano, PhD students from the Human nutrition and Health department of Wageningen University.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - This pilot study was approved by the METC of Wageningen University.

# Protocol

- Sample Preparation and Participant Consent

  - Begin by preparing a juice, fruit yoghurt, and fruit pieces [1]. Recruit volunteers who agree to participate in the study. Exclude participants wearing glasses who cannot wear lenses or those who have facial hair to avoid measurement errors [2].

    - WIDE: Juice in cup, yogurt in bowl and fruit pieces in plate

    - Participant walking into the room

  - Inform the participants about the study and data collection [1] and obtain their signature on the informed consent before collecting data [2].

    - Talent talking to the participant

    - Participant signing the information consent document

- Device and Measurement Location Set-up

  - After making sure that the light in the room is evenly distributed and that there is no background noise on the video recordings, seat the participant before the table with the tabletop located just below their chest, entire torso should be visible including the arms [1]. Connect the wireless receiver of the tray and the webcam to a laptop [2]. Videographer: This step is difficult and important!

    - Participant sitting on the chair, talent points out to watch right ahead and checks if table is at the right height.

    - Talent connecting the wireless receiver to laptop

  - Switch on the tray [1] and start the laptop, making sure that the tray is charged, which is indicated by a green light [2-TXT].

    - Talent switching on the tray.

    - Talent switching on the laptop TEXT: Laptop Specifications: i7-10750H, SSD, 512 GB, Operating system 64 bit

Authors, please upload the screen capture videos for all SCREEN shots to your project page: https://www.jove.com/account/file-uploader?src=18953968

Videographer: Film all SCREEN shots as backup

  - Open the connector program, the receiver, and the processor software program together with the dashboard, respectively [1]. Videographer: This step is important!

    - SCREEN: LAB MEDIA: 3.1.1 step protocol-annimation.PNG  NOTE: Screenshot Image

  - Make sure the image frame is correct to prevent poor image quality and that the participant’s head and chest, including arms and shoulders, are clearly visible [1]. Videographer: This step is difficult and important!

    - SCREEN: 3.4.1.mkv.02:18-02:38 Speed it up!

  - Keep the tray dry, including a 50-millimeter thin base panel with a central circuit board below the tray [1]. Transfer the weighing data at a 1 second interval via a short-range radio signal of about 1 meter distance. Connect the receiver to a personal computer via a USB port [2].

    - Central circuit board attached below the tray

    - Talent connecting the receiver via port to the laptop

  - Make sure that the plate, the cup, and the bowl are not resting on the platform or the surrounding tray. Use the center ring to avoid this [1]. NOTE: This step earlier was 3.5 and now shifted down and swapped by the authors with 3.6, so now this is 3.6

    - Talent putting cup bowl and plate on the center ring

- Participant Explanations and Start of Observation

  - Place the mEETr in front of the participant [1] and instruct the participant to eat as much or as little as he or she wants while looking straight into the webcam. Remind them not to put their hands in front of their face while eating. [2]. NOTE: Shots 4.1.1 and 4.1.2 are combined

    - Talent placing the mEETr in front of the participant

    - Talent demonstrating to the participant

  - Start a new observation in the receiver software [1]. Log the date, participant number, participant’s gender, age, and anthropometric data, such as weight and height. Include additional information such as the study condition and the study visit in the observation name [2].

    - SCREEN: 4.2.1-take3.mkv.0:17-0:28

    - SCREEN: 4.2.1-take4.mkv.0:10-0:22

  - Press Record in the receiver software to record the observation and activate the dashboard in order to check the video recordings and the incoming data during data collection [1]. Videographer: This step is important!

    - SCREEN: 4.3.1-take1.mkv.00:45-00:55 NOTE: Shot 4.3.1 also include 4.5.1

  - Prior to the recording, ask the participant to raise the card with the participant number and raise their hand at the start and end of the meal [1].

    - Participant raising their card prior to the reading

  - End the observation when the participant finishes eating. It takes 2 minutes to transfer all the data to a spreadsheet [1].

    - SCREEN: 4.3.1-take1.mkv.00:55-1:02 NOTE: Refer to 4.3.1; start and end is provided in one screen recording and 4.6.1 take 1 is 4.5.0 (new shot)

  - Disconnect the webcam and the tray-receiver from the laptop and clean it with a cleaning tissue or cleaning spray [1].

    - Talent disconnecting the webcam and tray receiver and washing it with the spray

- Evaluation and transfer of data

  - Open the last observation in the receiver software. Automated measures of eating behavior are stored under the heading Data [1]. Click on Export Data to extract the raw data [2]. Videographer: This step is important! NOTE: Shots 5.1.1 and 5.1.2 are combined, the screen capture was not uploaded by authors but may have been filmed by the videographer during the shoot.

    - SCREEN: Talent opening the last observation and looking for Data heading

    - SCREEN: Talent clicking on Export data

  - The output file contains data on the participant number, real time, relative starting time, and time-stamped eating behavior variables such as number of bites, number of chews, and chewing duration [1].

    - SCREEN: 5.2.1.mp4.0:00-1:49 Speed it up!  NOTE: provided by the authors

  - Summarize and visualize the results in different bar charts within the program. Export the log files to a spreadsheet and perform the data analysis using the statistical program of preference [1].

    - Talent sitting in front of the computer and performing data analysis

# Results

Results: Automated food intake and eating behavior assessment

  - mEETr tray measured lower intake of the salad compared to the yoghurt and juice. The participants ate 17% less of the fruit salad compared to the fruit juice [1].

    - LAB MEDIA: Figure 6

  - A slower ingestion rate [1], smaller sip or bite sizes [2], and more chews [3] led to lower intake of the salad compared to the yoghurt and juice as measured by the mEETr tray [4].

    - LAB MEDIA: Figure 7

    - LAB MEDIA: Figure 8

    - LAB MEDIA: Figure 9

    - LAB MEDIA: Figure 6

  - The participants chewed significantly more on the fruit salad compared to the yoghurt and juice. The observed number of chews differed by a factor of three between the yoghurt and fruit salad [1].

    - LAB MEDIA: Figure 9

  - The bite size was the smallest for the salad, 6.5 grams per bite compared to 8 grams per sip of juice [1]. Overall, the number of chews, the bite size, and the eating rate seemed to affect the amount that was eaten during the meal in an eating lab setting [2].

    - LAB MEDIA: Figure 8

    - LAB MEDIA: Figure 6

# Conclusion

- Conclusion Interview Statements

  - Marlou Lasschuijt: In future versions of the mEETr, we would like to build a fisheye camera that detects bites and chews from a lower angle so that it is less intrusive than a video camera right in front of people.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.4.1

  - Guido Camps: Future versions of the mEETr can be used to study food intake and eating behavior in real life. Doing so will allow for immediate feedback to the consumer on what, how much, or how fast he or she is eating.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.