[image: image1.png]o
1 Alewife Center, Suite 200
Cambridge, MA 02140
JOURNAL OF tel. 617.401.7770, ext. 701
VISUALIZED EXPERIMENTS =~ WWW.JOVE.com






Dear Author(s),
This document is for you to list any changes to the online text/PDF of your article.   Please be aware that our policy is to do a single complimentary revision, so it is critical that all participants in this project offer their comments collectively.   In addition, please make sure that your comments are easily interpreted and transparent. 
Have fun!
Protocol Name: Open-Source Miniature Fluorimeter to Monitor Real-Time Isothermal Nucleic Acid Amplification Reactions in Resource-Limited Settings
Date: 01/21/2021
Online Text/PDF Protocol
Please use this table to address changes that need to be made to the online text/PDF document. Both the online text and PDF are generated from the HTML template of your article. Since the PDF is generated from the HTML by our conversion software, it may contain formatting errors. For major structural changes or more than 10 spelling or grammatical mistakes, we will require re-upload of the entire document.     

	
	Protocol Step
	Comment
	Requested Change (highlight in bold)

	Example
	1.1
	Step says “Centrifuge lysate at 2,000 x g.”
	Please correct to “Centrifuge lysate at 4,000 x g.”

	1.
	2.4
	There is not a space between the words filter and into.
	Please change the text to read “place the long pass filter into …”

	2.
	Section 4.3
	There seems to be sentence fragments put together here. 
	Please change the text to read: “Adjust the number of milliseconds the LED is turned on when acquiring fluorescence measurements by changing the value of the variable ExposureTime. Adjust the number of milliseconds between LED exposures by changing the value of the variable led_A_Interval.”

Or please update the wording of the sentence as is so it reads correctly and there are no sentence fragments



	3.
	Section 4.8
	“The GUI also allows to end acquisition …”
	Please change the sentence to read “The GUI also allows acquisition to be ended through a button on the user interface.”

	4.
	Section 5.9
	The wording “user-determined experiment time signal” seems confusing to our team.
	Please change the sentence to read “After the experiment time determined by the user has elapsed, acquisition ceases.”

	5.
	Description of Figure 3C in Results section
	Sentence reads “To assemble each RT-LAMP reaction, 1 µL of each primer set was added to 0.5 µL of 50x fluorescent dye and 12.5 µL of 2x master mix and the reaction volume was brought up to 20 µL of with nuclease-free water per manufacturer's instructions.”
	Please remove the extra “of” that was included in our submission of the manuscript. 

	6.
	Paragraph right before Figure 1
	Sentence reads “RPA and RT-LAMP reactions were assembled in two wells of a 0.2 mL of low-profile 8-tube PCR strip and capped with ultraclear flat caps. 
	Please change the sentence to read “RPA and RT-LAMP reactions were assembled in two wells of a 0.2 mL low-profile 8-tube PCR strip and capped with ultraclear flat caps.”
Apologies for this error from our initial submission.

	7.
	Figure 1 Caption, Part B
	There is no space between the words “of” and “the”.
	Please add a space in between these two words.

	8.
	Introduction, Final Paragraph
	The wrong price is listed for the second configuration.

Apologies for this error from our initial submission.
	Please change the sentence to read “The complete fluorimeter can be assembled for between $450 to $830 USD”


	9.
	Discussion, Paragraph 4
	Superscript “I2C addresses”

	Please change the sentence to read “Multiple prints of the enclosure can be placed atop the same heat block to increase throughput; however, the light sensor used only has four unique I2C addresses”


	10.
	
	
	

	11.
	
	
	

	12.
	
	
	


[image: image1.png]