## IC-FPOP Flow System
Name of Material/Equipment | Company | Catalog Number | Comments/Description
15 mL Conical Centrifuge Tubes | Fisher Scientific | 14-959-53A | any brand is sufficient
5 mL Gas Tight Syringe, Removable Luer Lock | SGE Analytical Science | 008760
50 mL Conical Centrifuge Tubes | Fisher Scientific | 14-432-22 | any brand is sufficient
500 µL SGE Gastight Syringes: Fixed Luer-Lok Models | Fisher Scientific | SG-00723
Acetone, HPLC Grade | Fisher Scientific | A929-4 | 4 L quantity is not necessary
Acetonitrile with 0.1% Formic Acid (v/v), LC/MS Grade | Fisher Scientific | LS120-500
ACQUITY UPLC M-Class Symmetry C18 Trap Column, 100Å, 5 µm, 180 µm x 20 mm, 2G, V/M, 1/pkg | Waters | 186007496
ACQUITY UPLC M-Class System | Waters
Aluminum Foil | Fisher Scientific | 01-213-100 | any brand is sufficient
Aqua 5 µm C18 125 Å packing material | Phenomenex
Centrifuge | Eppendorf | 022625501
Delicate Task Wipers | Fisher Scientific | 06-666A
Dithiothreiotol (DTT) | AmericanBio | AB00490-00005
DMSO, Anhydrous | Invitrogen | D12345
EX350 excimer laser | GAM Laser
FEP Tubing 1/16" OD x 0.020" ID | IDEX Health & Sciene | 1548L
Formic Acid, LC/MS Grade | Fisher Scientific | A117-50
HV3-2 VALVE | Hamilton | 86728
Hydrogen Peroxide | Fisher Scientific | H325-100 | any 30% hydrogen peroxide is sufficient
Iodoacetamide (IAA) | ACROS Organics | 122270050
Legato 210 syringe pump | KD Scientific | 788212
Luer Adapter Female Luer to 1/4-28 Male Polypropylene | IDEX Health & Sciene | P-618L
Methanol, LC/MS Grade | Fisher Scientific | A454SK-4 | 4 L quantity is not necessary
Microcentrifuge | Thermo Scientific | 75002436
N,N′-Dimethylthiourea (DMTU) | ACROS Organics | 116891000
NanoTight Sleeve Green 1/16" ID x .0155" ID x1.6"' | IDEX Health & Sciene | F-242X
NanoTight Sleeve Yellow 1/16" OD x 0.027" ID x 1.6" | IDEX Health & Sciene | F-246
N-tert-Butyl-α-phenylnitrone (PBN) | ACROS Organics | 177350250
Orbitrap Fusion Lumos Tribrid Mass Spectrometer | Thermo Scientific |  | other high resolution instruments (e.g. Q exactive Orbitrap or Orbitrap Fusion) can be used
PE50-C pyroelectric energy meter | Ophir Optronics | 7Z02936
Pierce Quantitative Colorimetric Peptide Assay | Thermo Scientific | 23275
Pierce Rapid Gold BCA Protein Assay Kit | Thermo Scientific | A53225
Pierce Trypsin Protease, MS Grade | Thermo Scientific | 90058
Pierce Universal Nuclease for Cell Lysis | Fisher Scientific | 88702
Polymicro Cleaving Stone, 1" x 1" x 1/32” | Molex | 1068680064 | any capillary tubing cutter is sufficient
Polymicro Flexible Fused Silica Capillary Tubing, Inner Diameter 150 µm, Outer Diameter 360 µm, TSP150350 | Polymicro Technologies | 1068150024
Polymicro Flexible Fused Silica Capillary Tubing, Inner Diameter 450 µm, Outer Diameter 670 µm, TSP450670 | Polymicro Technologies | 1068150025
Polymicro Flexible Fused Silica Capillary Tubing, Inner Diameter 75 µm, Outer Diameter 360 µm, TSP075375 | Polymicro Technologies | 1068150019
Potassium Phosphate Monobasic | Fisher Scientific | P382-500
Proteome Discover (bottom-up proteomics software) | Thermo Scientific | OPTON-30799
Rotary Magnetic Tumble Stirrer | V&P Scientific, Inc. | VP 710D3
Rotary Magnetic Tumble Stirrer, accessory kit for use with Syringe Pumps | V&P Scientific, Inc. | VP 710D3-4
Super Flangeless Ferrule w/SST Ring, Tefzel™ (ETFE), 1/4-28 Flat-Bottom, for 1/16" OD | IDEX Health & Sciene | P-259X
Super Flangeless Nut PEEK 1/4-28 Flat-Bottom, for 1/16" & 1/32" OD | IDEX Health & Sciene | P-255X
Super Tumble Stir Discs, 3.35 mm diameter, 0.61 mm thick | V&P Scientific, Inc. | VP 722F
Thermo Scientific Pierce RIPA Buffer | Fisher Scientific | PI89900
Tris Base | Fisher Scientific | BP152-500
Upchurch Scientific Low-Pressure Crosses: PEEK | Fisher Scientific | 05-700-182
Upchurch Scientific Low-Pressure Tees: PEEK | Fisher Scientific | 05-700-178
V&P Scientific IncSupplier Diversity Partner TUMBL STIR DISC PARYLENE 1000 | V&P Scientific, Inc. | VP724F
VHP MicroTight Union for 360µm OD | IDEX Health & Sciene | UH-436
Water with 0.1% Formic Acid (v/v), LC/MS Grade | Fisher Scientific | LS118-500
Water, LC/MS Grade | Fisher Scientific | W6-4

## PIXY
Name of Material/Equipment | Company | Catalog Number | Comments/Description
Ismatec Reglo ICC Peristaltic Pumps | Cole-Palmer | 122270050
Kinematic Mirror Mount for Ø2" Optics | Thor Labs
10X trypsin−EDTA | Corning | AB00490-00005
50.0mm 248nm 45°, Excimer Laser Line Mirror | Edmond Optics
Acetone, HPLC Grade | Fisher Scientific
Acetonitrile with 0.1% Formic Acid (v/v), LC/MS Grade | Fisher Scientific
ACQUITY UPLC M-Class Symmetry C18 Trap Column, 100Å, 5 µm, 180 µm x 20 mm, 2G, V/M, 1/pkg | Waters | 23275 | other high resolution instruments (e.g. Q exactive Orbitrap or Orbitrap Fusion) can be used
ACQUITY UPLC M-Class System | Waters | A53225
Afinia H480 3D Printer | (Innovation Space University of Maryland Baltimore Campus Library)
air pump | OKOlabs | D12345
Aluminum Foil | Fisher Scientific | Stock #63-120
Aqua 5 µm C18 125 Å packing material | Phenomenex
carbon dioxide unit | OKOlabs | MadMotor®-UHV
Centrifuge | Eppendorf
connectors (Y PP 1/16” and 1/16x1/8”) | Cole-Palmer | 116891000
Delicate Task Wipers | Fisher Scientific | 022625501
Dithiothreiotol (DTT) | AmericanBio
DMSO, Anhydrous | Invitrogen | LS118-500
Dulbecco’s phosphate-buffered saline (DPBS) | Corning | SK-78001-82
EX350 excimer laser | GAM Laser | PI89900
Fetal bovine serum (FBS) | Corning | SK-12023-78
Formic Acid, LC/MS Grade | Fisher Scientific | A929-4 | 4 L quantity is not necessary
HEK293T cells | Paul Shapiro Lab (University of Maryland Baltimore)
humidifier | OKOlabs | Nano-LPMW stage
HV3-2 VALVE | Hamilton | BP152-500
Hydrogen Peroxide | Fisher Scientific | LS120-500
Iodoacetamide (IAA) | ACROS Organics
LABVIEW Professional 2018 | National Instruments | 86728
MadMotor Positioning system and controllers | Mad City Labs | W6-4
Methanol, LC/MS Grade | Fisher Scientific | 01-213-100 | any brand is sufficient
Microcentrifuge | Thermo Scientific | H301-T Unit-BL-PLUS
N,N′-Dimethylthiourea (DMTU) | ACROS Organics
Nanopositioinging stage | Mad City Labs
N-tert-Butyl-α-phenylnitrone (PBN) | ACROS Organics
OKO Touch Monitoring System | OKOlabs
Orbitrap Fusion Lumos Tribrid Mass Spectrometer | Thermo Scientific | 7Z02936
PE50-C pyroelectric energy meter | Ophir Optronics
Penicillin-streptomycin | Corning
Pierce Quantitative Colorimetric Peptide Assay | Thermo Scientific
Pierce Rapid Gold BCA Protein Assay Kit | Thermo Scientific
Pierce Trypsin Protease, MS Grade | Thermo Scientific | 75002436
Pierce Universal Nuclease for Cell Lysis | Fisher Scientific | 06-666A
pressure gauge | OKOlabs | OKO-AIR-PUMP-BL
PTFE filter | OKOlabs | CO2-UNIT-BL
Six 33 mm PLA filament rings | (Innovation Space University of Maryland Baltimore Campus Library)
sterile incubator | OKOlabs
temperature unit | OKOlabs | OKO-TOUCH
Thermo Scientific Pierce RIPA Buffer | Fisher Scientific | A117-50
TiNKERcad | (Innovation Space University of Maryland Baltimore Campus Library)
Tris Base | Fisher Scientific | H325-100 | any 30% hydrogen peroxide is sufficient
tubing (Tygon 3.18 and 1.59 ID) | Cole-Palmer | 177350250
Water with 0.1% Formic Acid (v/v), LC/MS Grade | Fisher Scientific | A454SK-4 | 4 L quantity is not necessary
Water, LC/MS Grade | Fisher Scientific | 88702
90058
KM200
186007496