# Submission ID #: 62155

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18957323

Title: 4-Dimensional Imaging of Zebrafish Optic Cup Morphogenesis

Authors and Affiliations: Sarah Lusk1, Macaulie A. Casey1, and Kristen M. Kwan1

1Department of Human Genetics, University of Utah

☒   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Kristen M. Kwan

# kmkwan@genetics.utah.edu

# Co-Authors:

sarah.lusk@utah.edu

macaulie.casey@utah.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  Y

If you require a microscope for your technique but can record movies/images through your microscope with your own camera, please indicate Yes here: Yes  If yes, please capture and upload these files to your project page as soon as feasibly possible.  Yes and No: multiple microscopes will be used; one does have a camera that can record, and another does not (listed below).

If you require a microscope but do not have a camera, JoVE will need to use our scope kit to film through a camera port or one of the oculars of your microscope. Please list the make and model of your microscope here: Nikon SMZ645

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   No

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 36

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Sarah Lusk: Our previous understanding of eye morphogenesis comes from fixed tissue studies, however, this lacks cell and tissue dynamics.  Using timelapse imaging, we capture this entire process for visualization and analysis [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Macaulie Casey: We take advantage of external development and optical clarity of zebrafish embryos, which facilitate live imaging, and use laser scanning confocal microscopy, which is readily available on most research campuses [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Sarah Lusk: Somebody new to this method should expect some trial and error before obtaining a usable dataset.  Many steps, especially injections and embedding, must go well for success, so be patient!  [1]

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☒ Yes

Has any author been assigned more than two statements? ☒ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- 1-Cell Zebrafish Embryo Microinjection

  - Once the zebrafish begin to breed, while waiting 15-20 minutes to ensure that the eggs become fertilized [1], use a P10 (P-ten) pipette and P10 micro-loader tips to backload a pulled glass capillary microinjection needle with 2.5-5 microliters of the RNA dilution of interest [2-TXT].

    - WIDE: Talent checking on fish breeding

    - Talent filling needle, with RNA dilution container visible in frame TEXT: See text for needle and RNA dilution preparation details

  - When the eggs are ready, use a transfer pipette and a dissecting microscope to carefully load the eggs into the injection mold [1], using forceps to roll the embryos such that the single cell is visible as necessary [2].

    - Talent at microscope, loading eggs into injection mode

    - SCOPE: Embryo being rolled

  - Then inject all of the embryos at the 1-cell stage, targeting the cell and not the yolk to ensure a uniform labeling of the developing embryo [1].

    - SCOPE: Embryo being injected

- Optic Vesicle Stage Zebrafish Embryo Mounting

  - At about 11 hours post fertilization, place a 1-5-milliliter aliquot of 1.6% low-melt agarose in E3 (E-three) medium in a 42-degree Celsius heat block [1] and use a fluorescence microscope to screen successfully injected embryos with an overall brightness of fluorescence [2].

    - WIDE: Talent placing agarose onto heat block

    - Talent screening embryos at microscope

  - Count the somites to properly stage the embryos. At 11 hours post fertilization there should be 3 somites [1].

    - SCOPE: Shot of embryo with 3 somites Video Editor: please emphasize somites when mentioned

  - An ideal sample will have a strong EGFP (E-G-F-P) and mCherry fluorescence and be at the correct developmental stage [1-TXT].

    - LAB MEDIA: Figures 3B, 3B’, and 3B’’ TEXT: EGFP: enhanced green fluorescent protein

  - Before mounting, place the embryos in an agar-coated dish [1] and use Authors: Will you demonstrate removing the chorion with forceps or will you demonstrate removing the chorion with pronase for the video? We can reference both techniques in the manuscript but show only one in the video to remove the chorion from each embryo [2].

    - Talent adding embryo(s) to dish

    - SCOPE: Chorion being remove

  - When all of the embryos have been denuded, use a glass roller pipette to aspirate one embryo [1]. Eject as much E3 as possible so that the embryo sits at the tip of the glass Pasteur pipette [2] and drop the embryo into the tube of agarose from the heat block [3].

    - SCOPE: Embryo being aspirated

    - SCOPE: E3 being ejected

    - Talent dropping embryo into agarose

  - Let the embryo sink into the agarose for a few seconds [1] before aspirating a small volume of agarose [2] and the embryo, taking care that the embryo remains at the tip of the pipette [3].

    - SCOPE: Embryo sinking in agarose

    - SCOPE: Agarose being aspirated

    - SCOPE: Embryo being aspirated

  - Eject the embryo and agarose into an agarose droplet in a glass-bottom dish [1] and quickly but carefully use forceps to very quickly orient the embryo dorsal side-down before the agarose droplet hardens [2].

    - SCOPE: Embryo being ejected into droplet

    - SCOPE: Embryo being oriented dorsal side-down

  - After mounting 10-12 embryos in the same manner, add enough agarose to completely cover the bottom of the dish, encasing all of the droplets in a single agarose disc [1].

    - Agarose being added to dish/droplets being encased

  - When the agarose has hardened, layer E3 over the agarose to keep the samples hydrated [1].

    - E3 being added to agarose

- Multiple Position Confocal Timelapse Laser Scanning Confocal Microscopy

  - After setting the laser scanning confocal microscope to the appropriate parameters for timelapse imaging [1-TXT], liberally coat the glass-bottom dish with immersion medium matching the refractive index of water, taking care to avoid air bubbles [2] and apply a small drop of immersion medium to the 40x water objective [3].

    - WIDE: Talent setting imaging parameters, with monitor visible in frame TEXT: See text for microscope settings details

    - Talent adding immersion medium to dish, with immersion medium container visible in frame

    - Talent adding medium to objective

  - Secure the glass-bottomed dish in the stage insert [1], apply E3 to keep the embryos moist overnight. Use modeling clay to seal the plastic lid over the dish [2] and raise the objective to make contact with the dish [3].

    - Dish being secured to stage insert

    - Talent sealing lid to dish

    - Talent raising objective

  - Under the Positions heading of the microscope software, click Add to save the XYZ information of the first sample to be timelapsed [1-TXT].

    - Talent at microscope, clicking Add, with monitor visible in frame TEXT: Select samples with strong fluorescence and optimal mounting only

  - Under the Locate tab, select the next sample and repeat the sample selection as demonstrated [1].

    - SCREEN: To be provided by Authors: Locate tab being opened, sample being selected, and Add being clicked

  - When all of the samples have been selected, highlight the first position and click Move To. While continuously scanning, line up the optic vesicle within the frame, leaving ample space in the anterior and distal regions relative to the optic vesicle and brain [1].

    - SCREEN: To be provided by Authors: Position being highlighted, Move To being clicked, then vesicle being lined up Video Editor: please emphasize space in anterior and distal regions when mentioned

  - Select Set First and Set Last while moving through the Z-direction with the fine focus knob to assign the first and last Z-slices, maintaining a total slice number of about 63, as this will accommodate the growth of the optic cup. Include extra room on the ventral side of the optic vesicle to allow room for growth [1].

    - SCREEN: To be provided by Authors: Set first being clicked, image being scrolled through, set last being selected Video Editor: please emphasize extra room on ventral side when mentioned

  - Once first and last Z-slices have been set, click C to move to the center of the Z-stack and adjust the laser power and gain for both lasers [1-TXT].

    - SCREEN: To be provided by Authors: C being clicked/FOV being to center of Z-stack, then laser power and gain being adjusted TEXT: Keep laser power <5 and use > gain as necessary

  - When the laser power and gain have been set, stop the scanning and click Update to update the position information [1].

    - SCREEN: To be provided by Authors: Scanning being stopped, Update being clicked

  - Click Position 2 to move to the next position and set the laser power and gain for each assigned position such that all of the samples are sufficiently illuminated [1].

    - SCREEN: To be provided by Authors: Position 2 being clicked, then laser power and gain being set

  - Once both the position information and laser settings have been finalized, under the Time Series heading, set the Time Interval to 2.5 minutes and the number of Cycles to 300 [1].

    - SCREEN: To be provided by Authors: Time Interval and number of Cycles being set

  - To begin the timelapse, click Start and use a timer to ensure that all of the positions are correct and imaged in one complete cycle in less than 2.5 minutes [1].

    - SCREEN: To be provided by Authors: Cycle being started, shot of correct positions TEXT: Upon successful cycle completion, run microscope O/N without monitoring

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Steps 2.3; 3.6; 3.7; 3.8; 4.1; 4.2

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Steps 3.7 and 3.8.

To ensure successful embryo mounting, have your tools (such as forceps and roller pipette) close by.  After ejecting the embryo into the imaging dish, quickly identify the head and immediately rotate it down, then adjust the orientation to align the embryo’s anterior-posterior axis along 12 and 6 o’clock on a clock face.  The optic vesicles will be visible even through the yolk, so one can ensure that the orientation is correct.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 195 (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative 4D Zebrafish Optic Cup Morphogenesis Imaging

  - Direct injection into the single cell is necessary for a uniform labeling [1] and a robust fluorescence [2].

    - LAB MEDIA: Figure 2M

    - LAB MEDIA: Figures 3B, B’, and B’’

  - Upon their immersion in agarose, the embryos should be spaced evenly throughout the dish [1].

    - LAB MEDIA: Figures F’, F’’, and F’’’

  - If the embryos are staged correctly, sufficiently fluorescent, and adequately mounted [1], they will remain in the imaging frame during the timelapse, allowing the entire organ to be imaged [2].

    - LAB MEDIA: Figure 3G

    - LAB MEDIA: Movie 1

  - Samples that are not oriented on along the dorsal axis, such as those that are horizontal or diagonal [1], will grow out of the imaging frame as the timelapse proceeds and cannot be used for further analysis [2].

    - LAB MEDIA: Figure 3H

    - LAB MEDIA: Figures 4H, 4H’, and 4H’’ Video Editor: please sequentially add/emphasize 4H, 4H’, 4H’’

  - An embryo that is over-rotated will result in a more posterior timelapse [1] and an embryo that is under-rotated will allow only the most anterior tissue to be observed [2].

    - LAB MEDIA: Figures 3I and 3J Video Editor: please emphasize Figure 3I

    - LAB MEDIA: Figures 3I and 3J Video Editor: please emphasize Figure 3J

  - In addition, samples that are mounted with respect to the orientation of the frame are more likely to yield a successful timelapse [1].

    - LAB MEDIA: Figures 4G, 4G’, 4G’’ Video Editor: please sequentially add/emphasize 4G, 4G’, 4G’’

  - This bias toward the ventral side provides extra space for tissue growth in the ventral direction, resulting in an optimal timelapse [1].

    - LAB MEDIA: Figures 4I, 4I’, 4I’’, and 4I’’’ Video Editor: please sequentially add/emphasize 4I, 4I’, 4I’’, and 4I’’’

  - When these criteria are not met, the timelapse will no longer capture the entire 3D volume of the tissue as it develops and cannot be used for further analysis [1].

    - LAB MEDIA: Figures 4J, 4J’, 4J’’, and 4J’’’ Video Editor: please sequentially add/emphasize 4J, 4J’, 4J’’, and 4J’’’

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Kristen Kwan: These information-rich datasets can be analyzed in many ways, including 4D cell tracking with quantification of cell speeds and trajectories, cell and tissue volume measurements, and 3D and 4D visualization [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☒ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.