# Submission ID #: 62155

# Scriptwriter Name: Bridget Colvin

Project Page Link : https://www.jove.com/account/file-uploader?src=18957323

Title: 4-Dimensional Imaging of Zebrafish Optic Cup Morphogenesis

Authors and Affiliations: Sarah Lusk1, Macaulie A. Casey1, and Kristen M. Kwan1

1Department of Human Genetics, University of Utah

# Corresponding Author:

# Kristen M. Kwan

# kmkwan@genetics.utah.edu

# Co-Authors:

sarah.lusk@utah.edu

macaulie.casey@utah.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  Y, Nikon SMZ645

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

Videographer: All screen captures provided; do not film

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

Protocol Length

Number of Shots: 27

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Sarah Lusk: Our previous understanding of eye morphogenesis comes from fixed tissue studies. However, these studies lacked cell and tissue dynamics. Using timelapse imaging, we can capture this entire process for visualization and analysis [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Macaulie Casey: Our method takes advantage of the external development and optical clarity of zebrafish embryos, which facilitate live imaging, and uses laser scanning confocal microscopy, which is readily available on most research campuses [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Sarah Lusk: Researchers new to this method should expect some trial and error before obtaining a usable dataset.  Many steps, especially the injections and embedding, must go well for success, so have patience [1]!

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Protocol

- 1-Cell Zebrafish Embryo Microinjection

  - Once the zebrafish begin to breed, while waiting 15-20 minutes to ensure that the eggs become fertilized [1], use a P10 (P-ten) pipette and P10 micro-loader tips to backload a pulled glass capillary microinjection needle with 2.5-5 microliters of the RNA dilution of interest [2-TXT].

    - WIDE: Talent setting timer/checking on fish breeding

    - Talent filling needle, with RNA dilution container visible in frame TEXT: See text for needle and RNA dilution preparation details

  - When the eggs are ready, use a transfer pipette and a dissecting microscope to carefully load the eggs into the injection mold [1], using forceps to roll the embryos such that the single cell is visible as necessary [2].

    - Talent at microscope, loading eggs into injection mold

    - SCOPE: Embryo being rolled

  - Then inject all of the embryos at the 1-cell stage, targeting the cell and not the yolk to ensure a uniform labeling of the developing embryo [1].

    - SCOPE: Embryo being injected Videographer: Important step

- Optic Vesicle Stage Zebrafish Embryo Mounting

  - At about 11 hours post fertilization, place a 1-5-milliliter aliquot of 1.6% low-melt agarose in E3 (E-three) medium in a 42-degree Celsius heat block [1] and use a fluorescence microscope to screen for successfully injected embryos with an overall brightness of fluorescence [2].

    - WIDE: Talent placing agarose onto heat block

    - Talent screening embryos at microscope

  - Count the somites to properly stage the embryos. At 11 hours post fertilization 3 somites should be observed [1].

    - SCOPE: Shot of embryo with 3 somites Video Editor: please emphasize somites when mentioned

  - An ideal sample will have strong EGFP (E-G-F-P) and mCherry signals and be at the correct developmental stage [1].

    - LAB MEDIA: Figures 3B, 3B’, and 3B’’ Video Editor: please emphasize green and red signals with EGFP and mChery respectively

  - Before mounting, place the embryos in an agar-coated dish [1] and use forceps to remove the chorion (core-ee-on) from each embryo [2].

    - Talent adding embryo(s) to dish

    - SCOPE: Chorion being remove

  - When all of the embryos have been denuded, use a glass roller pipette to aspirate one embryo [1]. Eject as much E3 as possible so that the embryo sits at the tip of the glass Pasteur pipette [2] and drop the embryo into the tube of agarose from the heat block [3].

    - SCOPE: Embryo being aspirated

    - SCOPE: E3 being ejected

NOTE: 3.5.2. was combined with 3.5.1

    - Talent dropping embryo into agarose

  - Let the embryo sink into the agarose for a few seconds [1] before aspirating a small volume of agarose along with the embryo, taking care that the embryo remains at the tip of the pipette [2].

    - ECU: Embryo sinking in agarose Videographer: Important step

    - ECU: Agarose being aspirated, then embryo being aspirated Videographer: Important step

  - Eject the embryo and agarose into an agarose droplet in a glass-bottom dish [1] and quickly but carefully use forceps to orient the embryo dorsal side-down before the agarose droplet hardens [2].

    - SCOPE: Embryo being ejected into droplet Videographer: Important/difficult step

    - SCOPE: Embryo being oriented dorsal side-down Videographer: Important/difficult step

NOTE: 3.7.2. was combined with 3.7.1. Use take 3 and can be edited as the embryo goes out of focus; the embryo is in focus and oriented at 0:52.

  - After mounting 10-12 embryos in the same manner, add enough agarose to completely cover the bottom of the dish, encasing all of the droplets in a single agarose disc [1].

    - Agarose being added to dish/droplets being encased Videographer: Important/difficult step

  - When the agarose has hardened, layer E3 over the agarose to keep the samples hydrated [1].

    - E3 being added to agarose

- Multiple Position Confocal Timelapse Laser Scanning Confocal Microscopy

  - After setting the laser scanning confocal microscope to the appropriate parameters for timelapse imaging [1-TXT], liberally coat the underside of the glass-bottom dish with immersion medium matching the refractive index of water, taking care to avoid air bubbles [2], and apply a small drop of immersion medium to the 40x water objective [3].

    - WIDE: Talent setting imaging parameters, with monitor visible in frame TEXT: See text for microscope settings details

    - Talent coat underside of dish with immersion medium, with immersion medium container visible in frame Videographer: Important step

    - Talent adding medium to objective Videographer: Important step

  - Secure the glass-bottomed dish in the stage insert [1] and add additional E3 medium to keep the embryos moist overnight [2].

    - Dish being secured to stage insert Videographer: Important step

    - Medium being added Videographer: Important step

  - Use modeling clay to seal the plastic lid over the dish [1] and raise the objective to make contact with the dish [2].

    - Talent sealing lid to dish

    - Talent raising objective

  - Under the Positions heading of the microscope software, click Add to save the XYZ information of the first sample to be time lapsed [1] and select a sample with a strong fluorescence and optimal mounting [2].

    - Talent at microscope, clicking Add, with monitor visible in frame

    - SCREEN: screenshot_1: 00:52-01:06 Video Editor: please speed up

  - Under the Locate tab, search for the next sample [1] and click Position and Add to select the sample as demonstrated [2].

    - SCREEN: screenshot_2: 00:10-00:33 Video Editor: please speed up

    - SCREEN: screenshot_2: 00:46-01:07 Video Editor: please speed up

  - When all of the samples have been selected, highlight the first position and click Move To [1]. While continuously scanning, line up the optic vesicle within the frame, leaving ample space in the anterior and distal regions relative to the optic vesicle and brain [2].

    - SCREEN: screenshot_3: 00:02-00:06

    - SCREEN: screenshot_3: 00:09-00:54 Video Editor: please speed up; Video Editor: please emphasize anterior and distal regions when mentioned (areas are indicated by arrow from 00:55-01:02)

  - To assign the first and last Z-slices, select Set First and Set Last while moving through the Z-direction with the fine focus knob, maintaining a total slice number of about 63 to accommodate the growth of the optic cup. Include extra room on the ventral side of the optic vesicle to allow room for growth [1].

    - SCREEN: screenshot_4: 00:13-00:58 Video Editor: please speed up and please emphasize extra room on left side of FOV when mentioned

  - Once the first and last Z-slices have been set, click C to move to the center of the Z-stack and adjust the laser power and gain for both lasers [1-TXT]. When the laser power and gain have been set, stop the scanning and click Update to update the position information [2].

    - SCREEN: screenshot_4: 00:58-01:32 Video Editor: please speed up TEXT: Keep laser power <5 and use > gain as necessary

    - SCREEN: screenshot_4: 01:37-01:46

  - To move to the next position, click Position 2 [1]. Once both the first and last Z-slices have been defined as demonstrated [2], open the Time Series heading and set the number of Cycles to 300 and the Time Interval to 2.5 minutes [3].

    - SCREEN: screenshot_5: 00:04-00:08

    - SCREEN: screenshot_5: 00:58-01:08 Video Editor: please speed up

    - SCREEN: screenshot_6: 00:11-00:35

  - After reviewing the settings to make sure everything is finalized, click Start to begin the timelapse and confirm that the first round of imaging is captured correctly before allowing the timelapse to run overnight [1].

    - SCREEN: screenshot_7: 00:54-01:58 Video Editor: please speed up

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

2.3., 3.6.-3.8., 4.1., 4.2.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

3.7., 3.8. To ensure successful embryo mounting, have your tools (such as forceps and roller pipette) close by.  After ejecting the embryo into the imaging dish, quickly identify the head and immediately rotate it down, then adjust the orientation to align the embryo’s anterior-posterior axis along 12 and 6 o’clock on a clock face.  The optic vesicles will be visible even through the yolk, so one can ensure that the orientation is correct.

# Results

- Results: Representative 4D Zebrafish Optic Cup Morphogenesis Imaging

  - Direct injection into the single cell is necessary for a uniform labeling [1] and a robust fluorescence [2].

    - LAB MEDIA: Figure 2M

    - LAB MEDIA: Figures 3B, B’, and B’’

  - Upon their immersion in agarose, the embryos should be spaced evenly throughout the dish [1].

    - LAB MEDIA: Figures F’, F’’, and F’’’

  - If the embryos are staged correctly, sufficiently fluorescent, and adequately mounted [1], they will remain in the imaging frame during the timelapse, allowing the entire organ to be imaged [2].

    - LAB MEDIA: Figure 3G

    - LAB MEDIA: Movie 1

  - Samples that are not oriented on along the dorsal axis, such as those that are horizontal or diagonal [1], will grow out of the imaging frame as the timelapse proceeds and cannot be used for further analysis [2].

    - LAB MEDIA: Figure 3H

    - LAB MEDIA: Figures 4H, 4H’, and 4H’’ Video Editor: please sequentially add/emphasize 4H, 4H’, 4H’’

  - An embryo that is over-rotated will result in a more posterior timelapse [1]. An embryo that is under-rotated will allow only the most anterior tissue to be observed [2].

    - LAB MEDIA: Figures 3I and 3J Video Editor: please emphasize Figure 3I

    - LAB MEDIA: Figures 3I and 3J Video Editor: please emphasize Figure 3J

  - In addition, samples that are mounted with respect to the orientation of the frame are more likely to yield a successful timelapse [1].

    - LAB MEDIA: Figures 4G, 4G’, 4G’’ Video Editor: please sequentially add/emphasize 4G, 4G’, 4G’’

  - This bias toward the ventral side provides extra space for tissue growth in the ventral direction, resulting in an optimal timelapse [1].

    - LAB MEDIA: Figures 4I, 4I’, 4I’’, and 4I’’’ Video Editor: please sequentially add/emphasize 4I, 4I’, 4I’’, and 4I’’’

  - When these criteria are not met, the timelapse will no longer capture the entire 3D volume of the tissue as it develops and cannot be used for further analysis [1].

    - LAB MEDIA: Figures 4J, 4J’, 4J’’, and 4J’’’ Video Editor: please sequentially add/emphasize 4J, 4J’, 4J’’, and 4J’’’

# Conclusion

- Conclusion Interview Statements

  - Kristen Kwan: These information-rich datasets can be analyzed in many ways, including 4D cell tracking with cell speed and trajectory quantification, cell and tissue volume measurements, and 3- and 4-D visualizations [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera