Screenshot Summary:

- 62155_screenshot_1

  - 4.3.1 (After Zen is powered on and the lasers have warmed up, the first sample is located using the Locate tab and the transmitted light is turned on by clicking the Lightbulb icon; once the sample is identified and in focus under the objective, the transmitted light is turned off.) 00:05 – 00:30

  - 4.3.1 continued (Next, Acquisition tab is opened and the Continuous button is clicked to begin scanning. The first sample is observed and is brightly labeled; scanning is stopped by clicking stop; the first sample is selected as Position 1 by clicking Add under the Positions heading.) 00:32 – 01:07

- 62155_screenshot_2

  - 4.4.1 (The next sample to be imaged is found first under transmitted light by moving to the Locate tab and turning on the light using the Lightbulb icon; there is a pause while the user manually searches for the embryo and brings it into focus; the transmitted light is turned off by clicking the lightbulb icon again.) 00:08 – 00:33

  - 4.4.1 continued (To check the sample’s fluorescence, move to the Acquisition tab and begin continuous scanning by clicking the Continuous button. Scanning is stopped by clicking stop after deciding sample is sufficient; this sample is selected as Position 2 by clicking Add under the Positions heading.) 00:35 – 01:10

- 62155_screenshot_3

  - 4.5.1 (When all of the samples have been selected, highlight the first position and click Move To; begin scanning by clicking Continuous; adjust the XY position of the optic vesicle by moving the sample within the frame leaving space in the anterior and distal regions relative to one optic vesicle and brain.) 00:02 – 01:06

- 62155_screenshot_4

  - 4.6.1 (While continuously scanning, move through the z-stack starting at the most dorsal section, closest to the objective, and click Set First, then move deeper through the tissue and click Set Last maintaining extra room on the ventral side of the optic vesicle and keeping the total slices of the z-stack around 63.) 00:02 – 00:53

  - 4.7.1 (Once first and last z-slices have been set, click C to move to the center of the stack; from here assign laser power settings keeping the laser power no greater than 5.0 and adjusting gain to keep the signal bright and uniform.) 00:55 – 01:32

  - 4.8.1 (Stop scanning and save these settings by clicking Update under the Positions heading.) 01:37 – 01:47

- 62155_screenshot_5

  - 4.9.1 (To adjust the frame on Position 2, highlight number 2 under the Positions heading and click Move To; begin scanning by clicking Continuous; line up the optic vesicle in the XY axis, again leave space in the anterior and distal regions relative to one optic vesicle and brain.) 00:03 – 00:32

  - 4.9.1 continued (Set the first and last z-slices by moving through the z-stack, click Set First on the dorsal slice of the z-stack and Set Last on the ventral slice.  00:36 – 00:57

  - 4.9.1 continued (Move to the center of the z-stack by clicking C; save these setting by clicking Update under the Positions heading; stop scanning.) 01:02 – 01:13

- 62155_screenshot_6

  - 4.10.1 (Under the Time Series heading, set Cycles to 300 and Interval to 2.5 minutes.) 00:12 – 00:37

- 62155_screenshot_7

  - 4.11.1 (Review settings to make sure everything is finalized. When ready, click Start Experiment. Observe the first round of imaging and then leave the timelapse to run overnight.) 00:06 – 01:45