# Submission ID #: 62167

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18960983

Title: Lumped-Parameter and Finite Element Modeling of Heart Failure with Preserved Ejection Fraction

Authors and Affiliations: Luca Rosalia1,2*, Caglar Ozturk1*, and Ellen T. Roche1,2,3

*These authors contributed equally

1Institute for Medical Engineering and Science, Massachusetts Institute of Technology

2Health Science and Technology Program, Harvard/Massachusetts Institute of Technology

3Department of Mechanical Engineering, Massachusetts Institute of Technology

☒   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Ellen T. Roche

# etr@mit.edu

# Co-authors:

lros@mit.edu

# cozturk@mit.edu

## Author Questionnaire

1. Microscopy: Does your protocol demonstrate the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

Note: Videographers would need to fill out daily health attestations whether indoors or out. We are still in the process of checking whether there is any current policy linked to this type of activity at Massachusetts Institute of Technology.

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   No

If Yes, how far apart are the locations? NA

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Protocol Length

Number of Shots: 30

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Luca: This research investigates the effects of Heart Failure with Preserved Ejection Fraction (HFpEF) on cardiovascular hemodynamics. We recapitulate acute pressure overload, as well as chronic loss of ventricular compliance [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Caglar: We developed two platforms. Our lumped-parameter model is very computationally efficient, whereas the finite element approach integrates the electrical and structural domains for more accurate modeling of cardiovascular hemodynamics [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Luca: There is a strong clinical need for effective treatments for HFpEF. Computational methods like ours are paramount in the development and the regulatory approval process of medical devices and therapeutics [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Zero-Dimensional (0D) Lumped-Parameter Model

  - To set up a zero-dimension lumped-parameter model, after constructing a domain in the numerical solver environment as illustrated [1], navigate to the hydraulics library to find the required elements [2] and drop the hydraulic pipeline elements into the workspace [3]. Valve elements can also be added at this step.

    - LAB MEDIA: Figure 1

    - WIDE: Talent at computer, navigating library

    - SCREEN: To be provided by Authors: Elements being dropped into workspace

  - Insert the constant volume hydraulic chamber elements to define the wall compliance and fluid compressibility and add the linear resistance elements to define the resistance to flow [1].

    - SCREEN: To be provided by Authors:  Constant volume hydraulic chamber elements being inserted, then linear resistance elements being added

  - Model the contractility of each heart chamber through the custom variable-compliance compliance chamber element [1] and provide the parameters relative to each element as illustrated in the Table [2].

    - SCREEN: To be provided by Authors: Chamber being modeled

    - LAB MEDIA: Table S1 Video Editor: please sequentially emphasize each data column or no animation

  - Then insert a Physical Signal Repeating Sequence element for each of the blocks that require a time-varying user-defined input signal, select the default ODE 23t implicit solver, and run the simulation for 100 seconds to reach a steady state [1].

    - SCREEN: To be provided by Authors: Element being inserted, default being selected, and simulation being run/run being initiated

- Finite Element Analysis (FEA) Model

  - To set up an FEA model, navigate to the ELEC domain [1] and select the Standard module [2].

    - WIDE: Talent opening Elec domain, with monitor visible in frame

    - SCREEN: To be provided by Authors: Standard module being selected

  - Select the single-analysis BEAT step, set the duration of the cardiac cycle to 500 milliseconds, and apply an electrical potential pulse to a node set representing the sinoatrial node [1].

    - SCREEN: To be provided by Authors: Beat being selected, duration being set, and electrical potential pulse being applied

  - After reviewing the default electrical waveform, launch the Job module and create a heart-elec job [1].

    - SCREEN: To be provided by Authors: Waveform being reviewed, module being launched, and job being created

  - Once the electrical analysis setup is complete, navigate to the MECH domain. In the PRE-LOAD step, review the boundary conditions of the pre-stressed state of the heart and select 0.3 seconds as the step time [1].

    - SCREEN: To be provided by Authors: MECH domain being opened, then boundary conditions being reviewed and step time being selected

  - In the BEAT1 step, use 0.5 seconds as the step time to simulate contraction. In the RECOVERY1 step, select 0.5 seconds for cardiac relaxation and ventricular filling for a heart rate of 60 beats per minute [1].

    - SCREEN: To be provided by Authors: 0.5 s being set for step time then 0.5 s being set for cardiac relaxation and ventricular filling

  - Launch the Job module and create a heart-mech job to enable the double precision option [1].

    - SCREEN: To be provided by Authors: Job module being launched, job being created/double precision option being enabled

  - Review the simplified lumped-parameter Windkessel model and the blood flow model representation, adjusting the values of the resistive and capacitive elements for the flow resistances and structural compliances, respectively, as necessary [1].

    - SCREEN: To be provided by Authors: Models being reviewed, then values being adjusted

  - Review the 3D finite element representation of the four heart chambers and confirm that their geometrical positions are accurate [1].

    - SCREEN: To be provided by Authors: 3D finite element representation being reviewed/geometrical positions being checked

  - After checking the heart assembly, switch to the Interaction module to adjust the compliance and contractility values of each of the four heart chambers [1].

    - SCREEN: To be provided by Authors: Interaction module being selected, then values being adjusted

  - Review the stiffness value to model the pressure-volume response in the arterial, venous, and pulmonary circulations and adjust the viscous resistance coefficient to modify the blood flow model in each fluid exchange link [1].

    - SCREEN: To be provided by Authors: Value being reviewed, PV response being modeled, coefficient being adjusted

  - For a multiphysics simulation, insert the input, object, and library files into the working directory and launch the FEA model simulation software [1].

    - SCREEN: To be provided by Authors: Input, object, and library files being inserted, then simulation software being launched

  - Run the electrical simulation heart-elec job and confirm that the resulting .odb file is in the working directory [1].

    - SCREEN: To be provided by Authors: Job being run, then result file location being checked

  - Switch to the MECH domain to move to the second simulation phase. In the PRE-LOAD step, use the built-in smooth amplitude option to increase the pressure level from zero to the desired level [1].

    - SCREEN: To be provided by Authors: MECH domain being opened/second phase being started, then pressure level being increased

  - Then disable the pressure boundary conditions to run the blood flow model with a constant overall blood volume within the circulation system and run the heart-mech simulation job [1].

    - SCREEN: To be provided by Authors: Pressure boundary conditions being disabled/blood flow model being run, then heart-mech simulation job being run

- Aortic Valve Stenosis

  - To simulate aortic valve stenosis in the lumped-parameter model, in the left ventricular compartment [1], modify the input signal relative to the aortic valve and simulate a reduction of the orifice area equal to 70% compared to baseline [2].

    - WIDE: Talent opening/navigating to the left ventricular compartment

    - SCREEN: To be provided by Authors: Signal being modified

  - To simulate aortic valve stenosis in the FEA model, modify the fluid exchange definition of the LINK-Left Ventricle-ARTERIAL parameter and execute the toolbox files to perform an inverse mechanical simulation[1].

    - SCREEN: To be provided by Authors: Fluid exchange definition being modified, then toolbox files being executed

  - Once the inverse mechanical simulation is complete, run the post-processing functions as indicated. Then launch the Job module and create a heart-mech job to run a new mechanical simulation as demonstrated [1].

    - SCREEN: To be provided by Authors: Functions being run, then module being launched and job being created

- Heart Failure with Preserved Ejection Fraction (HFpEF) Hemodynamics

  - To mimic wall stiffening due to pressure-overload in the lumped-parameter model [1], modify the left ventricular diastolic compliance of the left ventricle compliance element and increase the leak resistance of the left ventricle pump to 18 × 106 pascals/second/meter [2].

    - WIDE: Talent navigating to LV compliance element

    - SCREEN: To be provided by Authors: Element being modified, then resistance being increased

  - To simulate the effects of chronic remodeling in the FEA model, edit the active material properties of the left ventricle geometry and modify the material response of the left ventricle in the mech-material-Left ventricle_ACTIVE file [1].

    - SCREEN: To be provided by Authors: Geometry being edited, then file being modified

  - To capture the increased stiffness response for the heart failure with preserved ejection fraction physiology, increase the a and b stiffness parameters in the anisotropic hyperelastic formulation [1].

    - SCREEN: To be provided by Authors: Parameters being increased

  - In the PRE-LOAD step, set the fluid cavity pressures of the left ventricle and left atrium to 20 millimeters per mercury and perform an inverse mechanical stimulation to obtain the volumetric state of the left ventricle and atrium [1].

    - SCREEN: To be provided by Authors: Pressures being set, then inverse stimulation being performed

  - Then execute the post-processing functions as indicated and perform a new mechanical simulation as demonstrated [1].

    - SCREEN: To be provided by Authors: Functions being executed, then module being launched and job being created

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Lumped-parameter modeling: 2.1 – 4.1 – 5.1

Finite element modeling: 3.7 - 4.2 – 5.2

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

In the lumped-parameter model, it is critical that the network is accurately recreated (Step 2.1), as shown in Figure 1, and that input parameters of each element are defined correctly (Table S1-S2).

Functioning of the FEA model requires all the simulation files that are packaged with the solver (Step 3.11) that are listed in Table S5. Omission of any of the prerequisite components might cause early termination of the simulation.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 200. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Lumped-Parameter and FEA Heart Failure Modeling

  - The two in silico models show similar aortic [1] and left ventricular hemodynamics within the physiologic range [2].

    - LAB MEDIA: Figure 3 Video Editor: please emphasize dashed data lines

    - LAB MEDIA: Figure 3 Video Editor: please emphasize solid data lines

  - Under aortic stenosis conditions [1], pressure and volume waveforms demonstrate a 70% reduction of the aortic valve orifice area in both models [2].

    - LAB MEDIA: Figure 4

    - LAB MEDIA: Figure 4 Video Editor: please emphasize dashes data line in both graphs

  - Both models [1] are also able to capture the increase in the systolic left ventricular pressure due to the rise in afterload induced by aortic stenosis [2].

    - LAB MEDIA: Figure 5

    - LAB MEDIA: Figure 5 Video Editor: please emphasize solid green data line in both graphs

  - Upon remodeling and left ventricular compliance loss, the end-diastolic pressure-volume relationship becomes elevated, resulting in higher end-diastolic pressures and lower end-diastolic volumes [1].

    - LAB MEDIA: Figure 5 Video Editor: please emphasize red data line in both graph

  - These phenomena, which are due to the inability of the left ventricle to relax and fill adequately, are successfully captured by the heart failure with preserved ejection fraction pressure volume loops in both the low- and high-dimensional models [1].

    - LAB MEDIA: Figure 5 Video Editor: please emphasize solid red data lines in both graphs

  - The flow through the mitral valve data [1] highlights both the early relaxation [2] and atrial contraction phases [3].

    - LAB MEDIA: Figure S2

    - LAB MEDIA: Figure S2 Video Editor: please add E for early relaxation over peak Figure S2B

    - LAB MEDIA: Figure S2 Video Editor: please add A for atrial contraction over peak in Figure S2B

  - Compared to the normal and stenosis profiles [1], the heart failure with preserved ejection fraction flow was characterized by a slightly higher peak early relaxation-phase mitral flow [2] and a significantly diminished peak atrial contraction-phase flow [3].

    - LAB MEDIA: Figure S2 Video Editor: please emphasize green and grey data lines in Figure S2

    - LAB MEDIA: Figure S2 Video Editor: please emphasize red E peak in Figure S2

    - LAB MEDIA: Figure S2 Video Editor: please emphasize red A peak in Figure S2

  - As illustrated in these myocardium stress maps [1], elevated stresses can be observed in the heart failure with preserved ejection fraction due to the characteristic loss of ventricular compliance [2].

    - LAB MEDIA: Figure 6

    - LAB MEDIA: Figure 6 Video Editor: please emphasize red outlines in Systole HFpEF image

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Caglar: To model the chronic effects of pressure overload, and thus recapitulate the hemodynamics of HFpEF, it’s critical that ventricular compliance is changed in each simulation accordingly. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (5.1, 5.3)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Luca: Diastolic stiffness could be parametrically investigated to simulate various phenotypes of diastolic dysfunction. This will enable us to more comprehensively characterize the effects of diminished compliance on disease [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Caglar: We hope that our work paves the way towards the creation of models that can advance our current understanding of HFpEF and support the development of therapies for this condition. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.