Table S8: Parameters for the HFpEF lumped-parameter simulation.

|  | Diameter [cm] | Length [cm] | End-Diastolic Compliance [m Pa-1] |
| --- | --- | --- | --- |
| Left ventricle | 4.4 | 7 | 2.2 × 10-12 |
|  | Area [cm2] | Opening time [s] | Closing time [s] |
| Aortic valve | 1.2 | 0.00 | 0.43 |
|  | Leak resistance [Pa m3 s-1] |  |  |
| Centrifugal pump | 18 × 106 |  |  |