Sample Screenshot Summary:

- 62193_screenshot_1

  - 3.4.1 (open Excel and import plate reader data) 00:02-00:03

  - 3.4.1 (select all columns containing data) 00:04-00:06

  - 3.4.1 (sort the data by sample, well and repeat) 00:07-00:20

  - 3.4.1 (calculate the donor acceptor ratio by dividing the relative fluorescence intensity (RFU) of the Donor by the RFU of the Acceptor) 00:21-00:28

  - 3.4.1 (copy the formula for all data points) 00:29-00:31

  - 3.4.1 (copy all D/A ratio values of one well) 00:32- 00:37

  - 3.4.1 (paste the values in a new sheet) 00:38-00:41

  - 3.4.1 (proceed with the data of the second well according and calculate the mean and the standard deviation of the duplicates.) 00:42-00:52

  - 3.4.1 (Plot the mean values over time add the standard deviation) 00:53-01:37

  - 3.4.1 (Calculate and note the slope of the linear range) 01:38-02:16

  - 3.4.1 (Add the dilution and calculate the final slope of the measured sample or standard) 02:17-02:28

  - 3.4.1 (Repeat the procedure for all measurements, the higher the concentration the steeper the initial slope, the blank (S8) shows no increase over time) 02:32-02:42