Submission ID #:  62202

Scriptwriter Name: Gaurav Vaidya

Supervisor Name: Anastasia Gomez

Project Page Link:  https://www.jove.com/account/file-uploader?src=18971658

Title:   Applying Hyperspectral Reflectance Imaging to Investigate the Palettes and the Techniques of Painters

Authors and Affiliations:

Michele Caccia1, Simone Caglio1, Anna Galli1,2, Matteo Interlenghi2, Isabella Castiglioni2,3, Marco Martini1

1Dipartimento di Scienza dei Materiali, Università degli Studi di Milano-Bicocca, Milano, Italy

2CNR-IBFM, Segrate, Milano, Italy

3Dipartimento di Fisica, Università degli Studi di Milano-Bicocca, Milano, Italy

Corresponding Authors:

Michele Caccia         (michele.caccia@unimib.it)

Email Addresses for All Authors:

simone.caglio@unimib.it

anna.galli@unimib.it

m.interlenghi@gmail.com

castiglioni.isabella@gmail.com

m.martini@unimib.it

michele.caccia@unimib.it

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  NO

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   We don’t know yet.

Current Protocol Length

Number of Steps:  17

Number of Shots:  24

# Introduction

- Introductory Interview Statements

REQUIRED:

  - This protocol offers new opportunities involving the analysis of painted surfaces; it supports the user, step by step, along the whole data analysis process.

    - 2.2.1

  - This protocol has two main advantages. The users can tailor the analysis according to their preferences and, for the first-time, spectra manipulation has been introduced to analyze the hyperspectral data.

    - LAB MEDIA: Figure 3A.

OPTIONAL:

  - Hyperspectral reflectance imaging is successfully used to study skin diseases or tumor diagnosis. Even if the protocol was born in the cultural heritage field, it can be applied to clinical datasets as well.

    - 2.4.1.

# Protocol

- Set the Spatial Resolution of the Hypercubes

  - With the support of art experts, perform a preliminary inspection of the painted surface to identify the main features of the painting [1].

    - WIDE: Talent performing the preliminary inspection.

  - Make a note of the pictorial techniques used by the artist, the different brushstrokes of paint on the canvas, and qualitatively estimate the characteristics of the brush strokes with particular attention to their size [1].

    - A shot of the painted surface.

  - Create ad-hoc samples where the brush strokes show characteristics similar to those applied by the artist by mimicking the pictorial technique used by the artist [1].

    - Talent creating the ad-hoc samples.

  - Depending on the characteristics of the hyperspectral camera and the size of the brush strokes drawn in the test samples, evaluate and set the distance between the surface under investigation and the acquisition equipment [1].

    - Talent positioning the painted surface and the acquisition equipment.

  - Acquire the hyperspectral data and check whether the spatial resolution of the hypercubes can distinguish the different brush strokes on the RGB images of the painted surface [1]. Run PointSel, the isolated measuring points selection code, to manually select some reference spectra on the surfaces of the test samples [2].

    - Talent at the computer, checking the spatial resolution of the RGB pictures of the Fields of View (FOVs) returned within the hypercubes.

    - SCREEN: 2.5.2_Screen_JoVE.mp4. 00:00-00:05

  - Type the command line, including the semicolon, in the terminal window, and press Enter to run the code [1-TXT]. Select the measurement points by clicking the interactive window that one by one shows the 2-dimensional, RGB images of the fields of view [2].

    - SCREEN: 2.6.2_2.6.3_Screen_JoVE.mp4. 00:00-00:05 Video Editor: Emphasize the following code on screen:[References] = PointSel(HS_DataList, HS_ImageList)

    - SCREEN:  2.6.1_Screen_JoVE.mp4. 00:00-00:18.

  - Run SAM_Standard, the standard SAM maps evaluation code, to extract the SAM maps using the whole spectra. Type the command line, including the semicolon, in the terminal window, then press Enter to run the code [1-TXT]. SAM maps are saved as .png images in the current work folder [2].

    - SCREEN: 2.7.1_2.7.2_Screen_JoVE.p4. 00:07-00:55 Video Editor: Emphasize the following code on screen:  SAM_Standard(HS_ImageList, HS_DataList, References_Matrix);

Video Editor speed up the video from 00:42-00:55

    - SCREEN: 2.7.1_2.7.2_Screen_JoVE.p4. 01:46-01:55

  - Check whether the obtained similarity maps display the details of the brush strokes used to realize the test samples; if not, restart the process by positioning the painted surface and the acquisition equipment [1].

    - SCREEN: 2.8.1_Screen_JoVE.mp4. 01:16-02:06. Video Editor speed up the video from 01:24-02:08

- Hypercubes and the Reference Spectra Management

  - Perform I/O of the raw hyperspectral data by organizing, reading, and managing the hypercubes. Run the HS_FileLister code to store the list of the files containing the hypercubes and the related information into two variables at the disposal of the algorithm [1].

    - SCREEN: 3.1_Screen_JoVE.mp4. 00:12-00:35, 00:49-01:07

  - Run the HS_Crop_png code to select the portion of each FOV to be used in the analysis of the data. Next, run the PointSel code and click within the displayed interactive window [1] to identify the reference spectra as isolated measuring points over the surface of the monitored areas [2]

    - SCREEN: 3.2.1_Screen_JoVE.mp4. 00:09-00:35, 01:08-01:24. Video Editor speed up the video from 00:21-00:35 and 01:08-01:24

    - SCREEN: 3.2.2_Screen_Jove.mp4. 00:17-00:21, 01:00- 01:13 Video Editor speed up the video from 01:00-01:13

  - Type the command line, including the semicolon, in the terminal window and press Enter to run ReticularSel, the reticular selection code. This automatically selects the reference spectra as a regular reticulum of measuring points superimposed to the surface of the monitored areas. [1].

    - SCREEN: 3.3.1_Screen_JoVE.mp4. 00:10-00:30.  Video Editor: Emphasize the following code on screen: [References] = ReticularSel(HS_DataList, HS_ImageList, n_pixel);

  - This selection method makes the analysis very time consuming as the number of references is large [1]

    - SCREEN: 3.3.1_Screen_JoVE.mp4. 02:05-02:28. Video Editor speed up the video from 02:12-02:22

  - Type the command line, including the semicolon, in the terminal window and press Enter to run SaveImPoint. This saves the location of the selected measurement points superimposed to the pictures of the fields of view. [1]

    - SCREEN: 3.3.1_Screen_JoVE.mp4. 01:24- 01:45. Video Editor: Emphasize the following code on screen: SaveImPoint(References, HS_ImageList);

- SAM analysis

  - Run the SAM_Complete code to evaluate the similarity maps [1].

    - SCREEN: 4.1.1_Screen_JoVE.mp4. 00:00-00:34. Video Editor: Emphasize the following code on screen:  SAM_Complete(HS_ImageList, HS_DataList, References_Matrix );

  - Feed the code with the desired pre-processing option entering 0 or 1 in the dialog box; 0 to require the spectra normalization only [1], or 1 to require that, after the normalization, the spectra are derived one time [2]

    - SCREEN: 4.2.1_4.2.2_Screen_JoVE_Entering0.mp4.  00:00-00:06

    - SCREEN: 4.2.1_4.2.2_Screen_JoVE_Entering1.mp4.  00:00-00:04

  - Enter the sequence of numbers corresponding to the desired columns of the references matrix into the dialog box by typing the numbers separated by a white space. Press Enter to continue [1].

    - SCREEN: 4.3.1_4.3.2_Screen_JoVE_Entering1.mp4. 00:05-00:18

  - Set the method to 0 for no manipulation of the data [1], 1 to require manual selection of the wavelength ranges of the spectra to be considered before starting the analysis [2], or 2 to require the algorithm to order the data based on a specific criterion before the evaluation of the SAM maps [3].

    - SCREEN: 4.4.1_Screen_JoVE.mp4. 00:02-00:12

    - SCREEN: 4.4.2_Screen_JoVE.mp4. 00:00-00:18

    - SCREEN: 4.4.3_Screen_JoVE.mp4. 00:00-00:07

# Results

- Results: Hyperspectral Reflectance Imaging to Investigate the Palettes and the Techniques of Painters

  - To select the end members for the SAM analysis, the algorithm either retrieves the references spectra among the hypercubes by manually selecting some isolated measuring points [1] or automatically samples the painting's surface, providing a reticular selection of measuring points within one or more FOVs [2].

    - LAB MEDIA: Figure 5A.

    - LAB MEDIA: Figure 5B.

  - The algorithm can also compare the hypercubes with external spectra like the ones obtained by a portable FORS miniature spectrometer [1].

    - LAB MEDIA: Figure 6A.

  - When the pre-processed references appear on an interactive window [1], one or more wavelength intervals to be analyzed can be manually selected [2].

    - LAB MEDIA: Figure 6A.

    - LAB MEDIA: Figure 6B.

  - In automatic selection, the algorithm computes the maximum variance within the desired references [1] and orders the spectra according to this criterion [2].

    - LAB MEDIA: Figure 7A.

    - LAB MEDIA: Figure 7B.

  - If the maximum variance corresponds to the nth wavelength [1], the content of the nth component of each pre-processed spectrum will be moved to the first position of a re-arranged hyper-vector [2] and so on [3].

    - LAB MEDIA: Figure 7A.

    - LAB MEDIA: Figure 7A and 7B.

    - LAB MEDIA: Figure 7A and 7B.

  - Following the automatic manipulation, the algorithm applies a floating threshold to the variance values and evaluates the SAM maps at the increasing threshold, which results in a total of 2N + 1 sets of maps where N is the number of values assumed by the threshold [1].

    - LAB MEDIA: Figure 8A.

  - The obtained similarity maps provide new insights into the details of the mapped area [1]. They can help to compare the samples and the references [2].

    - LAB MEDIA: Figure 8B.

    - LAB MEDIA: Figure 8C.

# Conclusion

- Conclusion Interview Statements

  - The possibilities to customize the analysis and to exploit any spectrum as reference expands user horizons but, simultaneously, asks the users for a careful evaluation of their choices.

    - 4.4.1. , 4.4.2.

  - This approach highlights the use of spectra manipulation as an analysis tool. Therefore, computer vision and statistical studies can help deepen the knowledge about the possibilities of this method.

    - LAB MEDIA: Figure 8A.