# Submission ID #:  62207

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18973183

# Title: Observing Islet Function and Islet-immune Cell Interactions in Live Pancreatic Tissue Slices

# Authors and Affiliations:

Mollie K. Huber1, Denise M. Drotar2,3,4, Helmut Hiller1, Maria L. Beery1, Paul Joseph1, Irina Kusmartseva1, Stephan Speier2,3,4, Mark A. Atkinson1, Clayton E. Mathews1, Edward A. Phelps5

1Department of Pathology, Immunology, and Laboratory Medicine, University of Florida, Gainesville, FL 32611, USA

2Paul Langerhans Institute Dresden (PLID) of the Helmholtz Zentrum München at the University Clinic Carl Gustav Carus of Technische Universität Dresden, Helmholtz Zentrum München, Neuherberg, Germany

3Institute of Physiology, Faculty of Medicine, Technische Universität Dresden, Germany

4German Center for Diabetes Research (DZD), München-Neuherberg, Germany

5J. Crayton Pruitt Family Department of Biomedical Engineering, University of Florida, Gainesville, FL 32611, USA

☐   All author names and affiliations are correct.

# Corresponding Authors:

Edward A. Phelps		ephelps@bme.ufl.edu

# Email Addresses for All Authors:

mhuber@ufl.edu

denise-minerva.drotar@tu-dresden.de

hhiller@ufl.edu

marialpeterson@pathology.ufl.edu

pjoseph14@ufl.edu

inkusmartseva@ufl.edu

stephan.speier@helmholtz-muenchen.de

atkinson@pathology.ufl.edu

Clayton.Mathews@pathology.ufl.edu

ephelps@bme.ufl.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  15

Number of Shots:  39

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving animal subjects have been approved by University of Florida Animal Care and Use Committee.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Generation of the mouse pancreatic slices

  - To begin, arrange the blocks on the specimen holder in such a way that they do not exceed blade width, ensuring that the blade can move forward the least possible distance when the vibratome moves slowly [1].

    - WIDE: Talent arranging the blocks on the specimen holder.

  - Apply a line of super glue on the specimen holder, making a thin layer using the end of the glue dispenser [1]. Then, flip the tissue blocks onto the glue so that the side close to the tissue faces upward [2]. Gently push down the blocks and let the glue dry for three minutes [3].

    - Talent applying and spreading the super glue on the specimen holder.

    - Talent flipping the tissue blocks onto the glue.

    - Talent pushing the blocks.

  - Next, attach the plate to the vibratome with either a screw or a magnet [1] and adjust the blade height and distance being travelled so that the blade moves over the length of the blocks and just barely above them [2]. Authors: Your vibratome model uses a screw or a magnet?

    - Talent attaching the plate to the vibratome.

    - Talent adjusting the blade.

  - Gently nudge the blocks with the forceps to check that the glue has dried [1] and then fill the vibratome tray with chilled extracellular solution until the blade is covered [2]. Set the vibratome to make slices of 120-micrometer thickness and start it [3-TXT], then observe the slices coming off the tissue blocks [4].

    - Talent ensuring the glue has dried using forceps.

    - Talent feeling the vibratome with ECS until the blade is covered.

    - Talent setting the vibratome. TEXT: Vibratome: Speed-0.175 mm/s, Frequency-70 Hz, Amplitude-1 mm

    - Slices coming off the tissue blocks.

  - Lift the slices when they float off the block by placing a paintbrush or forceps below them [1-TXT] and place the slices in Krebs-ringer bicarbonate buffer containing 3 millimolar D- glucose and trypsin inhibitor [2-TXT].

    - Talent lifting the slices with a paint brush or forceps. TEXT: 10 cm Graefe forceps or a small No. 4 paintbrush

    - talent placing the slices in the plate containing buffer and trypsin inhibitor. TEXT: Put only 15 slices in a single plate

  - Place the plates containing the slices on a rocker [1] and incubate at room temperature for an hour at 25 rpm [2]. If the slices need to be kept for longer, place the slices in 15 milliliters of slice culture medium [3] and place the plate in an incubator [4].

    - Talent placing the plate containing the slices on the rocker.

    - Plate on the rocker at 25 rpm.

    - Talent placing the slices in 15 mL slice culture medium.

    - Talent placing the plate in an incubator.

  - Incubate the prepared slices at 37 degrees Celsius for same-day studies [1], or transfer the slices that are cultured at 24 degrees Celsius overnight to 37 degrees Celsius for at least 1 hour before the experiment [2].

    - Slices at 37 degrees Celsius.

    - Talent transferring the overnight cultured slices to 37 degrees Celsius.

- Immune cell recordings on mouse pancreatic tissue slices

  - Switch on the microscope at least 1 hour before the recording [1] and equilibrate the stage-top incubator to 37 degrees Celsius [2]. Secure the coverglass-bottom Petri dish containing the slice on the stage [3].

    - Talent switching on the microscope.

    - Talent equilibrating the stage-top incubator.

    - Talent putting plate containing slices on the stage.

  - Focus the microscope by setting the 10x objective in the brightfield mode [1] and locate the islets using the brightfield mode by looking for orange-brown colored ovals within the slice [2].

Authors: Would you like to provide screen capture videos for the imaging? If so, please use our screen capture guidelines and upload the videos to your project page: https://www.jove.com/account/file-uploader?src=18973183.

    - Talent setting 10X objective and focusing.

    - SCREEN: Locating islets.

  - Switch the microscope to confocal imaging by pressing the CS button on the microscope’s touch screen controller [1].

    - Talent pressing the CS button on the touch screen of the microscope.

  - To view the islets using reflectance, turn on the 638-laser detector [1] and PMT detector [2], set the laser power between 1 and 2% [3], and turn off the notch filters [4].

    - Talent turning on the 638-laser detector.

    - Talent turning on PMT detector.

    - Talent setting the laser power.

    - Talent turning off the notch filters.

  - Use the 405-nanometer laser and PMT detector to observe the nucleic acid stain [1], the hybrid detector for the CD8 antibody detection [2], and the 488-nanometers laser and hybrid detector to view the insulin tetramer [3].

    - Talent turning on the 405 nm laser and PMT detectors.

    - Talent turning on HyD detector.

    - Talent turning on 488 nm laser and HyD detectors.

  - Center the islet of interest in the field of view using the X and Y knobs of the stage controller [1]. Once an islet of interest is located, switch to the 20x objective [2] and zoom in so the islet takes up most of the frame [3].

    - SCREEN: Talent centering the islet of interest in the view.

    - Talent switching to 20X objective.

    - SCREEN: Talent zooming in on the islet.

  - Take a z-stack of the islet [1-TXT], then find the best optical sections where most of the cells are alive and any surrounding immune cells are in focus [2].

    - SCREEN: Talent taking a z-stack image of the islet. TEXT: z-step size-1.5 μm

    - SCREEN: Talent finding the sections of alive cells with immune cells in surrounding.

  - Set the microscope to record in XYZT mode [1] and optimize the settings to record a Z-stack of the selected steps every 20 minutes over a period of several hours [2].

    - SCREEN: Talent setting the microscope to record in XYZT mode.

    - SCREEN: Talent optimizing the settings to record a Z-stack

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 177. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Viability and immune cell activity of the live pancreatic tissue slices

  - The islets in a pancreatic tissue slice were visualised using bright field and reflected light microscopy [1-TXT]. The insulin in the islets increases the granularity and causes absorption of large amounts of reflected light, increasing the visibility of the islets [2].

    - LAB MEDIA: Figure 1A and 1B TEXT: The red and white arrows indicate the islets.

    - LAB MEDIA: Figure 1C

  - The viability of a live human pancreatic tissue slice was assessed by staining [1]. The live cells are indicated in green [2] and the dead cells in blue [3].

    - LAB MEDIA: Figure 1D

    - LAB MEDIA: Figure 1D Video Editor: Please emphasize the green parts of the image.

    - LAB MEDIA: Figure 1D Video Editor: Please emphasize the blue parts of the image.

  - Another positive indicator for the viability is observable basal activity. When a live pancreatic slice was loaded with a cell permeable calcium indicator, glucose stimulation was observed in both mouse [1] and human pancreatic slices [2]. The florescence of individual cells during glucose stimulation was also quantified [3].

    - LAB MEDIA: Figure 2A

    - LAB MEDIA: Figure 2C

    - LAB MEDIA: Figure 2D

  - Intact and diseased islets were observed using dithizone staining [1] and reflected light microscopy [2]. The diseased islets begin to lose granularity due to immune cell infiltration and cell death [3].

    - LAB MEDIA: Figure 3A and 3B

    - LAB MEDIA: Figure 3C

    - LAB MEDIA: Figure 3D

  - Immune cell populations can be identified using CD-8 antibody and insulin-tetramer staining. Co-staining indicates that the cells are effector T cells that are specifically targeting the insulin antigen [1].

    - LAB MEDIA: Figure 3E

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.