## Sheet1
ACTIVITY OUTCOME | ASSAY NAME | READ FORMAT |  |  | METHODOLOGY |  | THROUGHPUT |  |  | EQUIPMENT | ADVANTAGES | LIMITATIONS | REFERENCES
|  | NGM plate | Liquid culture | Multi-well plate | Imaging | Results | Low | Medium | High
THRASHING | Manual |  | ✓ |  | Microscopy | • Manual analysis • Thrashing | ✓ |  |  | • Stereomicroscope | • Inexpensive | • User bias • Time consuming | 19
| WrMTrcK |  | ✓ |  | Microscopy and video recording | • Body bends per minute • Length & Area | ✓ |  |  | • Stereomicroscope • Camera | • ImageJ plugin • up to 120 worms / 9 cm plate | • Issue with worms overlapping • One condition per plate | 26
LOCOMOTION | Manual | ✓ |  |  | Microscopy and video recording | • Manual analysis • Velocity | ✓ |  |  | • Stereomicroscope • Camera | •Activity of individual worms | • User Bias • Time consuming • Tracks manual traced onto acetate sheets | 20
| ZebraLab |  | ✓ |  | Microscopy and video recording | • Pixel change average |  | ✓ |  | • Stereomicroscope • Camera • Zebralab software (Viewpoint) • Microscope Slide | • Precise and quick analysis • Observe 5 worms / dropplet | •Software developed for zebrafish analysis | Novel application of software for C. elegans; Software info at: http://www.viewpoint.fr/en/p/software/zebralab-zebrafish-behavior-screening
| Tierpsy Tracker | ✓ |  |  | Microscopy and video recording | • Velocity • Length & Area |  | ✓ |  | • Stereomicroscope • CCD Camera | • Observation of multiple objects at once • Locally calculated thershold • up to 300 worms / 9 cm plate • Velocity | • One condition per plate • Processing time | 28
| WF-NTP | ✓ |  |  | Microscopy and video recording | • Velocity • Length & Area |  | ✓ |  | •CCD Camera •Stand and LED Light | • Observe up to 5,000 worms / 9 cm plate | • One condition per plate | 27
| WorMotel |  |  | ✓ | Video recording and pixel changes | • Pixel change average |  | ✓ |  | • CMOS camera and lens • Stand and LED Light • Polydimethylsiloxane (PDMS) 240-well plate | •Each worm is isolated in an individual well • Activity of a worm can be tracked over a period of days | • Due to the nature of PDMS plates cannot be reused for compound screening due to diffusion between wells | 29
| WormWatcher |  |  | ✓ | Video recording and pixel changes | • Pixel change average per well |  |  | ✓ | • WormWatcher device | • Observe up to 80 24-well plates a day • Activity of 50 worms / well | • Activity is per well not indivudal worm | In Press
| WormLab | ✓ |  |  | Microscopy and video recording | • Velocity • Length & Area • Body bending angles • Reversal direction |  | ✓ |  | • Stereomicroscope • Camera • WormLab Software | • Observe up to 120 worms / 9 cm plate • Software can work with current system | • Expensive software and equipment | 31
| Infinity chip |  | ✓ |  | Microfluidic and video recording | • Velocity • Length & Area |  | ✓ |  | •Infinity chip •Infinity processor | • Observe up to 70 worms / chip • Activity over time without progeny blocking drugs | • One condition per chip • Requires custom microfluidic chips | 32
| WormScan |  |  | ✓ | Sequental scans and pixel change | • Pixel change average |  |  | ✓ | •Flatbed Scanner • Stereomicroscope | • 15 worms / well in 96-well plate • Previously used for High-Throughput Drug screening | • Activity only measurable between scans | 48 and 49
| WMicrotracker ONE |  |  | ✓ | Infrared light (IR) microbeam | • IR light average change |  |  | ✓ | • Wmitotracker ONE | • up to 70 worms / well in 96-well plate • Previously used for High-Throughput Drug screening | • Only measures changes in infrared light | 33
PHARNGEAL PUMPING | Manual | ✓ |  |  | Microscopy | Manual analysis | ✓ |  |  | • Stereomicroscope | • Inexpensive • Well-established | • User bias • Time consuming | 17 and 21
| WormSpa |  | ✓ |  | Microfluidic and video recording | MATLAB scripts |  | ✓ |  | • Microfluidic device • Steromicroscope • Camera | • Inexpensive • high sensitivity | • Due to the nature of PDMS plates cannot be reused for compound screening due to diffusion | 40 and 41
| ScreenChip |  | ✓ |  | Microfludic EPGs | • EPG average | ✓ |  |  | • The ScreenChip System (In vivo Biosystems) | • High sensitivity | • Single worm analysis at a time | 45
CHEMOTAXIS | Manual | ✓ |  |  | Microscopy | Manual analysis | ✓ |  |  | • Stereomicroscope | • Well-characterized method | • User bias | 46
| Multi-Worm Tracker* | ✓ |  |  | Microscopy and video recording | • Velocity • Length & Area • Distance from atractant or replant |  | ✓ |  | • Stereomicroscope • CCD Camera | • up to 120 worms per 9 cm plate | • No software support | 47