## Material
Name | Company | Catalog Number
0.22 um syringe filter | Milipore Sigma | SLGP033RS
0.5M EDTA, pH 8.0 | Thermo-Fisher | 15575020
0.75 mm biopsy punch | World Precision Instruments | 504529
1 mL syringes | BD | 309628
1H,1H,2H-Perfluoro-1-Octanol (PFO) | Sigma-Aldrich | 370533
1M Tris-HCI, pH 8.0 | Thermo-Fisher | 15568025
27 gauge needles | BD | 305109
3" silicon wafers, P type, virgin test grade | University Wafers | 447
3D-printed centrifuge syringe holder | (custom) | (custom)
Acrylamide solution,40%, for electrophoresis, sterile-filtered | Sigma-Aldrich | A4058-100ML
Ammonium persulfate | Sigma-Aldrich | A3678-25G
Aquapel (fluorinated surface treatment) | Pittsburgh Glass Works | 47100
Hexane | Sigma-Aldrich | 139386
FC-40 fluorinated oil | Sigma-Aldrich | F9755
Isopropanol | Sigma-Aldrich | 109827
N,N′-Methylenebis(acrylamide) | Sigma-Aldrich | 146072-100G
NaCl | Sigma-Aldrich | S9888
Novec-7500 Engineering Fluid (HFE oil) | 3M | 98-0212-2928-5
polyethylene tubing | Scientific Commodities | B31695-PE/2
fluorosurfactant | Ran Biotechnologies | 008-FluoroSurfactant
PGMEA developer | Sigma-Aldrich | 484431
Photomasks | CadArt Servcies | (custom)
Platinum Multiplex PCR Master Mix (Taq Master Mix) | Applied Biosystems | 4464263
Spin coater | Specialty Coating Systems | G3P-8
Span 80 (sorbitane monooleate) | Sigma-Aldrich | s6760
SU-8 3025 photoresist | Kayaku | 17030192
Triton X-100 (octylphenol ethoxylate) | Sigma-Aldrich | t8787
Tween 20 (polysorbate 20) | Sigma-Aldrich | p2287
Platinum Multiplex PCR Master Mix (Taq Master Mix) | Applied Biosystems | 4464263
Yeast FWD | IDT | 5′-GCAGACCAGACCAGAACAAA-3′
Yeast REV | IDT | 5′-ACACGTATGTATCTAGCCGAATAAC-3
Yeast Probe | IDT | 5′-/56-FAM/ATATGTTGT/ZEN/TCACTCGCGCCTGGG/3IABkFQ/-3′
EVOS FL AUTO | Life Technologies
EVOS LED Cube, GFP | Life Technologies | AMEP4651
SYLGARD 184 KIT 1.1 LB (PDMS base and curing reagents) | Dow Corning | DC4019862
TEMED | Thermo Fisher | 17919
Saccharomyces cerevisiae genomic DNA | Milipore | 69240-3
Expanded plasma cleaner (plasma bonder) | Harrick Plasma | PDC-002 (230V)