# Submission ID #:  62248

# Scriptwriter Name: Madhulika Pathak

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18985688

# Title:   Particle templated emulsification enables microfluidic-free droplet assays.

# Authors and Affiliations:

Daniel W. Weisgerber1, Makiko N. Hatori1, Adam R. Abate1,2*

1Department of Bioengineering and Therapeutic Sciences, California Institute for Quantitative Biosciences, University of California, San Francisco, California, USA

2Chan Zuckerberg Biohub, San Francisco, California, USA

# Corresponding Authors:

Adam R. Abate adam@abatelab.org

# Email Addresses for All Authors:

# Daniel.Weisgerber@ucsf.edu

# Makiko.Hatori@ucsf.edu

adam@abatelab.org

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No, but we can provide videos of microfluidic device (droplet generation, Protocol 4.2/4.2.1) using our microscopes (independent of videographer).

If Yes, can you record movies/images using your own microscope camera?

Yes

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group?

☒ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?

No, all locations are within the same building

Current Protocol Length

Number of Steps:  22

Number of Shots:  52

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Digital droplet PCR affords enhanced accuracy and sensitivity compared to quantitative PCR. This is a simple method for digital droplet PCR, requiring minimal equipment and no expertise.

    - LAB MEDIA: Figure 1

  - Particle templated emulsification is a microfluidic-free method of emulsification that does not require any specialized equipment. Additionally, emulsification occurs over a period of seconds and scales to container volume.

    - 5.5.1 and 5.5.2

# Protocol

- Preparation of Hydrogel Particles for Particle Templated Emulsification.

  - For commercial beads, add 0.5 grams of dried polyacrylamide particles compatible with particle template emulsification, or PTE, [1] to 30 milliliters of sterile water in a 50-milliliter conical tube and mix well. Incubate at room temperature for 30 minutes [2].

    - WIDE: Establishing the shot of talent weighing on weighing machine

    - Talent mixing the conical tube and then keeping it at room temperature

  - For the microfluidic fabrication of beads, pour 1 milliliter of photoresist onto the center of a 3-inch silicon wafer [1] and then spin it at 500 rpm for 30 seconds followed by 1250 rpm for 30 seconds [2]. Place the wafer onto a hotplate set to 95 degrees Celsius for 15 minutes to evaporate the solvent [3].

    - Talent pouring photoresist onto center of the wafer

    - Talent spinning the wafer

    - Talent placing the wafer on a hotplate

  - Secure the photomask onto the silicon wafer with a cover glass slide [1] and expose the wafer under a collimated UV-LED (Pronounce: Spell it out as ‘U’ ‘V’ ‘L’ ‘E’ ‘D’) for 2.5 minutes [2-TXT]. Place the wafer on a hotplate set to 95 degrees Celsius for 5 minutes for post exposure baking [3].

    - Talent putting the coverslip on wafer

    - Talent putting the wafer in a collimator TEXT: 190 mW, 365 μm UV LED

    - Talent placing the wafer on a hotplate

  - Develop the photoresist-silicon wafer by immersing it in a bath of 100% PGMEA for up to 15 minutes [1-TXT]. Rinse the wafer with fresh 100% PGMEA followed by 100% isopropanol [2]. Air dry the wafer, then dry it on a hotplate set to 95 degrees Celsius for 1 minute [3] and place it into a clean 3-inch Petri dish [4].

    - Talent immersing the wafer TEXT: PGMEA: Propylene glycol monomethyl ether acetate

    - Talent rinsing the wafer

    - Talent placing the wafer on a hotplate

    - Talent placing wafer in a clean Petri dish

- Fabrication of the Custom Microfluidic Device

  - Mix the PDMS silicon base and curing reagent in a 10 to 1 ratio [1-TXT], then degas the mixed PDMS using a desiccator under vacuum until no air bubbles are observable [2].

    - Talent mixing PDMS base and reagent TEXT: PDMS: polydimethylsiloxane

    - Talent putting base in desiccator and degassing it

  - Pour the degassed PDMS in the Petri dish, ensuring that the silicon wafer is completely submerged [1]. Degas the silicon wafer and PDMS [2] and then cure the PDMS by placing the silicon wafer into an oven set to 65 degrees Celsius for at least 60 minutes [3].

    - Talent pouring PDMS in the Petri dish

    - Talent degassing the silicon wafer with PDMS

    - Talent putting the silicon wafer in an oven

  - Excise a block of PDMS containing the microfluidic features from the Petri dish using a scalpel [1]. Punch the inlets and the outlets into the PDMS block using a 0.75-millimeter biopsy punch [2], then remove any dust and particulates with the repetitive application and removal of packaging tape to the block surface [3].

    - Talent excising the PDMS block using a scalpel

    - Talent punching the block using biopsy punch

    - Talent applying and removing the tape on block

  - Clean a glass slide by rinsing it with 100% isopropanol and subsequently air drying the surface [1-TXT]. Plasma-treat both the glass slide and the PDMS with 1 millibar of oxygen plasma for 1 minute using a plasma bonder [2].

    - Talent rinsing the glass slide TEXT: 50 mm x 75 mm glass slide

    - Slide inside the plasma bonder

  - Affix the PDMS to the glass slide by placing the plasma treated PDMS with features facing down onto the glass slide, plasma treated side facing up [1]. Place the slide into an oven set to 65 degrees Celsius for at least 30 minutes to complete the bonding [2].

    - Talent placing the slide with PDMS facing down to the slide, by pointing finger at the relevant side

    - Talent putting the slide into oven

  - Treat all microfluidic channels with a fluorinated surface treatment to ensure surface hydrophobicity [1], then bake the device at 65 degrees Celsius for at least 10 minutes [2].

    - Talent treating the channels with fluorine

    - Talent baking the device

- Fabrication of Templating Particles

  - Load both polyacrylamide, or PAA, and hydrofluoroether, or HFE, solution containing syringes into syringe pumps [1-TXT]. Connect both syringes to the microfluidic device using polyethylene tubing [2].

    - Talent loading syringes in syringe pump TEXT: Prime the pumps beforehand to remove the air inside tubing.

    - Talent connecting both the syringes to the device

  - Run the drop generation device and collect 1 milliliter of the droplets [1] in a 15-milliliter collection tube, then incubate for 3 hours at room temperature for polymerization [2-TXT]. After the incubation, remove the lower layer of oil by pipetting [3].

    - LAB MEDIA: Droplet generation. To be provided by authors. {comment: Uploaded two videos (A and B) with two different formats (.avi and .cine). Both videos are the same action, video B is longer at the cost of lower frame rate (faster) and a smaller imaging area. Video A is technically higher quality}

    - Talent almost finishing collecting the droplets in a tube and then keeping it at room temperature. TEXT: PAA and HFE oil inputs; 300 μL/h and 500 μL/h

    - Talent removing the oil by pipetting

  - Add 1 milliliter of 20% PFO in HFE oil to the 15-milliliter collection tube as a chemical demulsifier [1-TXT]. After mixing, spin down the 15-milliliter collection tube at 2000 times g for 2 minutes [2]. Remove the bottom layer PFO-HFE supernatant by pipetting and repeat the process one more time [3].

    - Talent adding PFO in HFE oil containing tube TEXT: PFO: Perfluoro-1-octanol

    - Talent putting the tube in centrifuge

    - Talent removing the bottom layer supernatant

  - Add 2 milliliters of 2% sorbitan monooleate in hexane to the 15-milliliter collection tube and vortex it [1]. Spin the tube at 3000 times g for 3 minutes and remove the supernatant by pipetting to remove the surfactant solution. Repeat this twice [2].

    - Talent adding reagent to the tube and then vortexing it

    - Talent removing the supernatant

  - Add 5 milliliters of TEBST buffer and mix well [1], then spin down at 3,000 times g for 3 minutes [2] and remove the supernatant by pipetting. Repeat this three times [3][2], then resuspend in 5 milliliters of TEBST [4][3].

    - Talent adding buffer to the tube

    - Talent taking out the tube from centrifuge and then removing the supernatant

    - Talent removing the supernatant {ADDED SHOT}{comment: divided shot into two, could not remove supernatant at the centrifuge}

    - Talent resuspending the pellet

- Particle Templated Emulsification.

  - Prepare the polyacrylamide particles for particle templated emulsification by centrifuging at 6000 times g for 1 minute to pellet the particles [1], then remove the supernatant by pipetting [2] and resuspend the pellet in sterile water. Repeat three times to ensure removal of any residual TEBST [3][2].

    - Talent putting the tubes for centrifugation

    - ECU: Talent removing the supernatant and then resuspending the pellet Videographer: This step is difficult and important! Please try to film the pellet in the tube. {comment: videoing was awkward, broke into two parts for positioning}{comment: this particular resuspension is not as important as 5.3.1}

    - Talent resuspending the pellet {ADDED SHOT}

  - Prepare the disperse phase in a fresh 1.5-milliliter microcentrifuge tube using a PCR master mix, the appropriate primers, and a fluorescein hydrolysis probe as described in the text manuscript [1]. Incubate at room temperature for 5 minutes under gentle agitation using a tube rotator [2-TXT].

    - Talent preparing the mix in microcentrifuge tube

    - Talent incubating the tube on rocker/shaker TEXT: At 10 rpm

  - Centrifuge the disperse phase at 6000 times g for 1 minute and remove the supernatant [1].

    - Talent removing the supernatant Videographer: This step is difficult and important!

  - Add 1 microliter of Saccharomyces cerevisiae genomic DNA to the pellet and mix thoroughly by pipetting or vigorous tapping [1-TXT]. Add 200 microliters of 2% fluorosurfactant in HFE oil to the tube for emulsification [2]. Dislodge the pellet by pipetting or tapping the tube and then vortex at 3000 rpm for 30 seconds [3].

    - Talent adding DNA to pellet and then mixing it TEXT: gDNA: 1.62 pg/µl

    - Talent adding oil reagent to the reagent oil

    - Talent tapping the tube and keeping it for vortex Videographer: This step is difficult and important!

  - Allow for the emulsions to settle for 1 minute, then remove 100 microliters of the bottom oil phase [1] and replace this volume with fresh 2% fluorosurfactant in HFE oil [2][1]. Gently invert the tube several times to mix. Repeat this 3 times or more, until small satellite droplets are removed [3][2].

    - Talent removing 100 microliters of the bottom oil phase {ADDED SHOT}{comment: this is important, it can be difficult for users to identify the interface/where to stop}

    - Talent adding fluorosurfactant to the oil Videographer: This step is important!

    - Talent repeatedly inverting the tubes Videographer: This step is important!

- Digital Droplet PCR and Analysis.

  - After 2 to 5 minutes of settling, remove the bottom oil phase. Replace this volume with 5% fluorosurfactant in fluorocarbon oil [1]. Pipette 100 microliters of sample into 200-microliter PCR tubes [2] and place the PCR tubes into a thermocycler [3][2].

    - Talent adding fluorosurfactant to the tube

    - Talent pipetting reagents into 200-microliter PCR tubes {ADDED SHOT}{comment: optional, but may be informative/helpful for viewers}

    - Talent placing the tubes in thermocycler

  - Pipette the sample onto a counting slide for fluorescent imaging [1] and image the sample [2-TXT].

    - Talent pipetting the sample on the slide

    - WIDE: Talent sitting on fluorescent microscope system TEXT: 490 nm excitation and 525 nm emission wavelength

# Results

- Results: Sample encapsulation using particle templated emulsification (PTE)

  - Particle templated emulsification affords superb monodispersity [1] as the excess supernatant is removed, stabilizing surfactant is added, and the sample is vortexed to generate the emulsion [2]. The resultant droplets consist of particle core and aqueous sample, containing reagents and sample molecules or cells necessary for the reaction [3].

    - LAB MEDIA: Figure 2 Video editor: Please highlight Figure 2A

    - LAB MEDIA: Figure 2 Video editor: Please highlight Figure 2C

    - LAB MEDIA: Figure 2 Video editor: Please highlight Figure 2C and 2D

  - Polydispersed droplets with templating particles indicate insufficient vortex [1]. Another issue is generation of excessive satellites, which lower encapsulation efficiency [2]. Satellites should comprise no more than 10% of the total encapsulated sample volume [3]. They can be cleared from the emulsion by washing with fresh oil [4].

    - LAB MEDIA: Figure 3 Video editor: Please highlight Figure 3A

    - LAB MEDIA: Figure 3 Video editor: Please highlight Figure 3B

    - LAB MEDIA: Figure 3 Video editor: Please highlight Figure 3C

    - LAB MEDIA: Figure 3 Video editor: Please highlight Figure 3D

  - The utility of PTE can be demonstrated in digital PCR when droplets containing amplified targets become fluorescent, allowing direct quantitation of targets [1]. The fluorescent droplets yield few positives when the target is rare [2] and many when it is abundant [3].

    - LAB MEDIA: Figure 4 Video editor: Please highlight Figure 4A

    - LAB MEDIA: Figure 4 Video editor: Please highlight Figure 4B

    - LAB MEDIA: Figure 4 Video editor: Please highlight Figure 4C

  - These results are repeatable using commercially available polyacrylamide particles, achieving accurate measurements over the same range [1].

    - LAB MEDIA: Figure 5

# Conclusion

- Conclusion Interview Statements

  - The removal of supernatant from the disperse phase is important for sample encapsulation. Knowing the volume of the pellet and supernatant can help identify the interface between the two. When in doubt, err on the side of removing the supernatant.

    - Suggested B-roll: 5.3.1