# Manuscript JoVE62251: editorial and peer review

Editorial comments:
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

The manuscript was once again proofread for spelling and grammatical errors and these are now corrected.

2. Please revise the following lines to avoid previously published work: 62-63, 109-110, 515-516, 591-593, 600-603.

Lines 62-63 were approved by the editor.

Lines 109-110 have been rephrased to avoid overlap with reference [1]. It has been changed from “[…] increase the permeability of the blood-brain barrier, allowing therapeutic agents to enter the brain parenchyma” to: “increase the blood-brain barrier permeability, enabling drugs to enter the brain parenchyma”.

Lines 515-516 have been rewritten to avoid overlap with reference [2]. It has been changed from “[…] positioned below the objective at an angle of 45° with respect to the optical axis to minimize reflections from the glass of the window chamber and reduce standing wave formations” to “[…] positioned below the objective at an angle of 45° with respect to the optical axis to minimize reflections from the cover glass of the dorsal skinfold window chamber and to reduce standing wave formations”.

Lines 591-593 have been revised to avoid overlap with reference [2]. It has been changed from “ Multiphoton microscopy was used for real-time intravital imaging during ultrasound to investigate the effects of ultrasound and microbubbles on nanoparticle behavior in the blood, enhancing the permeability of tumor blood vessels and improving the delivery of nanoparticles.” to “Real-time intravital multiphoton microscopy during ultrasound was used to investigate the effects of ultrasound and microbubbles on nanoparticle behavior in the blood, enhancement of the permeability of tumor blood vessels and improvement of the delivery of nanoparticles.”

Lines 600-603 have been revised to avoid overlap with reference [2]. It has been changed from “Results gained from intravital multiphoton microscopy help to elucidate the temporal and spatial extravasation of nanoscale particles during ultrasound exposure, which is highly beneficial to complete our understanding of the mechanisms underlying ultrasound-mediated delivery of nanoparticles and for optimizing such technologies[2].” to “Results gained from intravital multiphoton microscopy elucidate the spatial and temporal extravasation of nanoparticles during ultrasound exposure, which is highly beneficial to complete the understanding of the mechanisms underlying ultrasound-mediated delivery of nanoparticles and to optimize such technologies[2]”

3. As we are filming in Enschede, Overijssel, Netherlands, please provide the footage of the sections of the protocol from Trondheim here: https://www.dropbox.com/request/EfnRxOtoNAVNUPbHAqNb

Footage of the sections of the protocol from Trondheim will be uploaded to the Dropbox folder.

4. Please provide an institutional email address for each author.

Institutional email addresses have been added for all authors.

5. Please revise the text to avoid the use of any personal pronouns (e.g., "we", "you", "our" etc.).

The use of personal pronouns has been completely omitted from the manuscript. In line 41-43: “we focus on” has been rephrased to “the focus is on”. In line 652-653: “We imaged the bubble oscillations” is replaced by “Imaging of the bubble oscillations was performed, as well as imaging of”.

in line 146-147: “our systems” has been replaced by “the systems at hand”. In line 600-603: “our understanding” has been changed to “understanding”.

6. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials (Eppendorf, ISOTON, MATLAB, CLINIcell, Shimadzu, Olympus)

“CLINIcell”, “Shimadzu” and “Olympus” were not mentioned in the originally submitted manuscript, but were present in the figures. These words have been replaced by generic terms as mentioned in editorial comment 19.

The word “MATLAB” as was used in step 2.2.7.1 (lines 376-381), step 2.3.6.1 (line 459-462), and step 3.7.1 (line 562-565) is now changed to “programming environment”. In the results (line 578) the word “MATLAB” is now replaced by “a script written in-house”.

“Baytril” as mentioned in step 3.1.6 (line 490-492) has been changed to “enrofloxacin”.

”ImageJ” as mentioned in step 3.7.1 (line 562-565) has been changed to “(open source) image processing software”.

7. Please remove “(Table of Materials)” from the protocol section.

A general statement has been added before the first step of the protocol regarding the Table of Materials: “Details of materials that are used in the protocol can be found in the Table of Materials.” All references to the Table of Materials in the protocol steps have been removed.

8. Line 187: Please convert stirring speeds to centrifugal force (x g) instead of revolutions per minute (rpm).

The diameter of rotation of the dispersion tool is 6.1 mm. A radius of 3 mm and 24,000 rpm then is equivalent to 1935 g. The radius of rotation and the stirring speed in centrifugal force are now added to step 1.4. The stirring speed is also specified in revolutions per minute, as this is the unit of the settings of the particular dispersion tool used in the production of the microbubbles of this paper.

9. Line 192-193: Please specify the temperature in which the excess casein and nanoparticle is stored. What is the concentration of acetone used for cleaning?

Line 192-193 is rephrased to “Store the excess casein and nanoparticle solution at 4°C and clean the dispersion tool with 100% acetone.” to include the temperature at which the excess casein and nanoparticles are stored, and the concentration of acetone used for cleaning.

10. Line 201-203: Please specify the dilution of the bubble solution. What is the size of the venting needle and the glass vial used?

The dilution of the bubble solution is specified in step 2.1.1.3. Steps 2.1.1.1 and 2.1.1.2 merely specify the necessary steps to reach such dilution. The specification of the venting needle size (19G - 21G) has been added to step 2.1.1.1. Additional details of the glass crimp top vial (10 mL, diameter of 2 cm) have been added to step 1.1.

11. Line 206: Please include the amount of bubble solution taken out.

The amount of bubble solution will depend on the type of bubble that is used. In our case, a small syringe was used to extract 0.2 mL of the bubble suspension so that a concentration of approximately 2 x 105 to 6 x 105 microbubbles/mL could be reached in step 2.1.1.3. This information has been added to step 2.1.1.2.

12. Line 214: Please include the details of the washing steps.

Washing was not performed during the experiments presented in this work, i.e., free nanoparticles remained in suspension. For the present confocal imaging experiments the free nanoparticles did not pose a problem, as free particles are easily distinguished from microbubbles in confocal imaging. However, if washing of the bubbles is required, e.g. for epifluorescence imaging, the produced bubble suspension is to be diluted (e.g. by taking 100 µL of the bubble solution in 10 mL of phosphate buffered saline), after which the diluted suspension is centrifuged (typically at speeds of the order of 100 g). Finally, the supernatant containing the microbubbles can be removed with a pipette for further analysis. The pellet/precipitate then contains the free fluorescent particles and can be disposed. The washing step should be repeated as necessary. A description of this washing process has been added to line 214-216.

For the nanoparticles, freely suspended dye is removed by dialysis after synthesis of the nanoparticles and before the microbubbles are produced. Since this step is very specific to this type of microbubble, this washing step is not included in the protocol.

13. Line 237: Please comment on z-stack imaging? Any specific step size used?

The step size used in the z-direction was 100 nm. This specification has now been added to the manuscript.

14. Line 468-470: Please include an ethics statement before your numbered protocol steps, indicating that the protocol follows the animal care guidelines of your institution. Any age and sex specific bias?

The ethics statement from the Norwegian Animal Research Authorities is now moved to before the numbered protocol steps. There is no age and sex specific bias, but the weight of the mice should meet a criterium for the skin to be suitable. Line 468-470 is rephrased to: “Both female and male mice can be used, and age is unimportant, but the weight of the mice should be at least 22-24 g for the skin to be sufficiently flexible.”

15. Line 496: Please provide the details of the anesthesia? What was the induction dose of isoflurane? How long was the procedure?

The induction and maintenance dose of the anesthesia (line 496) is now specified. It is 5% and 1-2%, respectively. The procedure spans a couple of minutes, which has also been added to step 3.2.1.

16. Line 497-499: Please specify the type of the cancer cells used? Please comment on the cell culture medium. How was the tumor growth ensured?

A line has been added to step 3.2.1 regarding the type of cancer cells: “In the experiments described, the human osteosarcoma (OHS) cell line was used, but other cell lines can also be used.”

The cell culture medium used for tumor model creation is Roswell Park Memorial Institute (RPMI) 1640, supplemented with 10% Fetal Bovine Serum. Before implantation in animals 100 U/mL penicillin and 100 mg/mL streptomycin have been added. These materials are now included in step 3.2.1 and have been added to the Table of Materials.

Prior to implantation, the cells are maintained at 37°C and 5% CO2. A note on this has now been added after step 3.2.1.

17. Line 533: Please include the specifications of the heated animal holder.

A description of the heated animal holder has been added to the Table of Materials: “A steel holder where the mouse is positioned on its side in a cavity fitting the size of a mouse, with the window chamber lying flat and immobilized with screws on each side. Below the chamber there is a hole in the holder to secure acoustic contact between the transducer and the skin. The holder is heated to a maximum temperature of 37°C, and the temperature is controlled by feedback from a rectal temperature probe in the mouse. The holder is mounted to an XY positioning stage so the animal can be moved independently to image different areas of the window chamber.“

18. Please obtain explicit copyright permission to reuse any figures from a previous publication. Explicit permission can be expressed in the form of a letter from the editor or a link to the editorial policy that allows re-prints. Please upload this information as a .doc or .docx file to your Editorial Manager account. The Figure must be cited appropriately in the Figure Legend, i.e. “This figure has been modified from [citation].”

Figure 6b contains a reproduction of a figure by Sulheim et al., 2019 (reference 34 of the manuscript). It was published in the journal ‘Nanotheranostics’, which states on its website (ntno.org/ms/terms) that: “As an author or co-author of the article, you are free to include or reuse any part of the materials in your thesis or other publications that you write, with citation of the original source in our journal. There is no need to obtain permission.” As Ýrr Mørch, Sofie Snipstad, and Catharina de Lange Davies are co-authors of this paper, explicit copyright permission is not necessary to reuse this figure. All other figures are original figures not published before.

19. Figure 3a/4a/5a: Please remove the commercial names (Shimadzu HPV-X2, CLINIcell, OLYMPUS). Please consider using generic terms.

Commercial names have been replaced by generic terms in Figures 3a, 4a, and 5a.

20. Figure 6a: Please upload a high-resolution fluorescence image.

Figure 6a was made using confocal microscopy. The confocal image was taken at the highest possible resolution. The image resolution was further enhanced to 300 dpi for optimum print quality.

21. Figure 7/8/9: Please include scale bars in all the images of the panel. Please include the details of magnification in the Figure Legends.

Scale bars are added in all images of the panels in Figures 7, 8 and 9.

For Figure 7 and 8 of the bright-field microscopy and fluorescence microscopy respectively, a 2x magnification and 60x objective were used, resulting in a total magnification of 120x. To produce Figure 9, a 20x microscope objective was used. These details have been added to the Figure Legends of Figures 7, 8 and 9.

22. Figure 8: Please label the first image of both “a” and “b” panel. Does the first image denote “0 µs”?

The first images of Figure 8a and 8b indeed denote “0 µs”. Labels have been added to both images.

23. Figure 9: Please label the top left image of panel “b”. Does the first image denote “0 s”?

The first image of Figure 9b indeed denotes “0 s”. A label has been added.

____________________________________
Reviewers' comments:
Reviewer #1:
Manuscript Summary:
In their work, Nawijn et al describe a variety of microscopy techniques to image the behaviour of nanoparticle-microbubble constructs upon ultrasound exposure both in vitro and in vivo. In particular, they use confocal microscopy to structurally characterise the nanoparticle-microbubble constructs, while brigh field or confocal microscopy combined with an ultrasound apparatus are used to monitor the response of the nanoparticle-microbubble constructs to ultrasound exposure in vitro. In addition, the authors show the use of multi-photon microscopy for the intravital imaging of the in vivo fate of nanoparticle-microbubble constructs following ultrasound exposure. Overall, the protocols presented here are well-described and enable an in-depth characterisation of nanoparticle-microbubble constructs in the presence of ultrasound both in vitro and in vivo. As such, this work could be of interest for the scientific community. However, I do have some major concerns that need to be addressed before accepting this manuscript for publication.

We thank the reviewer for the kind words on our paper.

Major Concerns:
Line 166 - Protocol for the production of microbubbles. Since this is a methods paper, I think that the authors should expand the description of the microbubble preparation by adding a brief description of the production of the fluorescently-labeled polymeric nanoparticles. The concentration of the dye should be mentioned, as this could have implications for fluorescence imaging. Similarly, I think it would be good to give an indication of the microbubble stability in the presence of glycerol, as this will affect the amount of time one has to perform imaging.

The nanoparticles were synthesized by the mini-emulsion polymerization method as described previously [3], where the fluorescent dye is encapsulated inside the nanoparticles. A sentence has now been included in step 1.1 to mention this aspect. The concentration of dye for the bubbles described in this paper was 0.21 wt%. This information has now also been added in step 1.1.

We agree with the reviewer that the presence of glycerol could affect the stability of microbubbles. Glycerol was used here to immobilize the microbubbles for the purpose of imaging the shell using confocal microscopy, and not for the other microscopy methods. Single microbubbles were imaged for at least 30 minutes using the confocal microscope at high magnification, and no visible change in the bubble morphology was observed. Furthermore, even if the bubbles underwent a minor depletion, it does not influence the general conclusions we draw on the structure of the shell. A note has now been added in the manuscript after step 2.1.1.4 to reflect this.

My major concern regards the entrapment of the nanoparticles within the protein shell of the microbubbles. Microbubbles have diameters ranging from 1 to 10 um; in order to entrap nanoparticles with diameters of 100-200 nm, the microbubble shell should be at least 210 nm thick, which seems very high compared to common lipid-based shells, which have thicknesses of few nanometers. Most commonly, biotinylated nanoparticles are bound on the surface of biotinylated microbubbles via avidin; in this case, the lipid shell which stabilises the microbubble has a thickness of a few nanometers. Why did the authors choose to entrap the nanoparticles within the casein shell?

We agree with the reviewer that the shell will be thicker when including nanoparticles, this is also what we have shown before, in reference [3]. One benefit of trapping the nanoparticles within the casein shell is that the synthesis of the bubbles is done by a one-step procedure, where all components are mixed and stirred, as opposed to a biotin-avidin binding step, where an additional step of conjugation is required.

What kind of interaction keeps the nanoparticles and casein on the surface of microbubbles?

We see that we need both the casein and the nanoparticles to form stable bubbles. The gas is hydrophobic and the water is hydrophilic, so the casein and the nanoparticles align at the interface. The nanoparticles need to have a certain PEGylation for this to work, which indicates that hydrophobic/hydrophilic interactions are important. However, we think that including these details in the paper is too specific for protein-and-nanoparticle-stabilized microbubbles, as this paper is intended to illustrate how various microscopy methods could be used to characterize and image fluorescently-labeled microbubbles in general.

How stable are the polymeric nanoparticles during the preparation of the nanoparticle-microbubble constructs? I am afraid that you are not entrapping the nanoparticles but just the dye, since lipophilic dyes have been shown to desorb from e.g. lipid-based nanoparticles (e.g. Cauzzo et al. "Following the Fate of Dye-Containing Liposomes In Vitro", International Journal of Molecular Sciences 2020). The authors have previously shown that NR668 is well-retained within poly(butyl cyanoacrylate) nanoparticles. However, the stability of the fluorescently-labelled polymeric nanoparticles in the presence of casein during the preparation of the nanoparticle-microbubble constructs has not been assessed. Could the majority of the nanoparticles be destroyed during the preparation of the nanoparticle-microbubble constructs so that only the lipophilic compound is entrapped within the casein shell?

The stability of the nanoparticles in the presence of the casein during production of the microbubbles in the context of casein-and-polymeric-nanoparticle-stabilized microbubbles has been studied before [4]–[6] and we therefore did not include this stability analysis in the present work where we focus on microscopy imaging methods. That being said, we would like to address the concern of the reviewer on the stability of polymeric nanoparticles. “Stability” can mean several things, including 1) colloidal stability, 2) degradation, or 3) ruptured particles.

If the concern is 1) colloidal stability: From previous work, it has been found that during microbubble synthesis the bubbles are not very stable if only casein is added without nanoparticles. This indicates that the nanoparticles play an important role. The bubbles that we have looked at are stable in the vial for a duration of days. Furthermore, the lumpy shape of the bubbles suggests that particles are present in the shell, as we assume the bubbles are likely more homogenously spherical if the shell of the bubbles consisted of protein alone. We have seen that when casein is added to the nanoparticle solution, some aggregates are formed, which is why we perform a 10-minute sonication step before bubble production as stated in step 1.2 of the manuscript. However, the majority of nanoparticles are still in their free form as has been measured by counting nanoparticles before and after bubble production using a qNano particle sizer.

Regarding 2) degradation of the nanoparticles: The poly(alkylcyanoacrylate) (PACA) nanoparticles start to degrade when the pH is increased. Hence, when we add protein solution (pH 7), the particles will start to degrade, so some degradation and thus leakage of dye, cannot be ruled out. However, note that this is a slow degradation, and since the time from production to analysis is quite short, it is unlikely that this is a concern. We have done cell uptake studies, also at pH 7, and have seen that within the same time frame the dye is not leaking out. Moreover, based on previous experiments where we have looked at leakage of NR668 (also in presence of proteins in cell culture medium) and degradation of the nanoparticles, we do not expect the nanoparticles to degrade during bubble synthesis and that we only entrap dye in the casein shell. This is consistent with various images (SEM images of the bubbles, confocal images of the dye, and SIM image in reference [3]), where we observe patches of dye unevenly distributed throughout the shell. If the dye was to be free, we would expect a more homogeneous distribution within the casein layer. The degradation of microbubbles will be different depending on the type of formulation or bubble construct used, so therefore that aspect is not extensively covered in this paper.

In the case the concern is 3) ruptured particles: We know from SEM imaging of microbubble solutions that the majority of nanoparticles are intact during both sonication and stirring using the dispersion tool.

The authors have also inserted a SEM micrograph of the nanoparticle-microbubble construct. However, the protocol for sample preparation for SEM is not clear: the authors cite their previous work, in which the only information is "NPs and NPMBs were imaged and visually inspected by scanning electron microscopy on either a SEM APREO (NPs) (FEI), or a S(T)EM (NPMBs) (Hitachi). The NPMBs were sputter coated with 5 nm gold prior to imaging.". Since SEM imaging is done on dried samples, I would expect that the nanoparticle-microbubble constructs were dried prior to sputter coating, which would destroy the microbubbles. Therefore, I am not sure that what they report is a nanoparticle-microbubble construct, it could be just a nanoparticle aggregate.
I would really appreciate a more compelling evidence of the successful entrapment of the polymeric nanoparticles within the microbubble shell.

The main reason that the details of the protocol were not included in the manuscript is that we wanted to illustrate how the microscopy methods, other than the ones described in the protocol, can be used for bubble characterization. What we can say is that when imaging bare nanoparticles by SEM their aggregates can have all sorts of shapes, while when imaging nanoparticle-stabilized bubbles the shapes are typically spherical, even though some bubble constructs may have collapsed, see e.g. our previous work [3], [7]. We did not perform an extensive analysis on these images, and therefore we can only give the presented qualitative observations.

Minor Concerns:
there are some grammar mistake or misplaced commas in the text but these can be sorted out at the proof-reading stage and do not represent a concern.

We thank the reviewer for pointing out the typographical and grammatical errors.

Reviewer #2:
Manuscript Summary:
The goal of this manuscript is to detail the protocol and characterization methods of nanoparticles loaded on microbubble contrast agents. The protocols focus on a microbubble shell containing a fluorescent label. The authors employ nanoparticles loaded with dye as a model drug in this study. The authors discuss microscopy of single microbubbles, along with high-speed imaging of microbubbles to assess bubble dynamics. Fluorescence microscopy is described to visualize release of nanoparticle payload from the bubbles. The extravasation of nanoparticles from microvessels is reported using intravital microscopy. Overall, the manuscript reports characterization of bubble dynamics and therapeutic delivery mechanisms across multiple length scales. The protocols reported are extremely detailed and the manuscript is written lucidly. These comprehensive protocols will be extremely useful for the biomedical ultrasound community.

We thank the reviewer for the nice words and strong recommendation of the protocols.

Major Concerns:
None

Minor Concerns:
I have a few minor comments that I am sure that the authors can address before the publication of this manuscript.
- Page 5, line 217: The authors state that the experiments are conducted with the addition of 50% glycerol to reduce the movement of bubbles. However, it is known that the viscosity of the surrounding media affects both the acoustic response of microbubbles and the rate of gas exchange. Please clarify this point in the manuscript.

We agree with the reviewer that the presence of glycerol can affect the acoustic response and rate of gas exchange of microbubbles. However, in the protocol of this manuscript, glycerol is only used to immobilize the microbubbles for the purpose of imaging the shell using confocal microscopy, not for the other microscopy methods. In the confocal imaging the bubbles are not driven by ultrasound. Regarding the influence of glycerol on the rate of gas exchange, the microbubbles were imaged for at least 30 minutes using the confocal microscope at high magnification, and no visible change in the bubble morphology was observed. A sentence has been added in the manuscript after step 2.1.1.4 to reflect the influence of glycerol on bubble stability and the acoustic response, with reference to [8].

- The protocols for microbubble characterization and nanoparticle release appear to be conducted at room temperature. Temperature affects the ultrasound response of microbubbles. Some discussion on this point is warranted.

All in vitro imaging protocols were indeed conducted at room temperature to illustrate the techniques. We agree that temperature has a role in the bubble dynamics and ultrasound response, for example if tested in the more clinically relevant environment at a temperature of 37°C in the presence of cells. If in vitro and intravital experiments are to be compared directly, the in vitro experiments described in the protocol should be performed at 37°C. Two sentences have now been added to the discussion to reflect this, where we refer to reference [9].

- Discussion: Can the authors comment on the statistical significance of single bubble characterization experiments? In other words, is characterizing dozens or even hundreds of single microbubbles representative of the bulk population, which can contain of the order of 10^5-10^6 microbubbles/ml in vivo?

Indeed, a selection bias when imaging single microbubbles should be kept in mind. In addition, for the in vitro methods described in the protocol the bubbles are not in a free-field environment. However, performing repeated experiments on single bubbles allows for the investigation of the effect of size and removal of the confounding factor that is the size distribution. If we can understand the bubble response as a function of size, while the concentration is not too high to prevent bubble-bubble interactions, we can calculate the response of any arbitrary bubble population. Three sentences have now been added to the discussion to reflect this.

432: What is meant by 10 cycle Gaussian Envelope? Seems to imply that the envelope itself has 10 cycles.

We agree that the above is up for multiple interpretation, so “10-cycle Gaussian envelope” is changed to: “10-cycle Gaussian-tapered pulse” in step 2.3.5.1. A similar change has been made in step 2.2.6.1.

Reviewer #3:
Manuscript Summary:
The authors have developed multi-time-scale microscopy methods applicable for studying ultrasound-triggered drug release. The protocol is valuable and can shed light on the ways studying this drug delivery system. There are some concerns and should be addressed before publication.

We thank the reviewer for the kind words on our paper.

Major Concerns:
How application of those systems, in other words, how about their future applications in clinical?
What are the limitations and perspectives?

The reviewer is concerned with future applications in the clinic, and the limitations and perspectives of the protein-and-nanoparticle-stabilized microbubbles in particular. Here we would like to emphasize that the described microscopy methods can be applied to any type of fluorescently-labeled microbubbles. Therefore, the perspective and limitations of these specific nanoparticle-labeled microbubbles were not discussed in this paper. We have provided a few general references on clinical translation of therapeutic bubble constructs in the introduction of the manuscript.

Limitations and perspectives of the described protocols were provided in the discussion of the originally submitted manuscript:

“Bright-field microscopy is mainly limited by the imaging framerate and intensity of light sources available, as a higher framerate would give a more detailed time-resolved insight into the bubble dynamics, but requires more intense illumination. In order to study particle release in more detail, the framerate for fluorescence imaging can in principle be increased by increasing the intensity of the laser light. However, absorption of the high-intensity laser light by the fluorescently-labeled microbubbles generates heat, even with high quantum yield dyes. This heat can interfere with the experiments at stake, and in extreme cases induce photo-thermal cavitation [10]. Thus, in practice, there is a limit to the applied laser intensity. On the other hand, intense laser illumination can also be deliberately used to induce particle release from liposomes [11]. Finally, both bright-field and fluorescence microscopy methods provide insight into microbubbles convoluted in a 2D image. If the research question requires more than 2D imaging, the 3D behavior of the bubbles can be resolved by combining the setup as described in the protocol with a sideview setup for multi-plane imaging [12].”

“A general limitation when performing real-time intravital microscopy is that only a small area of the tissue is imaged, and the penetration depth of the light into tissue is limited. If the imaged vessels contain very few microbubbles and/or nanoparticles within the field of view, little or no information on the nanoparticle behavior and extravasation can be obtained. In addition, because of the limited field of view, a proper alignment between the light and sound paths is crucial. If the ultrasound pressure is high enough to induce bubble destruction, it is also important to choose a pulse repetition frequency that allows fresh bubbles to reperfuse into the field of view between ultrasound pulses. Moreover, the ultrasound will be reflected from the cover glass in the window chamber and the objective, so placing the transducer at an angle is important to reduce reflections as to prevent the formation of standing waves which distort the calibrated pressure field. Another practical issue is that the setup needs to have enough space to mount the ultrasound transducer and waveguide above or below the objective in the microscope setup. The tumors in the dorsal window chamber will have a limited thickness due to the chamber and the cover slip, however if needed, other models could be used. Examples are skinfold tumors, for instance in the mammary fat pad [13], or abdominal intravital imaging of tumors in the various organs [14]. Such tumors can be grown orthotopically in the appropriate microenvironment, and as such present a more clinically relevant case.”

We have also added several sentences commenting on the influence of temperature on bubble dynamics, and the relevance of imaging single microbubbles compared to imaging the bulk population.

Minor Concerns:
The language should be polished

We thank the reviewer for the comment, and we have now revised and repolished the manuscript.

What are the advantages compared with other systems?

The advantages of the optical microscopy methods in the protocol of this paper are further discussed in the discussion of the originally submitted manuscript:

“The in vitro imaging enables screening of a large number of ultrasound parameters compared to the more complex in vivo setups.”

“Real-time intravital microscopy during ultrasound exposure is a powerful method to acquire new insight on the vasculature, behavior of microbubbles, nanoparticles, or other molecules (such as dextran in this case) during ultrasound exposure.”

“The benefit of combining the range of imaging modalities is the complementary information that can be obtained at different time scales, a feature that is crucial to characterize and optimize the microbubbles for successful delivery and to obtain therapeutic efficacy. This approach is useful to understand the delivery mechanisms for all microbubbles alike, including constructs with fluorescently-labeled nanoparticles and drugs.”

We also would like to refer the reviewer to reference [4], also cited in the manuscript, where it was shown that enhanced drug uptake in tumor tissue was achieved by combining these specific casein-and-polymeric-nanoparticles-stabilized microbubbles with ultrasound compared to a systemic administration of a free drug. We also would like to refer to reference [7], where it was shown that tumor growth can be reduced through co-injection of free drug and nanoparticle-stabilized microbubbles.

References

[1]	S. Roovers et al., “The role of ultrasound-driven microbubble dynamics in drug delivery: from microbubble fundamentals to clinical translation,” Langmuir, vol. 35, no. 31, pp. 10173–10191, 2019.

[2]	P. T. Yemane et al., “Effect of Ultrasound on the Vasculature and Extravasation of Nanoscale Particles Imaged in Real Time,” Ultrasound in medicine & biology, vol. 45, no. 11, pp. 3028–3041, 2019.

[3]	Ý. Mørch et al., “Nanoparticle-stabilized microbubbles for multimodal imaging and drug delivery,” Contrast media & molecular imaging, vol. 10, no. 5, pp. 356–366, 2015.

[4]	S. Snipstad et al., “Ultrasound improves the delivery and therapeutic effect of nanoparticle-stabilized microbubbles in breast cancer xenografts,” Ultrasound in medicine & biology, vol. 43, no. 11, pp. 2651–2669, 2017.

[5]	H. Baghirov et al., “Ultrasound-mediated delivery and distribution of polymeric nanoparticles in the normal brain parenchyma of a metastatic brain tumour model,” PloS one, vol. 13, no. 1, 2018.

[6]	M. Fusser et al., “Cabazitaxel-loaded Poly (2-ethylbutyl cyanoacrylate) nanoparticles improve treatment efficacy in a patient derived breast cancer xenograft,” Journal of controlled release, vol. 293, pp. 183–192, 2019.

[7]	S. Snipstad et al., “Sonopermeation Enhances Uptake and Therapeutic Effect of Free and Encapsulated Cabazitaxel,” Ultrasound in Medicine and Biology, 2021, doi: https://doi.org/10.1016/j.ultrasmedbio.2020.12.026.

[8]	R. H. Abou-Saleh et al., “Molecular Effects of Glycerol on Lipid Monolayers at the Gas–Liquid Interface: Impact on Microbubble Physical and Mechanical Properties,” Langmuir, vol. 35, no. 31, pp. 10097–10105, Aug. 2019, doi: 10.1021/acs.langmuir.8b04130.

[9]	H. J. Vos, M. Emmer, and N. de Jong, “Oscillation of single microbubbles at room versus body temperature,” in 2008 IEEE Ultrasonics Symposium, Beijing, China, Nov. 2008, pp. 982–984, doi: 10.1109/ULTSYM.2008.0237.

[10]	G. Lajoinie et al., “Ultrafast vapourization dynamics of laser-activated polymeric microcapsules,” Nature communications, vol. 5, no. 1, pp. 1–8, 2014.

[11]	M. Mathiyazhakan et al., “Non-invasive controlled release from gold nanoparticle integrated photo-responsive liposomes through pulse laser induced microbubble cavitation,” Colloids and Surfaces B: Biointerfaces, vol. 126, pp. 569–574, Feb. 2015, doi: 10.1016/j.colsurfb.2014.11.019.

[12]	H. J. Vos, B. Dollet, J. G. Bosch, M. Versluis, and N. de Jong, “Nonspherical Vibrations of Microbubbles in Contact with a Wall—A Pilot Study at Low Mechanical Index,” Ultrasound in Medicine & Biology, vol. 34, no. 4, pp. 685–688, Apr. 2008, doi: 10.1016/j.ultrasmedbio.2007.10.001.

[13]	A. M. Sofias, A. K. O. Åslund, N. Hagen, K. Grendstad, and S. Hak, “Simple and Robust Intravital Microscopy Procedures in Hybrid TIE2GFP-BALB/c Transgenic Mice,” Mol Imaging Biol, vol. 22, no. 3, pp. 486–493, Jun. 2020, doi: 10.1007/s11307-019-01442-2.

[14]	L. Ritsma, E. J. A. Steller, S. I. J. Ellenbroek, O. Kranenburg, I. H. M. Borel Rinkes, and J. van Rheenen, “Surgical implantation of an abdominal imaging window for intravital microscopy,” Nat Protoc, vol. 8, no. 3, pp. 583–594, Mar. 2013, doi: 10.1038/nprot.2013.026.