# Submission ID #:  62256

# Scriptwriter Name: Nilesh Kolhe

# Supervisor Name: Bridget Colvin

# Project Page Link: https://www.jove.com/account/file-uploader?src=18988128

Title: Multi-system Monitoring for Identification of Seizures, Arrhythmias and Apnea in Conscious Restrained Rabbits

Authors and Affiliations: Cameron Bosinski1, Kyle T Wagner1, Xiangping Zhou2, Lynn Liu3, and David S. Auerbach1

1Department of Pharmacology, Upstate Medical University

2Department of Neurology, Upstate Medical University

3Strong Epilepsy Center, Departments of Neurology, Anesthesiology / Perioperative & Pediatrics

☒   All author names and affiliations are correct.

# Corresponding Authors:

David S. Auerbach	auerbacd@upstate.edu

# Email Addresses for All Authors:

# bosinskc@upstate.edu

wagnerky@upstate.edu

zhouxi@upstate.edu

Lynn_Liu@URMC.Rochester.edu

auerbacd@upstate.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? 1 floor in the same building (<2 min walk)

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps: 26

Number of Shots: 51

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - David Auerbach: Cardiac and respiratory dysfunction contributes to sudden death after a seizure. To study this phenomenon, we applied a multi-system approach to a rabbit model.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - David Auerbach: While a disease may be primarily neuronal or cardiac, many include electrical disturbances in both such as seizures and arrhythmias, as well as respiratory dysfunction.

REQUIRED: What is the main advantage of this technique?

  - Cameron Bosinski: This technique enables simultaneous monitoring and later analysis of neurologic, cardiac, and respiratory function of multiple rabbits surrounding a seizure and preceding death, as well as for cardiac safety testing.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - X Already answered above

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Kyle Wagner: Many people have little experience working with rabbits. Because of the hindleg strength, it is especially important to keep the rabbits calm when moving them or attaching the monitors.

OPTIONAL: Why is visual demonstration of this method critical?

  - Cameron Bosinski: The figures and videos illustrate how we constructed a robust multi-system experimental setup and a temporal correlation between EEG abnormalities and motor manifestations of a seizure.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - All experiments were carried out in accordance with the National Institutes of Health guidelines and Upstate Medical University Institutional Animal Care and Use Committee.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Implanting Electroencephalogram (EEG) and Electrocardiogram (ECG) Electrodes and Attaching Respiratory Monitors

  - Begin by connecting the computer to an amplifier with 64-pin headbox [1]. To make every 8th pin on the headbox a reference, set the Reference Electrode to Independent [2].

    - WIDE: Establishing shot of talent connecting computer to amplifier

    - Talent setting Reference electrode to Independent, with monitor visible in frame

  - For implantation of the ECG (E-C-G) electrodes, secure a rabbit in a supine position with the head at the investigator’s knees and lower than the rest of its body [1]. With a second investigator spreading the fur to expose the underlying skin [1]. Subdermally insert 35-degree-angle bent electrodes into each axilla [2].

    - Rabbit being secured

    - Skin being exposed

    - Electrode being inserted into axilla skin

  - Place leads on the chest posterior to the right and left forelimbs [1] and on the abdomen anterior to the left hind limb [2], then place a ground pin electrode anterior to the right hind limb on the abdomen [3].

    - Second lead being placed on forelimb, with first visible in frame as possible

    - Third lead being placed anterior to the left hind limb

    - Reference electrode being placed anterior to the right hind limb

  - When all of the ECG leads have been properly placed, secure the rabbit in an appropriately sized restrainer with the hind limbs under the animal [1].

    - Talent securing the rabbit in the restrainer

  - Using a 45-degree angle approach, insert subdermal straight pin-electrodes into the scalp [1]. Place one EEG lead on the right anterior, left anterior, right occipital, and left occipital regions of the head[2] and place a central reference lead at the central point between the other four leads [3]. Run the wires up between the ears and loosely tether them to the restrainer behind the head [4].

    - WIDE: Talent inserting electrode(s) Videographer: More Talent than rabbit in shot

    - Shot of leads in place Video Editor: please emphasize right anterior, left anterior, right occipital, and left occipital leads when mentioned

    - Central lead being placed Video Editor: please indicate this lead as “Cz”

    - Wires being run between ears and tethered to the restrainer

  - To monitor respiration during the experiment, attach a pulse oximeter to one ear over the marginal ear vein [1] and gently secure a facemask with capnography tubing over the mouth and nose of the animal [2]. Then attach the other end of the tubing to the vital signs monitor [3].

    - Pulse oximeter being attached

    - Talent placing mask over rabbit’s face

    - Talent attaching tubing to monitor

- Video EEG-ECG Recording

  - To record video-EEG-ECG, open an appropriate commercially available EEG software program [1] and adjust the video such that all of the rabbits can be observed within the field of view [1].

    - Talent with EEG software with monitor visible in screen

    - SCREEN: To be provided by Authors:  Shot of rabbits within field of view

  - Perform a baseline recording for the animal for a minimum of 10-20 minutes or until the heart rate stabilizes to 200-250 beats per minute for at least 5 minutes [1].

    - SCREEN: To be provided by Authors: Baseline recording being started, then heart rate stabilizing

  - Set the low frequency filter to 1 hertz and the high frequency filter to 59 hertz. Add time-locked notes in real-time to indicate the timing of interventions, neuro-cardiac events, and motor or investigator artifacts [1].

    - SCREEN: To be provided by Authors: Setting the filter and adding time-locked notes when the dose is given

- Photic Stimulation

  - For photic stimulation, place a light source with a circular reflector 30 centimeters in front of the rabbit at eye level with the flash intensity set to the maximum [1] and place two mirrors on each side of the head and one mirror behind the rabbit so that the light enters the rabbit’s eyes [2].

    - WIDE: Talent placing a light source in front of the rabbit eye

    - Mirrors being placed on either side of head and behind rabbit

  - The light is attached to a controller with adjustable rate, intensity, and duration [1] Set the photic stimulator to 1 hertz and turn on flash for 30 seconds.

    - Talent setting the photic stimulation parameters

    - SCREEN: To be provided by Authors: Video of light flashing in front of the rabbit at 1Hz and the EEG recording.

  - Cover the rabbit’s face with a surgical mask to simulate or cause eye closure and stimulate for another 30 seconds[1]. After eyes open and eyes closed at each frequency, turn off the photic stimulator for 30-seconds and set the controller to the next frequency setting. After recording for 60 seconds at each frequency from 1 to 25Hz in 2 hertz intervals, decrease the frequency from 60 to 25 hertz, in 5 hertz increments, and record for 30 seconds with the eyes open and another 30 seconds with eyes closed[2].

    - Talent placing mask over rabbit’s face

    - SCREEN: To be provided by Authors: Screenshot of video/EEG/ECG during photic stimulation.

  - At the end of experiment, remove EEG and ECG leads from the rabbit [1] and return the animal to its home cage for routine care by husbandry staff [2].

    - Talent removing EEG and ECG leads

    - Talent placing rabbit back to home cage Videographer/Video Editor: shot will be used again

- Oral Medication Administration

  - Before administering the medication, collect 10-20 minutes of baseline EEG-ECG video from the untreated rabbit as demonstrated [1].

    - WIDE: Talent at computer, recording baseline video, with monitor visible in frame

  - For the oral administration of a medication of interest, mix 0.3 milligram/kilogram of the drug of interest in 3 milliliters of food-grade applesauce [1-TXT] and load the mixture into a 3-milliliter oral syringe [2].

    - Talent preparing drug for oral administration TEXT: e.g., E-4031 or moxifloxacin

    - Talent loading the drug in a syringe

  - Gently lifting the upper lip of rabbit, slide the tip of the syringe into the side of the mouth that is unobstructed by the rabbit’s teeth [1] and inject the entire volume of drug-supplemented applesauce into the rabbit’s mouth [2].

    - Shot of lifted lip, then syringe being inserted

    - Applesauce being injected

  - Then collect 2 hours of EEG-ECG video data [1] before returning the rabbit to its home cage for routine care [2].

    - SCREEN: To be provided by Authors: Experimental video-EEG-ECG being recorded

    - Use 4.4.2. Rabbit being placed back into cage

- Intravenous Medication Administration

  - Before recording EEG-ECG response to intravenous medication administration, shave the posterior surface of the rabbit ear [1] and use 70% ethanol to disinfect the site and to dilate the marginal ear vein [2].

    - WIDE: Talent shaving ear Videographer: More Talent than rabbit in shot

    - Skin being wiped

  - Carefully cannulate the marginal ear vein with a 25-gauge angiocatheter [1-TXT], place an injection plug at the end of the catheter [2]. Roll 3 4x4 inch gauze sponges into a tube-shape and wrap with tape to create a splint, which can be placed into the rabbit’s ear. Tape the splint to the ear to secure the catheter in place while keeping the ear upright, similar to the non-catheterized ear [3].

    - Catheter being placed TEXT: Have assistant cover rabbit’s face to reduce stress as necessary

    - Injection plug being placed

    - Splint being placed in rabbit’s ear and taped into place

  - Inject 1 milliliter of 10 USP (U-S-P) units/milliliter of heparinized saline to keep the catheter patent [1]. After baseline recording has finished, inject saline supplemented with 1 to 10 milligrams/kilogram of the drug of interest into the catheter once every 10 minutes [2-TXT].

    - Injection of heparinized saline

    - Needle being inserted into catheter, then drug being delivered TEXT: 1 to 10 mg/kg pentylenetetrazole (PTZ), which is a proconvulsant, GABAA blocker.

  - After each dose, carefully monitor the video-EEG-ECG-oximetry-capnography for any neuro-cardiac electrical and respiratory abnormalities or visual evidence of epileptiform activity and note these changes in real-time, as well as during post-analysis [1].

    - SCREEN: To be provided by Authors: EEG-ECG response to administration, then note being added.

- Analysis of ECG and Video-EEG

  - To analyze the ECG video, use the appropriate commercially available software [1] to identify periods of tachycardia, bradycardia, ectopic beats, or other arrhythmias within the ECG data [2].

    - WIDE: Talent opening the ECG analysis software, with monitor visible in frame

    - SCREEN: To be provided by Authors: ECG being shown with tachycardia, bradycardia, ectopic beats, and/or other arrhythmias identified

  - To reduce the amount of data to review, create a tachogram to increase the ease with which periods of tachycardia, bradycardia, or irregularities of the RR (R-R) interval can be identified [1].

    - SCREEN: To be provided by Authors: Tachogram being created

  - For video-EEG analysis after a drug administration experiment, visually scroll through the EEG tracing to distinguish epileptic versus non-epileptic movements for at least 1 minute after each dose of drug [1].

    - SCREEN: To be provided by Authors: Epileptic versus non-epileptic movements being distinguished

  - For video-EEG analysis after a photic stimulation experiment, create a spectral analysis plot in an appropriate EEG analysis software program [1] to analyze the occipital leads of the EEG for the presence and absence of the occipital driving rhythm. The occipital driving rhythm will create a peak in the spectral analysis that corresponds to the frequency of the photic stimulator [2].

    - Talent creating plot in EEG software analysis program, with monitor visible in frame

    - SCREEN: To be provided by Authors: Shot of spectral analysis plot/occipital leads being analyzed/identified Video Editor: please emphasize occipital driving rhythm peak when mentioned

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

2.2, 2.3, 2.5. 2.6, 6.2

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Step 2: The most difficult part of this protocol is attaching all of the recording equipment to the rabbit. To increase the success of this protocol, keep the rabbit as calm as possible. The procedure does not harm the rabbit, but the rabbits can be easily spooked and become less cooperative.

Step 2.6: Another challenging step is the creation and validation of the 1-way valve to ensure the appropriate flow of air. A T-piece is used with a nitrile membrane placed over one port. When air is inhaled the membrane folds back allowing for ample flow of ambient air. Upon expiration, the membrane remains closed, resulting in expired air flowing into the capnography tubing.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 146. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Identification of Seizures and Arrhythmias in Conscious Restrained Rabbits

  - Assessment of the ECG morphology [1] allows the detection abnormal heart rates, conduction, or ECG waveforms[2].

    - LAB MEDIA: Figure 6A

    - LAB MEDIA: Figures 6B-6D Video Editor: please sequentially emphasize Figure 6B, 6C, and 6D graphs

  - The traces can also be used [1] to quantify the RR interval [2], heart rate [3], PR (P-R) interval [4], P duration [5], QRS (Q-R-S) interval [6], QT (Q-T) interval [7], QTc (Q-T-C) [8], JT (J-T) interval [9], and T-peak to T-end interval [10].

    - LAB MEDIA: Figures 6E and 6F

    - LAB MEDIA: Figures 6E and 6F Video Editor: please emphasize RR data row

    - LAB MEDIA: Figures 6E and 6F Video Editor: please emphasize heart rate data row

    - LAB MEDIA: Figures 6E and 6F Video Editor: please emphasize PR data row

    - LAB MEDIA: Figures 6E and 6F Video Editor: please emphasize RR data row

    - LAB MEDIA: Figures 6E and 6F Video Editor: please emphasize P duration data row and P Start, P Peak, and P End sections of data line

    - LAB MEDIA: Figures 6E and 6F Video Editor: please emphasize QRS data row and QRS Start and End section of graph

    - LAB MEDIA: Figures 6E and 6F Video Editor: please emphasize QT data row

    - LAB MEDIA: Figures 6E and 6F Video Editor: please emphasize QTc data row

    - LAB MEDIA: Figures 6E and 6F Video Editor: please emphasize JT data row

    - LAB MEDIA: Figures 6E and 6F Video Editor: please emphasize Tpeak Tend data row and Tpeak Tend section of graph

  - Recordings from the occipital EEG leads [1] typically exhibit a higher amplitude than that observed for frontal lead data [2] and the dominant frequency in all of the leads are commonly measured in the delta range [3].

    - LAB MEDIA: Figure 7B

    - LAB MEDIA: Figure 7B Video Editor: please emphasize black and blue data lines

    - LAB MEDIA: Figure 7B Video Editor: please emphasize delta section of data lines

  - Here sleep spindle waves from a representative rabbit experiment are shown [1]. Multiple EEG montages of one period of sleep demonstrate that these waves arise from the center of the head, which is consistent with human findings [2].

    - LAB MEDIA: Figure 8A Video Editor: please emphasize waves within dashed rectangle

    - LAB MEDIA: Figure 8C Video Editor: please emphasize yellow highlighted section of graph

  - In addition to normal EEG changes, various, conscious, non-epileptic rabbit movements can also be observed during baseline recordings that can be used to distinguish these data from epileptiform discharges [1].

    - LAB MEDIA: Figures 10 Video Editor: please sequentially emphasize waves forms within dashed rectangles/emphasize dashed rectangles from top left to bottom right of graph

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Kyle Wagner: (2.2-2.4) It is important to securely place the ECG leads subcutaneously, to keep the wires away from the legs, and that the electrodes remain attached while transferring into the restrainer.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - David Auerbach: This multi-system recording apparatus will enable future drug safety and efficacy studies, and lead to a comprehensive understanding of various acquired and inherited diseases.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Cameron Bosinski: The technique presented in this article captures the course of potentially fatal multi-organ dysfunction after a seizure and will lead to a better understanding of the mechanism of SUDEP.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.