We thank the editorial team and Reviewers for the valuable comments and suggestions that helped us greatly improve the manuscript. We were able to address all concerns and questions in full. In addition, we performed new experiments to demonstrate that the described procedure can be used for voltage imaging with single-cell resolution in head-fixed behaving mice. Below we provided detailed responses to every comment.

Editorial and production comments:
Changes to be made by the Author(s) regarding the written manuscript:
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

We have run proofread to correct mistakes and typos as well as further improve English.

2. Please increase the homogeneity between the video and the written manuscript. Ideally, all figures in the video would appear in the written manuscript and vice versa. The video and the written manuscript should be reflections of each other.
We have refilmed some of the scenes of the visual protocol as well as rearranged the written manuscript to ensure consistency between the written manuscript and the video. Please refer to the revised version of the manuscript.

Vet Review comments are attached as well.

The recorded surgical procedures shown in this visual protocol have been performed according to the IACUC approved animal protocol and involved administration of a pain killer drug before the surgery as well as during 48-72 h post-surgery as required. The vital signs were observed throughout the entire procedure. Anti-inflammatory drug was injected right after the surgery and during post-surgery recovery. We have added corresponding steps to the written manuscript. Please see Page 4 Step 2.2.2 and Page 6 Step 2.2.28.

Changes to be made by the Author(s) regarding the video:
1. Please increase the homogeneity between the video and the written manuscript. Ideally, all figures in the video would appear in the written manuscript and vice versa. The video and the written manuscript should be reflections of each other.

We have increased the consistency between text and video by adding newly filmed parts to the video file as well as improving narration. We also revised the written manuscript to make it consistent with the video. All figures that are shown in the video are now inserted into the written manuscript.

2. Furthermore, please revise the narration to be more homogenous with the written manuscript. Ideally, the narration is a word for word reading of the written protocol.

We have changed the narration of the video file to correspond to the written manuscript. In particular, the narration of the revised video for all crucial steps is a word-by-word reading of the written manuscript.

3. Please include a more substantial results section in the video.

In the revised version of the video file, we significantly extend the presentation of the result section to cover performed fluorescence recording in more detail. We also have added a completely new part of the result section into the video presenting in vivo voltage imaging in an awake mouse. In particular, we have presented real-time optical traces along with the video of neurons in vivo. Please see corresponding changes at time 10:53.

4. JoVE Video Article Format Standards:
• Video must start with a main title card containing the title of the protocol, authors, and their corresponding affiliations.

We have revised the video file to reflect all required information.

• Please add on-screen text to identify all on screen speakers.

We have revised the video accordingly.

• Please add title section cards before each section: Introduction, Protocol, Results, Conclusion

The title section cards have been added to the video at the respective time point.

• Please add a Conclusion to wrap up the video.
The video has been revised to include the narration for the Conclusion section.

5. Video & Audio Editing:
• 01:11 This still image of the canula needs more screen time to be seen by the viewers. Consider extending the duration it is visible on screen by a couple seconds.

We have extended the duration of the assembled implant is shown on the screen. Please see corresponding changes at time 1:32.

• 02:03 The first sounds of this sentence are cut off. It sounds like the end of "sterilize". Edit this section to include the missing syllables.

The audio of the corresponding part has been edited to include the missing syllables. Please see corresponding changes at time 02:12.

• 05:35 There is a jump cut here along with an abrupt audio edit that is a possible error. It happens at the words: "...or repeatedly apply PBS..." This should be edited to include the full sentence and also consider adding a dissolve to the video portions to ease the pacing.
The audio of the corresponding part has been edited to include the full sentences. Please see corresponding changes at time 07:29.

6. Animal Use:
• 02:08 Please remove the shot of the anesthetization chamber. Descriptions of anesthesia are okay to include (so the narration is fine), depictions are not okay to include (the visuals are not okay).

The video has been edited to remove the shot of the anesthetization chamber. Please see corresponding changes at time 2:05.

• 07:55 Please remove this shot (visual) of the anesthetization chamber.
The video has been edited to remove the shot of the anesthetization chamber. Please see corresponding changes at time 10:23.

Please upload a revised high-resolution video here:
https://www.dropbox.com/request/5xnPncJOEtUsoDpcVudC?oref=e


Reviewers' comments:
Reviewer #1:
Remarks to the authors:
In this JOVE manuscript entitled "Craniotomy Procedure for Visualizing Neuronal Activities in Hippocampus of Behaving Mice" the authors show the preparation of an imaging window with infusion cannula and its implantation onto the hippocampus in mice. This preparation allows for the delivery of viral vectors and drugs. Further, the approach can be used for chronic in vivo imaging of CA1 in behaving animals.
In general, this is a helpful protocol for the field. Not substantial steps are missing and the steps listed in the procedure will lead to the described outcome.
There are just some comments and minor suggestions:
We thank Reviewer for the positive feedback and valuable suggestions that have been fully addressed. 
Introduction:
1) "The descried preparation in combination with…": Spelling: "described"
The spelling of the word was corrected. Please see P2, Introduction.

Protocol:
Implant assembling
2) Imaging cannula information is missing in the Material list. It will be helpful to give information about the size of the imaging cannula (diameter, height) and of the three infusion cannulas (diameter, length) in the Material list or in this first section.

The Material list has been edited to include the dimensions of the imaging cannula and three parts of the infusion cannula.

3) 1.5: Which is the "appropriate type of flux" for in vivo experiments? This should be added.

For this preparation, we used a commercially available flux that is specified by the manufacturer to be for soldering stainless steel parts as imaging and infusion cannulas are made of stainless steel. In the case of other materials used to manufacture cannulas, end-user should select flux that is appropriate for the selected material. Please see P 3, step 1.5.

4) 1.10: It should be stressed explicitly that the positioning of the glass has to be done precisely onto the cannula, without moving the glass too much once it has touched the optical adhesive. Otherwise the glass gets dirty and this makes it hard to image.
This is a very good suggestion. We have revised the main text of the manuscript to stressed out this point. We have also refilmed the corresponding step in the visual protocol. Please see P3 Step 1.10, video time 01:45.

Window implantation
5) 2.2: Does the mouse need subcutaneous pain killer?

The recorded surgical procedures shown in this visual protocol have been performed according to the IACUC approved animal protocol and involved administration of a pain killer drug before the surgery as well as during 48-72 h post-surgery as required. The vital signs were observed throughout the entire procedure. Anti-inflammatory drug was injected right after the surgery and during post-surgery recovery. We have added corresponding steps to the written manuscript. Please see P4 Step 2.2.2 and P6 Step 2.2.28.

6) 2.2.12: AP coordinated must change if you move from Bregma to Lambda. ML should instead stay 0.

Thank you for pointing out this mistake in the text. We have revised the text accordingly to fix this typo. Please see P4 Step 2.2.12.

7) 2.2.14: Give some indications about the size of the injection cannula area, or suggest the coordinates (most caudal point for example).

We agree with the reviewer, this is important information that can help with following the procedure more precisely. Therefore, we have revised the manuscript to include the caudal point for the injection cannula. Please see P4 Step 2.2.13 of the revised manuscript.

8) 2.2.17: "Apply a drop of sterile 1X PBS applied to the center of the craniotomy...": Wording: remove "applied".

The sentence was corrected accordingly. Please see P5 Step 2.2.17.

9) 2.2.19: Clarify what "appropriate" means. "Gentle" may be the better wording, as mentioned in the discussion.

We have followed the reviewer’s suggestions and changed “appropriate” to “gentle” and indicated the exact negative pressure used in this step. Please see P5 step 2.2.19.

10) 2.2.19 NOTE 2: Clarify if, in case of continuous bleeding, it could be stopped with a sponge or something that can be gently inserted into the hole.

Continuous bleeding is inevitable during this kind of surgery, and to some extent, continuous bleeding is a sign of the normal blood pressure. Unlike cortex imaging window implantation, the presence of blood under the optical window is acceptable since it will be cleared in several days after the surgery. Insertion of the imaging cannula to the created cavity as soon as possible after ablating the brain tissue is optimal. The corresponding note has been added to the main text of the revised manuscript. Please see P5 Step 2.2.19.

11) 2.2.20: Clarify the procedure in case the craniotomy would be too large for the cannula or in case the cannula does not fit through the craniotomy. Could these mistakes be rescued?

In the case of too large (less than 0.5 mm larger) craniotomy, the installation of the cannula can be rescued to some extent by using extra Kwik Sil sealing.

In the case of too small (less than 0.5 mm smaller) craniotomy, the surgical procedure can be rescued to some extent by trimming the edge of the craniotomy using a fine tweezer or a pair of ophthalmic scissors since it is thinner than the skull itself as a result of drilling.

Craniotomies which are exceeding the ranges above 0.5 mm could not be rescued, the corresponding actions in those cases should follow the termination procedure in the animal protocol. We have added these notes to the revised version of the manuscript. Please see P5 Step 2.2.20.

12) 2.2.21: It would be helpful to specify if the imaging cannula has to be pushed into the hole until it is at the same level of the skull or if the upper part has to be kept outside. Also, if it has to be parallel to the skull and if these aspects could affect the optical access.

The critical point is to make sure that the cover glass of the microscope cannula is placed right against the hippocampus, which may require gentle pressure on top of the cannula during the installation and sealing process.  Whether the upper side of the imaging cannula is parallel to the skull is not critical for the final optical access as long as the optical window is placed against the hippocampus.

According to the average thickness of the cortex above the CA1 area, it is suggested that the upper surface of the imaging cannula is kept above the skull surface by ~0.5mm to facilitate attachment of the cannula to the skull. The corresponding notes were added to the main text. Please see P5 Step 2.2.21.	

Imaging of awake mice under wide-field microscope
13) 4.3: "Use 4X objective length to find…": Wording: "lens".
The spelling of the word was corrected. Please see P	7 Step4.3.

Representative results:
14) "We performed 4 consecutive imaging sessions for the same FOV with 3-day intervals". Would it be possible to image more frequently?

The frequency of imaging can be increased. However, it can potentially reduce the longitudinal imaging due to the faster photobleaching of fluorescence and in the case of imaging behaving animals (for example, during locomotion) it can result in loosening up implant stability. The imaging frequency can be increased but the following cons should be noticed: a) increased imaging frequency can lead to faster photo-bleaching. B) increased imaging frequency can lead to loosening up the implant and thus decrease the potency of longitudinal imaging.

15) Figure 6: The long-term images are not very convincing. Some cells are not always visible. Is this an implant problem? Calcium indicator problem? How could these problems influence a longer imaging time? That should be "discussed".

We agree with the reviewer that in this study for some FOVs it was more difficult to trace the same neurons from one imaging session to another. One of the major factors complicating identification of the same neurons throughout longitudinal imaging was continuous expression of the fluorescent indicator that resulted in increased background fluorescence blurring the signal from target cells. To express the green fluorescent calcium indicator, we used AAV/DJ-CAG vector, which was driving a strong expression of the gene of interest even 21 days after virus delivery (please see Supplementary Figure 1 of the revised manuscript). Quantification of the green fluorescence from the same FOVs revealed more than 50% increase in fluorescence background and appearance of new neurons expressing the calcium indicator. Therefore, selection of the AAV serotype and promoter to drive target gene expression should be one of the important considerations during experimental design in particular if longitudinal imaging of the same subset of neurons is required. We have discussed this issue in the main text of the written manuscript to make readers aware of this experimental consideration. Please see P8 Paragraph 1 and P12 Paragraph 2. 

Histology:
16) "…wide-field microscope (Figure 7A) Confocal microscope...": Wording: add full stop after parenthesis.
The sentence was corrected. Please see P9 Histology section.

Discussion:
17) "(iv) precise placing imaging implant": English: precise placing of the imaging implant.

The wording was corrected accordingly. Please see P10 Discussion Paragraph 2.

18) "Furthermore, it usually takes lots of practice to determine the precise depth of aspiration required for each animal, as the color of the cortex, corpus callosum, and hippocampus may vary from mouse to mouse ": It will be useful to have example pictures of cortex, CC and final hippocampus.

We agree with the Reviewer’s comment. To facilitate identification of the proper depth of cortex ablation we filmed new parts of the visual protocol to demonstrate these steps in more detail and pointed out important features that have to be watched out during brain tissue ablation. In addition, we have inserted the representative pictures of cortex, corpus callosum, and hippocampus to Figure 3 of the revised manuscript. Please see 05:33 and 06:59 of the video file and Page 5 Step 2.2.19 of the written manuscript.

19) Authors could suggest the deep structures you could reach with multiphoton imaging and micro-endoscopes. Moreover, it is not very clear if deeper structures (potentially reachable with these other microscopes) could be injected and reached with the infusion cannulas.

We thank the reviewer for this valuable comment. Indeed, it is important information that can help researcher to choose the right experimental approach for the desired brain region. The described imaging implant is mainly used for imaging of dorsal CA1 region of hippocampus, including alveus, stratum oriens, stratum pyramidale, stratum radiatum, as was also reported previously by Dombeck et al., 2010, Mizrahi et al., 2004, Busche et al., 2012, Attardo et al., 2018, Castello-Waldow et al., 2020. Using three-photon imaging it is possible to reach even deeper structures such as stratum lacunosum and dentate gyrus (Ulivi at al., 2019). While the infusion cannula is designed to deliver viruses right under the imaging window, i.e., dorsal CA1, the expression area will also depend on the AAV serotype and injection volume, which will define viral particle diffusion in the brain. For example, it was shown that AAV spread in the brain depends on serotype (Watakabe et al., 2015). We have added a corresponding discussion to the written manuscript. Please see Page 12, second paragraph.

20) Authors could add information about the tolerance of the mice to this surgery. How frequently can the surgery affect the health of the mouse and the impossibility to perform the imaging experiment?

We have not observed morbidity due to the craniotomy and cannula implantation in the course of this study. However, we encountered a few cases when the imaging was not possible :

A) the implant falls off from the animal and craniotomy is exposed (3 mice out of 38).

B) inflammatory liquid appears in the microscope cannula (2 mice out of 38).

In the above cases, it is suggested to perform termination procedures according to the approved animal protocol.

VIDEO:
1) Authors could add subtitles to the video. This could be helpful if the experimenter works with other people in the room.

We appreciate your comment, we will discuss it with the journal production team to get help with subtitles.

2) 00.33: prolong this framing to have enough time to read and understand all the information.

We have extended the duration of this frame on the screen. Please see corresponding changes at time 00:48 of the revised video file.

3) 00.20: add the list of material.

We have added the material list to the video file, please see time 00:35. We also have updated the material list in the written manuscript to include all important items description and lot numbers, please refer to the updated Material list file.

4) 00.38: it would be helpful to have a zoom of this moment to see the siringe, the flux drop and the soldering tin.

We have refilmed this scene to show the syringe, the flux drop, and the soldering tin at higher magnification. Please see time 00:56.

5) 00.44: if possible avoid out-of-focus during video.

We have refilmed this part of the video to avoid out-of-focus frames in the visual protocol. Please see time 01:23.

6) 01.11: prolong this framing and show how to test that the cannula is not blocked in both directions.

We have refilmed this part of the video to demonstrate testing of infusion cannula after implant assembling. Please see time 01:31.

7) 01.14: show the screen with the cannula in full screen modality in the video and not tilted.

We have adjusted the corresponding part of the video to show the cannula in the full-screen modality. Please see time 01:33.

8) 01.27: probably not too good to put the glass so displaced at the beginning and slide it after onto the optical adhesive. This would make it dirty. It is probably better to be more precise from the beginning and center it onto the imaging cannula.

We agree with the reviewer. To demonstrate the proper procedure, we have refilmed this part of the video to show the precise placing of the glass onto the imaging cannula. Please see time 01:45.

9) 02.55: the two oblique cuts are not very clearly shown with this framing.

We agree with the reviewer that this frame of the video is not shown very clearly. However, due to the limited access of the camera to the stereotaxic station, we could not get a better angle to refilm with the frame. We also believe that this is a very standard procedure for many craniotomy surgeries and viewers still can get the right guidelines with our video.

10) 04.10: write the coordinates for CA1 in this picture and give indications to draw the injection cannula area (maybe putting the coordinates of the most caudal point).

We have edited the video file to add coordinates of all five points required for drawing craniotomy area on the skull. Please see time 04:06.

11) 05.05: it would be helpful to have a magnification of this part, zooming on the exposed brain. Also, clarify how to distinguish the cortex from the CC and the CC from the hippocampus below to properly terminate the aspiration. Pictures of three different moments of the aspiration could be used with arrows pointing to the different tissues.

We thank the reviewer for the valuable comment. We took a video of the cortex ablation step at higher resolution and supplemented it with schematic representation to further improve the demonstration of this procedure. Please see time 05:33 and 06:59. We also added corresponding images to Figure 3 of the revised written manuscript.

12) 05.11: is it possible to gently clean the surface and stop the bleeding with a sponge?

Continuous bleeding is inevitable during this step, and to some extent, continuous bleeding is a sign for the normal blood pressure. Unlike cortex imaging window implantation, the presence of blood under optical window is acceptable since it will be cleared in several days after the surgery. Insertion of the imaging cannula to the created cavity as soon as possible after ablating the brain tissue is optimal. We added the corresponding note to the written manuscript. Please see P5 Step 2.2.19.

13) 05.36: from the video it looks like the window will remain pretty much outside the skull. Giving an indication about this will help to understand how much the experimenter has to push the window inside the hole. Additionally: must the window be parallel to the skull surface? Will errors in this passage affect the optical accessibility under the microscope?

To provide more details on the implant insertion step we revised the video file, written manuscript, and add extra images to Figure 4. The critical point of this step is to make sure that the cover glass of the imaging cannula is placed right against the hippocampus, which may require gentle pressure on top of the cannula during the installation and sealing process. Whether the upper side of the imaging cannula is parallel to the skull is not critical for the final optical access as long as the optical window is placed right against the hippocampus. According to the average thickness of the cortex above the CA1 area, it is suggested that the upper surface of the imaging cannula is kept above the skull surface by ~0.5 mm to facilitate attachment of the cannula to the skull (Figure 4). Accordingly, please find the revised visualization of this step in the video file at time 07:10. We also added corresponding notes to the manuscript at Page 5 Step 2.2.21, and inserted a schematic representation of the mouse skull with the implant in Figure 4.

14) 08.15: virus injection: it would be nice to have a picture of the green dye under the window during virus injection.

We added images of FastGreen dye spread under the imaging window both to the video file at time 10:15 and introduced new Figure 5 showing imaging widow before and after injection of a virus supplemented with FastGreen dye.

15) 08.55: show an example picture of 4X best field of view.

We have edited the video file to show a representative image of hippocampus expressing green calcium sensor under 10x objective lens. Please see time 10:56.

16) 09.00: in the manuscript there is an indication to switch the lens for the imaging. Write in the video which objective lens has been used for this recording.

We have revised the video file to indicate the magnification of the objective lenses used for imaging. Please see time 10:56.


Reviewer #2:
Manuscript Summary:
In the manuscript and video, Wang et al describe the preparation and implantation of the custom-made imaging window to enable chronic in vivo imaging of the CA1 region in head fixed behaving mice. By combining this implantation with wide-field imaging, a long-term recording of neuronal activity in behaving mice was performed over several weeks. As a method paper, the manuscript and the video clearly demonstrated the method itself. Although the method itself is not entirely new, it will be useful for researchers interested in chronic imaging in hippocampus of behaving mice.

Minor Concerns:
I hope the authors could address my following concerns before publication.

(1) It is challenging to remove the cortex and the corpus callosum above the hippocampus, however, it is lacking information of how the operations were done in the video (~ 05:10 in the video). I would suggest the authors to provide more details about that.

We agree with the review that this part may need more details on the procedure. To improve visualization of the procedure, we took a video of the cortex ablation step at higher resolution and supplemented it with schematic representation to further improve the demonstration of this procedure. Please see time 04:50. In addition, we have inserted representative images of cortex, corpus callosum, and hippocampus taken during surgery into the written manuscript. Please see Page 5 2.2.19 and revised Figure 3. 

(2) It is unclear about the strength of suction using 26G needle to ablate the cortex and the corpus callosum above the hippocampus. It will be better that the authors could provide a description for that.

To address this comment, we have measured the pressure created by the pump that was used for cortex ablation. The applied pressure was about -60 kPa. We have added the corresponding number to the main text of the revised manuscript. Please see Page 5 Step 2.2.19.

(3) In Figure 5, it is confusing about the ROIs and the corresponding neuronal signals, the authors should label the ROIs in Panel A and the neuronal activities in Panel B.
We thank Reviewer for the valuable suggestion. We have revised Figure 5 to number the ROIs and the corresponding optical traces in Panel B and C, respectively. Please see revised Figure 5.

(4) In Figure 6, it is unclear about the imaging data quality. Hence it would be very helpful if the authors could also explain how to evaluate the imaging data quality.

We agree with the reviewer that some images have some out-of-focus fluorescence reducing image quality. One of the major factors contributing to the reduced imaging quality was continuous expression of the fluorescent indicator, which resulted in more out-of-focus fluorescence. To express the green fluorescent calcium indicator we used AAV/DJ-CAG vector, which was driving strong expression of gene of interest even 21 days after virus delivery (please see Supplementary Figure 1 of the revised manuscript). Quantification of the green fluorescence from the same FOVs revealed more than 50% increase in fluorescence background and appearance of new neurons expressing the calcium indicator. Therefore, selection of the AAV serotype and promoter to drive target gene expression should be one of the important considerations during experimental design in particular if longitudinal imaging of the same subset of neurons is required. We have discussed this issue in the main text of the written manuscript to make readers aware of this experimental consideration. Please see Page 12 Paragraph 2 and Supplementary Figure 1.


Reviewer #3:
Manuscript Summary:
The manuscript by Piatkevich et al. describes a craniotomy procedure for visualizing neuronal activities in the hippocampus of awake mice. The authors provide a detailed description of steps necessary for fabrication of the implant, successful implantation surgery, imaging from the hippocampus and post-hoc validation of implant location and RCaMP

Major Concerns:
- The 45 degree angle between the imaging and injection cannula requires a huge craniotomy (2-3 mm cannula diameter as I can estimate from Fig. 1C + additional 2-3 mm required for 450 angle attachment), and may not generate a lot of interest in the field. Have the authors tried to vary this angle to make it sharper and less invasive for the upper lying.

Indeed, we found that the infusion cannula would usually need around 0.5 mm bigger craniotomy. However, if this angle is too small, the imaging process would be very like to be affected due to the limitation from the working distance of the objective length as the infusion cannula will collide with objective lens before the focal plane of the objective reaches the field of interest. Typically, 45-degree angle of the infusion cannula would allow most of the objective lenses to be used for imaging, at the same time limiting the craniotomy area as much as possible.

- Virus injection is usually done in the same time with implantation surgery. It actually saves time for experiment as post-implantation recovery occurs in the same time with virus expression. The authors state in the Discussion that the method they use helps somehow to achieve a lower efficiency transfection to visualize single cells. I'm not sure how it works and what is the actual benefit of having virus to be injected after implantation surgery.

The described imaging widow is used for wide-field single-photon imaging at single-cell resolution. Since during wide-field excitation the fluorophore above and below the focal plane are excited with high efficiency creating significant out-of-focus fluorescence. Out-of-focus fluorescence reduces imaging quality of cells in the focal plane. One way to minimize out-of-focus fluorescence is to achieve the expression of fluorescent indicator in a thin layer of brain tissue. Injection of virus right under the imaging window helps to restrict expression of transgene to a thinner layer. Indeed, in case of cortical window implantation, it is convenient to inject virus in the same time with implantation surgery. However, this implantation procedure requires cortex ablation that results bleeding. Viral injection during bleeding may wash away virus as well as lead to excess blood loss as injection usually takes 15-20 min. Therefore, to achieve optimal imaging quality under wide-field microscope, viral injection under imaging window after animal recovery is optimal.

The injection cannula allows for pharmacological manipulations with neuronal activity during chronic imaging. This is the major advantage of the described device and procedure. It would be nice to have a demonstration that it may work, because as of current it is unclear how far within imaging window the injected drugs can spread. Can you demonstrate it with Fast green for example and suggest the technical parameters for such local application? There is still a major doubt that it would be possible to apply drugs for distances exceeding 0.5 mm from the edge of the imaging cannula where the injection cannula is located, suggesting that imaging at the edge will be required if one wants to manipulate using drugs.

To address this comment, we have performed the experiment suggested by the Reviewer. We have imaged optical window before and after injection of virus supplemented with FastGreen. We observed that FastGreen quickly spread throughout the window going more than 1 mm away from the injection cannula. We have inserted representative images showing the diffusion of the FastGreen dye after injection to help visualizing the drug spreading situations. Please see Figure 4 of the revised manuscript. 


Minor Concerns:
- I could not find the description of the imaging cannula in the Materials Table. Is it commercially available or custom-made?

The Material list has been edited to include the dimensions of the imaging cannula and three parts of the infusion cannula including lot numbers. Please refer to the updated Material list.

- Step 1.5: what do you consider as the "appropriate type of flux" in this procedure?

For this preparation, we used a commercially available flux that is specified by the manufacturer to be for soldering stainless steel parts as imaging and infusion cannulas are made of stainless steel. In the case of other materials used to manufacture cannulas, end-user should select flux that is appropriate for the selected material. Please see Page 3 Step 1.5.

- Step 1.12: can washing cannula in 70%-ethanol remove in part the adhesive and damage the whole implant?

The optical adhesive we chose to attach the cover glass with the imaging cannula could not be removed by 70% ethanol, so theoretically this washing procedure would not affect the quality of the implants. Moreover, we could even store prepared implants in 70% without affecting their quality. We have added a corresponding note to the written manuscript. Please see Page 3 Step 1.12.

- Step 4.1: is it really necessary to anesthetize the animal to fix it on the treadmill? Training the animal to the fixation procedure would be desirable to avoid multiple anesthesia sessions during day-to-day chronic experiments.

We agree with the Reviewer that it is possible to habituate mouse for head fixation process without induction and it is even beneficial for day-to-day chronic experiments. We edited the written text to add a corresponding note. Please see Page 7 Step 4.1.

- Results: I doubt it would be possible to image up to 6-months, as overexpression of RCaMP may have undesirable side effects and extensive brain damage may even result in trauma-related seizures. Also, as shown in Fig. 6, by day 12, the quality of images starts to deteriorate and cells imaged previously are no longer detected. Consider limiting the imaging duration to maximum 30 days, which is currently a standard in the field.

The estimation of the chronic imaging duration is based on our previous publication describing population voltage imaging using SomArchon indicator (Piatkevich et al., 2019). In the main text of the manuscript, when we suggest the duration of the chronic imaging we refer to this paper “the same preparation has been used for up to 6 month-long imaging study in mice previously (Piatkevich et al., 2019)”. However, we agree with the Reviewer that the quality of images starts to deteriorate in the later imaging sessions. One of the major factors contributing to the reduced imaging quality was continuous expression of the fluorescent indicator, which resulted in more out-of-focus fluorescence. To express green fluorescent calcium indicator we used AAV/DJ-CAG vector, which was driving strong expression of the gene of interest even 21 days after virus delivery (please see Supplementary Figure 1 of the revised manuscript). Quantification of the green fluorescence from the same FOVs revealed more than 50% increase in fluorescence background and appearance of new neurons expressing the calcium indicator. Therefore, selection of the AAV serotype and promoter to drive target gene expression should be one of the important considerations during experimental design in particular if longitudinal imaging of the same subset of neurons is required. We have discussed this issue in the main text of the written manuscript to make readers aware of this experimental consideration. Please see P8 first papragraph.