TITLE:

A Time-Efficient Fluorescence Spectroscopy-Based Assay for Evaluating Actin Polymerization Status in Rodent and Human Brain Tissues

AUTHORS:

Faraz Ahmad1, Ping Liu1

1Department of Anatomy, School of Biomedical Sciences, University of Otago, Dunedin, New Zealand

CORRESPONDING AUTHOR:

Faraz Ahmad

faraz.ahmad@otago.ac.nz

Ping Liu

ping.liu@otago.ac.nz

KEYWORDS:

synaptosomes, synaptoneurosomes, F-actin, cytoskeleton, depolarization, latrunculin A, phalloidin, fluorescence.

SHORT ABSTRACT:

We report a simple, time-efficient and high-throughput fluorescence spectroscopy-based assay for the quantification of actin filaments in ex vivo biological samples from brain tissues of rodents and human subjects.

LONG ABSTRACT:

Actin, the major component of cytoskeleton, plays a critical role in the maintenance of neuronal structure and function. Under physiological states, actin occurs in equilibrium in its two forms: monomeric globular (G-actin) and polymerized filamentous (F- actin). At the synaptic terminals, actin cytoskeleton forms the basis for critical pre- and post-synaptic functions. Moreover, dynamic changes in the actin polymerization status (interconversion between globular and filamentous forms of actin) are closely linked to plasticity-related alterations in synaptic structure and function. We report here a modified fluorescence-based methodology to assess polymerization status of actin in ex vivo conditions. The assay employs fluorescently labelled phalloidin, a phallotoxin that specifically binds to actin filaments (F-actin), providing a direct measure of polymerized filamentous actin. As a proof of principle, we provide evidence for the suitability of the assay both in rodent and post-mortem human brain tissue homogenates. Using latrunculin A (a drug that depolymerizes actin filaments), we confirm the utility of the assay in monitoring alterations in F-actin levels. Further, we extend the assay to biochemical fractions of isolated synaptic terminals wherein we confirm increased actin polymerization upon stimulation by depolarization with high extracellular K+.

INTRODUCTION:

Cytoskeletal protein actin is involved in multiple cellular functions, including structural support, cellular transport, cell motility and division. Actin occurs in equilibrium in two forms: monomeric globular actin (G-actin) and polymerized filamentous actin (F-actin). Rapid changes in the polymerization status of actin (interconversion between its G- and F- forms) result in rapid filament assembly and disassembly and underlie its regulatory roles in cellular physiology. Actin forms the major component of the neuronal cytoskeletal structure and influences a wide range of neuronal functions1, 2. Of note, the actin cytoskeleton forms an integral part of the structural platform of the synaptic terminals. As such, it is a major determinant of synaptic morphogenesis and physiology and plays a fundamental role in control of the size, number and morphology of synapses3–5. In particular, dynamic actin polymerization-depolymerization is a key determinant of the synaptic remodelling associated with synaptic plasticity underlying the memory and learning processes. Indeed, both presynaptic (such as neurotransmitter release6–10) and postsynaptic functions (plasticity related dynamic remodeling11–14) critically rely on dynamic changes in the polymerization status of the actin cytoskeleton.

Under physiological conditions, F-actin levels are dynamically and tightly regulated through a multimodal pathway involving posttranslational modification4, 15, 16 as well as actin-binding proteins (ABPs)4, 17. ABPs can influence actin dynamics at multiple levels (such as initiating or inhibiting polymerization, inducing filament branching, severing of filaments to smaller pieces, promoting depolymerization, and protecting against depolymerization), and are in-turn under a stringent modulatory control sensitive to various extra- and intracellular signals18–20. Such regulatory checks at multiple levels dictate a strict regulation of actin dynamics at the synaptic cytoskeleton, fine-tuning pre- and postsynaptic aspects of neuronal physiology both at the basal and activity-induced states.

Given the important roles of actin in neuronal physiology, it is not surprising that several studies have provided evidence for alterations in actin dynamics as critical pathogenic events linked to a wide range of neurological disorders including neurodegeneration, psychological diseases as well as neurodevelopmental ailments3, 21–27. In spite of the wealth of research data pointing to key roles of actin in neuronal physiology and pathophysiology, however, significant gaps still remain in the understanding of actin dynamics, particularly at the synaptic cytoskeleton. More research studies are needed to have a better comprehension of neuronal actin and its alterations under pathological conditions. One major area of focus in this context is the assessment of actin polymerization status. There are Western blotting-based commercial kits (G-Actin/F-Actin in vivo assay biochemical kit; Cytoskeleton SKU BK03728, 29) and home-made assays for the assessment of F-actin levels6. However, because these require biochemical isolation of F-actin and G-actin and because their subsequent quantification is based upon immunoblotting protocols, they can be time consuming. We herein report a fluorescence spectroscopy-based assay adapted from a previous study30 with modifications that can be used to evaluate both basal levels of F-actin, as well as dynamic changes in its assembly-disassembly. Notably, we have efficiently modified the original protocol that requires samples suitable for a 1 mL cuvette to the current 96-well plate format. The modified protocol has therefore significantly reduced the tissue/sample amount required for the assay. Further, we provide evidence that the protocol is suitable for not only brain tissue homogenates, but also subcellular fractions such as isolated synaptic terminals (synaptosomes and synaptoneurosomes). Lastly, the assay can be employed for freshly dissected rodent brain tissues and long-term stored post-mortem human brain samples. Of note, while the assay is presented in a neuronal context, it can be suitably extended to other cell-types and physiological processes associated with them.

PROTOCOL:

All experimental procedures were carried out in accordance with the regulations of the University of Otago Committee on Ethics in the Care and Use of Laboratory Animals (Ethics Protocol No. AUP95/18 and AUP80/17) and New Zealand legislature. Human brain tissues were obtained from the Neurological Tissue Bank of Hospital Clínic-IDIBAPS BioBank in Barcelona, Spain. All tissue collection protocols were approved by the Ethics Committee of Hospital Clínic, Barcelona, and informed consent was obtained from the families.

1.	Preparation of buffers and reagents

1.1.	Prepare the following buffers for the homogenization of brain tissue and the preparation of enriched fraction of synaptic terminals:

Homogenization buffer: 5 mM HEPES, pH 7.4 supplemented with 0.32 M sucrose

Resuspension buffer: 5 mM Tris, pH 7.4 supplemented with 0.32 M sucrose

Washing buffer: 5 mM Tris, pH 8.1

1.2 M sucrose

1.0 M sucrose

0.85 M sucrose

1.2.	Add homemade or commercial mix of protease and phosphatase inhibitors.

NOTE: We have used EDTA-free version of Complete Protease Inhibitor mix (1 tablet per 10 mL buffer) and Phosphatase inhibitor cocktail IV (1:100; volume: volume).

1.3.	Prepare the following buffers and reagents for the fixation, permeabilization and binding of phalloidin:

Krebs buffer: 118.5 mM NaCl, 4.7 mM KCl, 1.2 mM MgCl2, 2 mM CaCl2, 0.1 mM KH2PO4, 5 mM NaHCO3, 10 mM glucose, 20 mM HEPES, pH 7.4

1 M KCl

25% glutaraldehyde (stock solution)

Krebs buffer containing 0.1 % Triton X-100 and 1 mg/mL NaBH4

400x Alexa Fluor 647 Phalloidin in DMSO

Krebs buffer containing 0.32 M sucrose

50 &#956;M latrunculin A in DMSO (stock solution)

1 M KCl (stock solution)

CAUTION: Phalloidin is toxic (LD50 = 2 mg/kg) and must be handled with care. Inhalation of glutaraldehyde is toxic and should be handled in a fume hood.

1.4.	Store the buffers at 4 &#176;C and phalloidin and latrunculin A at -20 &#176;C for long-term storage.

NOTE: Long-term storage of buffers is not recommended. The protocol can be paused here.

2.	Brain tissue homogenization

2.1.	Homogenize the cryopreserved or freshly dissected rat brain tissue in 10 volumes of homogenization buffer in a Potter-Elvehjem glass tube and pestle on ice.

NOTE: Optimal homogenization is achieved by 15-20 strokes of the pestle by hand for brain tissues. Successful homogenization can be confirmed by smooth flow of the suspension through the glass tube. The protocol can be paused here.

2.2.	Determine the protein concentration in the homogenate using a Bradford assay31.

NOTE: Alternate home-made or commercial assays for protein estimation can also be used.

2.3.	Dilute homogenate samples in Krebs buffer at a concentration of 2-3 mg protein/mL in a volume of 50 &#181;L.

NOTE: In some of our experiments, we incubate homogenates with 2 &#956;M latrunculin A or DMSO (controls) at 37 &#176;C for 1 h. For this, homogenates are resuspended in 48 &#181;L of Krebs buffer, and 2 &#181;L of 50 &#956;M latrunculin A or 2 &#181;L of DMSO is added. Further for immunoblotting, a small amount of sample (2 &#956;g) is collected after the incubation.

2.4.	Fix the homogenate samples (section 5).

3.	Preparation of isolated nerve terminals

3.1.	Preparation of synaptosomes

NOTE: Alternative protocols32, 33 for synaptosomes can also be used.

3.1.1.	Centrifuge brain homogenate at 1,200 x g for 10 min at 4 &#176;C.

3.1.2.	Discard the pellet, which is the crude nuclear fraction.

3.1.3.	Further centrifuge the supernatant (S1) obtained in step 3.1.1 at 12,000 x g for 15 min at 4 &#176;C.

3.1.4.	Remove the supernatant (S2), which is the soluble cytosolic fraction.

3.1.5.	Resuspend the pellet (P2) obtained in step 3.1.3, which is the crude synaptosomal fraction in resuspension buffer.

NOTE: The volume of resuspension buffer depends on the amount of starting tissue and the amount of pellet obtained. For example, when starting with 150-300 mg of brain tissues, the pellet obtained can be resuspended in 200 &#181;L of resuspension buffer.

3.1.6.	Load the resuspended crude synaptosomes onto a discontinuous sucrose gradient made of equal volumes of 0.85-1.0-1.2 M sucrose.

NOTE: We typically use 1 mL each of the sucrose solution (for 150-300 mg tissue). This can be changed according for larger tissue amounts. Discontinuous gradients can be made using a 25G syringe pressed against the internal wall of the ultracentrifuge tube and gentle layering of the sucrose layers.

3.1.7.	Centrifuge at 85,000 x g for 2 h at 4 &#176;C.

NOTE: Because of the high-speed of centrifugation, an ultracentrifuge capable of creating a vacuum to reduce heating is required.

3.1.8.	Collect the synaptosomal fraction at the interface between 1.0 and 1.2 M sucrose using a 200 &#181;L pipet tip.

3.1.9.	Wash the synaptosomal fraction with washing buffer by centrifugation at 18,000 x g for 10 minutes at 4 &#176;C.

NOTE: For washing, the synaptosomal fraction obtained at the interface of 1.0 and 1.2 M sucrose is collected in a fresh 1.5 mL tube, and an equal volume of washing buffer is added, ensuring the removal of high sucrose from the medium.

3.1.10.	Wash the synaptosomal pellet again with homogenization buffer.

3.1.11.	Resuspend the synaptosomes in homogenization buffer on ice.

NOTE: The protocol can be briefly paused here.

3.1.12.	Determine the protein concentration using a Bradford assay.

3.1.13.	Resuspend the synaptosomes in Krebs buffer at a concentration of 2-3 mg protein/mL in a volume of 50 &#181;L (47.5 &#181;L if synaptosomes are to be depolarized by KCl; see section 4).

NOTE: For resuspension, the synaptosomal fraction is first spun at 12,000 x g for 5 min at 4 &#176;C and the supernatant (buffer) is removed. The synaptosomal pellet is then resuspended in Krebs buffer by gentle pipetting using a 200 &#181;L pipet tip.

3.1.14.	Proceed with depolarization (section 4).

3.2.	Preparation of synaptoneurosomes

NOTE: Alternative protocols34, 35 for synaptoneurosomes can also be used.

3.2.1.	Pass the brain homogenate through a pre-wetted net filter of 100 &#956;m pore size in a filter holder using a 1 mL syringe.

NOTE: Pre-wetting of all filters is important to avoid loss of sample and should be done using homogenization buffer. For this, homogenization buffer is passed through the filters in the filter holder using a 1 mL syringe making until the buffer can be seen coming out.

3.2.2.	Collect the filtrate (F1) in a pre-chilled 1.5 mL tube on ice.

3.2.3.	Repeat the process for F1 fraction to obtain the second filtrate (F2).

3.2.4.	Pass F2 filtrate through a net filter of 5 &#956;m pore size.

3.2.5.	Collect the filtrate (F3) in a pre-chilled 1.5 mL tube on ice.

3.2.6.	Centrifuge filtrate F3 at 1,500 x g for 10 min at 4 &#176;C.

3.2.7.	Resuspend the pellet (synaptoneurosomes) in Krebs buffer on ice at a concentration of 2-3 mg protein/mL in a volume of 50 &#181;L (47.5 &#181;L if synaptosomes are to be depolarized by KCl; see section 4).

NOTE: The protocol can be briefly paused here.

3.2.8.	Estimate the protein concentration using a Bradford assay.

3.2.9.	Proceed with depolarization (section 4).

4.	KCl-mediated depolarization of isolated synaptic terminals

4.1.	Equilibrate synaptosomes/synaptoneurosomes at 37 &#176;C for 5-10 min.

4.2.	Stimulate synaptosomes/synaptoneurosomes by adding KCl to increase extracellular K+ to 50 mM for 30 s at 37 &#176;C and add equal volume of Krebs buffer to the respective unstimulated control set.

NOTE: For example, add 2.5 &#181;L of 1 M KCl to synaptosomes resuspended in 47.5 &#181;L of Krebs buffer; and add 2.5 &#181;L of Krebs buffer to the respective unstimulated control synaptosome. For experiments wherein a large number of samples are involved, proceed with no more than 2 samples at a time so that the depolarization time does not exceed 30 s.

4.3.	Terminate stimulation by adding glutaraldehyde (section 5).

5.	Fixation and phalloidin staining of samples

5.1.	Add glutaraldehyde to homogenate/synaptosomal/synaptoneurosomal samples to a final concentration of 2.5% for 2-3 min at room temperature.

NOTE: We added 6 &#181;L of 25% glutaraldehyde solution so that the final concentration of glutaraldehyde in the 50 &#181;L samples (homogenates/synaptosomes/synaptoneurosomes) was ca. 2.5%. Fixation is critical and should be fast and hence immediately after adding glutaraldehyde, the sample should be vigorously vortexed.

5.2.	Sediment the samples at 20,000 x g for 5 min.

5.3.	Remove the supernatant.

NOTE: Discard the supernatant in a fume hood as glutaraldehyde is toxic.

5.4.	Permeabilize the pellet by resuspension in 100 &#181;L of Krebs buffer containing 0.1% Triton X-100 and 1 mg/mL NaHB4 for 2-3 min at room temperature.

5.5.	Sediment the samples at 20,000 x g for 5 min.

5.6.	Remove the permeabilization buffer.

5.7.	Wash the pellet with 200 &#181;L of Krebs buffer by centrifuging at 20,000 x g for 5 min.

5.8.	Resuspend and stain the pellet with 1x Alexa Fluor 647 Phalloidin (corresponding to 500 &#956;U) in 100 &#181;L of Krebs buffer for 10 minutes in dark at room temperature.

NOTE: Other varieties of fluorescent phalloidin analogs are commercially available and can be replaced for the assay. Concentration of phalloidin and total sample volume of incubation may have to be modified according to the amount and type of tissue/sample being tested and optimal conditions should be standardized accordingly.

5.9.	Centrifuge the stained samples at 20,000 x g for 5 min.

5.10.	Remove the unbound phalloidin (supernatant).

5.11.	Wash the sample with 200 &#181;L of Krebs buffer by centrifugation at 20,000 x g for 5 min.

5.12.	Resuspend in 200 &#181;L of Krebs buffer containing 0.32 M sucrose.

NOTE: The protocol can be briefly paused here.

6.	Fluorometric analysis and light scattering

6.1.	Dispense Alexa Fluor 647 Phalloidin-stained samples in a black 96-well plate.

6.2.	Measure the fluorescence intensity at an excitation wavelength of 645 nm and an emission wavelength of 670 nm in a plate reader at room temperature.

6.3.	Transfer the samples from the black 96-well plate to the transparent 96-well plate using 200 &#181;L pipet tips.

6.4.	Measure the light scattering at 540 nm to correct for any losses that might have occurred during the previous steps of fixation, permeabilization and staining.

NOTE: Variations in biological material retained in the stained samples might be more prominent for smaller amounts of starting material (see DiXsion).

6.5.	Include a set of Alexa Fluor 647 Phalloidin in Krebs buffer at different concentrations (0.05x, 0.1x, 0.25x, 0.35x, 0.75x, 0.5x and 1x corresponding to 25, 50, 125, 175, 250, 375 and 500 &#956;U) for each batch of the assay as a standard curve.

NOTE: This is an optional step and does not affect the results of the assay particularly when F-actin levels are being expressed in a relative manner (Section 7). The protocol can be paused here.

7.	Data analysis

7.1.	The amount of F-actin in the samples is directly proportional to the fluorescence intensity of bound phalloidin. Express in absolute terms of units of phalloidin bound calculated from the linear curve of the tagged phalloidin standard.

NOTE: As an example, see Figures 2A-B, 3A, 4A-B and Supplementary Figure 2.

7.2.	Express F-actin levels as a fraction of the control samples.

NOTE: As an example, see Figures 5A-B.

REPRESENTATIVE RESULTS:

Linearity of the assay for evaluation of F-actin levels

First, a standard curve for the linear increase in fluorescence of Alexa Fluor 647 Phalloidin was ascertained and was repeated for each set of experiments (Figure 1). To investigate the linear range of the assay, different amounts of brain homogenates from rodents (Figures 2A and 2B) and post-mortem human subjects (Figure 3A and 3B) were processed. The assay was found to be linear in the range of 50-200 &#956;g of protein as assessed by amounts of labeled phalloidin retained. Light scattering at 540 nm was used to confirm the different amounts of samples (Figure 2C and Figure 3C).

Latrunculin, an actin depolymerizing agent reduces binding of labelled phalloidin

Latrunculin A is known to depolymerize actin filaments and reduce the levels of F-actin36–39. Homogenates from either rodent or human brain tissues were incubated with 2 &#956;M latrunculin A for 1 hour at 37 &#176;C to depolymerize actin filaments. Respective untreated control sets were incubated with DMSO for the same duration of 1 hour at 37 &#176;C. The assay robustly measured the loss of F-actin levels from 95.7  6.6 (mean  SEM) in control samples to 72.0  3.2 (mean  SEM) &#956;U of bound phalloidin in latrunculin A-treated samples in rodent brain homogenates (Figure 4A). A similar decrease (from 83.7  3.9 to 66.9  4.2 &#956;U) in retention of labeled phalloidin was also observed when homogenates from human brain tissues were subjected to latrunculin A treatment (Figure 4B). Noteworthy, total actin levels, as assessed by immunoblotting, did not alter upon treatment with latrunculin A in both rat (Supplementary Figure 1A-B) and human (Supplementary Figure 1C-D) brain homogenates.

Depolarization of isolated synaptic terminals stimulates actin polymerization and filament formation

Ex vivo depolarization of isolated synaptic terminals has been shown to result in rapid stimulation of actin polymerization6, 30, 40, and this phenomenon was used as a further confirmation of the assay reported herein. Biochemical fractions enriched in synaptic terminals were prepared in two different manners; a gradient-based ultracentrifugation method to obtain “synaptosomes”41–44 and a sequential filtration-based protocol to obtain “synaptoneurosomes”43, 45, 46. Because the yield for the latter is higher, we used it for human post-mortem brain tissues wherein the tissue amounts are often limiting. On the other hand, we preferred to use synaptosomes with a higher degree of enrichment of synaptic fragments41 for our rat brain tissue experiments.

Depolarization of synaptosomes or synaptoneurosomes and stimulation of actin polymerization were achieved by a short (30 second) burst of increase in extracellular K+ to 50 mM. KCl exposure resulted in increased phalloidin binding by almost 40% in rodent brain synaptosomes compared to the respective mock-stimulated controls (Figure 5A; see also Supplementary Figure 2A). A smaller (around 20%) but consistent increase was also observed in human synaptoneurosomes treated with KCl (Figure 5B; see also Supplementary Figure 2A). These experiments validate the robustness of our assay in determining alterations in F-actin levels in brain tissue samples, including isolated synaptic terminals.

Figure 1. Standard curve for fluorescence of Alexa Fluor 647 Phalloidin.

Linearity of fluorescence emission of different amounts (25-500 &#956;U) of labeled phalloidin was confirmed by fluorescence spectroscopy at an excitation of 645 nm and emission of 670 nm (R2 = 0.9942). Data are represented as mean  SEM (n=3).

Figure 2. Linearity of phalloidin binding to whole-cell homogenates from rat brain tissue.

(A) Binding of phalloidin to different amounts of homogenates (50-300 &#956;g protein) was assessed. (B) Binding was linear in the range of 50-200 &#956;g protein (R2 = 0.9602). (C) Scattering at 540 nm was used to confirm different amounts of the samples (R2 = 0.8319). Data are represented as mean  SEM (n=4).

Figure 3. Phalloidin binding to whole-cell homogenates from post-mortem human brain tissue. (A) Phalloidin retention in a range of amounts of homogenates (50-300 &#956;g protein) was evaluated. (B) Phalloidin binding was found to be linear in the range of 50-200 &#956;g protein (R2 = 0.8832). (C) Scattering at 540 nm confirmed the varying amounts of the samples (R2 = 0.9730). Data are represented as mean  SEM (n=4).

Figure 4. Effects of latrunculin A on F-actin levels.

Treatment of brain homogenates with actin depolymerizing agent Latrunculin A (2 &#956;M, 1 h at 37&#176;C) resulted in significant decrease in the amounts of actin filaments compared to the respective mock-treated control samples as assessed by retention of labeled phalloidin both in rodent (p = 0.0034; paired two-tailed Student’s t-test) (A) and post-mortem human tissues (p = 0.0011; paired two-tailed Student’s t-test) (B). Data are represented as mean  SEM (n=6 pairs).

Figure 5. Effects of KCl-mediated depolarization on F-actin amounts in isolated synaptic terminals.

(A) Incubation of synaptosomes from rat brain with 50 mM KCl for 30 s at 37&#176;C stimulated actin polymerization which consequently resulted in an increase in phalloidin binding (p = 0.0014; paired two-tailed Student’s t-test). (B) A smaller increase was also observed in synaptoneurosomal fraction from post-mortem human brain tissues (p = 0.014; paired two-tailed Student’s t-test). Data are represented as mean  SEM (n=6 pairs).

Supplementary Figure 1. Effects of latrunculin A on total actin levels.

Brain homogenates were incubated with latrunculin A (2 &#956;M, 1 h at 37&#176;C) or equal volume of DMSO (1 h at 37&#176;C). 10 &#956;g protein per sample (latrunculin A treated and DMSO mock-treated controls) were collected prior to fixation. Total actin levels were assessed by immunoblotting. Representative blots are shown for rat (A) and human (C) brain homogenates. Latrunculin A did not alter the total actin levels in both rat (B; p = 0.40; paired two-tailed Student’s t-test) and human (D; p = 0.42; paired two-tailed Student’s t-test) brain homogenates. Data are represented as mean  SEM (n=3 pairs).

Supplementary Figure 2. Effects of KCl-mediated depolarization on F-actin levels in rat synaptosomes and human synaptoneurosomes.

(A) Incubation of synaptosomes from rat brain with 50 mM KCl (30 s at 37 &#176;C) stimulated actin polymerization and a consequent increase in phalloidin binding (p = 0.0019; paired two-tailed Student’s t-test). (B) Increase in phalloidin retention was also observed in human synaptoneurosomal fraction depolarized by KCl compared to the respective unstimulated controls (p = 0.015; paired two-tailed Student’s t-test). Data are represented as mean  SEM (n=6 pairs).

DISCUSSION:

The assay described here, essentially adapted from a previous study30 with modifications, employs a phallotoxin, phalloidin tagged with a fluorescent label. Fluorescent phalloidin analogs are considered to be the gold standard for staining actin filaments in fixed tissues47–49. In fact, they are the oldest tools to specifically identify actin filaments50 and still remain the most widely used instruments to detect actin filaments particularly for subsequent fluorescence microscopy-based analyses. Importantly, phalloidin has been shown to stain even loose, irregular meshwork of short actin filaments51, indicating that phalloidin binding is not dependent on the filament length. Our protocol, on the other hand, relies on fluorescence spectroscopy to analyze actin dynamics in ex vivo biological samples, for example brain tissues from rodents and humans.

The major advantage of the protocol is that it considerably reduces the time taken with respect to the existing protocols that first require a high-speed centrifugation-based biochemical isolation of F-actin (separation from G-actin based on insolubility of actin filaments in certain detergents such as Triton X-100) and subsequent analysis of immunoreactive levels using Western blotting6, 28, 29. The time-efficiency of our assay is also an advantage with regards to phalloidin-based immunocytochemistry techniques40, 52, although there might be some other benefits associated with the latter. Another advantage is that it can be applied to cryopreserved post-mortem human brain tissues, procurement of which is always associated with some post-mortem delay. Further, with respect to the original protocol30 from which this methodology has been modified, we have considerably reduced the requirement for the tissue amount from 1 mL cuvette to a single well of a 96-well plate. Moreover, because of the inclusion of a phalloidin standard curve in each set of experiment, our protocol can quantitate absolute levels of actin filaments in units of phalloidin bound (Figures 2A-B, 3A, 4A-B; see also Supplementary Figure 2), as well as the levels relative to control samples (Figure 5A-B).

It should be noted that the application of phalloidin to assess F-actin levels however is restricted to fixed cells and samples, both for our assay protocol as well as microscopy-based protocols. This is because phalloidin is essentially a toxic bicyclic heptapeptide that binds specifically at the interface between F-actin subunits with high affinity and stabilizes these actin filaments, rendering them incapable to depolymerize and in fact increasing the net conversion of G-actin into F-actin40, 53, 54. Hence, phalloidin stabilizes actin filaments in vivo and in vitro, and can result in significant changes in the equilibrium status of actin per se47, 55. As such evaluation of actin polymerization status mediated by fluorescent phalloidin is based upon arrested filament structures. Moreover, because of its low permeability through the lipid bilayer, phalloidin-based methodologies rely on permeabilization of the cells or biological samples. Infeasibility of a time course live-cell assay is hence a major limitation of the protocol as with immunocytochemistry-based methods employing phalloidin.

Infeasibility of phalloidin-based methods to evaluate dynamic changes in actin filaments in live unfixed cells begs the question of whether there are alternative procedures to do so. Indeed, advances have been made in this regard with exogenous expression of fluorescent-actin analogs prior to analysis using protocols such as video micrography36, 56, fluorescence recovering after photobleaching (FRAP)38 or fluorescence resonance energy transfer (FRET)39. Heterologous expression of fluorescently tagged peptides and proteins that bind actin filaments are also employed to study actin dynamics in live cells; however there are disadvantages and limitations associated with them as well as with the heterologous expression of fluorescently tagged actin47, 49, 57. For example, G-actin that comprises 50-70% of total actin in most cells is soluble and freely diffusible in the cytosol, resulting in a higher background causing challenges in differentiating signals from actin filaments specifically57.

A critical factor in the assay is that as shown in Figure 2 and Figure 3; it is not linear throughout the range of protein amounts tested. Hence, an optimal amount of protein suitable for the assay should be determined first or the amount of phalloidin analog should be adjusted such that it is no longer limiting (at higher amounts of proteins). Another critical aspect of the protocol is that the multiple centrifugation-based steps for removal of fixative, permeabilization agent and unbound phalloidin can lead to varying loss of proteins (and F-actin bound phalloidin) from the samples, particularly when lower amounts of samples are used. Hence it is important to normalize the amount of sample retained by monitoring light scattering at 540 nm. Lastly, since actin is in a dynamic state of interconversion between its F- and G-forms, fixing should be fast. A minor related critical aspect of the assay is that we could not evaluate its efficiency in assessing pharmacological actin polymerization. As opposed to pharmacological actin depolymerization by latrunculin A, jasplakinolide (a reliable and widely used actin polymerizing agent) has overlapping binding sites with phalloidin and competitively inhibits its binding to actin filaments58, 59. Nevertheless, employment of KCl-stimulated synaptic terminals as an ex vivo model for increased actin polymerization indicates that our assay can also detect increases in F-actin levels.

In conclusion, we describe a robust time-efficient and high-throughput assay for analysis of actin filaments (F-actin) and its alternations in physiological and pathophysiological states suitable for a 96-well plate format. In combination with other existing methods for evaluation of F-actin in fixed and unfixed samples, the protocol will prove to be an essential tool in actin-related studies in the neuroscience field, as well as other areas of biological science research.

DISCLOSURES:

The authors have nothing to disclose.

ACKNOWLEDGMENTS:

This work was supported by the Neurological Foundation of New Zealand (1835-PG), the New Zealand Health Research Council (#16-597) and the Department of Anatomy, University of Otago, New Zealand. We are indebted to the Neurological Tissue Bank of HCB-IDIBAPS BioBank (Spain) for human brain tissues. We thank Jiaxian Zhang for her help in recording and editing of the video.

REFERENCES:

1.	Penzes, P., Rafalovich, I. Regulation of the actin cytoskeleton in dendritic spines. Advances in Experimental Medicine and Biology. 970, 81–95, doi: 10.1007/978-3-7091-0932-8_4 (2012).

2.	Venkatesh, K., Mathew, A., Koushika, S.P. Role of actin in organelle trafficking in neurons. Cytoskeleton. 77 (3–4), 97–109, doi: 10.1002/cm.21580 (2020).

3.	Shirao, T., González-Billault, C. Actin filaments and microtubules in dendritic spines. Journal of Neurochemistry. 126 (2), 155–164, doi: 10.1111/jnc.12313 (2013).

4.	Bertling, E., Hotulainen, P. New waves in dendritic spine actin cytoskeleton: From branches and bundles to rings, from actin binding proteins to post-translational modifications. Molecular and Cellular Neuroscience. 84, 77–84, doi: 10.1016/j.mcn.2017.05.002 (2017).

5.	Bellot, A. et al. The structure and function of actin cytoskeleton in mature glutamatergic dendritic spines. Brain Research. 1573, 1–16, doi: 10.1016/j.brainres.2014.05.024 (2014).

6.	Wolf, M. et al. ADF/Cofilin controls synaptic actin dynamics and regulates synaptic vesicle mobilization and exocytosis. Cerebral Cortex. 25 (9), 2863–75, doi: 10.1093/cercor/bhu081 (2015).

7.	Morales, M., Colicos, M.A., Goda, Y. Actin-dependent regulation of neurotransmitter release at central synapses. Neuron. 27 (3), 539–550, doi: 10.1016/S0896-6273(00)00064-7 (2000).

8.	Doussau, F., Augustine, G.J. The actin cytoskeleton and neurotransmitter release: An overview. Biochimie. 82 (4), 353–363, doi: 10.1016/S0300-9084(00)00217-0 (2000).

9.	Sakaba, T., Neher, E. Involvement of actin polymerization in vesicle recruitment at the calyx of held synapse. Journal of Neuroscience. doi: 10.1523/jneurosci.23-03-00837.2003 (2003).

10.	Lee, J.S., Ho, W.K., Lee, S.H. Actin-dependent rapid recruitment of reluctant synaptic vesicles into a fast-releasing vesicle pool. Proceedings of the National Academy of Sciences of the United States of America. doi: 10.1073/pnas.1114072109 (2012).

11.	Rust, M.B. et al. Learning, AMPA receptor mobility and synaptic plasticity depend on n-cofilin-mediated actin dynamics. EMBO Journal. 29, 1889–1902, doi: 10.1038/emboj.2010.72 (2010).

12.	Bosch, M. et al. Structural and molecular remodeling of dendritic spine substructures during long-term potentiation. Neuron. 82, 444–459, doi: 10.1016/j.neuron.2014.03.021 (2014).

13.	Hanley, J.G. Actin-dependent mechanisms in AMPA receptor trafficking. Frontiers in Cellular Neuroscience. 8, 381, doi: 10.3389/fncel.2014.00381 (2014).

14.	Kasai, H., Fukuda, M., Watanabe, S., Hayashi-Takagi, A., Noguchi, J. Structural dynamics of dendritic spines in memory and cognition. Trends in Neurosciences. 33, 121–129, doi: 10.1016/j.tins.2010.01.001 (2010).

15.	Terman, J.R., Kashina, A. Post-translational modification and regulation of actin. Current Opinion in Cell Biology. 25 (1), 30–38, doi: 10.1016/j.ceb.2012.10.009 (2013).

16.	Wilson, C., Terman, J.R., González-Billault, C., Ahmed, G. Actin filaments—A target for redox regulation. Cytoskeleton. 73, 577–595, doi: 10.1002/cm.21315 (2016).

17.	Borovac, J., Bosch, M., Okamoto, K. Regulation of actin dynamics during structural plasticity of dendritic spines: Signaling messengers and actin-binding proteins. Molecular and Cellular Neuroscience. 91, 122–130, doi: 10.1016/j.mcn.2018.07.001 (2018).

18.	Saneyoshi, T., Hayashi, Y. The Ca2+ and Rho GTPase signaling pathways underlying activity-dependent actin remodeling at dendritic spines. Cytoskeleton. 69 (8), 545–54, doi: 10.1002/cm.21037 (2012).

19.	Mizuno, K. Signaling mechanisms and functional roles of cofilin phosphorylation and dephosphorylation. Cellular Signalling. 25 (2), 457–69, doi: 10.1016/j.cellsig.2012.11.001 (2013).

20.	Dos Remedios, C.G. et al. Actin binding proteins: Regulation of cytoskeletal microfilaments. Physiological Reviews. 83 (2), 433–473, doi: 10.1152/physrev.00026.2002 (2003).

21.	Bamburg, J.R., Bernstein, B.W. Actin dynamics and cofilin-actin rods in Alzheimer disease. Cytoskeleton. 73 (9), 477–97, doi: 10.1002/cm.21282 (2016).

22.	Penzes, P., VanLeeuwen, J.E. Impaired regulation of synaptic actin cytoskeleton in Alzheimer’s disease. Brain Research Reviews. 67 (1–2), 184–192, doi: 10.1016/j.brainresrev.2011.01.003 (2011).

23.	Pelucchi, S., Stringhi, R., Marcello, E. Dendritic spines in Alzheimer’s disease: How the actin cytoskeleton contributes to synaptic failure. International Journal of Molecular Sciences. 21 (3), 908, doi: 10.3390/ijms21030908 (2020).

24.	Kounakis, K., Tavernarakis, N. The Cytoskeleton as a Modulator of Aging and Neurodegeneration. Advances in Experimental Medicine and Biology. 1178, 227–245, doi: 10.1007/978-3-030-25650-0_12 (2019).

25.	Nishiyama, J. Plasticity of dendritic spines: Molecular function and dysfunction in neurodevelopmental disorders. Psychiatry and Clinical Neurosciences. 73 (9), 541–550, doi: 10.1111/pcn.12899 (2019).

26.	Michaelsen-Preusse, K., Feuge, J., Korte, M. Imbalance of synaptic actin dynamics as a key to fragile X syndrome? Journal of Physiology. 596 (14), 2773–2782, doi: 10.1113/JP275571 (2018).

27.	Hensel, N., Claus, P. The Actin Cytoskeleton in SMA and ALS: How Does It Contribute to Motoneuron Degeneration? Neuroscientist. 24 (1), 54–72, doi: 10.1177/1073858417705059 (2018).

28.	Kommaddi, R.P. et al. Aβ mediates F-actin disassembly in dendritic spines leading to cognitive deficits in alzheimer’s disease. Journal of Neuroscience. 38 (5), 1085–1099, doi: 10.1523/JNEUROSCI.2127-17.2017 (2018).

29.	Kommaddi, R.P. et al. Glutaredoxin1 Diminishes Amyloid Beta-Mediated Oxidation of F-Actin and Reverses Cognitive Deficits in an Alzheimer’s Disease Mouse Model. Antioxidants and Redox Signaling. 31 (18), 1321–1338, doi: 10.1089/ars.2019.7754 (2019).

30.	Bernstein, B.W., Bamburg, J.R. Cycling of actin assembly in synaptosomes and neurotransmitter release. Neuron. 3 (2), 257–265, doi: 10.1016/0896-6273(89)90039-1 (1989).

31.	Sapan, C. V, Lundblad, R.L., Price, N.C. Colorimetric protein assay techniques. Biotechnology and applied biochemistry. 29 ( Pt 2) (2), 99–108, doi: 10.1111/j.1470-8744.1999.tb00538.x (1999).

32.	Kolodziej, A. et al. High resolution quantitative synaptic proteome profiling of mouse brain regions after auditory discrimination learning. Journal of Visualized Experiments. 2016 (118), 54992, doi: 10.3791/54992 (2016).

33.	Byun, Y.G., Chung, W.S. A novel in vitro live-imaging assay of astrocyte-mediated phagocytosis using pH indicator-conjugated synaptosomes. Journal of Visualized Experiments. 2018 (132), 56647, doi: 10.3791/56647 (2018).

34.	Chmielewska, J.J., Kuzniewska, B., Milek, J., Urbanska, K., Dziembowska, M. Neuroligin 1, 2, and 3 Regulation at the Synapse: FMRP-Dependent Translation and Activity-Induced Proteolytic Cleavage. Molecular Neurobiology. 56 (4), 2741–2759, doi: 10.1007/s12035-018-1243-1 (2019).

35.	Kuzniewska, B., Chojnacka, M., Milek, J., Dziembowska, M. Preparation of polysomal fractions from mouse brain synaptoneurosomes and analysis of polysomal-bound mRNAs. Journal of Neuroscience Methods. 293, 226–233, doi: 10.1016/j.jneumeth.2017.10.006 (2018).

36.	Fischer, M., Kaech, S., Knutti, D., Matus, A. Rapid actin-based plasticity in dendritic spines. Neuron. 20 (5), 847–854, doi: 10.1016/S0896-6273(00)80467-5 (1998).

37.	Caesar, M., Felk, S., Aasly, J.O., Gillardon, F. Changes in actin dynamics and F-actin structure both in synaptoneurosomes of LRRK2(R1441G) mutant mice and in primary human fibroblasts of LRRK2(G2019S) mutation carriers. Neuroscience. 284, 311–324, doi: 10.1016/j.neuroscience.2014.09.070 (2015).

38.	Star, E.N., Kwiatkowski, D.J., Murthy, V.N. Rapid turnover of actin in dendritic spines and its regulation by activity. Nature Neuroscience. 5, 239–246, doi: 10.1038/nn811 (2002).

39.	Okamoto, K.I., Nagai, T., Miyawaki, A., Hayashi, Y. Rapid and persistent modulation of actin dynamics regulates postsynaptic reorganization underlying bidirectional plasticity. Nature Neuroscience. 7, 1104–1112, doi: 10.1038/nn1311 (2004).

40.	Bernstein, B.W., Dewit, M., Bamburg, J.R. Actin disassembles reversibly during electrically induced recycling of synaptic vesicles in cultured neurons. Molecular Brain Research. 53 (1–2), 236–250, doi: 10.1016/S0169-328X(97)00319-7 (1998).

41.	Ahmad, F., Liu, P. Synaptosome as a tool in Alzheimer’s disease research. Brain Research. 1746, 147009, doi: 10.1016/j.brainres.2020.147009 (2020).

42.	Ahmad, F. et al. Isoform-specific hyperactivation of calpain-2 occurs presymptomatically at the synapse in Alzheimer’s disease mice and correlates with memory deficits in human subjects. Scientific Reports. 8 (1), 13119, doi: 10.1038/s41598-018-31073-6 (2018).

43.	Ahmad, F. et al. Reactive Oxygen Species-Mediated Loss of Synaptic Akt1 Signaling Leads to Deficient Activity-Dependent Protein Translation Early in Alzheimer’s Disease. Antioxidants and Redox Signaling. 27 (16), 1269–1280, doi: 10.1089/ars.2016.6860 (2017).

44.	Ahmad, F. et al. Developmental lead (Pb)-induced deficits in redox and bioenergetic status of cerebellar synapses are ameliorated by ascorbate supplementation. Toxicology. 440, 152492, doi: 10.1016/j.tox.2020.152492 (2020).

45.	Ahmad, F., Salahuddin, M., Alsamman, K., Herzallah, H.K., Al-Otaibi, S.T. Neonatal maternal deprivation impairs localized de novo activity-induced protein translation at the synapse in the rat hippocampus. Bioscience Reports. 38 (3), BSR20180118, doi: 10.1042/BSR20180118 (2018).

46.	Ahmad, F., Salahuddin, M., Alsamman, K., Almulla, A.A., Salama, K.F. Developmental lead (Pb)-induced deficits in hippocampal protein translation at the synapses are ameliorated by ascorbate supplementation. Neuropsychiatric Disease and Treatment. 14, 3289–3298, doi: 10.2147/NDT.S174083 (2018).

47.	Melak, M., Plessner, M., Grosse, R. Actin visualization at a glance. Journal of Cell Science. 130 (3), 525–530, doi: 10.1242/jcs.189068 (2017).

48.	Adams, A.E.M., Pringle, J.R. Staining of actin with fluorochrome-conjugated phalloidin. Methods in Enzymology. 194, 729–731, doi: 10.1016/0076-6879(91)94054-G (1991).

49.	Belin, B.J., Goins, L.M., Mullins, R.D. Comparative analysis of tools for live cell imaging of actin network architecture. BioArchitecture. 4 (6), 189–202, doi: 10.1080/19490992.2014.1047714 (2014).

50.	Wulf, E., Deboben, A., Bautz, F.A., Faulstich, H., Wieland, T. Fluorescent phallotoxin, a tool for the visualization of cellular actin. Proceedings of the National Academy of Sciences of the United States of America. 76, 4498–4502, doi: 10.1073/pnas.76.9.4498 (1979).

51.	Taffarel, M., de Souza, M.F., Machado, R.D., de Souza, W. Localization of actin in the electrocyte of Electrophorus electricus L. Cell and Tissue Research. 242, 453–455, doi: 10.1007/BF00214562 (1985).

52.	Glebov, O.O. Distinct molecular mechanisms control levels of synaptic F-actin. Cell Biology International. 44 (1), 336–342, doi: 10.1002/cbin.11226 (2020).

53.	Dancker, P., L&#246;w, I., Hasselbach, W., Wieland, T. Interaction of actin with phalloidin:. Polymerization and stabilization of F-actin. BBA - Protein Structure. doi: 10.1016/0005-2795(75)90196-8 (1975).

54.	Lengsfeld, A.M., L&#246;w, I., Wieland, T., Dancker, P., Hasselbach, W. Interaction of phalloidin with actin. Proceedings of the National Academy of Sciences of the United States of America. 71 (7), 2803–2807, doi: 10.1073/pnas.71.7.2803 (1974).

55.	Coluccio, L.M., Tilney, L.G. Phalloidin enhances actin assembly by preventing monomer dissociation. Journal of Cell Biology. 99, 529–535, doi: 10.1083/jcb.99.2.529 (1984).

56.	Colicos, M.A., Collins, B.E., Sailor, M.J., Goda, Y. Remodeling of synaptic actin induced by photoconductive stimulation. Cell. 107 (5), 605–616, doi: 10.1016/S0092-8674(01)00579-7 (2001).

57.	Lemieux, M.G. et al. Visualization of the actin cytoskeleton: Different F-actin-binding probes tell different stories. Cytoskeleton. 71, 157–169, doi: 10.1002/cm.21160 (2014).

58.	Bubb, M.R., Senderowicz, A.M.J., Sausville, E.A., Duncan, K.L.K., Korn, E.D. Jasplakinolide, a cytotoxic natural product, induces actin polymerization and competitively inhibits the binding of phalloidin to F-actin. Journal of Biological Chemistry (1994).

59.	Holzinger, A. Jasplakinolide: an actin-specific reagent that promotes actin polymerization. Methods in molecular biology (Clifton, N.J.). 269, 14869–14871, doi: 10.1007/978-1-60761-376-3_4 (2009).