62271_screenshot_1

- 2.2.1 (Spotiton software opened and robots initialized) 00:00 – 00:45

  - NOTE: Clip has been sped up where appropriate to reduce length.

62271_screenshot_2

- 2.3.1 (Sending robots to safe position) 00:00-00:05

- 2.3.2 (Flushing the dispenser heads) 00:05-00:15

62271_screenshot_3

- 2.4.1 (Send Tip 1 to inspection camera. Fire, adjust amplitude, record, and playback video.) 00:00-00:30

- 2.4.2 (Send Tip2 to inspection camera. Fire, adjust amplitude to match Tip 1 video.) 00:30-01:07

62271_screenshot_4

- 2.6.1 (Moving Tip 1 into the field of view.) 00:00-00:11

- 2.6.2 (Adjusting the upper camera light) 00:11-00:14

- 2.7.1 (Position tip 1 in front of upper cam FOV) 00:14-00:19

62271_screenshot_5

- 2.7.2 (Moving the grid into the field of view) 00:00-00:08

- 2.7.3 (Positioning Tip1 in front of camera with grid in place) 00:08-00:14

62271_screenshot_6

- 2.8.1 (Queuing the target, plunging the test grid) 00:00-00:17

- 2.8.2 (Reviewing the upper & lower camera images) 00:17-00:20

62271_screenshot_7

- Set automatic humidity (00:00-00:15)

  - NOTE: This action is not currently in the draft protocol script. Step 2.3.3 of the full manuscript discusses setting the automatic humidity level.

- 3.3.1 (Show live monitor then open huidity tracker) 00:15-00:27

  - NOTE: Clip has been sped up where appropriate to reduce length.

62271_screenshot_8 (to be created)

- 3.5.1 (Selecting the volume to be aspirated, clicking on aspirate, and dispensers aspirating the samples)

62271_screenshot_9 (to be created)

- 3.9.1 (Fully plunging the grid into cryogen and hopping the grid from ethane to liquid nitrogen)

- 3.9.2 (Examining grid images from the upper and lower cameras on the main screen)

62271_screenshot_10 (to be created)

- 3.11.1 (Reviewing all session grid images using the experiment viewer)

- 3.11.2 (Reviewing humidity measurements)