# Submission ID #:  62280

# Scriptwriter Name: Nilesh Kolhe

# Supervisor Name: Bridget Colvin

# Project Page Link: https://www.jove.com/account/file-uploader?src=18995448

Title: Staining and High-resolution Imaging of Three-dimensional Organoid and Spheroid Models

# Authors and Affiliations: Alejandro Lopez Gonzalez1*, Léa Luciana1*, Clémentine Le Nevé2, Julie Valantin2, Laura Francols2, Nicolas Gadot2, Christophe Vanbelle3, Laurianne Davignon4, and Laura Broutier1

1Université de Lyon, Université Claude Bernard Lyon 1

2Plateforme Anatomopathologie Recherche, Université de Lyon

3Plateforme d’Imagerie cellulaire, Université de Lyon

4PerkinElmer S.A.S.

*These authors contributed equally

☐   All author names and affiliations are correct.

# Corresponding Authors:

Laura Broutier			Laura.BROUTIER@lyon.unicancer.fr

# Email Addresses for All Authors:

Laura.BROUTIER@lyon.unicancer.fr

Alejandro.LOPEZGONZALEZ@lyon.unicancer.fr

Lea.LUCIANA@lyon.unicancer.fr

Clementine.LENEVE@lyon.unicancer.fr

Julie.VALANTIN@lyon.unicancer.fr

Laura.FRANCOLS@lyon.unicancer.fr

Nicolas.GADOT@lyon.unicancer.fr

Christophe.VANBELLE@lyon.unicancer.fr

Laurianne.Davignon@PERKINELMER.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:23

Number of Shots:41

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- 3D Whole Mount Staining

  - To prepare samples for 3D whole mount staining, use a 1-milliliter pipette tip precoated with BSA to add a 1-milliliter organoid suspension to a 500-microliter tube of PBS [1-TXT].

    - WIDE: Talent transferring the organoids to new tube TEXT: See text for organoid preparation details

  - When the organoids have settled to the bottom of the tube, carefully replace the PBS with 500 microliters of permeabilization blocking solution [1-TXT] for a 1-hour incubation at room temperature with gentle, horizontal agitation at 30-50 revolutions per minute [2].

    - Talent adding PB solution to tube TEXT: See text for all solution preparation details

    - Shot of tube on rotator

  - At the end of the incubation, allow the organoids to sediment again [1-TXT] before carefully washing the organoids two times in 1 milliliter of 0.1% PBS supplemented with BSA for 3 minutes per wash [2].

    - Talent placing tube onto bench TEXT: Let organoids settle between each solution exchange

    - Talent adding PBS + BSA to tube

  - After the last wash, label the organoids with 250 microliters of primary antibody in PBS for 2-3 days with gentle horizontal agitation at 4 degrees Celsius [1-TXT]. At the end of the incubation, wash the sample with five, 3-minute and two, 15-minute washes in 1-milliliter of 0.1% PBS-BSA per wash [2-TXT].

    - Shot of settled organoids, then antibody being added TEXT: See text for all Ab suggestion and preparation details

    - Shot of settled organoids, then PBS-BSA being added to tube TEXT: Wash with horizontal agitation during 15-min washes

  - After the last wash, label the organoids with 250 microliters of the appropriate secondary antibody in PBS [1] for 24 hours at 4 degree Celsius with gentle horizontal agitation protected from light [2].

    - Shot of settled organoids, then antibody being added

    - Tube shaking on shaker

  - The next day, label the organoids with 250 microliters of the appropriate concentration of Hoechst 33342 (hookst 3-3-3-4-2) for a 2-hour incubation at 4 degree Celsius with gentle horizontal agitation [1].

    - Talent adding Hoechst solution to tube

  - At the end of the incubation, washes the organoids five times for 3 minutes and two times for 15 minutes in 1milliliter of PBS per wash as demonstrated [1].

    - Talent adding PBS to tube

  - After the last wash, store the organoids in 1 milliliter of fresh PBS at 4 degree Celsius [1].

    - Talent placing tube at 4 °C

- Embedding of Large 3D Cell Culture Models

  - To embed large 3D cell culture models, use a BSA-coated 1-milliliter pipette tip to carefully transfer the organoids to a flat-bottom glass tube with a PTFE (P-T-F-E)-lined bottle cap [1]. After the organoids have settled, carefully replace the PBS with 70% ethanol for a 30-minute incubation at room temperature [2].

    - WIDE: Talent transferring the organoids to a glass tube

    - Shot of settled organoids, then ethanol being added to tube

  - At the end of the incubation, replace the 70% ethanol with 1-milliliter of ready-to-use eosin Y solution [1]. Flick the tube and stain for at least 30 minutes [2]. At the end of incubation, dehydrate the organoids with three successive, 30-minute washes in 1-milliliter of 100% ethanol per wash [3].

    - Shot of settled organoids, then stain being added to tube

    - Tube being flicked, then placed onto bench

    - Talent adding ethanol to tube

  - After the last dehydration, clear the organoids with three, successive, 30-minute washes in 1-milliliter of xylene per wash under a chemical hood [1].

    - Talent at hood, adding xylene to tube

  - After the last xylene immersion, place a piece of xylene-soaked biopsy pad into one compartment of a white microtwin tissue cassette [1] and use a BSA-coated 2-milliliter plastic Pasteur pipette to transfer the 3D structures onto the pad [2].

    - Pad being placed into compartment

    - Talent transferring the 3D structures to biopsy pad

  - Cover the 3D structures with another xylene-soaked biopsy pad to hold the organoids in place [1] and close the cassette [2-TXT].

    - Talent covering the structures with another biopsy pad

    - Talent closing the cassette TEXT: Repeat for each 3D model

  - When all of the samples have been transferred, place the cassettes in a 65-degree Celsius paraffin bath for 30 minutes [1] before placing the cassettes in a fresh 65-degree Celsius paraffin bath overnight [2].

    - Talent placing cassettes into paraffin bath

    - Talent transferring cassettes into new bath

  - The next morning, add liquid paraffin to one 65-degree Celsius-warmed embedding mold per sample [1] and place one paraffin-embedded sample into each mold [2].

    - Talent preparing mold solution

    - Talent placing biopsy pad into the mold

  - Gently agitate the molds until all of the organoids drop to the bottoms of the molds [1] and use 65-degree Celsius-warmed fine forceps to position the 3D structures in the center of each mold [2].

    - Talent agitating/tapping the biopsy pad

    - Structure being positioned at the center of the mold

  - Chill the mold until the paraffin forms a thin, solid layer, securing the structure in place [1], and place a tissue cassette add hot paraffin over the mold [2].

    - Mold being picked up from cold area to allow thin, solid layer to be viewed

    - Cassette and/or paraffin being added to mold

  - Remove the mold when the paraffin has completely solidified [1].

    - Talent removing the mold

- Embedding of Small 3D Cell Culture Models

  - To embed small 3D cell culture models, gently wash the organoids three times in 1-milliliter of TBS per wash [1-TXT]. After the last wash, remove as much TBS as possible without touching the organoids [2] and add 2 drops of Reagent 2 from a commercial paraffine embedding kit [3].

    - WIDE: Talent adding TBS to tube TEXT: TBS: Tris-buffered saline

    - Talent removing the TBS

    - Talent adding Reagent #2 to the tube

  - Mix gently by tapping [1] and add 2 drops of Reagent #1 with tapping until the gel solidifies [2].

    - Talent tapping the tube

    - Talent adding Reagent #1 to the tube/tapping tube

  - Use fine forceps to transfer the gel from the into well of the preassembled cassette from the kit [1] and dehydrate the gel-embedded sample with 30-minute ascending ethanol and xylene incubations in a fume hood as indicated [2-TXT].

    - Talent placing the gel in the well of cassette

    - Talent adding cassette to ethanol, with ethanol and xylene containerse visible in frame TEXT: 70% EtOH -> 96% EtOH -> 100% EtOH x3 -> xylene x3

  - After the last xylene immersion, place the cassette in a 65-degree Celsius paraffin bath overnight [1] before using fine forceps to transfer the paraffin-embedded sample into the center of a liquid paraffin-loaded, 65-degree Celsius-warmed embedding mold [2].

    - Talent placing a cassette into paraffin bath

    - Gel being placed into center of mold

  - Then secure the structure with one more layer of paraffin as demonstrated for the large 3D cell culture models [1].

    - Talent adding cassette and/or paraffin to mold

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 73. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: High-Resolution Imaging of 3D Organoid and Spheroid Models

  - Three-dimensional whole-mount staining and confocal microscopy provide visual information [1] about the cellular composition and spatial position of the 3D culture models to a field of depth of up to 200 microns [2].

    - LAB MEDIA: Figure 3A Video Editor: please sequentially emphasize top row of images

    - LAB MEDIA: Figure 3B Video Editor: please emphasize bright signal in center image

  - The high resolution that can be obtained for 3D structures using this protocol [1] allows the application of cellular and subcellular segmentation algorithms for quantification of the cell number [2] and the detection of various cell markers within different cell subtypes [3].

    - LAB MEDIA: Figure 4

    - LAB MEDIA: Figure 4 Video Editor: please emphasize Figure 4B

    - LAB MEDIA: Figure 4 Video Editor: please emphasize Figure 4D

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.