# Submission ID #:  62283

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18996363

# Title: Solution Blow Spinning of Polymeric Nano-Composite Fibers for Personal Protective Equipment

# Authors and Affiliations:

Zois Tsinas1,2, Ran Tao1,3, Amanda L. Forster1

1Material Measurement Laboratory, National Institute of Standards and Technology, Gaithersburg, MD, USA

2Theiss Research, La Jolla, CA, USA

# 3Department of Chemical Engineering, Texas Tech University, Lubbock, TX, USA

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Amanda L. Forster	(amanda.forster@nist.gov)

# Email Addresses for All Authors:

zois.tsinas@nist.gov

ran.tao@nist.gov

amanda.forster@nist.gov

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  14

Number of Shots:  32

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Preparation of the Polymer Solution

  - To begin, transfer the desired amount of the dry polymer into a clean 20-milliliter borosilicate glass vial using a small spatula [1-TXT].

    - WIDE: Talent transferring the polymer in the glass vial. TEXT: Polymer: poly(styrene-butadiene-styrene)

  - Place the vial into the chemical fume hood [1] and add approximately 10 milliliters of tetrahydrofuran to achieve a 200 milligrams per milliliter concentration [2]. Then, close the vial [3] and place it on the mixer or rotator [4].

    - Talent placing the vial in the fume hood.

    - Talent adding THF into the vial.

    - Talent closing the lid of the vial.

    - Talent placing the vial on the mixer or rotator.

- Preparation of the Polymer-Nanoparticle Dispersion

  - Add dry iron oxide nanoparticle powder into a clean 20-milliliter glass vial [1-TXT], then add 10 milliliters of tetrahydrofuran into the vial [2] and close it [3].

    - Talent adding nanoparticles to glass vial. TEXT: Fe3O4 NP ~0.01 g

    - Talent adding THF into the vial.

    - Talent closing the vial.

  - Thoroughly agitate the sample on the vortex mixer until the nanoparticles become invisible at the bottom of the vial [1-TXT] and then sonicate the sample for approximately 30 minutes with a 2 to 5-minute of interval between each sonication to ensure the complete dispersion of the nanoparticles and to avoid the sample heating [2].

    - Talent agitating vial on the vortex mixer. TEXT: Agitation at RT & 3,000 rpm

    - Talent sonicating the sample in the sonication bath.

  - Add the polymer into the nanoparticle dispersion inside the chemical hood and seal the vial [1-TXT]. Then, mix it on the rotator at 70 rpm for 60 minutes at room temperature until the polymer completely dissolves [2].

    - Talent adding polymer to nanoparticle solution inside the chemical hood. TEXT: Polymer: styrene-butadiene-styrene block-co-polymer - ~2 g

    - Talent mixing the sample on the rotator.

- Solution Blow Spinning Process

  - Adjust the height and angle of the airbrush to align with the center of the glass microscope slide attached to the collector and secure it in the place [1]. Make sure the gas cylinder is properly secured to its wall mount and connect the gas inlet of the airbrush to the nitrogen pressurized gas cylinder [2].

    - Talent adjusting airbrush height and angle to align it with glass slide.

    - Talent connecting the gas inlet of the airbrush to the N2 gas cylinder.

  - Turn on the main valve of the gas cylinder and slowly adjust the pressure to achieve the desired flow [1], then close the main valve [2].

    - Talent adjusting the gas pressure.

    - Talent closing the valve of gas cylinder.

  - Secure the substrate on the collector using the equipped vice [1] and adjust the height of the collector to align perpendicular to the spray direction and pattern of the airbrush to deposit the material on the substrate [2].

    - Talent securing the substrate on the collector.

    - Talent adjusting the height of the collector.

  - Identify the optimal working distance by sliding the collector to its furthest position away from the airbrush nozzle [1]. Transfer the polymer-nanoparticle-solvent mixture into a dissolved gas analysis borosilicate glass syringe equipped with a stainless-steel needle [2].

    - Talent sliding the collector.

    - Talent transferring the mixture into a DGA borosilicate glass syringe.

  - Remove any air bubbles from the sample by holding the syringe with the needle pointing up and tap the syringe gently, then slowly depress the plunger to displace any excess air [1]. Detach the needle, attach the syringe to the syringe-pump unit, and secure the syringe [2].

    - Talent removing the air bubble.

    - Talent detaching the needle and attaching the syringe.

  - Connect the PTFE tubing coming from the outlet of the syringe to the appropriate inlet on the airbrush [1] and select the desired injection rate from the syringe-pump unit menu [2].

    - Talent connecting the PTFE tubing to inlet of the airbrush.

    - Talent selecting injection rate from syringe-pump unit menu

  - Open the main valve on the nitrogen gas cylinder for the nitrogen gas to flow through the airbrush [1] and initiate the spraying process by starting the syringe-pump unit to dispense the polymer-nanoparticle-solvent mixture [2].

    - Talent opening the valve of the gas cylinder.

    - Talent starting the spraying pump unit.

  - Observe the spraying pattern and ensure that there are no clogs [1]. Incrementally increase or decrease the injection rate until the solution is spraying freely [2].

    - Spraying pattern at the spray nozzle.

    - Talent adjusting the injection rate.

  - Adjust the position of the collector for solvent evaporation by sliding it towards the airbrush until the desired amount of the material is deposited on the substrate [1] then stop the syringe-pump unit [2] and close the main valve of the nitrogen gas cylinder [3].

    - Talent adjusting the position of the collector.

    - Talent stopping the syringe-pump unit.

    - Talent closing the main valve of the cylinder.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 197. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Effect of Polymer Concentration and Gas Pressure on the Fiber Mat Morphology

  - At the critical concentration, the dissolved polymer coils start to overlap each other and cause entanglement. The calculated and experimentally predicted values of the critical concentration were similar. Therefore, a polymer concentration above the critical concentration was used for the solution blow spinning process [1].

    - LAB MEDIA: Figure 2

  - The effect of different polymer concentrations on the fiber mat morphology was studied and it was observed that undesired polymer beads were present at lower and near the critical overlap polymer concentrations [1].

    - LAB MEDIA: Figure 4 Video Editor: Please emphasize 100 mg/ml and 120 mg/ml images.

  - Pristine and morphologically smooth fibers were obtained at polymer concentrations above the critical concentration [1].

    - LAB MEDIA: Figure 4 Video Editor: Please emphasize 150 mg/ml and 200 mg/ml images.

  - At low magnification, the fiber mat generated from a high polymer concentration showed presence of polymer beads [1]. Upon an increase in magnification, the beads disappeared [2].

    - LAB MEDIA: Figure 3A Video Editor: Please emphasize fluorescent bead like structure in the image.

    - LAB MEDIA: Figure 3B

  - The effect of gas pressure on fiber morphology was also studied. At lower pressure, the fiber diameter decreased [1],while an increase inz pressure resulted in large polymer beads and welded fibers [2].

    - LAB MEDIA: Figure 5B

    - LAB MEDIA: Figure 5A

  - The presence of iron oxide nanoparticles within the polymer fibers was determined using backscattered electron analysis [1]. Elemental analysis further indicated the presence of iron oxide nanoparticles [2].

    - LAB MEDIA: Figure 6A Video Editor: Please emphasize red circles in the image.

    - LAB MEDIA: Figure 6C Video Editor: Please emphasize two red dots in the image.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.