5.2.3. This step is done manually on the peristaltic pump, and thus should be captured with a photographer at the lab.

5.5.2. Screen recording

Turn on the argon laser (0:00-0:11), set the hardware settings (0:12-0.20), set the acquisition mode, pinhole and bidirectional x (0:21-0:32), turn on the hybrid detector (0:32-0:35).

5.6.1. Screen recording

Set the format, line average and start live acquisition (0:00-0:15), adjust the laser power, do the phase correction and set the focal plane (0:15-0:55), move the islet in the center of the visual field and set the zoom factor (0:56-1:32), set the high resolution format with higher line average and start live acquisition to correct the phase and zoom again (1.33-2.04), set high line average and capture the high resolution image (2:05-2:20), set lower format with low line average for high temporal resolution acquisition (2:21-2:36), choose a few regions of interest (ROIs) and start live imaging (2:36-3:06).

5.7.1. Screen recording

Save the data (0:00-0:23).