# Submission ID #:  62306

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19003378

# Title: A Sample Preparation Pipeline for Microcrystals at the VMXm Beamline

# Authors and Affiliations:

Adam D. Crawshaw1, Emma V. Beale1,2*, Anna J. Warren1, Andrew Stallwood1,3*, Graham Duller1, Jose Trincao1 and Gwyndaf Evans1,4

1Diamond Light Source Ltd, Harwell Campus

2Paul Scherrer Institut

3Central Laser Facility, Science and Technologies Facilities Council, Harwell Campus

4Rosalind Franklin Institute, Harwell Campus

# *Current address

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Adam D. Crawshaw		adam.crawshaw@diamond.ac.uk

# Email Addresses for All Authors:

adam.crawshaw@diamond.ac.uk

emma.beale@psi.ch

anna.warren@diamond.ac.uk

andrew.stallwood@stfc.ac.uk

graham.duller@diamond.ac.uk

jose.trincao@diamond.ac.uk

gwyndaf.evans@diamond.ac.uk

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  19

Number of Shots:  53

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Instrument and Blotting Parameter Set-up

  - To begin, set up and cool the automated plunge freezer according to the manufacturer’s instructions [1]. Just before use, to glow discharge the cryoTEM grids for 25 seconds with a 15-milliampere current and 0.39-millibar pressure [2], then keep the glow discharged grids in a covered Petri dish [3-TXT].

    - WIDE: Talent setting up the automated plunge freezer.

    - Talent glow discharging the grids.

    - Talent placing the grids in covered Petri dish.  TEXT: Repeat glow discharge, if 30 min lapses

  - Set the relative humidity of the sample chamber to 90% and the blotting time to 5 seconds [1]. Ensure that the plunge freezer is set to automatically plunge the sample after blotting is complete [2].

    - Talent setting the humidity and blotting time of sample chamber.

    - Setting of plunge freezer.

  - Open the seal of the crystallization well and reservoir [1]. Quickly add 2 to 5 microliters of the reservoir solution in the crystal drop to maintain the volume of the drop [2]. Transfer 10 microliters of the reservoir solution to a 0.5-milliliter tube for later use [3] and reseal the well to prevent the crystallization drop from drying [4].

    - Talent opening the seal of crystallization well and reservoir.

    - Talent adding reservoir solution in the crystal drop.

    - Talent transferring 10 µL reservoir solution to a 0.5 mL tube.

    - Talent sealing the well.

  - Use the plunge freezing forceps to pick a single glow discharged grid [1] and load the grid in the instrument with the carbon side facing away from the blotting arm. Rotate the forceps holding the grid so that the carbon side faces the blotting arm [2].

    - Talent picking glow discharged grid with plunge freezing forceps..

    - Talent loading the grid in the instrument and rotating it. Videographer: This shot will be used again in 3.1.3.

  - Use a 2.5- microliter pipette to apply 2 microliters of reservoir solution to the non-support side of the cryo-TEM (T-E-M) grid [1]. Rotate the grid with the carbon side facing away from the blotting arm [2] and carefully apply the reservoir liquid to the carbon-film support side of the grid [3].

    - Talent applying 2 µL of reservoir solution to non-support side of grid. Videographer: This shot will be used again in 3.1.4.

    - Talent rotating the grid.

    - Talent applying reservoir liquid on the grid.

  - Initiate the blotting process [1] and observe the liquid drawn from the carbon surface until the wave of popping across the surface of the grid is visible [2]. If the wave of popping is not visible, increase the blotting time by 1 to 2 seconds [3] before the blotting arm retracts from the grid [4].

    - Talent pressing the switch to start the blotting process.

    - Liquid drawn from the grid and wave of popping being formed. Videographer: This shot will be used again in 3.4.1.

    - Talent increasing the blotting time.

    - Blotting arm retracting from the grid.

- Crystal Harvest Process

  - Place the crystallization plate under the light microscope [1] and position the target well within the field of view [2]. Place a fresh glow discharged grid in the plunge freezer and apply the reservoir liquid to the non-support side of the grid as previously demonstrated [3].

    - Talent placing the crystallization plate under the light microscope.

    - SCOPE: The target well positioned in the field of view.

    - Use 2.4.2

    - Use 2.5.1

  - Rotate the grid with the carbon-film support side facing towards the sample port of the plunge freezer [1].

    - Talent rotating the grid.

  - Peel the temporary seal from crystallization plate [1] and use the pipette set at 2 microliters to gently aspirate the crystallization drop repeatedly [2]. Transfer 2 microliters of the aspirated microcrystal slurry to the plunge freezer [3] and apply all the sample to the carbon side of the cryo-TEM grid [4].

    - Talent removing the seal.

    - SCOPE: The crystallization drop being aspirated.

    - Talent applying 2 µL of the aspirated microcrystal slurry to the plunge freezer.

    - Talent applying sample to the carbon side of cryo-TEM grid.

  - Initiate the blotting for 1 to 2 seconds and observe the wave of popping [1], then immediately initiate the plunge-freezing [2]. Quickly transfer the grid from the liquid ethane to the grid box immersed in liquid nitrogen [3].

    - Use 2.6.2

    - Talent initiating the plunge freezing.

    - Talent transferring the grid from liquid ethane to the grid box immersed in liquid nitrogen.

- Light Microscopy for Sample Density Assessment

  - After blotting and plunge freezing the grid, retract the plunged grid from the liquid ethane by resetting the plunge-freezer [1].

    - Talent retracting the plunged grid from the liquid ethane.

  - Remove the forceps holding the grid from the plunge freezer [1] and place the grid under the light microscope [2]. Adjust the fine focus and assess the density of the crystals across the grid [3].

    - Talent removing the forceps holding grid from the plunge freezer.

    - Talent placing the grid under the light microscope.

    - SCOPE: grid being focused and crystals on grids are visible.

- Scanning Electron Microscopy for Sample Assessment

  - After loading the cryo-TEM grid in the SEM (S-E-M), align the sample [1] and turn on the electron beam. Initially assess the whole grid at a 45X magnification and record the image [2]. Then, increase the magnification for closer inspection of individual grid squares until the individual crystals are clearly observed [3].

    - Sample being aligned.

    - SCREEN: Electron beam turned on, grid being focused at 45x and images being captured.

Authors: Please create screen capture videos of the shots labeled SCREEN and upload them to your project page: https://www.jove.com/account/file-uploader?src=19003378

    - SCREEN: Magnification being increased and individual crystals located and being indicated with cursor.

  - Move around the grid and capture the still images [1], ensuring that the grids are flat and the carbon support film is largely intact [2]. Ensure that there are numerous single crystals with a narrow halo of vitrified liquid surrounding the crystal, and the holes are visible in the carbon support film [3].

    - SCREEN: Grid is being moved and images being captured.

    - SCREEN: Flat grid and intact film being indicated with cursor.

    - SCREEN: Narrow halo of vitrified liquid surrounding the crystal and holes on the film being indicated with cursor.

  - While observing and capturing the images of the grid, make sure that the large regions of vitrified liquid are absent, hexagonal ice or surface ice is not scattered across the grid, and that the crystals are not overlapping and evenly distributed across the support film [1].

    - SCREEN: Evenly distributed crystals across the support film being indicated with cursor.

- Grid Preparation for the Diffraction Experiments at VMXm

  - In a large foam dewar, cool the required number of VMXm sample holders loaded in the sample cartridge [1]. Add liquid nitrogen above the sample position in the sample loader [2]. Authors: How would you like JoVE’s voice-over talent to pronounce VMXm?

    - Talent showing the sample holders placed in sample loader.

    - Talent pouring the liquid nitrogen until it reaches above sample position.

  - Swiftly transfer the grid box containing microcrystal loaded grids to the grid box recess on the sample loader [1] and slightly unscrew the lid to keep the lid loose and rotatable [2]. Use the cooled fine forceps to carefully lift the grid from the grid box and transfer it close to the grid opening on the sample holder [3].

    - Talent transferring the grid box to the grid box recess on the sample loader.

    - Talent loosening the lid.

    - Talent lifting the grid and placing on the sample holder.

  - Rotate the grid to lay the grid flat [1]. Swiftly place the pre-cooled circlip tool over the grid in the grid opening [2] and press the button to install the circlip [3]. Add liquid nitrogen approximately 1.5 centimeters above the sample holder [4].

    - Talent rotating the grid.

    - Talent placing the circlip tool over the grid.

    - Talent pressing the button.

    - Liquid nitrogen above the sample holder.

  - Use the VMXm sample forceps to carefully lift the loaded sample holder up and place it back into the sample cartridge [1]. Replace the lid on the cartridge [2], ensuring that the pin on the top of the cartridge engages with the hole in the lid [3].

    - Talent lifting the sample holder with forceps and placing in the sample cartridge.

    - Talent placing the lid on the cartridge.

    - Engaged pin of cartridge with hole in the lid.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 183. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Analysis of the Microcrystals on the Grids

  - The scanning electron micrographs of microcrystals prepared on cryo-TEM grids showed minimum background scatter [1]. The grid was free from excess liquid [2] and a narrow halo of liquid was observed surrounding the crystals [3].

    - LAB MEDIA: Figure 1

    - LAB MEDIA: Figure 1A

    - LAB MEDIA: Figure 1B

  - The polyhedra crystals were observed individually [1] as well as in clumps [2]. Slightly larger insulin crystals also showed some clumping [3] along with isolated crystals [4]. Very large microcrystals were also successfully mounted on cryo-TEM grids [5]. The holes in the carbon support film were clearly visible, indicating strong blotting [6].

    - LAB MEDIA: Figure 2A Video Editor: Please emphasize single crystals in the image.

    - LAB MEDIA: Figure 2A Video Editor: Please emphasize clumped crystals in the image.

    - LAB MEDIA: Figure 2B Video Editor: Please emphasize clumped crystals in the image.

    - LAB MEDIA: Figure 2B Video Editor: Please emphasize single crystals in the image.

    - LAB MEDIA: Figure 2D Video Editor: Please emphasize 5 large crystals in the image.

    - LAB MEDIA: Figure 2C and D Video Editor: Please emphasize the black holes in the central square in the image.

  - Many samples required further optimization because of variation in blotting time and concentration of the microcrystals [1]. The grids overloaded with crystals reduced the blotting efficiency and multiple lattices were recorded in a single diffraction image [2].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3A and B

  - Short blotting time for highly viscous crystallization solutions can result in an overly wet sample [1]. For a lower-viscosity crystallization solution, a short blotting time results in steeling of microcrystals on one side of the grids [2].

    - LAB MEDIA: Figure 3C

    - LAB MEDIA: Figure 3D Video Editor: Please emphasize the left bottom of the image.

  - Optimum sample preparation makes it possible to exploit the full capabilities of VMXm to collect high quality X-ray diffraction data at the highest possible resolution with a high signal-to-noise ratio [1].

    - LAB MEDIA: Figure 5

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.