62312_screenshot_1

3.6.6 (Open living Image and import data as a .txt files) 00:00-00:17
3.6.7 (Click Units | Select Radiance (Photons)) 00:17-00:24
3.6.8 (Click ROI Tools | Select the appropriate mesh to match up the 96-well plate, select 12 × 8) 00:24-00:49
3.6.9 (Click Measurement ROI | Grid ROI Measurements | Select the radiance (Photons) in measurements types to quantify luminance and export data as csv files) 00:49-01:22