# Submission ID #:  62319

# Scriptwriter Name: Mithila Boche

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19007343

# Title:   Detection of Glycosaminoglycans by Polyacrylamide Gel Electrophoresis and Silver Staining

# Authors and Affiliations:

Wells B. LaRiviere1,2, Xiaorui Han3,4, Kaori Oshima1, Sarah A. McMurtry1, Robert J. Linhardt3, Eric P. Schmidt1,5

# Corresponding Authors:

Eric P. Schmidt

# eric.schmidt@cuanschutz.edu

# Email Addresses for All Authors:

# wells.lariviere@cuanschutz.edu

# xiaorui.han@curtin.edu.au

# kaori.oshima@cuanschutz.edu

# sarah.mcmurtry@cuanschutz.edu

# linhar@rpi.edu

eric.schmidt@cuanschutz.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  12

Number of Shots:  34

# Introduction

NOTE to VO talent: Please record the introduction and conclusion statements

- Introductory Interview Statements

REQUIRED:

  - This protocol describes a simple technique that can be used to detect the presence and measure the length of glycosaminoglycans, which are molecules of increasingly recognized significance to many biological processes.

    - 2.6.1.

  - This technique is readily adaptable to most life sciences laboratories. Comparable glycomic techniques often require equipment and expertise only found in glycochemistry research laboratories.

    - 2.5.3

OPTIONAL:

  - This technique may be especially useful to researchers who are interested in studying the glycocalyx, a polysaccharide coat that lines the endothelial and epithelial surfaces of the human body.

    - 3.1.4

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at University of Colorado.

# Protocol

- Polyacrylamide gel electrophoresis of isolated and purified glycosaminoglycans

  - Start by placing an empty cassette into the PAGE tank [1]. Cast the resolving gel by mixing 10 milliliters of resolving gel solution with freshly prepared 60 microliters of 10% ammonium persulfate in a 15-milliliter tube [2], then add 10 microliters of TEMED (pronounce ‘tea-med’) [3]. Invert the tube gently 2 to 3 times [4].

    - Talent placing cassette into the PAGE tank.

    - Talent casting resolving gel in 15 milliliter tube.

    - Talent adding ammonium persulfate and TEMED to tube.

    - Talent inverting the tube few times.

  - Quickly add 10 milliliters of gel solution to the cassette using a pipette [1]. Overlay with 2 milliliters of deionized, filtered water [2] and allow the resolving gel to polymerize for 30 minutes [3].

    - Talent adding gel solution to the cassette.

    - Talent adding water to the cassette.

    - Shot of the cassette, sitting on the lab bench.

  - After the resolving gel has fully polymerized, discard the overlaid water [1]. Cast the stacking gel by mixing 3 milliliters of stacking gel solution with 90 microliters of freshly prepared 10% ammonium persulfate in a 15-milliliter tube [2], then add 3 microliters of TEMED [3] and invert the tube gently 2 to 3 times [4].

    - Talent discarding the overlaid water.

    - Talent adding gel solution to 15 milliliter tube.

    - Talent adding ammonium persulfate and TEMED to the tube.

    - Talent inverting the tube few times.

  - Use a pipette to quickly add the stacking gel solution over the solidified resolving gel until the cassette is filled to the brim [1]. Fully insert the comb included with the setup [2] and allow the stacking gel to polymerize for 30 minutes [3].

    - Talent adding the stacking gel solution over the solidified resolving gel.

    - Talent inserting the comb.

    - Shot of the cassette, sitting on the lab bench.

  - Once the gel is polymerized, remove the tape strip from the bottom of the cassette [1], and place the cassette back into the PAGE tank assembly [2]. Fill the upper and lower chambers with respective buffers [3].

    - Talent is removing strip from bottom of the cassette.

    - Talent placing cassette into the assembly.

    - Talent adding buffer to upper and lower chambers.

  - Dissolve the dried samples of sulfated glycosaminoglycan, or GAG, in the minimum necessary volume of deionized, filtered water [1-TXT] and mix in a 1 to 1 ratio with sample loading buffer [2]. Load the samples and the HS oligosaccharide "ladders" into the gel [3].

    - Talent dissolving dried samples with water. TEXT: maximum 50% of the volume of the wells in the PAGE gel

    - Talent adding loading buffer in the dissolved sample.

    - Talent loading samples into the gel.

  - Pre-run the gel for 5 minutes at 100 Volts, then at 200 Volts for 20 to 100 minutes, depending on the percent of the resolving gel [1].

    - Shot of PAGE tank assembly.

- Silver staining protocol

  - Once the run is complete, disassemble the cassette [1] and extract the gel carefully into a clean, medium-large container filled with deionized, filtered water [2]. Then, discard the water [3] and stain the gel in Alcian blue staining solution for 5 minutes [4]. Videographer: This step is difficult and important!

    - Talent disassembling the cassette.

    - Talent extracting gel in a water filled container.

    - Talent discarding the water.

    - Talent adding Alcian blue dye to the gel.

  - Discard the Alcian blue stain [1] and quickly wash 2 to 3 times with deionized, filtered water until most of the Alcian blue staining solution has been removed [2].

    - Talent discarding the stain.

    - Talent washing gel with the water.

  - Stain the gel in silver nitrate staining solution, in a fresh, clean container for 30 minutes [1]. Then wash 2 to 3 times, for 30 minutes each, in deionized, filtered water to fully remove the silver staining solution [2]. Discard the water [3] and add developing solution [4].

    - Talent adding silver nitrate solution in the gel.

    - Talent washing the gel with water.

    - Talent discarding the water.

    - Talent adding developing solution to the gel.

  - Carefully observe the gel for the appearance of bands [1]. Depending on the quality of the stain and the mass of the sample loaded, development can take anywhere from a few seconds to several minutes [2]. Videographer: This step is important!

    - Shot of the gel with container.

    - Shot of the gel with appearance of bands.

  - As soon as the desired bands are visible, immediately discard developing solution [1] and wash the gel briefly with stop solution [2].

    - Talent discarding the developing solution.

    - Talent washing the gel with stop solution.

# Results

- Results: Sensitivity and specificity of method of detection of GAGs

  - The isolated GAGs were visualized using Alcian blue and silver staining technique, after separation by electrophoresis, in a density dependent fashion [1].

    - LAB MEDIA: Figure 1.

  - Heparan sulfate oligosaccharides of different polymer lengths were identified using the PAGE-based approach when loaded at two different masses, 1 and 0.5 micrograms [1]. The limit of detection of this method, as low as 0.5 micrograms, shows that the technique is highly sensitive in the detection of GAGs of interest [2].

    - LAB MEDIA: Figure 2.

    - LAB MEDIA: Figure 2. Video Editor: Emphasize on the 4 columns on right (under 0.5 µg loaded).

  - Unfractionated heparin was least readily detected of the four different oligosaccharides tested, due to a wider distribution of polymer sizes, which correspondingly reduces the density of each individual band [1].

    - LAB MEDIA: Figure 2. Video Editor: Emphasize on two columns labelled as UFH from both sections.

  - The efficiency of GAG purification from liquid biological samples was assessed using bronchoalveolar lavage samples collected from mice, which originally contained relatively low concentrations of GAGs [1].

    - LAB MEDIA: Figure 3.

  - Additionally, the success of this technique was demonstrated on solid tissue samples as the whole lung homogenate yielded an ample quantity of isolated heparin sulfate [1], with the smallest fragments approximately equaling dp10 in size [2].

    - LAB MEDIA: Figure 4.

    - LAB MEDIA: Figure 4. Video Editor: Emphasize on the column on right (2.7M NaCl)

# Conclusion

- Conclusion Interview Statements

NOTE to VO talent: Please record the introduction and conclusion statements

  - It is most important to use freshly prepared reagents and to filter every reagent used in this protocol. Reagent quality is critical for the success of this protocol.

    - 3.3.1