# Submission ID #:  62321

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link:  https://www.jove.com/account/file-uploader?src=19007953

# Title: Preparation of Sample Support Films in Transmission Electron Microscopy using a Support Floatation Block

# Authors and Affiliations:

Natàlia de Martín Garrido1, Kailash Ramlaul1, Christopher H. S. Aylett1

# 1Section of Structural & Synthetic Biology, Department of Infectious Diseases, Faculty of Medicine, Imperial College London, South Kensington Campus, Exhibition Road, SW7 2AZ.

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Christopher H. S. Aylett		c.aylett@imperial.ac.uk

# Email Addresses for All Authors:

n.de-martin-garrido18@imperial.ac.uk

k.ramlaul@imperial.ac.uk

c.aylett@imperial.ac.uk

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  18

Number of Shots:  34

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Preparation of Negatively Stained Samples

  - To begin, wash the TEM grids with double-distilled water [1] and clean them with plasma [2]. Then, add 10 to 12 microliters of the sample into the buffer exchange well of the floatation block [3] and 10 to 12 microliters of 2% uranyl acetate solution into the adjacent non-buffer exchange well for negative staining [4].

    - WIDE: Talent washing the TEM grids with water.

    - Talent cleaning the TEM grid with plasma.

    - Talent adding sample in buffer exchange well.

    - Talent adding UAc solution in non-buffer exchange well.

  - Carefully cut two small pieces of mica with pre-deposited carbon film on top [1]. Ensure that the mica fragments are wide enough to fit into the well and longer than the well length, such that the fragment can sit on the well while the carbon is floating and there is enough space to handle the fragment with the tweezers [2].

    - Talent cutting the mica.

    - Mica fragments TEXT: Mica fragments: Width-3.4 mm, Height-3.45 mm

  - Immerse the mica into the well with an approximate angle of 45 degrees until the mica sits on the ramp of the well and a layer of the carbon is observed at the surface of the liquid sample [1].

    - Talent immersing mica in the well.

  - After the initial incubation of the mica fragments on the sample, withdraw the mica sheet very slowly to recover the carbon film and to minimize the residual viscous sample retention [1-TXT].

    - Talent taking Mica out of the well. TEXT: Incubation-20 s to 20 min.

  - Carefully blot the mica by tapping the lower non-carbon surface with a filter paper to remove the excess liquid [1] and immerse the mica fragment into the opposing well containing 2% uranyl acetate solution to exchange the carbon layer with the negative stain [2].

    - Talent tapping the mica with filter paper.

    - Talent immersing the mica fragments in the UAc solution.

  - Recover the floating carbon layer with the holey carbon-covered side of the washed and plasma-cleaned EM grid [1]. Then, cover the grids and air-dry them until imaging on the TEM to avoid airborne contamination [2].

    - Talent recovering the carbon layer.

    - Talent covering the grids.

- Preparation of Graphene Oxide-coated TEM Grids

  - Wash and plasma-clean the TEM grids using the 300-mesh-holey-carbon copper grids [1]. Then, add 10 to 12 microliters of graphene oxide suspension into the 4 non-buffer exchange wells along the floatation block [2].

    - Talent washing the TEM grids.

    - Talents adding GrOx suspension in wells.

  - Add 10 to 12 microliters of double-distilled water or ultrapure water into the remaining 4 buffer exchange wells of the block [1].

    - Talent adding double-distilled water or ultrapure water in wells.

  - Drop 4 grids gently onto the graphene oxide suspension of each well and incubate for 1 minute to ensure that the holey carbon-covered side is in contact with the solution [1]. After 1 minute, recover each grid carefully by sliding the tweezers into the tweezer groove of each non-buffer exchange well [2].

    - Talents dropping grids in the GrOx suspension in wells.

    - Talent recovering the grids using tweezers.

  - Gently and briefly nudge the copper, non-carbon-covered side of each grid with the double-distilled water in the adjacent well [1], then carefully hold the grid water droplet-side down against a piece of filter paper [2].

    - Talent nudging the grid with water.

    - Talent holding the grid against the filter paper.

  - Cover the grids [1] and leave them in the tweezers to air-dry [2].

    - Talent covering the grid.

    - The covered grids in the tweezers.

- Preparation of Samples on Monolayer-graphene Films Using the Flotation Block

  - Wash the TEM grids with double-distilled water or ultrapure water for 10 to 15 seconds [1].

    - Talent washing the TEM grids with water.

  - Place four washed grids on top of a copper-graphene sheet deposited on the glass slide [1] and cover each grid with a drop of isopropanol to allow intimate contact between the monolayer graphene and the grid [2].

    - Talent placing the grids on Cu-graphene sheet.

    - Talent adding a drop of isopropanol to the grid.

  - After the complete evaporation of the isopropanol, float the copper-graphene sheet with grids onto the ferric chloride solution in the glass Petri dish [1-TXT], then cover the dish to avoid airborne contamination and leave it to etch at room temperature overnight [2].

    - Talent transferring the grids to FeCl3 solution in petri-plate. TEXT: FeCl3- 10% (w/v)

    - Talent covering the dish.

  - Use a loop with a diameter larger than the TEM grid size to fish out the grids floating on the graphene monolayer [1] and carefully transfer them to a glass Petri dish containing double-distilled water for washing [2].

    - Talent fishing the grids.

    - Talent transferring the grids to a petri-dish.

  - Wash the grids twice in the water [1] and transfer them to a clean Petri dish containing double-distilled water to remove all residual ferric chloride [2]. Then, transfer the grids into a Petri dish containing sample buffer until sample preparation and plunge-freezing [3].

    - Talent washing grids.

    - Talent transferring the grids to a petri-dish.

  - Add 10 to 12 microliters of the sample into a non-buffer exchange well of the floatation block [1]. When the sample is ready in the block, pick the graphene-coated grid from the buffer solution using a pair of clean tweezers [2] and place it onto the surface of the sample-containing well [3].

    - Talent adding sample into the well.

    - Talent picking the grid from the buffer solution using tweezer.

    - Talent placing onto the surface of the sample-containing well.

  - After an appropriate incubation period, pick up the grid with a pair of clean freezing tweezers and proceed with blotting and vitrification [1].

    - Talent picking the grid out of the well.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 236. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Examples of Sample Support Films Prepared Using the Floatation Block

  - TEM grids prepared with amorphous carbon supports are typically covered across the entire grid surface. While breakage of the carbon film occurs in some instances, a large number of grid squares are pristine and therefore applicable for negative staining purposes [1].

    - LAB MEDIA: Figure 2A

  - Similarly, good coverage is routinely achieved across the entire grid using the graphene oxide protocol. Graphene oxide grids can be prepared quickly from raw materials and are highly protective of the sample [1].

    - LAB MEDIA: Figure 2B

  - Freshly prepared and wet graphene support films do not require equipment to render the graphene hydrophilic and provide an advantage for sample recovery. The graphene support films shown here were used in the preparation of 70S ribosomes for cryo-EM [1].

    - LAB MEDIA: Figure 2C

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.