Reply to the Editorial comments:

Changes to be made by the Author(s):

1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. E.g. Line 112: “…cell sample..” instead of “…cells sample..”

The manuscript has been thoroughly checked for spelling errors.

2. Please revise the following lines to avoid previously published work: Lines 47-56, 270-275, 276-280.

We have revised these lines as requested.

3. Line 80, 163: Please specify concentrations.

The concentrations have been added.

4. Please provide details about the bioreactor. E.g. dimensions, material, etc.

These details have been added in the introduction section, together with a scheme of the flow unit and of the bioreactor setup (Figure 1 in the revised manuscript).

5. Line 193-194: How is this done? Please add details e.g. mouse-clicks, options selected etc.

In writing this protocol, we had to assume that the user has sufficient knowledge to operate an NMR spectrometer and NMR software. Specifying all single steps as mouse clicks, options and commands would make the protocol extremely long, hard to read and too specific (i.e. different NMR software versions have different commands). Please advise on whether this should be stated at any point in the text.

6. Line 252-253: What is the approximate size of the slices?

This information has been added.

7. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. E.g. Line 174

All references to company names and brand names have been removed from the main text as requested.

8. Please use the “ , “ separator instead of “ ; “ between the author names in the references according to the JoVE style: [Lastname, F.I., LastName, F.I., LastName, F.I. Article Title. Source. Volume (Issue), FirstPage – LastPage (YEAR).] For more than 6 authors, list only the first author then et al. Also, please write the journal names in full.

The reference format has been modified to comply with JoVE guidelines.

9. Please obtain explicit copyright permission to reuse any figures from a previous publication. Explicit permission can be expressed in the form of a letter from the editor or a link to the editorial policy that allows re-prints. Please upload this information as a .doc or .docx file to your Editorial Manager account. The Figure must be cited appropriately in the Figure Legend, i.e. “This figure has been modified from [citation].”

Copyright permission has been included in the file copyright.docx. The figure legends have been revised as requested.

Point-by-point reply to the Reviewers' comments:

Reviewer #1:
Manuscript Summary:
The manuscript by Barbieri and Luchinat describes an important cell based technique that permits atomic resolution studies of protein-drug interactions in live cells. The protocol is very comprehensive and contains all important details to be reproduced by a qualified graduate student.

Major Concerns:
none

Minor Concerns:
1. Page 2, line 80: Add final concentrations of Gin and pen-strep.

The concentrations have been added.

2. Page 3, line 93: Which antibiotic are you using?

Penicillin-streptomicin. This has been added in the text at lines 93-94.

3. , line 97: what is a vacuum driven sterile filter?

It is a Stericup filter. As commercial brands cannot be mentioned in this journal, we used the common name for that kind of device. 


Reviewer #2:
Manuscript Summary:
The present manuscript provides a description of the NMR bioreactor setup and its application
to (real-time) monitoring protein-ligand interactions in human cells. The protocol is described in a great detail and it focuses on
the practical aspects of the bioreactor-based in-cell NMR experiments. The potential pitfalls of the protocols are highlighted.
Troubleshooting of potential problems is suggested (discussed). This reviewer believes the protocol can be published as is.

Minor points (that might improve the text) are listed below:
1) reference #16 seems to be misplaced. Ref #16 doesn't relate to the application of in-cell NMR to nucleic acids.

We thank the Reviewer for noticing this mistake. We now cite ref 16 together with 14 e 15.

2) The purpose/use of "zgesgp" experiment is not clear from the text (point 5.2.4). The authors might consider to add example of the "zgesgp" experiment on a real sample and illustrate its interpretation.

The use of the zgesgp has been clarified (lines 224-225 and 310-313), and a new panel (Figure 2d) has been added to show the effect of poor field homogeneity on the zgesgp spectrum.

3) Point 4.1.4. The authors might consider to add a short discussion of parameters based on which the concentration of the external molecule is determined.

We have now discussed this in a note to point 4.1.4: “NOTE: the final concentration of molecule in the medium should be chosen based on previous knowledge of cell toxicity and, if available, on the predicted/estimated diffusion rate through the cell membrane.” (lines 181-183).


Reviewer #3:
Manuscript Summary:
The submitted MS describes the use of a bioreactor (flow probe) setup for real-time (RT) in-cell NMR measurements of drug - protein interactions in HEK293 cells. Specially, the authors present the applications of consecutive, one-dimensional (1D) proton (H1) watergate experiments on agarose-embedded HEK293 cells that transient over-express the second isoform of human carbonic anhydrase (CA II) upon exogenous addition of 2 drug compounds, acetazolamide (AAZ) and methazolamide (MZA), along their original primary research papers in Angewandte Chemie 2020 (Luchinat et al) and Analytical Chemistry 2020 (Luchinat et al). They further include MATLAB routines to delineate kinetic binding profiles by Multivariate Curve Resolution-Alternating Least Squares (MCR-ALS).

Major Concerns:
Overall, experimental steps described in the MS agree with information provided in the Materials & Methods section of the indicated papers. Nonetheless, I was surprised to find that A) the authors chose to describe the bioreactor setup using encapsulated cells and agarose threads (published and developed by Kubo et al, Angewandte Chemie 2013, and optimised by Breindel et al, Biochemistry 2018), rather than their 'own' coaxial micro-dialysis system (Cerofolini et al, Biophysical Journal 2018). Clearly, the former bioreactor system is not the expertise of the authors and it would have made much more sense if Luchinat et al had chosen to describe their own setup (for which they are actually known for).

We partly share the disappointment of the Reviewer for the fact that we did not describe the coaxial microdialysis membrane system that was developed in our lab by Cerofolini et al. While conceptually more innovative and original, the setup based on the microdialysis membrane was not optimal for ensuring good cell viability with the same cell density and experimental times as those employed here. This shortcoming was even mentioned in the original work (Cerofolini et al.): “We note that the supernatant of the bioreactor sample after 42 h of continuous flow contained some protein, suggesting that leakage had occurred to some extent”. Unfortunately, we have not yet been able to improve that design to make it on par with the one described here. In parallel, we continued our work to implement a bioreactor that could ensure higher cell viability and would eventually be made available to the Structural Biology community (also as a facility to users through the trans-national access Consortia of the European Commission), and we reported our latest variant in Luchinat et al. Anal Chem 2020, which is able to sustain viable cells for up to 72 h.

Therefore, for this publication in the Journal of Visualized Experiments, we preferred to choose the protocol that worked better in our hands. If that gave the wrong impression that we appropriated someone else’s approach, we do apologize. The works that first developed the hydrogel thread approach have been acknowledged more appropriately in the revised manuscript. In the future, we hope to be able to further improve the microdialysis setup to make it really useful for the community.

B) The choice of the CA II - AAZ/MZA system to exemplify the general use of a bioreactor setup for time-resolved in-cell NMR experiments is utterly unsuitable, in my opinion. The reason for this relates to the fact that Histidine imino 1H resonances at 10-15 ppm are a highly unique feature of CA II (due to Zn coordination). Hardly any other protein displays proton resonances in this spectral region so that 1D watergate experiments on non-isotope labeled in-cell NMR samples, as described in the MS, will simply not work. In other words, Lychinat et al delineate a protocol that is not usable in the general sense, but only applicable to this particular system. In my opinion, this completely defies the notion of a protocol that a broad audience can use.
Herein lies the biggest shortcoming of the MS. Inexperienced users may follow the protocol (to study their system of interest) only to realise that they fail to detect any NMR signal at all.

We partly disagree with the Reviewer on this point. In fact, it is true that the 1H spectral region between 10-15 ppm does not usually contain protein signals that can be used for this kind of analysis. However, the real-time acquisition of 1D 1H spectra can in principle also be applied to monitor changes occurring to aliphatic signals arising from the hydrophobic core of the protein, located in the upfield region of the 1H spectrum between 0 and -1 ppm (see for example Banci et al. Chem & Biol 2013, ref. 11). In that region, the cellular proteins give rise to an almost featureless slope (likely the ‘grand average’ of the hydrophobic cores of all folded proteome), so that signals from an overexpressed target would be easily identified in that region. The applicability of this protocol with minor adaptation has now been better discussed (see below).

I strongly advise the author to choose a different exemplary system and to describe their protocol in a way that is generally applicable. In that sense, sections 5 and 6 ought to be updated accordingly as well. It doesn't make sense to provide detailed steps for only one type of NMR experiment but to provide the reader with guidelines for how to choose appropriate NMR experiments for their individual systems. Similarly, the authors should pay close attention to NMR hardware/software (field strength) requirements that may- or may not be- stringently required for the outlined experiments. The same holds true for routines to derive 'time-resolved quantitative information about binding kinetics' via MCR-ALS (section 6). To simply spell out MATLAB commands and scripts, which will only work in this one particular case is useless.

We thank the Reviewer for raising this point, as we agree that this protocol should be made as broadly applicable as possible. We have further extended the text to include the real-time analysis of the human protein copper, zinc superoxide dismutase by 2D 1H-15N NMR spectra, that was previously reported in the original publication (Luchinat et al. Analytical Chemistry, 2020). This example extends the range of applicability of this protocol to that of in-cell solution NMR as a whole (i.e., as long as signals can be identified in 2D spectra, they can be monitored in real time). The manuscript has been extensively revised accordingly (lines 77-80, 86, 207-211, 228-230, 246-257, 285-286, and 322-330)

We have also attached the custom scripts that were mistakenly omitted in the first submission as supplementary files.

Concerning the usefulness of following precise steps, it is a requirement of the journal to be as specific as possible when describing each step, therefore it was necessary to specify them for this particular application.

With the addition of the application to 2D spectra, we believe that the reader has now sufficient information to decide which experiments to set up and which scripts to use for data analysis.

In summary, sections 1-4 are generally applicable and useful, although I find it weird that the authors are not describing their own system (personally, I would always follow the protocol by Burz et al, Methods in Enzymology 2019, for this type of bioreactor design and encapsulated in-cell NMR samples.) Sections 5 and 6 are only applicable to the CA II - AAZ/MZA system and, as such, not useful in a general sense. Section 7 is generally applicable.

While we would like to think that the bioreactor implementation that we published in Luchinat et al. is also our “own system”, we strongly believe that no one should ‘own’ the bioreactor protocols and variations that have been developed to date. They should all be made available to the scientific community, with appropriate acknowledgement to the previous work. On this latter aspect, we may have failed and we apologize. We now also cite Burz et al, Methods in Enzymology 2019.

It is evident that the two protocols, while conceptually analogous, are not identical: different materials, volumes, incubation times and temperatures make them unique. Different cell lines also have different requirements/optimal conditions. We think that having more protocols available is always beneficial to the community, so that one is free to choose the best for its needs and adapt it as necessary.

Finally, I find the choice of figures not very informative. Again, with this being a 'visual protocol', I would have preferred schemes and images of the bioreactor setup rather than data figures from the original publications.

We thank the Reviewer for this suggestion. We have now added a scheme of the bioreactor in the new Figure 1. This ‘visualized experiment’ will eventually be integrated with a video (like all publications in JoVE) where we physically show the bioreactor at work. 

Minor Concerns:
One piece of information that is generally missing in sections 3 are temperature requirements for PBS 'washing' solutions i.e. 3.1.2 (line 116), 3.1.6 (line 125), 3.2.7 (line 144). In my opinion, these should be pre-warmed to 37deg C.

The temperatures have been added in the text. We actually employ PBS at room temperature or slightly lower (~20 °C).

I also wonder whether the (agarose?) sample in 3.2.6 (line 143) is still liquid.

In our experience, 2 minutes are more than sufficient to let the agarose-cell suspension solidify. It could be dependent on the type of agarose and its percentage, and on the cell line and cell density. 

Reviewer #4:
Manuscript Summary:
This manuscript describes a method for real-time analysis of compound binding to cells using an NMR approach with a bioreactor based on the encapsulatio of clls in agarose hydrogels. The experimental setup is clearly described. The appraoch is however not new, agarose embedded cells have been described before using agarose or methylcellulose (for example Koczula, K. M. et al. Metabolic plasticity in CLL: adaptation to the hypoxic niche. Leukemia 30, 65-73 (2016), Alshamleh, I. et al. Real-Time NMR Spectroscopy for Studying Metabolism. Angew. Chem. Int. Ed. 59, 2304-2308 (2020).).

We thank the Reviewer for pointing out previous works where cells were encapsulated low-melting agarose, we have now mentioned them in the text at line 62. Methylcellulose-embedded cells are likely not ideal for the bioreactor design reported here as they behave like a viscous suspension (i.e. it can be pipetted) and therefore would be flushed away by the flow of medium.

The approach has an excellent underlying design and is likely to be used by others.

Major Concerns:
I don't have major concerns

Minor Concerns:
1. Usually agarose is usually not sufficient to keep adherent cells alive - why is this possible for HEK293T cells?.

Trypan Blue performed at 72 h reveals good cell viability, and 31P measurements confirm that ATP is produced at a constant level. However, based on the observation that HEK cells retain a spherical shape once embedded in the gel, we also conclude that agarose is not an ideal support for prolonged cell growth. Likely, in the short term (few days) the flow of medium allows sufficient cell viability by providing fresh nutrients and removing the byproducts of cellular metabolism. However, in the longer term, the lack of cell adhesion may prevent cell growth.

2. Whether cells are metabolically active should be readily seen in glucose consumption - this is easier than monitoring 31P signals. Bacterial growth often promotes acetate formation.The signals of the medium also provide a good control whether nutrients are sufficient and have not been used up.

It is true that glucose consumption is a straightforward measure of metabolic activity. However, practically, it was deemed unreliable in the present setup, due to the fact that a high-glucose DMEM (25 mM D-glucose) is used to grow and maintain HEK cells. At such concentration, and with a 0.1 mL/min flow rate, only a very small fraction is actually metabolized, making the measurement difficult (see also the glucose signal intensity in the 1H zgesgp spectrum shown in new Figure 2d). As a side note, this suggests that the bioreactor could be operated at a much lower glucose concentration. More in general, we are currently evaluating the use of 1H signals of specific metabolites (such as glucose, lactate and others) to monitor metabolic activity within the bioreactor, as this would enable an in-line measure (not requiring a dedicated broadband probe for 31P NMR). However, we still do not have conclusive data at the time of writing.

3. The paper suffers from not showing what the signals in the NMR spectra are. The paper suggest that they arise from CA II. What is the concentragtion fo the protein that these signals can readily be seen? How do the authors know that these signals belong to CA-II - these are clearly aromatic signals, I would assume from some aromatic Amino acid of that protein? Are the same shifts also seen under in vitro conditions when AAZ or MZA is bound?

The intracellular concentration of overexpressed CA II is of the order of 150 µM, as reported in previous works where identically prepared cells were employed (see Luchinat et al. Angew Chem 2020 and Luchinat et al. ACS Chem Biol 2020, references 14 and 15 in the manuscript). In Luchinat et al. Angew Chem 2020 we report the available assignment of the CA II signals observed in the imino region, which are indeed aromatic 1HN from zinc-binding histidines in the protein active site, or other aromatic 1H. In the same work, the chemical shift changes upon ligand binding were also shown to closely match those observed in vitro.

This is now briefly reported in the manuscript at lines 314-316.

4. Is there are good reason to use such a complex a bioreactor? What is suggested is to monitor the availability of the drug which sems to be limited by membrane penetration. But there are simpler ways to monitor membrane penetration - does the observed result actually correlate with any other known data about drug availability in these cells?
I would see a better reason for this setup to look at in vivo interference of binding that can not be seen in vitro.

Indeed, there are other cell-based assays to assess membrane penetration. However, they often need to be developed ad hoc for different targets, so that the effect of ligand penetrating the cell can be indirectly measured. Here, conversely, we directly observe ligand binding to the intracellular target. As shown in Reference 14, we observed a striking correlation between the membrane permeability measured for AAZ and MZA and the recommended dose of each drug for treatment of glaucoma. We refer to that publication for further details.

A main advantage of this bioreactor is that it also allows to assess binding specificity, i.e. whether there are other competing binding sites within the cell. These would contribute to decrease the apparent binding affinity for the main target, which would be measurable directly or by competition binding experiments. While AAZ and MZA did not show this behavior, this was demonstrated in Ref 14 for a different molecule. Currently, we are also working to extend the application of the bioreactor to ligand-observed NMR, which would provide complementary information on the fate of the ligand as it enters the cells.