# Submission ID #:  62327

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19009783

# Title: Surfactant Depletion Combined with Injurious Ventilation Results in A Reproducible Model of the Acute Respiratory Distress Syndrome (ARDS)

# Authors and Affiliations:

Martin Russ1*, Emilia Boerger1*, Philipp von Platen2, Roland C. E. Francis1, Mahdi Taher1, Willehad Boemke1, Burkhard Lachmann1, Steffen Leonhardt2, Philipp A. Pickerodt1

1Department of Anesthesiology and Intensive Care Medicine, Campus Charité Mitte and Campus Virchow-Klinikum, Charité – Universitätsmedizin, Corporate Member of Freie Universität Berlin, Humboldt Universität zu Berlin and Berlin Institute of Health, Berlin, Germany

2Chair for Medical Information Technology, RWTH Aachen University, Aachen, Germany

# (*These authors have contributed equally to the manuscript)

☐   All author names and affiliations are correct.

# Corresponding Authors:

Martin Russ				martin.russ@charite.de

# Email Addresses for All Authors:

martin.russ@charite.de

emilia.boerger@charite.de

platen@hia.rwth-aachen.de

roland.francis@charite.de

mahdi.taher@charite.de

willehad.boemke@charite.de

burkhard.lachmann@gmail.com

leonhardt@hia.rwth-aachen.de

pickerodt.philipp@charite.de

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  13

Number of Shots:  24

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving animal subjects have been approved by the federal authorities for animal research in Berlin, Germany.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- The Mechanical Ventilation

  - To begin, set the mechanical ventilation parameters as described in the text manuscript, adjusting setting to target an end-expiratory partial pressure of carbon dioxide of 35 to 40 millimeters of mercury and an oxygen saturation above 95% [1].

    - WIDE: Establishing shot of talent inputting setting for ventilator.

  - Use the continuous intravenous infusion of thiopentone and fentanyl to maintain the anesthesia and administer the muscle relaxant like pancuronium bromide if required [1-TXT].

    - Drug being infused in pigs from pipes TEXT: Thiopentone (20 mg/kg/h), fentanyl (7 µg/kg/h)

  - Cannulate the external jugular vein with a central venous catheter and insert the introducer sheath of the pulmonary arterial catheter into the same vein [1]. Then, cannulate the femoral artery for invasive blood pressure monitoring [2].

    - Talent inserting central venous catheter and introducer sheath in the vein.

    - Talent cannulating the femoral artery.

  - Calibrate the transducers against the atmosphere-zero, 200 millimeters of mercury for the arterial line and 50 millimeters of mercury for the central venous line [1] and start monitoring by connecting them to the arterial catheter and the central venous line [2].

    - Talent calibrating the pressure transducer.

    - Talent connecting the transducers to the arterial catheter and the central venous line.

- Introduction of the Pulmonary Artery Catheter

  - Connect the pulmonary artery catheter to the pressure transducer system and calibrate the transducer against the atmosphere and 100 millimeters of mercury [1]. Then, introduce the pulmonary artery catheter through the introducer sheath with a deflated balloon for 10 to 15 centimeters, depending on the sheath length [2].

    - Talent connecting the transducer to PAC and calibrating it.

    - Talent introducing the PAC.

  - Once the balloon has left the sheath, inflate it [1] and advance the pulmonary artery catheter further [2] while monitoring the pressure [3].

    - Talent inflating the balloon.

    - Talent advancing the PAC.

    - Pressure wave on the monitor.

  - Push the pulmonary artery catheter forward when the right atrium, the right ventricle, and the pulmonary artery pressure waves appear on the monitor and stop when the pulmonary capillary wedge pressure wave is seen [1]. Then, record the pulmonary capillary wedge pressure at an end-expiration [2] and deflate the balloon [3].

    - Talent pushing the PAC with monitor in the view.

    - Talent recording PCWP.

    - Talent deflating the balloon.

  - Calculate the pressure parameters described in the text manuscript and record the required respiratory settings and measurements to complete the data set [1].

    - Talent recording the parameters.

- Surface Depletion

  - Ventilate the animal with the fraction of inspired oxygen of 1 [1] and then disconnect the animal from the ventilator [2].

    - Talent ventilating the animal.

    - Talent disconnecting the ventilator.

  - Then, fill the lungs with the pre-warmed saline using a funnel connected to the endotracheal tube and stop when the mean arterial pressure decreases below 50 millimeters of mercury [1]. Drain the lavage by lowering the funnel to the ground level [2].

    - Talent filling the lungs with pre-warmed saline.

    - Talent draining the lavage.

  - Reconnect the animal to the ventilator for oxygenation and wait until the animal recuperates, then repeat lavages until the Horowitz index decreases below 100 millimeters of mercury for at least 5 minutes at the fraction of inspired oxygen of 1 and the positive end-expiratory pressure is above 5 centimeters of water [1].

    - Talent reconnecting the ventilator.

  - Take an arterial blood gas sample after 5 minutes following each lavage [1].

    - Talent taking the gas samples.

- Injurious Ventilation with High Tidal Volume/Low PEEP (high Tv/low PEEP)

  - Keep a fraction of inspired oxygen at 1 and set the ventilator on the volume guaranteed, pressure-controlled ventilation mode [1]. Increase the alarm threshold for peak inspiratory pressure to 60 millibar [2].

    - Talent setting the ventilator to pressure-controlled ventilation mode.

    - Talent increasing the alarm threshold.

  - Lower the respiratory rate and set the inspiration to expiration ratio [1], then Increase the tidal volume slowly up to 17 milliliters per kilogram bodyweight over at least 2 minutes. Do not increase the tidal volume further if an inspiratory pressure of 60 millibar is reached [2].

    - Talent lowering the respiratory rate and setting the I:E ratio. TEXT: Respiratory rate: 12/min ; I:E ratio: 1:1.5

  - Reduce the positive end-expiratory pressure to 2 millibar [1] and ventilate the animal for up to 2 hours [2].

    - Talent setting the ventilation parameters for high tidal volume/low PEEP.

    - Animal on ventilator.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 168. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Effects of the Injurious Ventilation on the Lungs

  - The Horowitz index decreased during the surfactant washout in all animals [1] but the recruitment maneuver resulted in a notable increase in oxygenation after the surfactant washout [2].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3A Video Editor: Please emphasize [    ] dots at the first RM point on the x-axis in the graph.

  - The injurious ventilation of 2 hours diminished lung recruitability with respect to gas exchange [1] and the mean arterial pressure [2].

    - LAB MEDIA: Figure 3A

    - LAB MEDIA: Table 1 Video Editor: Please emphasize the mPAP raw of Table 1.

  - The gas exchange parameters were improved with high tidal volumes due to the cyclic recruitment while mean arterial pressure was elevated due to high intrathoracic pressures and hypercapnia [1].

    - LAB MEDIA: Figure 3B

  - Computer tomographic imaging of the lungs showed an atelectasis of the dependent areas of the lung during the ventilation with a positive end-expiratory pressure of 6 millibar [1], which resolved largely when the ventilation was escalated to a positive end-expiratory pressure of 15 millibar [2].

    - LAB MEDIA: Figure 4 Video Editor: Please emphasize “#” in the bottom image of PEEP 6 mbar image column.

    - LAB MEDIA: Figure 4 Video Editor: Please emphasize “Red arrows” in the bottom image of PEEP 15 mbar image column.

  - However, the substantial ubiquitous ground glass opacities did not resolve [1].

    - LAB MEDIA: Figure 4 Video Editor: Please emphasize “*” all images.

  - The alveolar opacities observed with a positive end-expiratory pressure of 15 millibar indicated structural damage of the lungs [1]. They were also observed in the post-mortem examination of the lungs [2].

    - LAB MEDIA: Figure 4 Video editor: Please emphasize "+” mark in the first image of PEEP 15 mbar image column.

    - LAB MEDIA: Figure 5 Video editor: Please emphasize "+” mark in the right image of the figure.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.