## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
Amalgamator | Lantheus, Billerica, MA. | Vialmix | ESPE Capmix, Wig-L-Bug or another amalgamator capable of 4300 rpm can be used.
biotin-PEG3400-DSPE | Laysan Bio, Arab, AL. | Biotin-PEG-DSPE-3400
Bovine Serum Albumin (BSA) | Fisher Scientific, Waltham, MA | BP1600-100 or similar
Ca-Mg-free PBS | Fisher Scientific, Waltham, MA | 14190-144
Centrifuge with a bucket rotor | IEC/Thermo, Fisher Scientific, Waltham, MA. | NH-SII | Any centrifuge with a bucket rotor
chloroform | Fisher Scientific, Waltham, MA | C297-4
cyclic (RGDfK) peptide | AnaSpec, Fremont, CA | AS-61111
Decafluorobutane | F2 Chemicals, Preston UK | CAS 355-25-9
DiI | Sigma-Aldrich, St. Louis, MO. | 468495-100MG
DIPEA | Sigma-Aldrich, St. Louis, MO. | 387649
Disposable UV cuvette, 1.5 ml | BrandTech, Essex, CT. | 759150
DMSO | Sigma-Aldrich, St. Louis, MO. | 276855
Dry block heater, high temperature | Techne Cole Palmer, Staffordshire UK | DB-3A
DSPC | Lipoid, Ludwigshafen, Germany | LIPOID PC 18:0/18:0
Fluorescence microplate reader | Molecular Devices, San Jose, CA. | Spectramax Gemini XS | No longer available, superceded by Gemini XPS; any fluorescence plate reader with red dye detection capability will work
Microscope with fluorescence epi-illumination. | Leica | Laborlux 11 | No longer available; any fluorescence microscope is sufficient; high-sensitivity video camera is required for image stream collection
NHS-PEG3400-DSPE | NOF-America, White Plains, NY. | SUNBRIGHT DSPE-034GS | Some of the alternative manufacturers provide material that is mostly, or completely, hydrolyzed on arrival
Ninhydrin spray for TLC plates | BVDA, Haarlem, The Netherlands | AS-72177
Normal saline irrigation solution (0.9% NaCl) | Baxter, Deerfield IL. | 2F7124
Parallel plate flow chamber, for 35mm Corning Petri Dish | Glycotech, Gaithersburg, MD. | 31-001 | May only work with Corning Petri dishes, but not necessarily with other makers, due to different dimensions
Particle sizing system | Beckman Coulter, Hialeah, FL | Multisizer 3 | No longer available, superceded by Multisizer 4, with similar electrozone sensing principle. Alternatively, optical methods, e.g., Accusizer, can be used.
PEG 6000 monostearate | Kessco Stepan, Joliet, IL. | CAS 9004-99-3
Petri Dishes, 35 mm diameter, 10 mm tall | Corning, Corning, NY. | 430165
Plastic coverslips, 22x22mm | Cardinal Health, McGaw Park, IL. | M6100
Propylene glycol | Sigma-Aldrich, St. Louis, MO. | P4347
Recombinant murine alphavbeta3, carrier-free | R&D Systems, Minneaposis, MN. | 7889-AV-050
Rubber stoppers, 13mm | Kimble-Chase, Vineland, NJ | W017900
Serum vials, 2 ml, 13mm | Kimble-Chase, Vineland, NJ | 223683
Silica TLC Plates, F254 | Analtech, Newark, DE | P02521
Sodium tetraborate | Sigma-Aldrich, St. Louis, MO. | S9640
Streptavidin | AnaSpec, Fremont, CA | AS-72177
Syringe pump, infuse/withdraw option | Harvard Apparatus, Holliston, MA | PHD2000, 70-2001
Ultrasound imaging system with contrast-specific mode. | Siemens/Acuson, Mountain View CA | Sequoia c512, 15L8 probe | Old generation Sequoia is out of production for more than a decade. Available as used equipment. CPS mode has to be unlocked for the 15L8 transducer.
UV Spectrophotometer | Beckman, Brea, CA. | DU640 | No longer available, may be replaced with any 260 nm ultraviolet-capable unit