# Submission ID #:  62394

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19030218

# Title: Automated Dissection Protocol for Tumor Enrichment in Low Tumor Content Tissues

# Authors and Affiliations:

Charles A Havnar1, Oliver Zill2, Jeff Eastham1, Jeffrey Hung1, Manana Javey3, Emmanuel Naouri3, Jennifer Giltnane1, Justin M Balko4, Nicolas Lounsbury2, Daniel Oreper2, Sarajane Saturnio1, G-Y Yang5, Amy A Lo1

1Departments of Research Pathology, Genentech, South San Francisco, CA, USA

2Bioinformatics & Computational Biology, Genentech, South San Francisco, CA, USA

3Roche Sequencing Solutions, Hacienda Drive, Pleasanton, CA, United States

4Department of Medicine, Vanderbilt University Medical Center, Medical Center Drive, Nashville, TN, USA

# 5Department of Pathology, Northwestern University, Feinberg School of Medicine, 251 E Huron St. Chicago, IL, USA

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Amy A Lo		(lo.amy@gene.com)

# Email Addresses for All Authors:

charleah@gene.com

zillo@gene.com

jea@gene.com

hungj4@gene.com

mana.javey@roche.com

emmanuel.naouri@roche.com

giltnanj@gene.com

justin.balko@vumc.org

lounsbun@gene.com

oreperd@gene.com

saturins@gene.com

g-yang@northwestern.edu

lo.amy@gene.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  16

Number of Shots:  29

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) of Genentech, Inc.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Automated Tissue Dissection

  - To begin, annotate the scanned slide images for the tumor regions of interest [1] using a vendor provided viewing platform or an open-source viewer [2].

    - WIDE: Establishing shot of talent at the computer.

    - SCREEN: Annotation of the scanned images for the tumor regions. Authors: Please upload screen capture videos for all SCREEN shots to your project page and email me when they are uploaded: https://www.jove.com/account/file-uploader?src=19030218.

  - Place the unstained sample tissue slide onto the stage in the first through fourth slide position when using a digital slide reference [1] and in the second through fourth slide position with a reference slide in the first position when using on-slide annotation [2]. Authors: Are you planning to use digital slide reference or on-slide annotation or both?

    - Talent placing the slide onto the stage in the first through fourth slide positions.

    - Talent placing the slide onto the stage in the second through fourth slide positions.

  - Create a milling job using the automated tissue dissection software by clicking on Job Selection, then select Create New Job, Case ID, and Name to enter the name of the job [1].

    - SCREEN: Milling job being created.

  - Next, go to Thickness and select Section Thickness using the up or down arrow tab [1], then go to Tissue Preparation and select Paraffinized or Deparaffinized [2]. Select Reference Image, From File, and Import Image, then select the file to import from the dropdown as the digital reference [3].

    - SCREEN: Setting the thickness.

    - SCREEN: Tissue parameters being set.

    - SCREEN: File being imported.

  - Select From Stage for the on-stage slide reference [1]. Then, scan the stage by selecting the Scan Stage button in the bottom-right corner to capture each sample tissue slide in the first through fourth position [2].

    - SCREEN: Selecting from stage icon for on stage slide reference.

    - SCREEN: Selecting scan stage button to capture tissue slides.

  - For the on-stage reference, drag the box to create a rectangular area over the tissue [1]. Select the circular bubble under the rectangular area to capture the stage reference image [2].

    - SCREEN: Box being dragged to create a rectangular area over the tissue.

    - SCREEN: Circular bubble selection under the rectangular area.

  - For the digital reference image, overlay the image on the rectangular area selected [1]. Resize and align the digital reference grossly in course zoom to best match the size and the position over the sample tissue [2].

    - SCREEN: Image overlay on the rectangular area.

    - SCREEN: Resizing and aligning the digital reference image over the sample tissue slide.

  - Copy this rectangle field onto the remaining sample tissue slides in the second through fourth slide positions by selecting the copy option in the upper-right corner of the reference image [1]. Align and resize as necessary [2].

    - SCREEN: Reference image being copied on the remaining sample tissue slides.

    - SCREEN: Resizing and aligning the digital reference image.

  - After the gross alignment of the reference image on the tissue sample slides, select the Scan Stage button in the lower-right corner of the screen to move into the fine adjustment step [1].

    - SCREEN: Selecting scan stage for fine alignment.

  - Select the First Stage Position and the Transform tool icon in the right-hand toolbar to make fine alignment and zoom adjustments of the reference to best match the sample slide overlay [1].

    - SCREEN: First stage position and transform tool selection for making fine adjustments.

  - Use the Reference to Sample sliding bar at the bottom of the screen, toggling between the reference and sample images [1], and the Zoom In and Zoom Out feature to adjust and achieve the alignment of each slide position [2].

    - SCREEN: Reference to sample sliding bar being used.

    - SCREEN: Alignment of the images using zoom in and zoom out features.

  - After the optimal sample overlay, draw the milling path designations on the colored portion of the masked reference image by selecting the Color Picker tool icon in the right-hand toolbar [1]. Draw the milling paths onto the sample slides by selecting the Get Annotations button in the lower right corner of the screen [2].

    - SCREEN: Selection of the color picker tool to draw the milling path in reference images.

    - SCREEN: Selection of the get annotation tool to draw the milling path in sample slides.

  - Capture and collect the annotated region of interest with four or less milling tips when the milling path is calculated [1]. Authors: How do you do this step?

    - SCREEN: Annotated ROI being captured and collected.

  - Select the Setup Stage button in the lower right corner of the screen for prompt loading of the milling tips from the collection tubes in their proper designation on the stage [1].

    - SCREEN: Selecting the setup stage button to load the milling tips.

  - Fill the reservoir with 3 milliliters of appropriate dissection buffer for the tissue type and for downstream nucleic acid extraction kit [1], then select the Dissect button in the lower-right corner of the screen [2].

    - Talent filling the reservoir with the dissection buffer.

    - SCREEN: Selecting the dissect button.

  - After the automated dissection, remove the collection tubes and the dissected sample slides from the stage [1]. Place the collection tubes in the tube rack [2] and the slides in the slide rack [3].

    - Talent removing the tubes and slides from the stage.

    - Talent placing the tubes in the tubes track.

    - Talent placing the slides in the slide rack.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 93. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Confirmation of the Automated Dissection.

  - The H-and-E-stained formalin fixed paraffin embedded [1] and fresh frozen mouse liver sections containing metastatic colorectal cancer in xenografts were scanned on a whole slide imager at 20x magnification and used as the reference slides [2].

    - LAB MEDIA: Figure 1E and 1I

    - LAB MEDIA: Figure 1A

  - The H-and-E-stained reference slides were annotated and digitally masked for tumor regions for dissection and nucleic acid extraction [1].

    - LAB MEDIA: Figure 1B, 1F and 1J

  - The post dissected sample slides were H-and-E-stained to confirm the dissection areas in 10-micrometer [1] and 20-micrometer slides [2].

    - LAB MEDIA: Figure 1C, 1G and 1K

    - LAB MEDIA: Figure 1D, 1H and 1L

  - Captured metrics demonstrated the success of the automated dissection and the nucleic acid extraction [1].

    - LAB MEDIA: Supplementary Table 1

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.