Submission ID #:  62394

Scriptwriter Name: Swati Madhu

Supervisor Name: Anastasia Gomez

Project Page Link: https://www.jove.com/account/file-uploader?src=19030218

Title: Automated Dissection Protocol for Tumor Enrichment in Low Tumor Content Tissues

Authors and Affiliations:

Charles A Havnar1, Oliver Zill2, Jeff Eastham1, Jeffrey Hung1, Manana Javey3, Emmanuel Naouri3, Jennifer Giltnane1, Justin M Balko4, Andrew Wallace2, Nicolas Lounsbury2, Daniel Oreper2, Sarajane Saturnio1, G-Y Yang5, Amy A Lo1

1Departments of Research Pathology, Genentech

2Bioinformatics & Computational Biology, Genentech

3Roche Sequencing Solutions

4Department of Medicine, Vanderbilt University Medical Center

5Department of Pathology, Northwestern University, Feinberg School of Medicine

Corresponding Authors:

Amy A Lo		(lo.amy@gene.com)

Email Addresses for All Authors:

charleah@gene.com

zillo@gene.com

jea@gene.com

hungj4@gene.com

mana.javey@roche.com

emmanuel.naouri@roche.com

giltnanj@gene.com

justin.balko@vumc.org

wallaca4@gene.com

lounsbun@gene.com

oreperd@gene.com

saturins@gene.com

g-yang@northwestern.edu

lo.amy@gene.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage? Yes, all done

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations? No

Current Protocol Length

Number of Steps:  16

Number of Shots:  29

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Charles Havnar: Isolation or enrichment of small, dispersed regions of interest from FFPE or fresh frozen material can be achieved with automated dissection more quickly and efficiently than with traditional methods.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Charles Havnar: Extraction of genomic material from FFPE or fresh frozen tissue is a requirement for many clinical and translational research labs. Automated dissection fills a significant gap between macrodissection and laser-capture microdissection.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) of Genentech, Inc.

# Protocol

- Automated Tissue Dissection

  - To begin, annotate the scanned slide images for the tumor regions of interest [1] using a vendor provided viewing platform or an open-source viewer [2].

    - WIDE: Establishing shot of talent at the computer.

    - Talent annotating images for the tumor regions.

  - Place the unstained sample tissue slide onto the stage in the first through fourth slide position when using a digital slide reference [1].

    - Talent placing the slide onto the stage in the first through fourth slide positions.

  - Create a milling job using the automated tissue dissection software by opening Job List, then select Create New Job and enter Case ID and Name to enter the name of the job [1].

    - LAB MEDIA: 62394_screenshot_1: 00:04 to 00:20 Video editor please speed up the video.

  - Go to Thickness and select Section Thickness using the up or down arrow tab [1], then go to Tissue Preparation and select Paraffinized or Deparaffinized [2]. Select Reference Image, From File, and Import Image, then select the file to import from the dropdown as the digital reference [3].

    - LAB MEDIA: 62394_screenshot_1: 00:25 to 00:30.

    - LAB MEDIA: 62394_screenshot_1: 00:35 to 00:39.

    - LAB MEDIA: 62394_screenshot_1: 00:45 to 01:02 Video editor please speed up the video.

  - Scan the stage by selecting the Scan Stage button in the bottom-right corner to capture each sample tissue slide in the first through fourth position [1].

    - LAB MEDIA: 62394_screenshot_1: 01:06 to 01:09.

  - For the on-stage reference, drag the box to create a rectangular area over the tissue [1] and select the circular bubble under the rectangular area to capture the stage reference image [2].

    - LAB MEDIA: 62394_screenshot_2: 00:06 to 00:10.

    - LAB MEDIA: 62394_screenshot_2: 00:19 to 00:21.

  - Copy this rectangle field onto the remaining sample tissue slides in the second through fourth slide positions by selecting the copy option in the upper-right corner of the reference image, then align and resize as necessary [1].

    - LAB MEDIA: 62394_screenshot_2: 00:33 to 00:53

  - For the digital reference image, overlay the image on the rectangular area selected. Then, resize and align the digital reference grossly in course zoom to best match the size and the position over the sample tissue [1].

    - LAB MEDIA: 62394_screenshot_3: 00:12 to 00:30

  - Copy this rectangle field onto the remaining sample tissue slides in the second through fourth slide positions by selecting the copy option in the upper-right corner of the reference image, then align and resize as necessary [1]. Select the Scan Stage button in the lower-right corner to move into the fine adjustment step [2].

    - LAB MEDIA: 62394_screenshot_3: 00:33 to 00:55 Video editor please speed up the video.

    - LAB MEDIA: 62394_screenshot_3: 01:18 to 01:20

  - Select the first Stage Position [1] and the Transform tool icon in the right-hand toolbar to make fine alignment and zoom adjustments of the reference to best match the sample slide overlay [2].

    - LAB MEDIA: 62394_screenshot_3: 02:17 to 02:19

    - LAB MEDIA: 62394_screenshot_3: 02:37 to 02:48.

  - Use the Reference to Sample sliding bar at the bottom of the screen, toggling between the reference and sample images [1] and the Zoom In and Zoom Out feature to adjust and achieve the alignment of each slide position [1].

    - LAB MEDIA: 62394_screenshot_3: 02:25 to 02:28.

    - LAB MEDIA: 62394_screenshot_3: 04:29 to 04:56 Video editor please speed up the video.

  - Once the optimal sample overlay is achieved, draw the milling path designations on the colored portion of the masked reference image by selecting the Color Picker tool icon in the right-hand toolbar [1]. Draw the milling paths onto the sample slides by selecting the Get Annotations button in the lower right corner of the screen [2].

    - LAB MEDIA: 62394_screenshot_4: 00:09 to 00:31 Video editor please speed up the video.

    - LAB MEDIA: 62394_screenshot_4: 00:44 to 01:04  Video editor please speed up the video.

  - Capture and collect the annotated region of interest with four or less milling tips when the milling path is calculated. The milling tip usage in the upper-left corner is calculated based on the area covered and the tip size selected. Tip size can be changed under the Milling Tip arrow and tip usage will be recalculated [1].

    - LAB MEDIA: 62394_screenshot_4: 01:26 to 01:50 Video editor please speed up the video.

  - When the milling path is selected in the first slide position, it will be copied onto the remaining slide positions [1]. Select the Setup Stage button in the lower right corner of the screen for prompt loading of the milling tips from the collection tubes in their proper designation on the stage [2].

    - LAB MEDIA: 62394_screenshot_4: 01:55 to 02:05.

    - LAB MEDIA: 62394_screenshot_4: 02:34 to 02:37.

  - Fill the reservoir with 3 milliliters of appropriate dissection buffer for the tissue type and for downstream nucleic acid extraction [1], then select the Dissect button in the lower-right corner of the screen [2].

    - Talent filling the reservoir with the dissection buffer.

    - Talent selecting the dissect button.

  - After the automated dissection, remove the collection tubes and the dissected sample slides from the stage [1]. Place the collection tubes in the tube rack [2] and the slides in the slide rack [3].

    - Talent removing the tubes and slides from the stage.

    - Talent placing the tubes in the tubes track.

    - Talent placing the slides in the slide rack.

# Results

- Results: Confirmation of the Automated Dissection

  - The H-and-E-stained formalin fixed paraffin embedded [1] and fresh frozen mouse liver sections containing metastatic colorectal cancer in xenografts were scanned on a whole slide imager at 20x magnification and used as the reference slides [2].

    - LAB MEDIA: Figure 1E and 1I

    - LAB MEDIA: Figure 1A

  - The H-and-E-stained reference slides were annotated and digitally masked for tumor regions for dissection and nucleic acid extraction [1].

    - LAB MEDIA: Figure 1B, 1F and 1J

  - The post dissected sample slides were H-and-E-stained to confirm the dissection areas in 10-micrometer [1] and 20-micrometer slides [2].

    - LAB MEDIA: Figure 1C, 1G and 1K

    - LAB MEDIA: Figure 1D, 1H and 1L

  - Captured metrics demonstrated the success of the automated dissection and nucleic acid extraction [1].

    - LAB MEDIA: Supplementary Table 1

# Conclusion

- Conclusion Interview Statements

  - Charles Havnar: When attempting this protocol, keep in mind that achieving a relatively accurate overlay of annotation onto the unstained slides is important for isolating areas of interest.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.10.1