## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
Acousto-optic modulation | Gooch&Housego | R15180-1.06-LTD | Modulating stokes laser beam
Amoxicillin | Sigma Aldrich | A8523-5G
Bandpass filter | Chroma | HQ825/150m | Block the stokes laser beam before the photodiode
Calcium chloride | Sigma Aldrich | C1016-100G | Cation adjustment
Cation-adjusted Mueller-Hinton Broth | Fisher Scientific | B12322 | Antimicrobial susceptibility testing of microorganisms by broth dilution methods
Centrifuge | Thermo Scientific | 75002542
Cover Glasses | VWR | 16004-318
Culture tube with snap cap | Fisher brand | 149569B
Daptomycin | Acros | A0386346
Deuterium oxide |  | 151882 | Organic solvent to dissolve antibiotics
Deuterium oxide-d6 | Sigma Aldrich | 156914 | Organic solvent as a standard to calibrate SRS imaging system
Escherichia coli BW 25113 | The Coli Genetic Stock Center | 7636
Eppendorf polypropylene microcentrifuge tubes 1.5 mL | Fisher brand | 05-408-129
Gentamicin sulfate | Sigma Aldrich | G4918
Hydrophilic Polyvinylidene Fluoride filters | Millipore-Sigma | SLSV025NB | pore size 5 µm
ImageJ software | NIH | Version: 2.0.0-rc-69/1.52t | Image processing and analysis
Incubating orbital shaker set at 37 °C | VWR | 97009-890
Inoculation loop | Sigma | BR452201-1000EA
InSight DeepSee femtosecond pulsed laser | Spectra-Physics | Model: insight X3 | Tunable laser source and fixed laser source at 1045 nm for SRS imaging
Lock-in amplifier | Zurich Instrument | HF2LI | Demodulate the SRS signals
Oil condenser | Olympus | U-AAC | NA 1.4
Pseudomonas aeruginosa ATCC 47085 (PAO1) | American Type Culture Collection | ATCC 47085
Photodiode | Hamamatsu | S3994-01 | Detector
Polypropylene conical tube 15 mL | Falcon | 14-959-53A
Polypropylene filters | Thermo Scientific | 726-2520 | pore size 0.2 µm
Sterile petri dishes | Corning | 07-202-031
Syringe 10 mL | Fisher brand | 14955459
UV/Vis Spectrophotometer | Beckman Coulter | Model: DU 530 | Measuring optical density at wavelength of 600 nm
Vortex mixer | VWR | 97043-562
Water objective | Olympus | UPLANAPO/IR | 60×, NA 1.2

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=