# Submission ID #:  62403

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19032963

# Title: Application of Ultrasound and Shear Wave Elastography Imaging in a Rat Model of NAFLD/NASH

# Authors and Affiliations:

Jeffrey Morin1*, Terri A. Swanson2*, Anthony Rinaldi3, Magalie Boucher4, Trenton Ross3, Dinesh Hirenallur Shanthappa1

1Comparative Medicine, Pfizer Inc.

2Digital Medicine & Translational Imaging, Pfizer Inc.

3Internal Medicine Research Unit, Pfizer Inc.

4Drug Safety Research & Development, Pfizer Inc.

# *These authors contributed equally.

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Dinesh Hirenallur-Shanthappa 	dineshh@pfizer.com

# Email Addresses for All Authors:

# jeffrey.morin@pfizer.com

terri.a.swanson@pfizer.com

anthony.rinaldi@pfizer.com

magalie.boucher@pfizer.com

trenton.ross@pfizer.com

dineshh@pfizer.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  18

Number of Shots:  39

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) at Pfizer Inc.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Preparation of Rat for Imaging and Instrument Set-up

  - To begin, place 6 to 7-week old male Wister Han rats weighing 150 to 175 grams in pairs in individually ventilated cages with paper bedding [1] at approximately 22 degrees Celsius and 40 to 70% relative humidity with a 12 to 12-hour light-dark cycle [2].

    - WIDE: Talent placing the rats in pairs in cages.

    - Temperature and humidity in the display panel of the cages.

  - Provide 20 rats with the choline-deficient, high-fat diet with 1% cholesterol [1] and another 20 rats with the standard lab rodent chow [2].

    - Talent feeding rats from the container labeled as high-fat diet.

    - Talent feeding rats from the container labeled as standard lab rodent chow.

  - To set up the imaging instrument, place a warmed surface in the imaging area to keep the animal warm during imaging [1] and fix the anesthesia nose cone for delivering the inhalant anesthesia [2].

    - Talent placing warmed surface in the imaging area.

    - Talent fixing the anesthesia nose cone in the imaging area.

  - Use the ultrasound probe holder to move the ultrasound probe to the desired location and to prevent the probe from resting on the animal [1].

    - Talent moving the ultrasound probe using the probe holder.

  - Once the rat is completely anesthetized, transfer it from the induction chamber to a warm hot water circulating blanket [1]. Use chemical depilation cream to remove the hair from ribcage to pelvis on the right side of the rat [2].

    - Talent transferring the rat from chamber to hot water circulating blanket.

    - Talent shaving the hair.

  - Place the rat in left lateral recumbent position and tape the upper paws above the head on a warm imaging platform [1]. Press the Patient key on the instrument control panel and identify the subject according to the study design [2].

    - Talent placing the rat on the imaging platform and fixing paws with tape.

    - Talent pressing the patient key on the instrument control panel.

- Image Acquisition for Hepato-Renal (HR) Index Measurement

  - Apply a small amount of warmed ultrasound gel on the depilated skin region of rat [1]. Move the ultrasound probe to touch the gel-covered area [2].

    - Talent applying gel on the shaved area of the rat.

    - Talent placing the ultrasound probe on the gel-covered area.

  - Once the live B-mode image of the internal organs appears on the screen [1], move the ultrasound probe to the area slightly above the hip, just parallel to the lumbar vertebrae [2].

    - SCREEN: B-mode image of the internal organs appearing on the screen.

Authors: Is it possible to acquire screen capture videos for the imaging process? Or should the videographer film the screen/monitor? If you are able to provide screen capture videos for the shots labeled SCREEN, please upload them to your project page: https://www.jove.com/account/file-uploader?src=19032963

    - Talent moving the ultrasound probe to the area slightly above the hip.

  - Use B-mode display to locate the right kidney by identifying the large renal artery and cortex-medulla separation. Observe a part of the liver in a single plane of the image and ensure that air bubbles or shadows are not present in the image [1].

    - SCREEN: Right kidney located and liver indicated with cursor in the image.

  - Adjust the focus [1] and make sure that the renal cortex and liver parenchyma are in the same plane to obtain a clear image [2]. Ensure that the animal is between breaths when freezing the screen to avoid capturing blurry images [3].

    - Talent turning the focus knob on the control panel.

    - SCREEN: Focus adjusted, renal cortex and the liver parenchyma indicated by cursor in the same plane.

    - Talent pressing the freeze key on the control panel.

  - Select the B-mode Ratio to measure the relative brightness of tissue from the selected region of interest [1]. Create a 2-millimeter circle and place it on the region of interest in the image of the liver, which is located to the right of the kidney [2].

    - SCREEN: B-mode ratio selected.

    - SCREEN: Circle created and placed on the region of interest.

  - Place a new circle on the image of the kidney cortex, keeping the depths of the circles on the liver and kidney cortex the same [1].

    - SCREEN: Circle placed on the kidney cortex image and depth of both circles shown.

  - Press the Select button on the control panel [1] to display the hepato-renal index as a B-mode ratio. Repeat the measurement 3 times at different depths and planes of the tissue, then calculate the average [2].

    - Talent pressing select button on the control panel.

    - SCREEN: B-mode ratio displayed.

- Image Acquisition for the Shear Wave Elastography

  - Move the probe transversely in the right subcostal area to locate the liver using B Mode [1]. Locate a clear area of the liver that is mostly parenchyma and free of large blood vessels such as the portal vein and hepatic artery [2].

    - Talent moving the probe transversely in the right subcostal area.

    - SCREEN: Clear area of liver located.

  - Then, press the SWE button on the control panel [1] to generate a shear elasticity map of the tissue [2]. Adjust the size and position of the SWE box below the liver capsule in an area that is free of shadows [3]. When the box is full and stable, press the Freeze button on the control panel while the rat is between breaths [4].

    - Talent pressing the swe button on the control panel.

    - SCREEN: Shear elasticity map generated.

    - SCREEN: Size of the SWE box adjusted and box placed below the liver capsule.

    - Talent pressing the freeze button on the control panel.

  - Tap the QBox on the touch display of the instrument to compute the elasticity from the region of interest on the shear wave elasticity map [1]. A circle and data box will appear. Position the circle in the shadow-free area with uniform coloring, avoiding areas of stiffness [2].

    - Talent tapping the qbox on the touch display.

    - SCREEN: Circle and data box appearing, and circle positioned.

  - Repeat the procedure 3 times by moving the probe up and down or sideways on the abdomen to gather SWE-mapped images from different areas of liver [1]. When finished, remove the tape from the paws [2] and wipe the excess gel [3]. Place the rat back in a warm and dry cage and allow it to fully recover [4].

    - Talent moving the probe up and down on the abdomen area.

    - Talent removing the tape from paws.

    - Talent wiping the excess gel.

    - Talent placing the rat back in warm and dry cage.

- Image Data Retrieval

  - Select all scans required for data analysis by checking the box next to the name of the patient using the trackball and Select button [1].

    - Talent rolling the trackball and pressing the select button.

  - After exporting the files, open an individual jpg (J-P-G) file of each scan and observe the data on the right side of the image [1]. Copy all data into a spreadsheet or other database management software and perform the desired statistical analyses [2].

    - SCREEN: JPG file opened and data on the right side highlighted with cursor.

    - SCREEN: Data copied to spreadsheet.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 211. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Analysis of the Hepato-renal Index and Shear Wave Elastography in High-fat and Control Diet Groups

  - Representative images of hepato-renal indices from the control and choline-deficient, high-fat diet groups [1] show that the brightness of the liver and the renal cortex was almost equal and the hepato-renal index was less than 1 in the control group [2].

    - LAB MEDIA: Figure 4

    - LAB MEDIA: Figure 4A Video Editor: Please emphasize the B Ratio in the 6- and 12-week control images.

  - In the high-fat diet group, the brightness of the liver increased and the hepato-renal index was elevated up to 1.91 at 6-weeks [1] and 1.79 at 12-week timepoints [2].

    - LAB MEDIA: Figure 4A Video Editor: Please emphasize the B Ratio in the 6-week CDAHFD image.

    - LAB MEDIA: Figure 4A Video Editor: Please emphasize the B Ratio in the 12-week CDAHFD image.

  - The hepato-renal index values of the high-fat diet group rose quickly over the course of the first 3 to 6 weeks [1] before reaching a plateau [2].

    - LAB MEDIA: Figure 4C Video Editor: Please emphasize the red line moving upward between 3- and 6-week time points in the graph.

    - LAB MEDIA: Figure 4C Video Editor: Please emphasize the red line moving downward and then straight between 6- and 12-week time points in the graph.

  - Liver sections stained with oil red-o dye showed [1] a significantly increased stained area in the high-fat diet group [2] compared to the control group [3]. A correlation was also found between the %-stained area and the hepato-renal index [4].

    - LAB MEDIA: Figure 4B and D

    - LAB MEDIA: Figure 4B and D Video Editor: Please emphasize 6- and 12-week CHAHFD images in figure 4B and the area with the red squares in the graph in figure 4D.

    - LAB MEDIA: Figure 4B and D Video Editor: Please emphasize 6- and 12-week control images in figure 4B and the area with the blue circles near the baseline in the graph in figure 4D.

    - LAB MEDIA: Figure 4E

  - Tissue stiffness [1] increased gradually in the high-fat diet group over the period of 12 weeks and reached 23.1 kilopascals due to the fibrosis [2].

    - LAB MEDIA: Figure 5C

    - LAB MEDIA: Figure 5C Video Editor: Please emphasize the red line in the graph.

  - The liver samples were stained with picro-sirius red to localize collagen as an indicator of the fibrosis [1]. A significant increase of the %-stained area was observed in the high-fat diet group [2] compared to the control group [3].

    - LAB MEDIA: Figure 5D

    - LAB MEDIA: Figure 5D Video Editor: Please emphasize the area with red squares in the graph.

    - LAB MEDIA: Figure 5D Video Editor: Please emphasize the area with blue circles in the graph.

  - A strong correlation was also found between the % -stained area and the shear wave E-modulus numbers [1].

    - LAB MEDIA: Figure 5E

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.