# Submission ID #:  62409

# Scriptwriter Name: Madhulika Pathak

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19034793

# Title:   A Mass Spectrometry-Based Proteomics Approach for Global and High-Confidence Protein R-Methylation Analysis

# Authors and Affiliations:

Marianna Maniaci1,2#, Federica Marini1#, Enrico Massignani1,2, Tiziana Bonaldi1*

1Department of Experimental Oncology, European Institute of Oncology IRCCS (IEO), Via Adamello, 16 - 20139 Milan, Italy

2European School of Molecular Medicine (SEMM), c/o Campus IFOM-IEO, Via Adamello, 16 - 20139 Milan, Italy

☐   All author names and affiliations are correct.

# Corresponding Authors:

Tiziana Bonaldi	(tiziana.bonaldi@ieo.it)

# Email Addresses for All Authors:

marianna.maniaci@ieo.it

federica.marini@ieo.it

enrico.massignani@ieo.it

tiziana.bonaldi@ieo.it

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  23

Number of Shots:  37

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Lysate Digestion

  - To begin, perform reduction of the thiol group of proteins using a stock solution of DTT dissolved in ultrapure water at a final concentration of 4.5 millimolar and let the reaction go for 30 minutes at 55 degrees Celsius [1].

    - Talent adding DTT to the protein sample

  - Perform alkylation of the thiol group of proteins by adding iodoacetamide at a concentration of 10 millimolar and incubate for 15 minutes at room temperature in dark [1].

    - Talent adding iodoacetamide to the protein

  - To verify the proteolysis efficiency, save an aliquot of protein extract for subsequent analysis on SDS-PAGE Coomassie-stained gel and compare it with a corresponding amount of sample upon digestion [1].

    - Talent keeping the aliquot of protein at respective storage place

  - Dilute the remaining protein extract with four volumes of 20 millimolar HEPES at pH 8.0 to reach a final UREA concentration of 2 molar [1]. Split the sample into two parts [2], then add Sequencing Grade Modified Trypsin to one [3] and LysargiNase protease to the other [4-TXT].

    - Talent diluting the protein sample with HEPES

    - Talent splitting the sample into two parts

    - Talent adding trypsin to the first part

    - Talent adding LysargiNase to the second part. TEXT: 1:100 (w/w) proportion relative to mg of starting material

  - Leave the samples overnight at 37 degrees Celsius in a thermomixer at 600 rotation per minute to allow for enzymatic digestion [1].

    - Talent putting the tubes in thermomixer

- Off-Line HpH-RP Chromatographic Fractionation of Peptides

  - For each chromatographic gradient, collect all fractions into a deep 96 well plate [1].

    - Talent collecting fractions into 96 well plate

  - Pool the fractions collected before the start of the gradient into one single fraction named PRE [1].

    - Talent pooling the fractions labelled them as PRE

  - Concatenate the 60 fractions from the High-pH Reversed Phase liquid chromatographic gradient by pooling them in a non-contiguous way into 14 final fractions [1]. To obtain non-contiguous concatenation, pool the High-pH Reversed Phase fractions as described in the text manuscript [2].

    - Talent pooling fractions

    - 14 final fractions

  - Pool the fractions collected after the gradient into a unique fraction named POST [1].

    - Talent pooling the fractions collected into a labelled POST tube

- R-methylated Peptide Immuno-Affinity Enrichment

  - Perform sequential immuno-affinity enrichment of the modified peptide separately for the two samples from Trypsin and LysargiNase digestions. Dilute the 10x concentrated Immuno-Affinity Purification, or IAP, buffer 10 times [1].

    - Talent diluting the IAP buffer

  - Centrifuge the lyophilized peptides at 2,000 times g for 5 minutes to spin down the peptides to the bottom of the tube [1].

    - Talent putting the 15 ml tubes for centrifugation

  - Re-suspend the peptides with 250 microliters of diluted IAP Buffer per 15 milliliter tube [1] and transfer to a 1.5-milliliter low-binding tube [2]. Use a litmus paper to check that the pH is greater than 6 [3].

    - Talent resuspending the peptides with IAP buffer

    - Talent transferring the peptides in low binding tube

    - Talent checking the pH using the litmus paper

  - Keep a small aliquot of each fraction as input for the subsequent MS analysis. Split each fraction in two parts to perform the immuno-enrichment of asymmetrically-di-methylated, or ADMA, and symmetrically-di-methylated, or SDMA, peptides in parallel [1].

    - Talent splitting the fractions in two parts

  - Use three vials of the selected anti-pan-R-methylated antibodies conjugated to protein A agarose beads per 10 milligrams of the initial protein extract [1].

    - Talent adding antibodies to the protein extract

  - Prepare the correct amount of antibody conjugated to agarose beads by centrifuging each vial at 2,000 times g for 30 seconds and removing the buffer from the beads [1]. Wash the beads three times with 1 milliliter of 1x PBS by centrifuging them at 2,000 times g for 30 seconds [2].

    - Talent putting the tubes for centrifugation

    - Talent adding PBS to the beads

  - After the last wash, re-suspend the beads in 40 microliters 1x PBS for each vial [1], pool them [2], then and finally divide them equally into 16 fractions [3].

    - Talent resuspending the beads in PBS

    - Talent pooling the samples

    - Divided 16 sample fractions

  - Add 250 microliters of 1x IAP Buffer to each tube and mix by inverting [1], then incubate the tubes on a rotating wheel for 2 hours at 4 degrees Celsius [2].

    - Talent adding IAP buffer and mixing the tube by inverting them

    - Talent incubating the tube on rotating wheel

  - After the incubation, centrifuge the 1.5-milliliter tubes containing peptides and pan-R-methyl-antibody-conjugated beads at 2,000 times g for 30 seconds to pellet the beads [1] and transfer the flow through from each fraction into a clean 1.5-milliliter low-binding tube [2].

    - Talent putting the tubes for centrifugation

    - Talent transferring the FT from each fraction into clean tubes

  - Add the beads to the flow through conjugated to antibodies against R-mono-methylation and repeat the resuspension into PBS, incubation with IAP buffer, and centrifugation [1].

    - Talent adding beads to the FTs

  - During the incubation of the peptide samples with the Mono-methylation, or MMA, beads, wash the fractions that were previously immuno-precipitated with anti-ADMA and SDMA with 250 microliters IAP Buffer twice and discard the supernatant after each wash [1].

    - Talent washing the fractions by inverting the tube

  - Then, wash with LC-MS grade water 3 times [1].

    - Talent repeating the wash with water

  - Elute the affinity-enriched SDMA or ADMA peptides from the agarose beads by adding 50 microliters of 0.15% TFA to each tube [1]. Leave this solution for 10 minutes at room temperature, inverting the tubes every 2 to 3 minutes [2].

    - Talent adding TFA to the tube

    - Talent inverting the tubes

  - Transfer the first elution into clean 1.5-milliliter low-binding tubes and repeat the elution with 50 microliters of 0.15% TFA [1]. Pool the 2 elution fractions in one tube. Repeat this process for the R-mono-methylated peptides that were incubated with the anti-MMA antibody-beads [2].

    - Talent transferring the elution into clean low binding tube

    - Talent pooling the elution fractions in one tube

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 203. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: R-Methylation Analysis by Mass Spectrometry

  - After mixing the light- and heavy-labeled cells, proteins were extracted and subjected to digestion by Trypsin and LysargiNase. An SDS-PAGE Coomassie-stained gel was used to verify efficient enzymatic digestion of total proteins in peptides [1].

    - LAB MEDIA: Figure 2A Video editor: Please emphasize Lane I and II

  - The efficiency of purification step performed by C18 Sep-Pak column was evaluated, confirming the absence of peptides in the flow-through of the C18 column [1] and in the first and second wash, as well as their expected presence in the eluate [2].

    - LAB MEDIA: Figure 2A Video editor: Please emphasize Lane III

    - LAB MEDIA: Figure 2A Video editor: Please emphasize Lane IV and V

  - Proper Met-4 incorporation in the heavy channel [1] and correct Heavy or Light mixing were evaluated [2].

    - LAB MEDIA: Figure 2B

    - LAB MEDIA: Figure 2C

  - The chromatogram from the off-line High-pH Reversed Phase liquid chromatography fractionation of peptides and the subsequent non-contiguous concatenation of fractions are shown here. Peptides were detected by 215-nanometer UV while potentially remaining undigested proteins were evaluated by 280-nanometer UV [1].

    - LAB MEDIA: Figure 3A

  - The full MS spectra of peptides, representing true positive and a false positive methyl-peptide annotation, were obtained. The m by z differences observed between the three peaks are consistent with the presence of an enzymatically methylated residue [1].

    - LAB MEDIA: Figure 4

  - The m by z difference observed between the light-methylated peptide and its putative heavy counterpart deviates from the expected value by 0.0312 [1].

    - LAB MEDIA: Figure 5

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.