## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
1X dPBS | VWR | 02-0119-1000 | To dilute samples
100 nm bead standard | Thermo Scientific | 3100A | To test ViewSizer 3000 calibration
400 nm bead standard | Thermo Scientific | 3400A | To test ViewSizer 3000 calibration
Centrifugal Filter Unit | Amicon | UFC901024 | To filter PBS diluent
Collection tubes, 2 mL | Qiagen | 19201 | For isolation of human plasma extracellular vesicles
Compressed air duster | DustOff | DPSJB-12 | To clean cuvettes
Cuvette insert | HORIBA Scientific | - | Provided with purchase of ViewSizer 3000
Cuvette jig | HORIBA Scientific | - | To align magnetic stir bar while placing inserts inside cuvette; Provided with purchase of ViewSizer 3000
De-ionized water | VWR | 02-0201-1000 | To clean cuvettes
Desktop computer with monitor, keyboard, mouse, and all necessary cables | Dell | - | Provided with purchase of ViewSizer 3000
Ethanol (70-100%) | Millipore Sigma | - | To clean cuvettes
ExoQuick ULTRA | System Biosciences | EQULTRA-20A-1 | For isolation of human plasma extracellular vesicles
Glass scintillation vials with lids | Thermo Scientific | B780020 | To clean cuvettes
"Hook" tool | Excelta | - | Provided with purchase of ViewSizer 3000
Lint-free microfiber cloth | Texwipe | TX629 | To clean cuvettes and cover work surface
Microcentrifuge tubes, 2 mL | Eppendorf | 22363344 | For isolation of human plasma extracellular vesicles
Stir bar | Sp Scienceware | F37119-0005
Suprasil Quartz cuvette with cap | Agilent Technologies | AG1000-0544 | Initially provided with purchase of ViewSizer 3000
ViewSizer 3000 | HORIBA Scientific | - | Nanoparticle tracking instrument

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=