# Submission ID #: 62468

# Scriptwriter Name: Shehnaz Lokhandwala

# Supervisor Name: Bridget Colvin

# Project Page Link: https://www.jove.com/account/file-uploader?src=19052788

# Title: Functional Assessment of Intestinal Tight Junction Barrier and Ion Permeability in Native Tissue by Ussing Chamber Technique

# Authors and Affiliations

# Wendy Hempstock, Noriko Ishizuka, Hisayoshi Hayashi

# Laboratory of Physiology, Graduate School of Nutritional and Environmental Sciences, University of Shizuoka

# Corresponding Authors:

Hisayoshi Hayashi	(hayashih@u-shizuoka-ken.ac.jp)

# Email Addresses for All Authors:

w.hempstock@gmail.com

n-ishizuka@u-shizuoka-ken.ac.jp

hayashih@u-shizuoka-ken.ac.jp

Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Yes

If Yes, can you record movies/images using your own microscope camera? Yes

Authors: Please upload all of the videos captured through your microscope to your project page as soon as possible

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group?

☒ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  17

Number of Shots:  38

Introduction

- Introductory Interview Statements

REQUIRED:

  - Wendy Hempstock: This protocol is used to study the transport qualities of tight junctions. Using dilution potentials, you can measure the permselectivity and get an understanding of tight junctions in a tissue [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Video Editor: Suggested b-roll: 4.2.6

  - Wendy Hempstock: This technique is specific and uses native tissues for functional studies of epithelia. In addition, this technique measures the real time physiological properties of a tissue, which is very useful [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL:

  - Noriko Ishizuka: The biggest challenge is tissue preparation. Practicing the technique as well as watching this video will help. Checking your results to confirm tissue viability is also an important step [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Video Editor: Suggested b-roll: 2.5.1, 4.5.1

Ethics Title Card

  - Procedures involving animal subjects have been approved by Animal Care and Use Committee at the University of Shizuoka.

Protocol

- Stripping the Muscle Layer and Preparing the Intestinal Sheet

  - To begin, place the desired segments of intestinal tissue collected from Claudin 15 knockout mice into ice cold, bubbled Ringer’s solution [1] and cut along the mesenteric attachments to open each segment longitudinally  trim away the fat and connective tissue. [2].

    - WIDE: Establishing shot of talent placing the intestinal segments in Ringer’s solution.

    - Talent opening the segment longitudinally. (moved to 2.2)

    - 2.2.1. Talent trimming away fat and connective tissue

  - After trimming away the fat and connective tissue [1], cut along the mesenteric attachments to open each segment longitudinally [1]. Then, return the segments to the ice-cold Ringer’s solution [2] and wash the pieces thoroughly [3].

    - Talent trimming away fat and connective tissue. (moved to 2.1)

    - 2.1.2 Talent opening the segment longitudinally.

    - Talent placing the segments back into the solution.

    - Talent washing the segments.

  - To strip the muscle layer, pour 2-3 milliliters of fresh, ice-cold, bubbled Ringer’s solution into a silicone rubber-covered dissection plate under a dissection microscope [1] and use pins to secure the ends of one intestinal tissue segment in the dish with the mucosal side facing down [2].

    - Talent pouring solution into a dissection plate under microscope. Videographer: This step is important!

    - LAB MEDIA: To be provided by Authors: Ends of intestinal tissue being pinned.

  - Using fine forceps, bluntly dissect the muscle layer from the underlying mucosa, being careful not to tear or introduce any holes into the tissue [1-TXT].

    - LAB MEDIA: To be provided by Authors: Muscle layer being dissected. TEXT: Complete dissection to mounting ≤10 min

  - Once the muscle has been removed, cut a piece large enough for a 5-millimeter diameter opening [1] and place the tissue onto a piece of 5-millmeter punched filter paper wet with Ringer’s solution mucosal side down [2], using a black background to ensure that the opening in the tissue is completely covered by the paper without wrinkles [3-TXT].

    - LAB MEDIA: To be provided by Authors: Tissue being cut. (footage taken by the camera man)

    - Talent placing tissue onto paper. Videographer: This step is important!

    - Shot of tissue on paper with opening covered and no wrinkles. Videographer: This step is important! TEXT: Repeat for each mucosal preparation

- Mounting Intestinal Preparations in Ussing Chambers

  - To mount the intestinal preparations in an Ussing Chamber, first remove any solution from the chamber [1] before disassembling it [2].

    - WIDE: Talent suctioning the solution from the Ussing chamber.

    - Talent disassembling chamber.

  - Lay the filter paper with the intestinal preparation mucosal side down on the mucosal side chamber [1], using the black markings to align the chamber window with the hole in the filter paper [2].

    - Talent laying the filter paper in the mucosal side chamber.

    - ECU: Alignment of the chamber’s window with the hole of the filter paper. Videographer: This step is important!

  - Carefully connect the Serosal side chamber to the Mucosal side chamber without moving the intestinal sheet [1]. Quickly refill both chambers with HEPES buffer [2] and place bubbling wands at the opposite end of each chamber, away from the membrane [3].

    - Talent connecting the two chambers. Videographer: This step is important!

    - Talent refilling the chambers.

    - Talent placing bubbling wands inside the chambers.

  - Reconnect the salt bridges [1] and check whether the voltage is stable [2]. Then pulse the current to ensure that the connections are okay [3] before allowing the system to equilibrate for about 15 minutes [4-TXT].

    - Talent reconnecting salt bridges. Videographer: This step is important!

    - Talent checking voltage.

    - Talent pulsing current. Videographer: This step is important!

    - Talent setting timer, with setup visible in frame. TEXT: Repeat for each intestinal preparation

- Measurement of Dilution Potential (Open Circuit Conditions)

  - To perform a dilution potential experiment, first wash both sides of the chamber with 5 milliliters of fresh pre-warmed HEPES buffer per side [1].

    - WIDE: Talent adding fresh buffer.

  - Turn on the recording system [1] and set the range to 250 millivolts [2]. Set the marker positions [3], set the recording system to measure [4], and set the Ussing chamber systems to clamp mode [5]. Once the measuring potential has stabilized, use the data for measurements [6].

    - Talent turning on the recording system.

    - Talent setting the range.

    - Talent setting marker positions.

    - Talent setting recording system to measure.

    - Talent turning the chamber systems to clamp mode.

    - Shot of stabilized measuring potential.

  - Quickly replace the HEPES buffer from the Mucosal side of the chamber with 5 milliliters of warmed dilution HEPES buffer supplemented with 75-millimolar sodium chloride [1].

    - Talent adding HEPES buffer with NaCl.

  - Once the membrane potential has peaked [1], replace the dilution buffer from the Mucosal side with fresh HEPES buffer [2-TXT].

    - Shot of peaked membrane potential.

    - Talent adding HEPES buffer. TEXT: Repeat dilution for Serosal side as necessary

  - To ensure that the tissue is viable, add 10-micromolar Forskolin to the serosal side [1]. Once the membrane potential difference has reached a peak and is beginning to decline, the experiment is over [2-TXT].

    - Talent adding Forskolin.

    - Shot of potential reaching peak, then declining. TEXT: Too low membrane potential difference = tissue not viable

- Transepithelial Electrical Conductance and Baseline Isc (Short-Circuit Conditions)

  - To measure the transepithelial electrical conductance and baseline short-circuit current, after washing both sides of the chamber as demonstrated [1], add 5 milliliters of fresh bubbled Ringer’s solution to each side [2] and set the range of the recording system to 2.5 volts [3].

    - Talent suctioning the Ringer’s solution.

    - Talent adding fresh solution.

    - Talent setting range to 2.5V.

  - Set the marker positions, set the recording system to measure, and set the Ussing chamber system to clamp mode [1]. Once the short-circuit current and conductance have stabilized, use the data for baseline measurements [2].

    - Talent setting marker position and/or recording system and/or chamber mode

    - Shot of current and conductance stabilizing.

  - To ensure that the tissue is viable, add forskolin to the Serosal side as demonstrated [1]. Once the membrane potential difference has reached a peak and has started to decline, the experiment is over [2].

    - Talent adding forskolin to serosal side.

    - Shot of potential reaching peak, then declining.

Results

- Results: Transepithelial Electrical Conductance and Dilution Potential in Cldn15-/- Mice

  - In this representative analysis [1], the baseline transmucosal conductance of the middle small intestinal segment was lower in the Claudin 15 knockout mice under short circuit conditions [2] compared to that observed in wild type mice [3], while the baseline short circuit current was higher [4].

    - LAB MEDIA: Figures 3A and 3B.

    - LAB MEDIA: Figures 3A and 3B. Video Editor: Emphasize the red bar in Figure 3A

    - LAB MEDIA: Figures 3A and 3B. Video Editor: Emphasize the blue bar in Figure 3A

    - LAB MEDIA: Figures 3A and 3B. Video Editor: Emphasize the red bar in Figure 3B

  - Upon luminal sodium chloride dilution [1], a positive potential difference with respect to the serosal side was observed in wild type mice [2] but the difference was decreased in the Claudin 15 knockout mice [3]. Similarly, the relative permeability of sodium chloride was also decreased in the knockout animals [4].

    - LAB MEDIA: Figures 3C and 3D.

    - LAB MEDIA: Figures 3C and 3D. Video Editor: Emphasize the blue bar in Figure 3C

    - LAB MEDIA: Figures 3C and 3D. Video Editor: Emphasize the red bar Figure 3C

    - LAB MEDIA: Figures 3C and 3D.  Video Editor: Emphasize the red bar Figure 3D

  - Calculation of the absolute permeabilities [1] revealed that the absolute permeability of sodium decreased in the Claudin 15 knockout mice [2] while the absolute permeability of chloride did not [3], suggesting that the decrease in the relative permeability is due to a decrease in the permeability of sodium [4].

    - LAB MEDIA: Figures 3E and 3F.

    - LAB MEDIA: Figures 3E and 3F. Video Editor: Emphasize the red bar in Figure 3E

    - LAB MEDIA: Figures 3E and 3F. Video Editor: Emphasize the red bar in Figure 3F

    - LAB MEDIA: Figures 3E and 3F.

  - As expected, addition of forskolin to the serosal side of the chamber [1] did not cause a significant difference in the change of short-circuit current between the knockout and wild type mice [2]. Since the intestinal segments demonstrated a large enough response to forskolin, the membrane preparations were considered to be viable [3].

    - LAB MEDIA: Figure 3G.

    - LAB MEDIA: Figure 3G. Video Editor: Add bracket and n.s. text over data bars or similar “no difference” emphasis

    - LAB MEDIA: Figure 3G.

Conclusion

- Conclusion Interview Statements

  - Hisayoshi Hayashi: It is important to perform an appropriate muscle layer removal and to ensure that the tissue is viable. Please read the discussion section of the manuscript to learn how to check whether the preparation is viable [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Video Editor: Suggested b-roll: 2.4.