# Submission ID #:  62484

# Scriptwriter Name: Shehnaz Lokhandwala

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19057668

# Title:  Establishing Stable Binary Cultures of Symbiotic Saccharibacteria from the Oral Cavity

# Authors and Affiliations:

Andrew J. Collins†1,2, Pallavi P. Murugkar†1,2, Floyd E. Dewhirst1,2

1The Forsyth Institute, Cambridge MA, USA

2Harvard School of Dental Medicine, Boston, MA, USA

†These authors contributed equally.

☐   All author names and affiliations are correct.

# Corresponding Authors:

Floyd E. Dewhirst		(fdewhirst@forsyth.org)

# Email Addresses for All Authors:

acollins@covaris.com

murugkar@stanford.edu

# fdewhirst@forsyth.org

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  18

Number of Shots:  32

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving human subjects have been approved by the Institutional Review Board and informed consent was obtained from all subjects

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Preparation

  - To begin, start cultures of host bacteria such as Arachnia propionica with enough time for them to grow to early stationary phase. To initiate the culture, inoculate 2 to 5 milliliters of tryptic soy broth containing 0.1% yeast extract with Arachnia propionica [1] and incubate it at 37 degrees Celsius for 24 hours [2].

    - WIDE: Establishing shot of talent inoculating the tryptic soy broth.

    - Talent placing the culture in the incubator.

  - Next, assemble filter holders with track-etched 0.2-micrometer filter membranes [1], wrap them in foil and sterilize by autoclaving, along with centrifuge tubes and cap assemblies [2].

    - Talent assembling filter holders.

    - Talent autoclaving the filter holders, centrifuge tubes, and cap assemblies.

- Obtaining Sample of Oral Bacteria

  - Scrape the plaque using a sterile paper point, Gracey curette, or a sterile toothpick or pipette tip [1] and transfer it a suitable buffer, such as MRD or PBS. Keep the sample on ice until ready to proceed further [2-TXT].

    - Talent taking a plaque scraping.

    - Talent transferring the plaque to the buffer. TEXT: MRD - Maximal Recovery Diluent

  - Resuspend the dental plaque vigorously using a combination of vortexing and pipetting with a small pipet tip [1]. Then, add the resuspended plaque sample to an additional 9 milliliters of MRD buffer [2]. Authors: Please confirm whether the plaque sample is added to a tube containing 9 mL of buffer OR the buffer is added to the tube containing the sample.

    - Talent resuspending the plaque.

    - Talent adding the resuspended sample to MRD buffer.

- Preparation of Filtrate from Oral Sample

  - Carefully unwrap a sterile filter assembly using aseptic technique [1]. Untwist a quarter turn and retighten the filter holder to ensure that the threads are properly engaged and the apparatus is properly closed [2].

    - Talent unwrapping a sterile filter assembly.

    - Talent untwisting and retightening the filter holder.

  - Wash the membrane by passing 10 milliliters of MRD buffer through the apparatus using a syringe. If fluid leaks out of the filter holder during this step, obtain another sterile filter assembly and repeat the wash [1].

    - Talent washing the membrane.

  - To apply the sample to the washed filter, remove the plunger from a syringe and attach it to the filter apparatus [1]. Pour the dispersed dental sample into the syringe and load it onto the filter [2].

    - Talent attaching syringe to the filter apparatus.

    - Talent pouring sample into syringe and loading it onto the filter.

  - Place a sterile centrifuge tube beneath the filter apparatus to catch the filtrate [1], then apply light pressure to the plunger to push the sample through the filter [2].

    - Talent placing the centrifuge tube beneath the filter.

    - Talent applying pressure on the plunger.

  - Wash the membrane with another 10 milliliters of MRD buffer and collect the flow-through in the same tube as the filtered sample [1]. Then, cap the tube aseptically [2].

    - Talent washing the membrane.

    - Talent capping the tube.

- Concentration of the Saccharibacteria cells by centrifugation

  - Make an orientation mark on the tube and cap to identify the location of the cell pellet after centrifugation [1]. Place the tube in a high-speed centrifuge with the mark on the upper side and centrifuge the samples at 60,000 x g for 1 hour at 4 degrees Celsius [2].

    - Talent marking the tube and cap.

    - Talent placing the tube in the centrifuge.

  - Carefully remove the tubes from the centrifuge and pour out the supernatant, keeping the pellet on the upper side of the tube [1]. Then, resuspend the pellet in 1 to 2 milliliters of MRD buffer by vigorous vortexing [2].

    - Talent pouring out the liquid.

    - Talent resuspending the pellet.

- Infection of Host Cultures with Saccharibacteria-enriched Filtrate

  - Prepare culture tubes by aliquoting 2 milliliters of appropriate growth media into the tubes [1]. Then, add 200 microliters of overnight culture of host organisms and 100 to 200 microliters of resuspended, filtered sample to each tube [2].

    - Talent adding growth media to culture tubes.

    - Talent adding host organisms and filtered sample to each tube.

  - Incubate the combined samples under conditions appropriate for the host organism [1-TXT].

    - Talent incubating the samples. TEXT: 37 °C in an aerobic atmosphere for A. propionica

  - Passage the cells every two to three days by transferring 200 microliters of the binary culture to 2 milliliters of fresh growth medium in a new tube. If the passaged cultures show no growth, add 200 microliters of uninfected host culture when passaging the cells. Perform at least 5 passages [1].

    - Talent passaging the cells.

- Confirmation of Infection by PCR and Verification of Purity

  - Aliquot 24 microliters of the PCR master mix into a 0.2-milliliter PCR tube [1-TXT]. Add 1 microliter of Saccharibacteria-infected culture [2] and place the tube in a thermocycler. Set the PCR program as described in the text manuscript [3].

    - Talent aliquoting the master mix. TEXT: Refer to the manuscript for master mix preparation

    - Talent adding the Saccharibacteria-infected culture.

    - Talent placing the tube in a thermocycler.

  - Load and run the PCR products on a 1% agarose gel. A band of approximately 600 bases will confirm the presence of Saccharibacteria [1].

    - Talent loading the gel.

  - To confirm the purity of positive cultures, perform a 10-fold serial dilution of the coculture of Saccharibacteria in a sterile buffer [1] and spread 100 microliters on an agar plate [2].

    - Talent diluting the co-culture.

    - Talent spreading the diluted culture on an agar plate.

  - Incubate the culture under appropriate growth conditions and observe for contaminating organisms [1].

    - Talent incubating the culture.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 170. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Confirmation of Infection and Purity of Binary Cultures of Symbiotic Saccharibacteria

  - PCR for detection of Saccharibacteria may appear negative in initial infection cultures due to a low number of Saccharibacteria symbionts. However, after a few passages, a strong PCR product should appear, indicating that a stable infection has occurred [1].

    - LAB MEDIA: Figure 1A. Video Editor: Emphasize the strong band in passage 4.

  - Testing several host species with the same Saccharibacteria filtrate will usually have a low success rate as the symbiont-host interaction is very specific [1].

    - LAB MEDIA: Figure 1B

  - As the infected cultures grow, normal turbid growth should appear. As the symbiosis establishes itself, infected cultures will appear less turbid than cultures of uninfected host organisms [1].

    - LAB MEDIA: Figure 2A

  - A contaminated culture can be purified by picking infected colonies after plating [1]. Infected colonies can sometimes be identified by an irregular colony shape compared to uninfected colonies [2].

    - LAB MEDIA: Figure 2B-2D.

    - LAB MEDIA: Figure 2B-2D. Video Editor: Emphasize the irregular colonies indicated by the white arrows in Figure 2B and 2C.

  - These irregular colonies are dependent on the titer of Saccharibacteria in the binary culture. A smaller proportion of colonies will appear irregular if the titer is low, making it easy to identify infected colonies, which can be picked and used to start a pure binary culture [1]

    - LAB MEDIA: Figure 2B-2D. Video Editor: Emphasize Figure 2C.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.