# Submission ID #:  62515

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19067123

# Title: In Vivo Two-photon Imaging of Megakaryocytes and Proplatelets in the Mouse Skull Bone Marrow

Alicia Bornert, François Lanza, Christian Gachet, Catherine Léon

- 62515_screenshot_1

  - 4.1.1 (Open MP laser window, set wavelength, click on Tune and wait for laser setting and power) 00:04-00:26

- 62515_screenshot_2

  - 4.3.1 (Choose xyzt acquisition type, Adjust image size, Choose scanning speed and Select “Bidirectionnal”) 00:04-00:35

- 62515_screenshot_3

  - 4.3.2 (Select Line Average, Go to Configuration and select “Line Average during Live Acquisition” and go back to Acquire page) 00:06-00:24

- 62515_screenshot_4

  - 4.3.3 (Click on Live, set up “Begin” and “End” z-stack, Click on Stop, Click on System Optimized and Select “Multiphoton” and Click on “Apply to Step Size”, Set up Time Interval and Click on Start) 00:06-00:57

- 62515_screenshot_5

  - 4.4.1 (Choose xyt acquisition type and Adjust image size) 00:04-00:26

  - 4.4.2 (Choose scanning speed and Select “Bidirectionnal”) 00:26-00:33

  - 4.4.3 (Minimize Line Average) 00:33-00:38

- 62515_screenshot_6

  - 4.4.4 (Set up acquisition speed and time) 00:10-00:48