# Submission ID #:  62515

# Scriptwriter Name: Swati Madhu

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=19067123

# Title: In Vivo Two-photon Imaging of Megakaryocytes and Proplatelets in the Mouse Skull Bone Marrow

# Authors and Affiliations:

Alicia Bornert, François Lanza, Christian Gachet, Catherine Léon

# Université de Strasbourg

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Catherine Léon 		catherine.leon@efs.sante.fr

# Email Addresses for All Authors:

alicia.bornert67@gmail.com

francois.lanza@efs.sante.fr

christian.gachet@efs.sante.fr

# catherine.leon@efs.sante.fr

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy, but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen-captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When the take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE's voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  16

Number of Shots:  50

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

Ethics Title Card

  - Procedures involving animal subjects have been approved by the CREMEAS Committee on the Ethics of Animal Experiments of the University of Strasbourg.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Catheter Insertion in the Jugular Vein

  - To begin, transport the mouse to the imaging room [1]. Once the mouse is completely anesthetized, place the mouse on a heated plate warmed to 37 degrees Celsius for all following manipulations [2]. Subsequently, switch on the microscope and computer, and set up the required parameters [3].

    - WIDE: Talent transporting the animal in the imaging room.

    - Talent placing the mouse on a heated plate.

    - Talent switching on the microscope and computer.

  - Place the mouse on its back [1] and fix the anterior legs with surgical tape to stretch the throat [2]. After disinfecting the throat [3], make a 0.7 to 1-centimeter incision over the right or left jugular vein using scissors [4] and stretch the adjacent connective tissue to expose the external jugular vein and top of the pectoral muscle [5].

    - Talent placing mouse on its back.

    - Talent fixing the legs with tape.

    - Talent disinfecting the throat with 70% ethanol.

    - Talent making an incision.

    - Talent stretching the adjacent connective tissue.

  - Fill the catheter with warm, sterile physiological saline [1]. Penetrate the catheter through the pectoral muscle and then insert the catheter in the vein [2]. Gently remove the needle [3] and, if required, carefully move the catheter deeper into the vein [4]. Place a drop of surgical glue to stabilize the catheter [5].

    - Talent filling the catheter with warm saline.

    - Talent penetrating the catheter through the pectoral muscle and inserting it in the vein.

    - Talent removing the needle.

    - Talent moving catheter deep.

    - Talent placing surgical glue on the catheter.

  - Carefully return the mouse to a prone position [1] and apply gel on the eyes to prevent dryness [2].

    - Talent placing the mouse in the prone position.

    - Talent applying gel on the eyes of the mouse.

- The Cranial Ring Installation

  - Disinfect the hair on the scalp with 70% ethanol [1] and remove the loose hair with a wet paper towel [2]. Use sterile fine scissors and tweezers to make a T-shaped incision at the midline up to 1 centimeter and between the ears on the scalp to expose the calvarium [3].

    - Talent disinfecting the hair.

    - Talent removing the hair with a wet paper towel.

    - Talent making an incision.

  - Expose the skull with tweezers [1], then use scissors and tweezers to carefully remove the periosteum [2]. Use a sterile cotton swab soaked in physiological saline to remove all the periosteum and any debris or hair, which could alter the imaging [3].

    - Talent exposing the skull.

    - Talent removing the periosteum.

    - Talent removing debris and hair from the periosteum.

  - Rinse the periosteum with saline to remove any blood traces [1] and rapidly dry the bone with a cotton swab [2]. Apply the glue gel to the ring [3], place the ring on the exposed bone, and maintain it for a few seconds to allow the ring to firmly attach to the skull [4]. Lightly moisten the skull with a saline wetted cotton swab [5].

    - Talent rinsing the periosteum.

    - Talent drying the bone with a cotton swab.

    - Talent applying the glue gel to the ring.

    - Talent placing the ring on the exposed bone.

    - Talent swabbing the skull with a moist cotton swab.

  - Prepare the silicon dental paste by carefully mixing the blue and yellow components at a 1 to 1 ratio [1]. Seal the ring by applying the dental paste to prevent leakage during imaging [2]. Carefully remove any dental paste or glue that may have entered the ring [3], then fill the ring with saline [4] to check the leakage [5].

    - Talent mixing yellow and blue components.

    - Talent applying the dental paste on the ring.

    - Talent removing the dental paste entered the ring.

    - Talent filling the ring with saline.

    - Talent observing the ring.

  - Place the mouse on the support [1] and screw the ring on the block holder [2]. Place folded compresses under the animal's head to raise the head and prevent detachment of the ring from the skull [3]. Place the support and mouse assembly in the heated microscope chamber [4].

    - Talent placing the mouse on the support.

    - Talent attaching the ring to the block holder.

    - Talent placing folded compresses under the animal's head.

    - Talent placing the support and mouse assembly in the heated microscope chamber.

  - After injecting the anesthesia subcutaneously, observe the saline in the ring and, if required, fill the saline and record the data for the next 35 minutes [1].

    - The ring filled with saline.

- Two-Photon Imaging

  - Set the appropriate laser wavelengths for the chosen fluorophores and recovery of the emitted lights [1]. Using the intrajugular catheter, inject 50 microliters of 0.2 micromolar solution of the fluorescent tracer to label the vasculature [2-TXT].

    - SCREEN: Wavelength being set.

Authors: Please create screen capture videos or images of the shots labeled SCREEN and upload them to your project page: https://www.jove.com/account/file-uploader?src=19067123

    - Talent injecting the fluorescent tracer. TEXT: Fluorescent tracer- max 150 μL/experiment

  - Place the microscope stage with the support and mouse under the objective of the microscope [1]. Ensure that the ring is always filled with saline [2] and immerse the objective in saline [3]. Use epifluorescence to locate the bone marrow vessels and observe the megakaryocytes aligned along the sinusoid vessels [4].

    - Talent placing the microscope stage with the support and mouse under the objective of the microscope.

    - Shot of ring filled with saline.

    - Talent immersing the objective in the saline.

    - SCREEN: Bone marrow vessel being located and the megakaryocytes aligned along sinusoid vessels.

  - For long acquisitions, select the region of interest and apply the image acquisition parameters [1]. Then, acquire z-stack images at 1.34- micrometer intervals using an 8-kilohertz resonant scanner and acquire 384 by 384-pixel images to visualize the entire megakaryocyte and vessel [2].

    - SCREEN: Region of interest being selected and parameters being set.

    - SCREEN: Z-stack images and 384 x 384-pixel images being acquired.

  - Use line averaging for rapid acquisition with good resolution and determine the time interval of image stack acquisition, usually 10 or 30 seconds for proplatelet visualization [1].

    - SCREEN: Line averaging tool being used and time interval being determined.

  - For short and rapid acquisitions, minimize and adjust image size to the vessel by rotating the imaging field, if required [1]. Use the highest available scanning speed and bidirectional scanning [2]. Minimize the line averaging to find the optimal compromise between image definition and rapidity of the acquisition [3].

    - SCREEN: Image size being adjusted.

    - SCREEN: The highest available scanning speed and bidirectional scanning being selected.

    - SCREEN: Line averaging being minimized.

  - Minimize the z-stack to increase the acquisition rapidity [1]. Acquire only 1 z-stack, and follow the same platelet for a few images. Acquire for 10 to 20 seconds to measure the platelet velocity [2].

    - SCREEN: Z-stack being reduced.

    - SCREEN: Z-stack images being acquired.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the question below. Please do not include steps that will be screen-captured and do not list entire sections.

Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 233. (Voiceover is the text that follows the two-digit numbers)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Analysis of the Platelets and Proplatelets

  - The fluorescent tracer was intravenously administered [1] to image the anastomosed marrow sinusoid vessels in the skull bone marrow [2], with the flow direction depicted by the arrow [3]. The fluorescent platelet velocity was recorded in each vessel branch and variation was observed [4].

    - LAB MEDIA: Figure 4

    - LAB MEDIA: Figure 4A Video editor: Please emphasize the left image.

    - LAB MEDIA: Figure 4A Video editor: Please emphasize the white arrows.

    - LAB MEDIA: Figure 4A Video editor: Please emphasize the graph on the right side.

  - The sinusoid vessels present complex flows due to the anastomoses, with the presence of flow-reflow and even stasis [1]. The bifurcation was indicated by the opposite flow [2].

    - LAB MEDIA: Figure 4B Video editor: Please emphasize the left image.

    - LAB MEDIA: Figure 4B Video editor: Please emphasize the red and blue arrows in the left image.

  - The platelet velocity was also measured for left [1], and right vessel branches indicated irregularity over time in each vessel branch, with phases of acceleration, stasis, and deceleration [2].

    - LAB MEDIA: Figure 4B Video editor: Please emphasize the red line in the graph on the right side.

    - LAB MEDIA: Figure 4B Video editor: Please emphasize the blue line of the graph on the right side.

  - Different morphologies of proplatelets were observed [1], including proplatelets with irregular margins [2], thin and long proplatelets [3], and thick and short proplatelets [4].

    - LAB MEDIA: Figure 5A

    - LAB MEDIA: Figure 5Ai

    - LAB MEDIA: Figure 5Aii

    - LAB MEDIA: Figure 5Aiii

  - When megakaryocytes extended the proplatelets in the areas of complex flows, the proplatelets tossed from one vessel branch to the other according to the flow direction [1].

    - LAB MEDIA: Figure 5B and JOVE-Video3-PPT tossed: 00:00 to 00:07

  - Upon stopping the blood flow, the proplatelets relaxed, and the mouse unexpectedly underwent cardiac arrest indicated the importance of hydrodynamic forces in proplatelet elongation [1].

    - LAB MEDIA: Figure 5C and JOVE-Video4-cardiac arrest: 00:00 to 00:07

  - The width and length of the proplatelets were also measured [1]. A mean width of 5.2 micrometers [2] and a mean maximal length of approximately 185 micrometers were observed [3].

    - LAB MEDIA: Figure 6A

    - LAB MEDIA: Figure 6Ai Video editor: Please emphasize the mean proplatelets width graph.

    - LAB MEDIA: Figure 6Aii Video editor: Please emphasize the mean maximal proplatelets length graph.

  - Plotting the proplatelet length as a function of time allows the visualization of the behavior of proplatelets during phases of elongation, stasis, or even retraction [1]. The mean elongation velocity of approximately 10 micrometers per minute was observed [2].

    - LAB MEDIA: Figure 6B

    - LAB MEDIA: Figure 6C

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.