Editorial comments AB

Answers to the reviewers

We thank the editor and the referees for reviewing our manuscript entitled “In vivo two-photon imaging of megakaryocytes and proplatelets in the mouse skull bone marrow”. All points raised by the editor and the reviewers have been addressed and the changes appear in the text in red. Please find below the detailed point-by-point answers to the comments.

Editorial comments:

Changes to be made by the Author(s):

1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. Please define all abbreviations at first use.

2. Please provide an email address for each author.

The institutional email addresses have been provided.

3. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript (text, figure legends, figures, tables) and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents. This has been done.

For example: Alexa fluor; QtrackerTM655 vascular labels (Invitrogen); Matlab etc

4. Being a video based journal, JoVE authors must be very specific when it comes to the humane treatment of animals. Regarding animal treatment in the protocol, please add the following information to the text:

a) Please specify the euthanasia method without highlighting it.

As requested by the editor, this specification has been added in the protocol section.

b) For survival strategies, discuss post-surgical treatment of animal, including recovery conditions and treatment for post-surgical pain.

Mice are euthanized before recovery. This specification has been added in the protocol section.

c) Discuss maintenance of sterile conditions during survival surgery. We have added a note lines 137-140.

d) Please specify that the animal is not left unattended until it has regained sufficient consciousness to maintain sternal recumbency.

e) Please specify that the animal that has undergone surgery is not returned to the company of other animals until fully recovered.

For point d and e, mice are euthanized before recovery. This has been added in the manuscript.

5. Please revise the text, especially in the protocol, to avoid the use of any personal pronouns (e.g., "we", "you", "our" etc.). This has been done.

6. Please note that your protocol will be used to generate the script for the video and must contain everything that you would like shown in the video. Please add more details to your protocol steps. Please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. Please add more specific details (e.g., button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

We have especially added details regarding the analysis of morphological parameters and velocity.

7. After including a one line space between each protocol step, highlight up to 3 pages of protocol text for inclusion in the protocol section of the video. This will clarify what needs to be filmed.

This has been done.

8. Please include a scale bar for all images taken with a microscope to provide context to the magnification used. Define the scale in the appropriate Figure Legend. The scale is present and defined in each image taken with the microscope.

9. Please include all video and other supplemental file legends in the figure and table legends section and make sure that the reader understands from the references in the text when to refer to these and what to expect. This has been done.

10. Please do not abbreviate journal names. I did not manage to modify in the output style of EndNote. If required, I will do it manually on references converted to plain text.

11. Please sort the Materials Table alphabetically by the name of the material. This has been done.

____________________________________

Reviewers' comments:

Reviewer #1:

Manuscript Summary:

The manuscript by Bornert et al. is well written and describes in detail the experimental procedure needed to image in vivo the dynamic behavior of megakaryocytes and the formation of proplatelets using two-photon imaging and a cranial window technique. The authors relate the presented procedure to other imaging protocols used in the field and explain the strengths and limitations.

Major Concerns:

None

Minor Concerns:

p. 32-33: in vivo or living mice (one word redundant, use one or the other). OK

p. 55 The different mechanisms that in vivo proplatelet formation rely on compared to in vitro should be specified in more detail. We have added a sentence to explain.

p.83: The insertion of a catheter into the jugular vein seems to be a quite invasive procedure and it is not clear why tail vein injection is not the method of choice. It is later mentioned that tail vein injection is also an option, but a fewer volume could be injected through this route. How much is the difference in volume that can be injected? Wouldn't be a less invasive injection route better and using higher concentration of the tracer or applied drug ? How can complications from bleedings during the insertion of the catheter/needle be addressed?

We agree with the reviewer that insertion of the catheter into the jugular vein is more invasive as tail vein injection as such. However, in our experience, inserting the catheter into the jugular vein is more reliable as it is first easier to set up due to the larger caliber of the vein compared to that of the tail, and less susceptible to be displaced upon manipulation of the mouse or when changing the syringe or when performing several successive injections. Inserting a catheter into tail vein is less easy due to its smaller caliber, especially in black mice where they are less visible. Hence it requires lots of practice and a pre-heat step of the tail to dilate the veins. We have specified this point line 161.

In our experience, placing catheter through the jugular vein do not lead to bleedings even in mice having hemostasis defects (such as integrin beta3 ko mice), because the pectoral muscle exerts a sufficient compression point. We have specified this point line 155-156.

By comparison, several unsuccessful attempts through tail vein resulted in bleedings (though minor) in integrin beta 3 deficient mice.

p.89: Measuring the blood flow velocity from the platelet movement assumes that the platelets are moving with the same velocity as the blood. The proplatelets are long and thin and might more likely move slower, while the smaller platelets might flow with the same velocity as the blood. This problem should be briefly addressed. We indeed measured platelet velocity and assume that it may represent blood velocity. For sure, platelet velocity gives an indication of the acceleration, deceleration and direction of the blood flow. Proplatelets which we observed are still attached to the stationary megakaryocyte, hence they do not move as a whole but they elongate, and we measured the elongation velocity. The mechanisms for elongation is complex, relying on both the blood flow that contributes through the drag force, the presence of contractile forces that tend to retract the proplatelets, and also the way the DMS membrane reservoir fuse with the plasma membrane to allow very long extension before rupture. Once the proplatelet has ruptured from its mother cell (anchorage point), it disappears in the flowing blood so that it is hardly possible to measure its velocity. We have added this point lines 446-448.

p. 184-185, 190: Reference to Fig. 3E-G is cited, but there is no 3E-3G in figure 3 (not in figure legends nor in the image). It was indeed Fig. 3C, we have corrected this error.

p. 275: It is not clear based on which method or formula the flow velocity is calculated. Reference to Matlab or GNU Octava software doesn't explain it.

The velocity of the platelets in the blood flow is estimated from the space-time images using a computational analysis based on the Radon transform described by Drew and collaborators (2010). The description of this mathematical method is beyond the scope of this review and the reader is referred to the publication by Drew and coll. for details regarding the calculation. These authors have made the code available in their website (mentioned in the manuscript), which, when opened through Matlab, allows the calculation of velocity. We have modified this section, hoping it is now more easily understandable.

p. 207: The leakage of vascular tracer into the BM cavity is not addressed, especially during prolonged imaging. I would assume that tracer leakage worsens the image quality over time.

Some tracers such as Dextran may indeed leak in the BM cavity. However, the main issue with the Qtracker vascular tracer is its disappearance over time, due to clearance from the circulation, rather than its leakage into the BM cavity. To circumvent this problem, the tracer can be reinjected (but this implies to pause the recording and open the imaging chamber). However, even in case of leakage, it does not worsen the image quality of the green (GFP/AF-488 fluorescent MKs). We have added a note to mention these problems, lines 277-281.

Figure 2: A zoom-in image how to place and insert the catheter would be helpful.

A zoom-in image has been added.

Reviewer #2:

1. The protocol described in the manuscript is of interest of scientists that investigate location of megakaryocytes, proplatelets and platelets production.

2. The introduction of the protocol is sufficient. All the steps are described in details and comprehensible.

3. The manuscript is well written.

Comments:

Increasing data points on megakaryocites and their derivatives, such a s platelets and microparticles, to be important in immune response towards inflammation. Hyperinflammation of cytokine storms and sepsis strongly affects coagulation and thrombosis. We still do not know much about the exact locations of megakaryocytes occurance and platelets production. Imaging of magakaryocytes' location, movements and behavior can give a good answer to all these issues.

We thank the reviewer for his encouragments.

Reviewer #3:

Manuscript Summary:

The authors describe their method for achieving detailed in vivo fluorescent imaging of platelet production dynamics from Megakaryocytes, in bone marrow of the skull. The basic description of the surgery Is nicely detailed and I presume will be well illustrated in the video version. The authors provide beautiful imaging to support the power of their approach. I specifically want to laud the authors for provision of stl files for 3D printing of the various components needed for their approach. This is a fantastic an oft overlooked element of publications of this sort. In general this is an approach well-worth inclusion and production of a video for a JOVE publication however a few major and minor points should be noted with respect to the uniqueness of this approach relative to other previous JOVE publication, inclusion of critical technical details, and discussion of caveats.

Major Concerns:

Uniqueness of this method:

Not referring to novelty of approach her but rather how this method is distinct from other methods previously published in JOVE. In particular, (https://www.jove.com/t/51683/in-vivo-4-dimensional-tracking-hematopoietic-stem-progenitor-cells) which uses a largely identical minor surgery based cranial window.. This isn't an issue for this type of publication - however - it would be nice to emphasize what makes this described method specific with respect to the analysis of megakaryocytes and platelets.

We have mentioned the previous paper and specified that here we evaluated megakaryocytes and platelets (line 85-88).

Why for example is a minimally invasive technique like this specifically be of great utility in study of platelets as compared to a microfracture or skull thinning based approach.

We have also added in the discussion the interest to use this poorly invasive technique (to prevent as far as possible undesirable inflammatory reactions) compared to other ones including skull thinning (lines 426-430).

With this in mind a greater emphasis on the downstream analytical/computational tools presented would be very valuable to readers and adopters of the approach. Currently this section is fairly thin in the overall method.

We have detailed this part, notably the way used to measure proplatelet maximal length and width with imageJ.

Specificity of Cre system indicated:

Use of the Pf4-cre system and mTmG is well established for intravital microscopy experiments however in this system (Pf4-cre), Cre can be variably expressed in other cell lineages, in fact this is true of PF4 mRNA and protein as well (notably certain myeloid cells of the immune system). Please provide one to two sentences to discuss these considerations with respect to how a researcher can be certain they are examining megakaryocytes in their in vivo analysis.

We agree with the reviewer that the Pf4-cre model presents leaks outside the megakaryocyte lineage and we notably published that some leucocytes as well as some fibroblasts and macrophages may be recombined and appear green. And this recombination is emphasized under inflammatory conditions (Pertuy et al., 2014). In the bone marrow, megakaryocytes are recognized by their location close to the sinusoid vessels and their large size (immature MKs do not express much eGFP), and large polylobed nucleus (the nucleus appears black surrounded by green on one focal plane). Comparison with 2-photon using a megakaryocyte specific marker (eg. Anti-GPIX antibody) may be recommended for newcomers in the field. We have added this point lines 110-116.

Anesthesia: Repeat dosing with Ketamine/Xylazine is a slight departure from most (though not all) sustained intravital microscopy systems. Authors note this in the discussion but a relevant "Note:" in the main description would be appropriate.

We have added this in a note, line 128-132.

Potentially a greater issue is Ketamine has been reported to suppress platelet function (notably aggregation), this may not impact the types of studies described by the author (platelet velocity) but it is a caveat to the anesthetic choice and certainly worth mentioning and citing the relevant literature as this is an area where researcher may choose alternate anesthesia schemes to better fit with their intended purposes.

We have mentioned this point in the discussion, lines 601-603. However, having a strong expertize in platelet function in the lab, including in platelet aggregation, we never observed impacts of the mixture ketamine/xylazine used to anesthetized the mice via i.p. on platelet rich plasma aggregation, in comparison to aggregation performed in washed platelets where plasma and potential anesthetics are removed. In fact, the ketamine injected as i.p. (reaching around 8 µmol per 20g mouse) is probably highly diluted when reaching the blood circulation. By comparison, Nakagawa et al. uses 250 µM-1 mM directly added to the PRP.

Microscope Specifications:

Many critical features of the microscope this approach is performed on are either buried in the text or completely unreported. This is essential information as things like objective specifications (Magnification, Numerical Aperture, etc…) and frequency of the resonant scanner dictate many aspects that the authors note as optimal imaging criteria -

For example:

3.7.2 - "We usually used line averaging of 8, which allowed acquisition of 1 image/10 s. "

Rate at which a single line can be collected is dependent on the frequency of the scanner but this isn't reported until 3.7.3.6 (as an off-hand note)

This specification has been added.

3.7.2 - "For long acquisitions (eg. Visualization of proplatelet formation or elongation), acquire z-stack images at 1.34 μm intervals using resonant scanner. We usually acquired 384x384 pixel images to visualize the entire megakaryocyte and vessel. "

The pixel values are essentially meaningless without knowledge of the objective and scanner.

I'd suggest including a description at the beginning of the two-photon section that described the specifics of the microscope this work was performed on,

We agree with the reviewer and have added microscope specifications at the beginning of the Two-photon imaging section.

and more importantly what of these specifications are essential for this method to work. E.G. do you need a 12 kHz scanner to effectively capture the biology in question or would an 8 kHz scanner work just as well. Can you effectively perform this technique with a 16x objective (relatively inexpensive) or do you really need a very high NA 25x objective (very expensive) to be able to perform this type of analysis. Are hybrid detectors critical to this approach or can you get away with a standard PMT.

The use of a 16x vs 25x objective depends on the magnification/resolution required. In our case, as we also wanted to follow individual platelets, we found that the 25x objective was required. We have mentioned this. However, we did not compare our data with that obtained using a classical PMT.

Bullet points hard to follow:

This may be easier when considering the video but the logical flow of the bullet points between 3.7.2 and 3.7.3.6 is all over the place bouncing around between anesthesia application (or re-application) and "minimize Z-stack to increase acquisition rapidity". I would find it much more logical to focus on a single run and the considerations there. And then provide a second section discussing alterations of the approach for other purposes (e.g. "Minimize (eg. 256x90 pixels) and adjust image size to the vessel by rotating the imaging field if required. "

We agree with the reviewer and have now added a new section 3. “Follow up of the anesthetized mice”. We have also separated long acquisitions “section 4.7” from short and rapid acquisitions “section 4.8”.

Also for a broad audience like JOVE probably not a bad idea to explain what bidirectional scanning, phase adjustment, line averaging, etc… actually mean.

We have better explained these terms lines 254-256.

Minor Concerns:

Minor: Grammar/Spelling pass. Overall manuscript is very well written however a slightly more than average number of grammatical errors snuck through - Would recommend having a solid copy-editor make a pass at this before publication.

We have tried to remove as far as possible the grammatical errors.

- Change light surgery to "minor" surgery

This has been changed.