## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
A
Acetic Acid (glacial) | Sigma Aldrich | AX0074-6
Agarose (OmniPur) | EMD Millipore Corporation | 2125-500GM
Armenian Hamster IgG Isotype Control, APC (Clone: eBio299Arm) | Thermo Fisher Scientific | 17-4888-82
B
b-Mercaptoethanol | Fisher Scientific | O3446I-100
b-Nicotinamide adenine dinucleotide sodium salt (NAD) | Sigma Aldrich | N0632-5G
BD 5 mL Syringe (Luer-Lok Tip) | BD | 309646
BD PrecisionGlide Needle 26G x 1/2 in | BD | 305111
BioLite 24 Well Multidish | Thermo Fisher Scientific | 930-186
BioLite 96 Well Multidish | Thermo Fisher Scientific | 130-188
BioLite 175 cm2 Flask Vented | Thermo Fisher Scientific | 130-191
Biosafety Cabinet Class II | Microzone Corp., Canada | BK-2-6-B3
BSA, Fraction V (OmniPur) | EMD Millipore Corporation | 2930-100GM
C
C57BL/6 mice | The Jackson Laboratory | 000664
CD117 (c-Kit) Monoclonal Antibody, PE (Clone: 2B8) | Thermo Fisher Scientific | 12-1171-82
CELLINK BIOINK (3 x 3 mL Cartridge) | CELLINK LLC | IK1020000303
CELLINK CaCl2 Crosslinking Agent - Sterile Bottle 1 x 60 mL | CELLINK LLC | CL1010006001
CELLINK Empty Cartridges 3cc with End and Tip Caps | CELLINK LLC | CSC0103000102
CELLINK HeartWare for PC | CELLINK LLC | Version 2.4.1
CELLINK INKREDIBLE+ 3D BIOPRINTER | CELLINK LLC | S-10003-001
CELLINK Sterile Standard Conical Bioprinting Nozzles 22G | CELLINK LLC | NZ4220005001
CELLINK Sterile Standard Conical Bioprinting Nozzles 25G | CELLINK LLC | NZ4250005001
CELLINK Sterile Standard Conical Bioprinting Nozzles 27G | CELLINK LLC | NZ4270005001
Cell Proliferation Kit II (XTT) (Roche) | Sigma Aldrich | 11465015001
Centrifuge (Benchtop) | Eppendorf | 5804R
Corning Costar 96 Well Clear Flat-Bottom Non-Treated PS Microplate | Sigma Aldrich | CLS3370
CO2 Incubator | Binder GmbH, Germany | 9040-0113
CytoFLEX Flow Cytometer | Beckman Coulter | A00-1-1102
D
D-mannitol (MilliporeSigma Calbiochem) | Fisher Scientific | 44-390-7100GM
F
Falcon 15 mL Polystyrene Conical Tubes, Sterile | Corning | 352095
Falcon 50 mL Polystyrene Conical Tubes, Sterile | Corning | 352070
FceR1 alpha Monoclonal Antibody, APC (Clone: MAR-1) | Thermo Fisher Scientific | 17-5898-82
Fetal Bovine Serum (FBS), qualified, heat inactivated | Thermo Fisher Scientific | 12484028
FlowJo Software | Becton Dickinson & Co. USA | Version 10.6.2
G
GraphPad Prism | GraphPad Software, LLC | Version 8.4.3
H
Hemacytometer (Improved Neubauer 0.1 mmm deep levy) | VWR | 15170-208
HEPES Sodium Salt | Fisher Scientific | BP410-500
I
Iodonitrotetrazolium chloride (INT) | Sigma Aldrich | I10406-5G
L
L-Glutamine 200 mM (Gibco) | Thermo Fisher Scientific | 25030-081
Lithium L-lactate | Sigma Aldrich | L2250-100G
M
MEM Non-Essential Amino Acids 100 mL 100x (Gibco) | Thermo Fisher Scientific | 11140-050
1-Methoxy-5-methylphenazinium methyl sulfate (MPMS) | Sigma Aldrich | M8640
Microtubes (1.7 mL clear) | Axygen | MCT-175-C
Microtubes (2.0 mL clear) | Axygen | MCT-200-C
MilliQ Academic (for producing MilliQ ultrapure water) | Millipore | ZMQS60001
N
Nalgene Rapid-Flow 90 mm Filter Unit (0.2 mm Pore size, 500 mL) | Thermo Fisher Scientific | 566-0020
Nalgene Syringe filter (0.2 mm PES, 25 mm) | Thermo Fisher Scientific | 725-2520
P
Penicillin Streptomycin 100 mL (Gibco) | Thermo Fisher Scientific | 15140-122
PBS pH 7.4, No Calcium/Magnesium, 500 mL (Gibco) | Thermo Fisher Scientific | 10010-023
Propidium iodide, 1.0 mg/mL (Invitrogen) | Thermo Fisher Scientific | P3566
R
Rat IgG2b kappa Isotype Control, PE (Clone: eB149/10H5) | Thermo Fisher Scientific | 12-4031-82
Recombinant Murine IL-3 | PeproTech, Inc. | 213-13
RPMI-1640 Medium 1X + 2.05 mM L-Glutamine (HyClone) | GE Healthcare | SH30027.01
S
Sarstedt 96 well round base PS transparent micro test plate (82.1582.001) | Fisher Scientific | NC9913213
Sodium Azide, 500 g | Fisher Scientific | BP922I-500
Sodium Pyruvate (100 mM) 100X (Gibco) | Thermo Fisher Scientific | 11360-070
T
Tris Base (2-amino-2(hydroxymethyl)-1,3-propanediol) | Sigma Aldrich | 252859
Trypan Blue solution (0.4%, for microscopy) | Sigma Aldrich | 93595
V
VARIOSKAN LUX Microplate Spectrophotometer (Type: 3020) | Thermo Fisher Scientific | VLBL00D0

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | AAAAAH384Q8=